Oceanside Jetty (902.100) – 303(d) Fact Sheet

1997-98 State Mussel Watch Trace Elements

Oceanside Jetty should be listed as threatened due to the presence of elevated trace elements in mussel tissue.

## Watershed Characteristics

Oceanside Jetty extends into the ocean in hydrologic unit number 902.  Oceanside Harbor has the following beneficial use designations: IND, NAV, REC1 REC2, COMM, WILD, RARE, MAR, MIGR, SPWN, SHELL1.

# Water Quality Objectives not Obtained

Maximum Tissue Residue Levels (MTRLs) for Arsenic were exceeded.  Chromium values exceeded the Median International Standard for Trace Elements in Marine Shellfish.  Since this is only a statistical description, these elements cannot be considered as impairing beneficial uses of water quality.

# Evidence of Impairment

Mussel tissue concentrations of Arsenic were in excess of the MTRL value 5.4 mg/L.  Table 1 contains the measured values and applicable standards.

# Extent of Impairment

Sampling occurred once in Nov of 1997.  Forty-five resident mussels were collected and digested in 3 groups of 15 to measure trace elements.  The 3 results were averaged to provide the dry weight concentration.  Due to the highly circulatory and tidal condition of this location, no estimate can be made.

# Potential Sources

# Storm water run-off, historic uses of lands.

# TMDL Priority

No TMDL is required at this time.

# Notes

While tissue concentrations do provide an estimate of water quality concentrations over time, the one sampling event is not conclusive enough to justify 303(d) listing.  More investigation is needed.  This may be an item that demands the attentions of the Department of Health Services due to the potential human consumption of mussel tissue.

# Information Sources

1 Water Quality Control Plan for the San Diego Basin (9), 1994