Noble Canyon Creek (911.410) – 303(d) Fact Sheet

City of San Diego Data

This data does not lead to a listing recommendation.

## Watershed Characteristics

Noble Canyon Creek is a 1.40-mile water body in the Tijuana Watershed of Region 9.  It is classified in land water with the following beneficial uses: MUN, AGR, IND, PROC, FRESH, REC1, REC2, WARM, COLD and WILD1.

# Water Quality Objectives not Obtained

None

# Evidence of Impairment

Sampling for Specific Conductince, total dissolved solids (TDS), Dissolved Oxygen and pH showed no impairment.

# Extent of Impairment

Station NOB2 was sampled 3 times from 13 Mar 97 to 31 Mar 97.  All sampling occurred before the cut-off data of July 1997.

# Potential Sources

# TMDL Priority

No TMDL is required at this time.

# Notes

No standard could be found for Dissolved Oxygen percent saturation.  Values never dipped below 75% and the corresponding measure of Dissolved Oxygen as milligrams per liter was never below the standard.  No standard could be found for temperature, but the stream did seem to follow a natural, seasonal pattern.  No standard could be found for Oxidative Reduction Potential (ORP).

# Information Sources

1 Water Quality Control Plan for the San Diego Basin (9), 1994