303(d) Fact Sheet Region 9 Water Quality Control Board

(Fallbrook Creek 902.13– no listing)

# Summary of Proposed Action

Based on the available data submitted, it is not recommended that Fallbrook Creek be added to the 303d list of impaired waterbodies.  However, it should be documented as threatened for TDS, iron, phosphorous, manganese and sulfate in the 305b assessment.

303(d) Listing / TMDL Information

- Waterbody Name – Fallbrook Creek

- Hydrologic Unit – 902.13

- Total Waterbody Size –  ### miles

- Potential Pollutants / Stressors – TDS, sulfate, Mn, Fe, P

- Suspected Sources – development/urban runoff? agricultural activities? natural sources?

imported water supply?

- Extent of Impairment –  N/A

- TMDL Priority – N/A

#### Watershed Characteristics

Santa Margarita Hydrologic Unit is a rectangular area of approximately 750 square miles.  It includes portions of US Marine Corps’ Camp Pendleton, as well as the civilian populations of Murrieta, Temecula, and part of Fallbrook. The Santa margarita Hydrologic Unit is comprised of the following nine hydrologic areas: the Ysidora, Deluz, Murrieta, Auld, Pechanga, Wilson, Cave Rocks, Aguanga and Oak Grove Hydrologic Areas. Annual precipitation ranges from less that 12 inches near the coast to more than 45 inches inland near Palomar Mountain. The major surface water storage areas are Vail Lake and O'Neil Lake.1

Santa Margarita Hydrologic Unit is drained largely by the Santa Margarita River, Murrieta Creek and the Temecula Creek.  The Santa Margarita flows approximately 27 miles from the confluence of Temecula Creek and Murrieta Creek toward the Pacific Ocean to the Santa Margarita Lagoon, which lies within the Camp Pendleton Naval Reservation of the US Marine Corps.  The slough at the mouth of the river is normally closed off from the ocean by a sandbar.  The Santa Margarita River provides groundwater recharge to Camp Pendleton’s only domestic water supply. 1,2

Fallbrook Creek is located near Fallbrook and flows from the north into Lake O’Neill and then out of Lake O’Neill and into the Santa Margarita River downstream of the DeLuz confluence with the Santa Margarita.

Water Quality Objectives Not Attained (or Objectives being Attained for Delisting)

The designated beneficial uses for Fallbrook Creek includes MUN, AGR, IND, REC1, REC2, WARM, COLD and WILD.1  Since this waterbody is designated as MUN, drinking water standards were used as criteria.   Data shows exceedances of secondary drinking water MCLs and for Basin Plan objectives.

# Evidence of Impairment

Based on quarterly surface water quality data collected, compiled and analyzed by Camp Pendleton 1997 through 1999, Fallbrook Creek has consistently exceeded water quality standards for TDS, iron, phosphorus, manganese, sulfate and lead at 27%, 45%,100%, 91%, 9% and 9% respectively.2

Extent of Impairment (or Extent of Attainment)

N/A

#### Potential Sources

Unknown

#### TMDL Priority

N/A

###### References

1 Water Quality Water Quality Control Plan for the San Diego Basin – Region 9. CA RWQCB, San Diego Region. September 1994, amended Oct. 1994 and May 1998.

2 Final Report of Water Quality Studies & Proposed Watershed Monitoring Program for Portions of San Mateo & Santa Margarita River Watershed. Marine Corps Base, Camp Pendleton, CA. Contract No. N68711-95-D-7573, D.O. 0021.

3 DRAFT Framework Monitoring Plan for the Santa Margarita Watershed California. US Bureau of Reclamation. CDM Federal Corp., Boyle Engr. Corp. RECON.  Feb 2001.

4 CA Code of Regulations, Title 22, MCLs.