Segunda Deshecha Channel (901.300) – 303(d) Fact Sheet

County of Orange NPDES Annual Progress Report

Segunda Deshecha Channel should be 303(d) listed due to the presence of elevated turbidity, ammonia and phosphate in water samples.  Cadmium should be listed as threatened.

# Watershed Characteristics

Segunda Deshecha Channel is a 5.60 mile waterway in the San Juan Watershed of Region 9.  It is classified inland surface water with the following beneficial uses: AGR, REC1, REC2, WARM and WILD1.

# Water Quality Objectives not Obtained

Region 9 Basin Plan1 standards for turbidity, pH, nitrate (NO3), ammonia (NH3), phosphate (PO4) were exceeded. Drinking water Secondary Maximum Contaminant Levels (MCLs)6 for cadmium (Cd), chromium (Cr) and nickel (Ni) were exceeded.  Very strong2 total suspended solids (TSS) were measured in the water body.  Very hard water3 was also measured.  The secondary maximum contaminant level of 900hmos6 for electrical conductivity was also exceeded. California Ocean Plan4 limits were exceeded for several metals.

# Evidence of Impairment

Twenty-one out of forty-three measurements of turbidity exceeded the Region 9 Basin Plan1 standard of 20 NTU.  Seventeen of these were at least twice the standard, and six of these were ten times the standard.  Basin plan standards for pH, NO3, NH3 and PO4 were also exceeded for at least 5% of the samples. Metal concentrations of Cd, Cr and Ni exceeded Maximum Contaminant Levels6 (MCLs) in at least 5% of the samples.  Very strong2 TSS values were measured in 23% of the samples.  Very hard water levels were exceeded in 89% of the samples.  The electrical conductivity standard of 900hmos6 was exceeded for 41 of 43 samples. Cal Ocean Plan4 limits for cadmium, copper, chromium, lead and zinc were exceeded.  Since Segunda Deshecha does drain into the ocean, this is a problem.  See Table 1 for standards and number of exceedances.

# Extent of Impairment

Site SDCM01 is near the mouth of the creek.  The specific standards exceeded are most likely due to cumulative effects throughout the waterbody, but the data is for only one site.  The extent of impairment is estimated to be approximately from one mile upstream of the station, down to the mouth of the Creek.

# Potential Sources

Most of Prima Deshecha runs through highly urbanized areas that has seen tremendous growth in recent years.  Channalization of the stream has probably increased water velocity that could be causing the undercutting of banks and increasing turbidity.  Metal pollution is most likely coming from roads and highways.

# TMDL Priority

A medium TMDL priority is suggested due to the possibility that turbidity may be indicative of other problems.

# Notes

Other constituents in the water are in excess of known standards, but are not being suggested for 303(d) listing.  It is believed that practices that will eliminate turbidity problems may also help to reduce nutrient loading and TSS.  No standards are set for hardness.  Segunda Deshecha waters are very hard and may be buffering the system from pollution by metals.  Cadmium, Cr and Ni exceeded known standards and this occurred in up to 10 of 42 samples.  Most often, the standards were only slightly exceeded.  National Toxics Rules5 for the protection of aquatic life could not be applied as they are applicable to 1-hour averages and the data in this report are only a single point in time. The system may be loaded with metals that are being buffered by the high concentration of cations in the water.  This would also explain the high electrical conductivity values.  The metal pollution has already exceeded the high buffering capacity of the water in a few situations.  Until further investigation, it may be detrimental to aquatic life in Oso Creek if Total Hardness and Electrical Conductivity values are lowered.  Metals and turbidity should be addressed first.

No 303(d) listing is recommended for metals at this time.  Since there is no MUN beneficial use for this creek, drinking water standards cannot be applied.  It should be noted that this creek does drain into the Pacific Ocean and the concentrations of Cd, Cr, Cu, Pb, Ni and Zn were frequently in excess of Ocean Plan Standards.

Turbidity concentrations consistently exceeded the Basin Plan Standard of 20 NTU.  High turbidity can decrease the penetration of light into the water column and adversely affect photosynthesis which aquatic organisms depend upon for survival.  High concentrations of particulate matter that produce turbidity can be directly lethal to aquatic life.  This would impair the WARM and WILD beneficial uses of this water body.

High concentrations of ammonia are toxic to fish and other aquatic organisms.  This would directly impair the WARM and WILD beneficial uses of this creek.

Concentrations of phosphate over the Basin Plan Standard are expected to contribute to excess algae growth. Excess algae growth would impair REC1, REC2, WARM and WILD beneficial uses through the creation of odors, colors, increased turbidity and low dissolved oxygen environments.

# Information Sources

1 Water Quality Control Plan for the San Diego Basin (9), 1994

2 Metcalf and Eddy, Wastewater Engineering, Third Edition

3 Boulder Area Sustainability Information Network. Water Quality (Advanced),

http://bcn.boulder.co.us/basin/learning/wq2teacher.html

4 California Ocean Plan, 1997.  State Water Resources Control Board.

California Environmental Protection Agency.

5 U.S. Environmental Protection Agency, 2000, Federal Register, Vol 65, No. 97,

California Toxics Rule

6 State of California, 2001. California Code of Regulations, TITLE 22. Social

Security  Division 4. Environmental Health Chapter 15. Domestic Water Quality and Monitoring Regulations, Articles 4 and 16.