303(d) Fact Sheet—Green Valley Creek

905.21 – City of San Diego Data

# Summary of Proposed Action

Due to frequency of water quality objective violations, Green Valley Creek should be placed on the 303(d) list for ammonia-nitrogen, phosphate, and sulfate.  Although the data submitted by the City of San Diego to SDRWQCB is limited in scope because there is only one sampling station identified, the frequency of exceedances for 3 water quality parameters, ammonia, phosphate, and sulfate, is enough to merit 303(d) status.  However, more data for the station in question, as well as additional stations, needs to be assessed at this time to better obtain an idea of the extent of impairment.

303(d) Listing / TMDL Information

- Waterbody Name - Green Valley Creek

- Hydrologic Unit - 905.21

- Total Waterbody Size - ??

- Pollutants / Stressors - ammonia, phosphate, and sulfate

- Suspected Sources - unknown

- Extent of Impairment - ½ mi. up and down stream of monitoring station described below

- Further Location Descriptors -

- TMDL Priority - low

- Notes - Data collected and compiled by City of San Diego Water Quality Laboratory.  Lab is EPA certified and follows pertinent QA/QC procedures.

- References City of San Diego, Water Quality Laboratory.

###### Jeffrey Pasek, Senior Biologist  (619) 668-3240

###### Ron Coss, Source Water Biologist III, (619) 668-3241

Electronic data files described in item “Information Sources”

Water Quality Control Plan for the San Diego Basin

Boulder Area Sustainability Information Network. Water Quality (Advanced), http://bcn.boulder.co.us/basin/learning/wq2teacher.html

#### Watershed Characteristics

San Dieguito Hydrologic Unit (HU 905.00) is a rectangular-shaped area of about 350 square miles.  It includes the San Dieguito River and its tributaries, including Santa Ysabel and Santa Maria Creeks.  The HU contains two major reservoirs, Lake Hodges and Sutherland Reservoir.  The San Dieguito Lagoon is located at the mouth of the San Dieguito River.  The lagoon forms the northerly boundary of the City of Del Mar.  The lagoon is normally closed off from the ocean by a sandbar. Beneficial uses include:  MUN, AGR, IND, PROC, REC1, REC2, WARM, COLD and WILD1.

Water Quality Objectives Not Attained (or Objectives being Attained for Delisting)

The water quality standard, or criteria used in the data assessment came from two primary sources, the Basin Plan and the Boulder Area Sustainability Information Network website.  The water quality objective for ammonia is listed in the Basin Plan as 0.025 mg/L.  The water quality objective for sulfate is a site-specific value.  For creeks listed in HU 905, the water quality objective for sulfate is listed as 250 mg/L.  The water quality objective for phosphate is listed as 0.15 mg/L in the Boulder website.

# Evidence of Impairment

Ammonia (as N):  From 26 April 99 to 14 May 01, 14 of 16 (88%) of ammonia-N values exceeded Basin Plan Objective of 0.025mg/L with an average value of 0.09mg/L and a median value of 0.08mg/L.  The data show a slightly rising trend over this time period (Figure 1).  Ammonia is toxic to fish and other aquatic organisms.  Concentrations of ammonia-nitrogen over the Basin Plan Standard are expected to contribute to excess algae growth.  The Basin Plan Standard for nitrogen concentrations is 0.05 mg/L.  Excess algae growth would impair MUN, REC1, REC2, WARM, COLD and WILD beneficial uses through the creation of odors, colors, increased turbidity and low dissolved oxygen environments.  Eleven of the 16 samples (69%) exceeded this concentration.

Phosphate:  From 26 April 99 to 14 May 00, 12 of 17 (71%) of ortho-phosphate values exceeded Basin Plan Objective of 0.15mg/L, with an average value of 0.28mg/L and a median value of 0.53mg/L.  The data indicate a rising trend over this time period (Figure 2). Concentrations of phosphate over the Basin Plan Standard are expected to contribute to excess algae growth. .  Excess algae growth would impair MUN, REC1, REC2, WARM, COLD and WILD beneficial uses through the creation of odors, colors, increased turbidity and low dissolved oxygen environments.

Sulfate:  From 26 April 99 to 16 July 01, 14 of 23 (61%) values for sulfate exceeded Basin Plan Objective of 250mg/L, with an average value of 142mg/L and a median value of 327mg/L.  Data indicate a rising trend over this time period (Figure 3).  This value is a recommended secondary drinking water standard.  The upper limit is set at 500 mg/L.  While no concentrations exceeded this limit, the rising trend shows that this may soon happen.  High concentrations of sulfate in drinking water can cause laxative effects and would impair the MUN beneficial use.

Extent of Impairment (or Extent of Attainment)

The station ID is described as “West of West Bernardo Dr.”  The extent of impairment is estimated as ½ mile up and downstream of this location.

#### Potential Sources

Unknown

#### TMDL Priority

Low.  This waterbody is not specifically listed in the Basin Plan.

Information Sources

Data submitted to SDRWQCB by City of San Diego.  Files can be found on local network server at the following location:

S:\wqs\303d\City of San Diego\Green Valley Creek

File name used for this assessment:  Gvc2lcpms2000

Additional file assessed, Gvc2500series2000, contained data on organic chemicals; no violations found.

1 Water Quality Control Plan for the San Diego Basin (9), 1994