Sulphur Creek (901.130) – 303(d) Fact Sheet

County of Orange NPDES Annual Progress Report

Sulphur Creek should not be listed at this time based on this data.

# Watershed Characteristics

Sulphur Creek is a 3.2 mile waterway in the San Juan Watershed of Region 9.  It is classified inland surface water with the following beneficial uses: AGR, REC1, REC2, WARM and WILD1.

# Water Quality Objectives not Obtained

The secondary maximum contaminant level2 of 900hmos for electrical conductivity was also exceeded.

# Evidence of Impairment

The electrical conductivity standard of 900hmos2 was exceeded for 1 of 2 total samples.  See Table 1 for standards and number of exceedances.

# Extent of Impairment

There is too little data to estimate spatial extent.

# Potential Sources

Unknown

# TMDL Priority

# No TMDL is required at this time.

# Notes

Too little data for accurate assessment.

# Information Sources

1 Water Quality Control Plan for the San Diego Basin (9), 1994

2 State of California, 2001. California Code of Regulations, TITLE 22. Social

Security  Division 4. Environmental Health Chapter 15. Domestic Water Quality and Monitoring Regulations, Articles 4 and 16.