Quality Assurance Project Plan For NEW River Siltation/sedimentation tmdl implementation

March 2003

Revision 0  3/4/03

Prepared by and for

State of California Regional Water Quality Control Board Staff
Colorado River Basin

This page is intentionally left blank

Quality Assurance Project Plan 
For New River Siltation/Sedimentation TMDL Implementation

APPROVALS:

California Regional Water Quality Control Board

____________________________________________	__________________________

Jose Angel, PE, Supervising WRC Engineer		Date

Watershed Protection Division Chief

Quality Assurance Officer

____________________________________________	__________________________

Doug Wylie, PE, Senior WRC Engineer		Date

NPS/TMDL Implementation Unit Chief

Project Manager

____________________________________________	__________________________

Teresa Gonzales, Senior Environmental Scientist		Date

TMDL Development Unit Chief

Table of Contents

Approvals	ii

Table of Contents	iii

List of Tables and Figures	v

1.	Project Management	1

1.1	Introduction	1

1.2	Distribution List	1

1.3	Project/Task Organization	1

1.4	Problem Definition/Background	3

1.5	Project/Task Description	3

1.6	Data Quality Objectives	3

1.6.1	Data Quality Indicators (Acceptance Criteria)	4

1.7	Special Training Requirements/Certification	5

1.8	Documentation and Records	5

1.8.1	Project Working File	5

1.8.2	Field Datasheets	6

1.8.3	Sampling Event Summary Report	6

1.8.4	Quality Control Log Notebook	6

1.8.5	Calibration Log Notebook	7

1.8.6	Laboratory Analytical Summaries	7

1.8.7	Quality Assurance Reports	7

2.	Measurement/Data Acquisiton	8

2.1	Sampling process Design	8

2.2	Sampling Methods Requirements	9

2.3	Sample Handling and Custody Requirements	10

2.4	Analytical Methods Requirements	11

2.5	Quality Control Requirements	11

2.6	Instrument/Equipment Testing, Inspection, & Maintenance Requirements	12

2.7	Instrument Calibration and frequency	12

2.8	Inspection/Acceptance Requirements for Supplies/Consumables	13

2.9	Data Acquisition Requirements (Non-Direct Methods)	13

2.10	Data Management	13

3.	Assessment and Oversight	14

3.1	Assessment and Response Actions	14

3.2	Reports to Management	14

4.	Data Validation and Usability	15

4.1	Data REVIEW, VERIFICATION AND Validation	15

4.1.1	Technical Systems Audit	15

4.1.2	Performance Evaluation of Laboratories	16

4.1.3	Data Quality Assessment	16

5.	Health and Safety Plan	17

5.1	Contamination Containment Zones	17

5.2	Personal Protective Equipment	17

5.3	Personnel Decontamination Procedures	18

5.3.1	Emergency Numbers and Facilities	18

5.3.2	After Sampling	18

6.	References	19

Appendix I, Project Organization Chart	20

Appendix II, Sample Chain of Custody Form	22

Appendix III, Decontamination Procedures	24

Appendix IV, Basin Plan Amendment	26

List of Tables

Table 1: QA Objectives for Laboratory Data	4

Table 2: Monitoring Stations	8

Table 3: Minimum Sample Frequency	9

Table 4: Required Containers, Preservatives, Techniques, and Holding Times	10

Table 5: Sampling Constituents and Methods	11

Table 6: Quality Control Sample Requirements	12

Table 7:  Specifications for the YSI 6600 Sonde & Hach 2100P Turbidimeter.	12

Table 8: Nearest Hospitals to Sampling Locations	18

List of Figures

Figure 1: Sampling Points at Non-Well-Mixed Sampling Locations	9

# Project Management

## Introduction

This Quality Assurance Project Plan (QAPP) describes the quality assurance (QA) and quality control (QC) procedures associated with the monitoring activities to characterize the suspended sediment in the New River.  The activities are scheduled in response to certain requirements to be specified by the California Regional Water Quality Control Board, Colorado River Basin (Regional Board) Basin Plan (Basin Plan), which will address the implementation section of the New River Sedimentation/Siltation Total Maximum Daily Load (TMDL).  The amendment (Appendix IV) specifies monitoring requirements for the New River identical to monitoring requirements for the Alamo River.  Currently, the Basin Plan amendment states that the "Regional Board will conduct monitoring activities for the New River Sedimentation/Siltation TMDL pursuant to a Regional Board Quality Assurance Project Plan for the New River (QAPP-NR).”  “The objectives of the monitoring program shall include collection of water quality data for assessment of water quality standards attainment, verification of pollution source allocations, calibration or modification of selected models (if any), evaluation of point and nonpoint source control implementation and effectiveness, evaluation of in-stream water quality, evaluation of temporal and spatial trends in water quality, and modification of the TMDL as necessary.”

This QAPP follows the format that the United States Environmental Protection Agency (USEPA) established in its Requirements for Quality Assurance Project Plans, EPA QA/R-5, 2001.  Further, it also complies with the QA/QC requirements specified in the State Water Resources Control Board Quality Assurance Program Plan, June 2001.

The Project Manager and the QA Officer/Division Chief may, upon mutual concurrence, request modification of this QAPP to achieve the objectives of the project.  The process for QAPP modification consists of incorporating the necessary changes into the QAPP document, obtaining approval signatures, and distributing the revised document to project personnel.

## Distribution List

The following individuals will receive copies of the approved QAPP and subsequent revisions:

- Jose Angel, PE, Supervising WRCE, Watershed Protection Division Chief/ QA Officer*

- Doug Wylie, PE, Sr. WRCE, NPS/TMDL Implementation Unit Chief, Project Manager *

- Teresa Gonzales, Sr. ES, TMDL Development Unit Chief*

* Indicates approving authority

## Project/Task Organization

Specific responsibilities of the Regional Board staff are outlined below.  A project organization chart is provided as Appendix 1.

Jose L. Angel, P.E., Supervising WRC Engineer, Watershed Protection Division Chief/QA Officer, (760) 776-8932

- Reviews and approves the QAPP and subsequent revisions.

- Ensures that the QAPP is implemented and followed to meet the project objectives.

- Oversees validation activities for field and lab data.

Doug Wylie, PE, Senior WRC Engineer, Project Manager, (760) 346-6585

- Reviews and approves the QAPP and subsequent revisions.

- Ensures that the QAPP is implemented and followed to meet the project objectives.

- Ensures that field personnel have appropriate training and certification for field activities.

- Reviews field reports.

- Ensures plans are implemented according to schedule.

- Prepares annual reports.

- Manages sampling data.

- Performs field sampling as necessary.

- Conducts Health and Safety briefing for field samplers prior to each sampling event.

- Coordinates field and laboratory activities.

- Reports project status to the QA Officer and Division Chief.

- Responsible for evaluating data to ensure TMDL compliance.

Teresa Gonzales, Senior Environmental Scientist, TMDL Development Unit Chief, (760) 776-8931

- Reviews and approves QAPP and subsequent revisions.

- Responsible for TMDL development.

Maria de la Paz Carpio-Obeso, PhD, Environmental Scientist, Regional Board Lab Director, (760) 674-0803

- Responsible for Regional Board Laboratory.

Phan Le, WRC Engineer, Deputy Lab Director, (760) 346-7491

- Responsible for calibration of equipment prior to sampling event.

- Responsible for performing water quality analysis as required.

- Assists with sampling activities as required.

Jeff Allred, WRC Engineer, Lead Field Sampler, (760) 776-8946

- Writes and Revises the Quality Assurance Project Plan (QAPP)

- Coordinates field activities and ensures they are consistent with the QAPP

- Conducts assignment briefing for field samplers prior to each sampling event.

- Ensures that sample containers have no defects and have been prepared properly.

- Conducts sampling activities as required.

- Prepares a summary report for each sampling event.

- Coordinates delivery of samples to the laboratory.

- Coordinates decontamination of equipment.

Field Samplers

- Assists with sampling activities as required.

## Problem Definition/Background

Pursuant to Section 303(d) of the Clean Water Act (CWA), the Regional Board is scheduled to approve a Siltation/Sedimentation TMDL for the New River in 2003.  The TMDL was developed because sediment concentrations in the river violate the water quality standards (WQS) established by the Regional Board to protect the beneficial uses of the river.  The Implementation Plan of the TMDL identifies the monitoring and tracking of the pollutant of concern to determine compliance with the TMDL.

The implementation section of the TMDL divides the New River into three “drainshed” areas.  The monitoring and tracking program associated with the TMDL requires water quality monitoring of TSS and turbidity metabolites at the boundaries of these three regions in order to track compliance of the dischargers within each drainshed.   Data collection activities outlined in this QAPP are being undertaken to execute the implementation section of the QAPP.

## Project/Task Description

The overall objective of this project is to obtain valid data of known and documented quality, which can be utilized in determining the compliance with the water quality objectives as set forth in the New River Sediment TMDL.  Specifically, the purpose of this project is to:

- Collect representative water samples for TSS, turbidity, DDT, DDE, and DDD from the New River at the sampling locations identified in Table No. 2, below; and

- Record field measurements (physical parameters) including turbidity, pH, temperature, dissolved oxygen (DO), and electrical conductivity (EC).

This project consists of monthly sampling events, in which water samples will be collected and field measurements taken at seven sampling stations. Sampling events may include sampling at locations on the New River or within drains as necessary to pinpoint sources of contamination (i.e. drainsheds, drains, or individual fields).  Predetermined sampling locations are described in detail in Section 2.1, Sampling Process Design.

## Data Quality Objectives

Valid data of known and documented quality are needed to meet the objectives of this project.  Therefore, for the critical measurements of this project (TSS and turbidity), only data which meet QA criteria will be considered valid.  The specific data quality objectives of this project are:

- Analyses for TSS and turbidity must yield results that are of sufficient quality to be used in the execution of the implementation for the New River Sediment TMDL.  Therefore, data obtained should be of sufficient quality to be utilized to determine the contributions of sediment from each drainshed of the New River, and the resulting sediment concentrations within the New River, at the time of sampling.

- The data generated in this project should be of sufficient quality to be utilized, along with data from future sampling projects, in the determination of a TSS/Turbidity relationship for the New River and the Agricultural Drains emptying into the New River.

Table No. 1, below, summarizes the precision, accuracy, and completeness criteria.

Table 1: QA Objectives for Laboratory Data

| Analyte | Matrix | Units | Precision (RPD) | Accuracy (% Recovery) | Completeness1 (% Cmp) |
| --- | --- | --- | --- | --- | --- |
| TSS | Water | mg/L | 25 | 80-120(2,3) | 95 |
| Turbidity | Water | NTU | 35 | 65-135(2,3) | 95 |
| DDT | Water | g/L | 25 | N/A | 95 |
| DDE | Water | g/L | 25 | N/A | 95 |
| DDD | Water | g/L | 25 | N/A | 95 |
| Field Measurement |  |  |  |  |  |
| Turbidity | Water | NTU | 35 | 65-135(2,3) | 95 |
| Temperature | Water | 0C | 0.01 | +/- 0.15 | N/A |
| pH | Water | pH units | 0.01 | +/-0.2 | N/A |
| DO | Water | mg/L | N/A | +/- 2% of reading or 0.2 mg/L(4) | N/A |
| EC | Water | mhos/cm | N/A | +/- 0.5% of reading + 0.001 mS/cm | N/A |

1 Completeness criteria will not be applied to results from QC samples.

2For blanks, the average of all TSS and turbidity measurements must be 5mg/L or 5 NTU or less, respectively.

3All projects requiring submittal of spike samples will be coordinated in a manner such that one set of spikes will be submitted to the laboratory for all projects.

4Whichever is greater.

### Data Quality Indicators (Acceptance Criteria)

The following data quality indicators will be utilized to assess whether data generated are useable and meet the data quality objectives stated above:

#### Precision

Precision is defined as the degree of refinement of a measurement.  Precision of the data generated will be assessed as the relative percent difference (RPD) for field and laboratory duplicates.

RPD=ABSC1−C2∗100C1+C22

RPD = Relative Percent Difference

D1 = Results for sample 1

D2 = Results for sample 2

ABS = Absolute value

#### Accuracy

Accuracy is defined as the degree of refinement of a measurement to the actual value or standard. Accuracy for turbidity and TSS will be determined by calculating percent recovery for double blind spike samples and field blanks.  For field blanks, the average of all TSS measurements must be 5 mg/l or less, and the average of all turbidity measurements must be 5 NTU or less, in order for this data quality objective to be met.  All projects requiring submittal of spike samples will be coordinated in a manner such that one set of spikes will submitted to the laboratory for all projects.

%R = Percent recovery

CM = Measured concentration of reference material (RM).

CR = Actual concentration of reference material (RM).

%R=100∗CMCR

#### Completeness

Completeness is defined as a measure of how many collected samples actually yield valid and useable data.  A minimum of 95% completeness is expected for this project.  This will result in a sufficient amount of data to meet the previously stated requirements.

%C = Percent complete

V = Total number of measurements or laboratory results judged valid

T = Total number of measurements or laboratory results

%C=100∗VT

## Special Training Requirements/Certification

The Project Manager will ensure that all of the field samplers have valid and current training for their field activities, as required by OSHA regulations.  Currently, all sampling personnel identified in the Project/Task Organization section of this QAPP have completed the required OSHA training for the sampling activities described herein. There are no other specialized training/certification requirements needed to perform the Project’s objectives.

## Documentation and Records

### Project Working File

The Project Manager will establish and maintain a Project Working File for maintaining sampling records.  The Lead Field Sampler and QA Officer will ensure that all received/generated data (e.g., field notes, chain-of-custody forms, lab analyses) are delivered to the Project Manager.  The file will contain, but need not be limited to:

- Field data sheets

- Calibration logs

- Laboratory reports

- Data reports summarizing field activity and quality control for each sampling event

- Data spreadsheets

- Correspondence

- Quality control reports

- Validation reports

- Sampling Event Summary Reports

- Annual Reports

### Field Datasheets

The Lead Field Sampler will use field datasheets to document field activities and data for each sampling event.  Each field datasheet will be dated and signed by a sampling team member at each sampling station.  At the time of sampling, the following information will be recorded in the field datasheet:

- Weather observations

- Sampling station latitude and longitude, using a global positioning system (GPS) unit, if not previously recorded

- Sample identification code and sampling method for all samples taken

- In-situ measurements for temperature, pH, DO, and EC

- Field turbidity measurement

- Sample identification code, and time and location of preparation, for all quality control samples prepared in the field

- Any deviations from the QAPP

- Any noteworthy observations

### Sampling Event Summary Report

The Lead Field Sampler will prepare a sampling event summary report for each sampling event, which will be submitted to the Project Manager.  The reports will be due within 7 days following each sampling event.  The reports will summarize:

- Any deviations from the QAPP

- Any problems encountered and how the problems were addressed

- Recommendations as appropriate

### Quality Control Log Notebook

The QA Officer will use a bound quality control log notebook with pre-numbered pages to document the quality control (QC) samples submitted to the laboratory and the analysis results.    For each QC sample, the quality control log notebook will contain the:

- Sample identification code

- Supplier of the QC sample

- Value reported by the supplier

- Date of preparation and submission

- Name and signature of the person submitting the QC sample

- Laboratory performing the analysis

- Analysis method

- Reported value from the laboratory

### Calibration Log Notebook

The Deputy Lab Director will use a calibration log notebook to document calibration activities performed on sampling equipment prior to each sampling event.  The calibration log notebook will be bound and will have pre-numbered pages.  For each calibration event, the calibration log notebook will contain:

- Date and time of calibration

- Person(s) performing the calibration

- Signature of one of the persons performing the calibration

- All standard solutions used in calibration, including the source and date of preparation of the standard solution

- The initial reading of the YSI 6600 multiprobe sonde when tested against each standard solution, and the temperature of each standard solution at the time of calibration

- Any problems encountered and how the problems were addressed

### Laboratory Analytical Summaries

The Division Chief will request that the laboratory prepare and submit to the Project Manager a laboratory analytical summary for each sampling event upon completion of the laboratory’s analysis of samples.  This summary will include analytical results, analytical methods, problems encountered, QC results, and chain of custody forms.

### Quality Assurance Reports

The QA Officer will prepare quality assurance reports, including a technical systems audit for each sampling event, performance evaluations of laboratories, and an annual data quality assessment.  These reports are described in more detail in Section 4.1.

# Measurement/Data Acquisiton

## Sampling process Design

In order to meet the overall objectives stated in Section 1.5 of this QAPP, this project was designed to estimate the suspended sediment concentration, as represented by total suspended solids (TSS) and turbidity, at several sampling stations along the New River.  Also, to pinpoint sources, sampling locations may be located as necessary within the New River watershed.  Because accurate suspended sediment data are necessary for TMDL implementation, TSS and turbidity are considered critical measurements for this project, while the other baseline parameters, temperature, EC, pH and DO, are considered non-critical measurements.

The New River sampling stations were selected to characterize the changes in water quality in each of the three drainsheds.  Sampling stations are located at the upstream and downstream ends of each drainshed.  As previously stated, when it is necessary to locate a source, additional sampling stations may be designated and established on an as-needed basis within the New River watershed.

At each of the locations listed in Table 2 below, water samples will be taken as described, and a YSI 6600 multi-parameter sonde will be used to take in-stream measurements of temperature, DO, EC and pH.  Field turbidity will be measured using a Hach 2100P portable turbidimeter.

Table 2: Monitoring Stations

| Sampling Location | AKA2 | Description1 |
| --- | --- | --- |
| NR-B | NR-0 | Monitoring station for Mexico’s sediment contribution to the New River at the Boundary, to be located at the intersection of the New River and the International Boundary. |
| NR-EH | NR-1 | Monitoring station for the Lower New River drainshed, to be located at the Evan Hewes Road Bridge and the New River. |
| NR-2 | NR-2 | Monitoring station for the Middle New River drainshed, to be located at Drop Structure #2 of the New River. |
| NR-O | NR-Outlet | Monitoring station for the Upper New River drainshed, to be located at the USGS sampling station downstream of Lack Road Bridge. |

1A location may be changed provided the prescribed location is inaccessible or a haphazard, as documented by field observations.

2Denotes sampling location as stated in the Basin Plan.

Sampling station NR-2 listed in Table 2 is a drop structures.  Because the water is well mixed as it cascades over these structures, a single grab sample is typically representative of the sediment concentration throughout the river at the given cross-section.  The mixing effect of the structures also introduces oxygen into the water.  Therefore, YSI readings should be taken on the upstream side of the structures.  When samples are taken at alternative locations, which are not located at a drop structure and are greater than six (6) feet wide, three (3) sampling points (S1, S2, and S3) will be distributed along the cross-sectional area of the river/drain. The sampling points are to be spaced at approximately equal intervals from each other and from the edge of the river/drain (i.e., at a distance equal to w/4, where “w” is the top width of the cross-sectional area).  Figure No. 1, below, illustrates this.  A sample composed of a grab sample from each cross-section will be obtained and homogenized using a churn splitter.  The composite sample will be used for lab analyses.

Figure 1: Sampling Points at Non-Well-Mixed Sampling Locations

For the drop structure location listed in Table 2 and for small drain sampling stations where there are small cross sections and well-mixed flow, only one grab sample at the center point (S2), if possible, will be taken to characterize TSS and turbidity.  Also, at sampling points along the river and the main drains where the depth is less than 2 feet, well mixed flow is assumed, and only grab samples at the center point (S2) will be taken.

For all sampling stations, YSI readings of EC, DO, pH and temperature will be recorded at the center sampling point (S2) if possible.  Also, a Hach 2100P field turbidimeter will be used to obtain turbidity measurements at the same sampling point.  Minimum sample collection frequency is noted in Table 3 below.

Table 3: Minimum Sample Frequency

| Constituent | Sample Frequency |
| --- | --- |
| Turbidity | Monthly |
| Total Suspended Solids | Monthly |
| DDT | Quarterly |
| DDE | Quarterly |
| DDD | Quarterly |

## Sampling Methods Requirements

Sampling methods include the collection of grab samples, as well as the acquisition of readings for water quality parameters using the YSI water quality sonde.  A clean sample collection bottle will be used at each sampling station.  Inaccuracies in the lab analyses due to sorption of analytes to the swing sample collection bottle, and churn splitter if appropriate, will be negated by rinsing each three times with native water prior to collection of the sample.  The grab samples will be collected at approximately midstream (sampling point S2).  Where hazardous conditions prevent midstream sampling, the grab sample will be collected at sampling location S1 or S3.  Grab samples will be collected at approximately ½-foot below the water surface using a swing sampler, and immediately transferred to a churn splitter.  While churning the sample in the churn splitter, the sample will be distributed into the appropriately labeled sample bottle and placed into an ice chest with a sufficient quantity wet ice.

The YSI 6600 multi-parameter water quality sonde will be used to collect field measurements for the following parameters: DO, pH, temperature, and EC at the center point at each sampling location from about 1-foot below the water surface.  Where hazardous conditions prevent midstream sampling, the YSI measurements will be taken at sampling location S1 or S3.  After at least two minutes or when the readings have reached equilibrium, the values for these parameters will be manually recorded in the field data sheet.  Turbidity measurements using the Hach 2100P turbidimeter will be performed on the collected grab samples.  In the event that a field turbidity measurement falls outside of the range of the equipment (1000 NTU), the turbidity values will be reported as >1,000 NTU.  This out-of-range data may be used in assessing compliance, but will not be used in calculating the relationship between TSS and turbidity.

## Sample Handling and Custody Requirements

Sample-holding times will be adhered to, as prescribed by USEPA and 40 CFR 136.  Specifically, the required preservation techniques and holding times for all of the constituents which the laboratory will be analizing are listed in Table 4, below.

Table 4: Required Containers, Preservatives, Techniques, and Holding Times

| Constituent | Container | Preservation Technique | Holding Time |
| --- | --- | --- | --- |
| Turbidity | 1-L glass or low density polyethylene bottle | Cool 4 0C | 48 hours |
| Total Suspended Solids |  |  | 7 days |
| DDT, DDE, DDD | 2-L Amber Glass bottle | Cool 4 0C | 7 days |

Each sample container will be labeled with a unique sample identification code.  All samples (including QC samples) for laboratory analyses will immediately be stored in an ice chest, and will remain in the custody of Regional Board staff until the samples are delivered to the laboratory.  The ice chest will contain sufficient ice to maintain the samples at a temperature below 4°C at all times until they are relinquished to the lab staff.   All samples will be delivered with chain of custody forms.  A sample chain of custody form to be used for this project is included in Appendix II.  Any violation of holding times or other sample handling and custody requirements will be documented in the quality control records and reported to the Project Manager and the QA Officer.  Any violations thereof will be taken into account when evaluating the data.

## Analytical Methods Requirements

As prescribed by the State Water Resources Control Board’s “Quality Assurance Program Plan”, each analytical laboratory used for sample analysis must have a written QA Laboratory Manual describing the analytical method requirements.  The lab will use USEPA approved methods as outlined in Table No. 5.

Table 5: Sampling Constituents and Methods

| Constituent | USEPA Method | Reporting Limit | Units |
| --- | --- | --- | --- |
| Turbidity | 180.1 | 0.10 | NTU |
| Total Suspended Solids | 160.2 | 1.0 | mg/L |
| DDT, DDE, DDD | 8081 | 0.025-2.0 | g/L |

## Quality Control Requirements

In order to assess whether the data quality requirements of this project are being met, a number of quality control checks will be implemented.  The calibration and maintenance of Regional Board Laboratory instruments and the general operation of the Regional Board laboratory are subject to the requirements of the State Board Quality Assurance Program Plan and the Regional Board Quality Assurance Program for the Laboratory.  All QC samples will be placed in an ice chest, and kept at 4 oC, for transport to the lab.  Specifically:

- Field blank samples will be collected in the field by dispensing deionized water into the appropriately labeled sample container.  The reported value is used to check for laboratory accuracy.  One field blank will be collected and submitted for analysis for each constituent, for each day of sampling.

- Field duplicate samples will be prepared from a grab sample of the water being sampled.  A grab sample will be collected as described above and split using a churn splitter, into the appropriately labeled containers.  Ten percent of the samples collected will be field duplicates, with a minimum of one set of field duplicate samples for each analyte collected per day of sampling.

- Double blind spike samples for turbidity and TSS (one each) will be prepared by an independent lab and submitted to the laboratory for analyses once per year.  All projects requiring submittal of spike samples will be coordinated in a manner such that, when possible, one set of spikes will be submitted to the laboratory for all projects.

- To ensure preservation requirements are met, a random sample will be chosen by the laboratory from each ice chest for temperature measurement.

QC samples will be submitted to the lab along with the "real" surface water samples being submitted (i.e., the laboratory will not be informed in any way as to which samples are control samples and which samples are from the aforementioned surface waters).  A summary of Quality Control Sample Requirements is located in Table 6.

Table 6: Quality Control Sample Requirements

| Quality Control Samples | Number of Samples | Frequency |
| --- | --- | --- |
| *Duplicate Samples (All parameters) | 10% | Per event |
| Field Blanks (All parameters) | 1 | Per day/event |
| Spike Samples (TSS, Turbidity only) | 1 | Annually |
| Temperature blank(1) | 1 | Per ice chest |

(1)Temperature blank may be omitted if temperature is read from a random sample bottle using an infrared thermometer.

## Instrument/Equipment Testing, Inspection, & Maintenance Requirements

All Regional Board staff participating in the project will be trained in the operation, calibration, and maintenance of the field instruments.  The manufacturer’s instruction manuals will be readily available for field personnel.  The instruments will be maintained and calibrated in accordance with the manufacturer’s instructions and recommendations.  Calibration, inspection, and maintenance of field instruments are performed by laboratory personnel prior to all sampling events.

## Instrument Calibration and frequency

The YSI 6600 sonde and the Hach 2100P Turbidimeter will be calibrated in the Regional Board laboratory prior to each sampling event.  Dissolved oxygen will be calibrated prior to each sample collection, using ambient air.  Pre and post sampling calibration check will be performed at each sampling site by field personnel.  This process involves checking and recording the DO output.  If it is within 2% of saturation, recalibration of DO is required.  The pre and post calibration check data (DO output) will be recorded on the field datasheet.  If recalibration is required, calibration data will be recorded on a calibration log sheet.  A post-calibration for all parameters will be performed when the sonde is returned to the office, or as soon as practical.  Results of calibration measurements will be documented in the field log notebook and submitted to the QA Officer.  Table 7, below illustrates the YSI 6600 sonde and the Hach 2100P specifications.

Table 7:  Specifications for the YSI 6600 Sonde & Hach 2100P Turbidimeter.

| Parameter | Operating Range | Accuracy | Resolution | Calibration Standard |
| --- | --- | --- | --- | --- |
| pH | 0 to 14 units |  0.2 units | 0.01 units | 2-pt, with pH buffered solutions |
| Temperature |  5 to 45 oC |  0.15 oC | 0.01 oC | not required |
| DO | 0 to 20 mg/L |  0.2 mg/L | 0.01 mg/L | saturated air |
| EC | 0 to 100 mS/cm |  1% of range | 4 digits | KCl |
| Turbidity | 0-1000 NTU | +/- 1% or 0.01 NTU(1) | 0.01 NTU | Gelex Standards |

1Whichever is greater (with Gelex standards).

## Inspection/Acceptance Requirements for Supplies/Consumables

The Lead Field Sampler will ensure that the sample bottles have no defects, and that all sample bottles have been prepared properly.

No other special requirements are needed.

## Data Acquisition Requirements (Non-Direct Methods)

Only data collected from this Project and historic data from the TMDL development program, which have already passed QC criteria, will be used.  No data will be used from other sources unless the data also meet the QA requirements set herein.

## Data Management

The Project Manager will maintain field datasheets and chain of custody forms in the project file.  Field measurement data will be uploaded from the YSI using ECOLAB software, and analyses results will be obtained in electronic form from the lab.  The Project Manager will submit all data in MS Excel format to the QA Officer.  After verification and approval by the QA Officer, the Project Manager will download the data into the project database (MS Excel format) and store it on the Regional Board’s local area network (LAN).  After a period of twelve months, statistical analyses of the data from each sampling point will be employed to calculate an annual average to be used in determining compliance of each drainshed as per the Implementation Section of the TMDL.

.

# Assessment and Oversight

## Assessment and Response Actions

Surveillance of the records and overall status of the project will be conducted by the QA Officer to ensure that all of the requirements of the QAPP are being met.  Surveillance will be conducted after each sampling event, after all laboratory results have been received for that sampling event.  A technical systems audit will also be performed by the QA Officer, as discussed in Section 4.1.1.  Also, an annual data quality assessment of the applicability of the data will be performed to assess the handling of all data and to correct any errors found in the project database (see Section 4.1.3).

## Reports to Management

The Project Manager will prepare quarterly and annual project reports.  The quarterly project reports will include a summary of the activities performed, the resulting data, and the quality of the resulting data, any problems encountered and their solutions and will identify any samples that indicate violations of Water Quality Standards.   The annual project reports will include a statistical analysis of the results indicating drainshed loading, any decrease or increase in loading at the drainshed boundaries, drainsheds which are out of compliance, recommendations for TMDL modification, and the relationship of TSS to turbidity.

# Data Validation and Usability

## Data REVIEW, VERIFICATION AND Validation

Data objectives for this project do not require a full, formal, and independent data validation.  The data has no legal requirement for independent validation.  Although the data are considered legally defensible as presented herein, all records will be available for independent evaluation should the need arise at a later date.

The QA Officer will be responsible for validating the project’s data to ensure that QA guidelines have been followed by performing:

### Technical Systems Audit

The QA Officer will prepare or oversee a technical systems audit for each sampling event, after all laboratory results are received.  Data will be validated to determine if the collection and analyses procedure conformed to the QAPP.  The review will consider field notes, field datasheets, chain of custody forms, laboratory analysis forms, and calibration assessment (determines potential error in field measurements).  Documentation of results will occur within 15 days, and will describe data reviewed, review criteria, and data usability.

Unacceptable departures from sample collection procedures include the use of contaminated sampling bottles, the lack of critical sample collection information, or any other activity which would result in the cross contamination or incorrect identification of samples.

Departures from the sample handling and custody procedures contained in Section 2.3 of this report will be determined through the review of chain of custody forms and laboratory analysis forms.  In order for data to be considered valid for meeting the data quality objectives of this study, all chain of custody forms must be in the possession of the Project Manager, and strict adherence to holding times and temperatures must be followed.  Data generated from samples that do not meet these requirements will not be considered valid for use in this study.

Verification of proper calibration of the YSI sonde and the Hach 2100P turbidimeter will be performed during the audit of data quality through a review of the quality control records.  Calibration values will also be assessed to determine the potential error in the field measurements.  If calibration values have errors that exceed acceptable error tolerances, the measurements obtained prior to that calibration, but after the previous calibration, will be labeled suspect and further investigated to determine if they are valid for use in this study.

The QA Officer will then ensure that data are entered into the database.   It is conceivable, however, that errors could occur in entering the data (e.g., transposing the decimal point for a particular result or keying in the wrong Sample ID).   Therefore, once a data set has been entered into the database, all records will be checked to ensure accuracy.

### Performance Evaluation of Laboratories

Validation of laboratory data will be performed in the Audit of Data Quality by assessing the results of QC sample analyses.  Lab data will be validated for precision, accuracy, and completeness according to the criteria specified in Section 1.6.

In the event that QC analyses do not meet the specified criteria, the data will be labeled as “suspect”, the lab will be notified, and the field notes will be re-evaluated.  Data sets corresponding to any value that cannot be confirmed, based on the acceptable criteria in Table 1, will be rejected.

In case of missing data, the QA Officer will discuss it with the laboratories submitting the data.  In some cases, missing data will be denoted as missing in reports.  For all missing data, and any other data requiring special explanation, qualifiers will be included in the database and in data reports. Missing data will be designated as ”NR”, meaning Not Reported.

### Data Quality Assessment

The QA Officer will prepare annually an audit of data quality reports, which takes into account all Technical Systems Audits and includes verification of calibration and instrument drift results for the YSI 6600 multi-probe sonde and Hach 2100P turbidimeter, and the results of the laboratory QC samples.  Precision, accuracy, and completeness results for laboratory data will also be included in the reports.  Also, the reports will assess whether the total error in the data is tolerable, and whether significant departures from the QAPP reduce data set completeness (and thus reduce data set usability for drawing conclusions).

Significant departures from the QAPP will be noted in these reports, and the resulting data will not be validated.  Unacceptable departures include, but are not limited to:

- Cross-contamination

- Lack of critical sample collection information

- Violation of sample holding times and temperatures

# Health and Safety Plan

## Contamination Containment Zones

The contaminated areas for this Project consist of and cover the entire waterways for the aforementioned waters, their banks, the area within 2 feet of the banks, and the bridge at the Outlet.  Decontamination zones will be set at least 10 feet away from the banks of the surface waters. The decontamination zone will be used for personnel decontamination and will include wash water, soap, paper towels, and trash bags. All contaminated solid waste material will be placed in trash bags for proper disposal.  Only biodegradable antibacterial soap will be used at the site.  Wash water runoff will be contained and disposed of in the surface waters.  The Clean area will be set at least 20 feet away from the banks of the surface waters.

## Personal Protective Equipment

The general concerns at the sampling sites are the potential exposure to toxicants present in the waters being sampled, risk of sunburn, excessive heat exposure, insect bite, and possibly snakebites. In addition, the sampling crew should be aware of the risk of falling into the waterways. No less than two experienced samplers will be out in the field at one time.  (The sampling crew will also have a functional cellular phone in one of the vehicles).

- Any member of the sampling team has the authority to stop the sampling event when he/she determines that conditions at the site (e.g., rain, dust, local emergency, etc.) preclude safe sampling.  A Hazard Evaluation Plan (HEP) will be done for each day of sampling.  The lead field sampler will be responsible for preparing the HEP.

- To reduce the risk of exposure while collecting/transporting samples, Latex Examination Gloves must be worn.  The Contaminated Zone must not be entered without the aforementioned Personal Protective Equipment (PPE).

- To reduce the risk of heat exposure and sunburn, samplers should wear sunscreen and carry in their vehicle cold drinking water.  If any of the samplers begin to experience symptoms of heat exhaustion, such as cramps or dizziness, he or she will immediately be removed from the sun and given plenty of cool liquids.  If these symptoms persist, he or she will be taken to the nearest hospital.

- Extra caution should be used when working near or around the drains to reduce the risk of potentially falling in.

- To reduce the risk of insect bites, samplers should use insect repellent.

- To reduce the possibility of snakebite, samplers will check areas for snakes prior to entering the area.  If snakebite occurs, ice will be placed on the bite.  The sampler will be immediately transported to the nearest medical facility.

## Personnel Decontamination Procedures

The Clean Zone must not be entered with contaminated PPE.  All team members coming out of the Contaminated Zones must immediately proceed to the Decontamination Zones and use the following decontamination procedures before proceeding to Clean Zone:

- Remove latex gloves carefully to avoid contact with bare skin and dispose of them in the trash bag.  Thoroughly wash hands with antibacterial soap; and

- Dispose of wash water into surface water just sampled.

Note: everything that is touched (pens, pencils, rinse water bottles, probes, etc.) with dirty gloves could be contaminated.  Avoid touching these items with bare skin.

### Emergency Numbers and Facilities

All sampling personnel will have access to a cellular phone to call 911 in case of an emergency.  The hospital nearest the sampling locations are listed in Table 8 below:

Table 8: Nearest Hospitals to Sampling Locations

| Sampling Location | Medical Facility | Address | Phone # |
| --- | --- | --- | --- |
| NR-B | EL Centro Regional Medical Center | Imperial and Ross Ave., El Centro | (760) 339-7100 |
| NR-EH | EL Centro Regional Medical Center | Imperial and Ross Ave., El Centro | (760) 339-7100 |
| NR-D2 | Pioneers Memorial Hospital | 207 West Legion, Brawley | (760) 351-3333 |
| AR-O | Pioneers Memorial Hospital | 207 West Legion, Brawley | (760) 351-3333 |

In case of an emergency, sampling personnel should also contact the Regional Board Safety Officer, Doug Wylie, as soon as practical at 760-346-6585 or 760-341-7491.

### After Sampling

Place samples into Regional Board lab refrigerator or keep in an ice chest filled with wet ice; keep water drained from ice chests to avoid soaking container labels. Make copies of field notes and put original in the project working file.  Contaminated equipment should be packed in designated containers for transport to the Regional Board office. Decontaminate and properly clean ALL items, which were exposed in the field in accordance with USGS National Field Manual for the Collection of Water-Quality Data, Chapter A3. Cleaning of Equipment for Water Sampling (See Attachment IV).

- References

U.S. Environmental Protection Agency. 2001.  EPA Requirements for Quality Assurance Project Plans, EPA QA/R5.  EPA Publication number 240/B-01/003.  U.S. Environmental Protection Agency, Washington, D.C.

State Water Resources Control Board (State of California), 2001.  Quality Assurance Program Plan.

Appendix I, Project Organization Chart

This page is intentionally left blank

Appendix II, Sample Chain of Custody Form

This page is intentionally left blank

Appendix III, Decontamination Procedures

This page is intentionally left blank

Appendix IV, Basin Plan Amendment