L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 174 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 149 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 031 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 031 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 095 | Total | ng/g ww | 0.229 | = | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 128 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 200 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 201 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 170 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 189 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 066 | Total | ng/g ww | 0.132 | DNQ | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 074 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 195 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 187 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 174 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 118 | Total | ng/g ww | 0.25 | = | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB AROCLOR 1248 | Total | ng/g ww | -10 | ND | 10 | 25 | H,HT,SC,SCR | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | Newman, et al., 1988 | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 052 | Total | ng/g ww | 0.19 | DNQ | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 180 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 194 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 033 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 177 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 087 | Total | ng/g ww | 0.13 | DNQ | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-28 | 723GRSDRNTL38F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 153 | Total | ng/g ww | 0.119 | DNQ | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 55.7 | 140 | 150 | 145 | 0.9333 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 049 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 206 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 087 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 074 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 027 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 170 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 194 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 157 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 008 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 097 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 070 | Total | ng/g ww | 0.21 | = | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 056 | Total | ng/g ww | -0.1 | ND | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring
L-592-04-29 | 723GRSDRNTL39F | 723GRSDRN | Greeson Drain | 32.7311 | -115.4544 | Tilapia spp. | Tilapia sp. | 2004-11-04 | Skin off | fillet | 3 | 1 | normal | Composite | PCB 044 | Total | ng/g ww | 0.113 | DNQ | 0.1 | 0.2 | H,SC | QualH | WPCL_L-592-04_BS417_KR_T_PCB | tissue | EPA 8082M | 38853 | EPA 3545_3640A_3620B | 38789 | FieldFrozen | 38295 | 1 | 1 | Organics expected | NULL | Hold time viol. Analytes hi %R, lo %R SRM. Samples scr for PCB AROCLOR 1248, 1254 & 1260. Analyte det. in MB at conc. above RL. | DFG-WPCL | A,MD | Cursory Verificaton | Fish | 38295 | 0 | 88.9 | 157 | 179 | 167 | 0.8771 | F(0), M(0), U(3) | (100k) 18100200001657 | NULL | Greeson Drain | Used closest NHD; NAD83, HBASA2, CalWater2.2.1, CA_Omernik, CaCounty, NHD1:100,000 | RWB7_Status_Fish_2004 | RWB7 Fish Tissue Study 2004 | RWB7_Status_Fish | RWB7_Monitoring | SWAMP RWB7 Monitoring