## Column Definitions
Column Defs for stationid.ann.new file
example:
Year | Q (1000 ac-ft) | Load (1000 tons) | TDS or Load (tons / ac-ft) | Mean TDS (mg/l)
2005 | 168 | 68 | 0.4 | 296
2006 | 865 | 306 | 0.35 | 260
2007 | 549 | 238 | 0.43 | 319
2008 | 784 | 286 | 0.36 | 268
2009 | 1256 | 391 | 0.31 | 229
2010 | 281 | 125 | 0.44 | 326
For each update, you use the previous 4 years of data. Eg. For 2010, use 2006 through 2009.

## notes
2010 | 2010 update values for Fig 2 - GDALE, were derived using linear regression spreadsheet "gdale10regression.xls"
This was necessary because there is no SC or TDS data for this site, so SLOAD can't do an analysis
Likewise, Fig. 13 - ARCH were derived from arch10regression.xls.
2012 | added site names to Fig #'s on worksheet tabs to cut down on confusion.
2012 update values for Fig 2 - GDALE, were derived using linear regression spreadsheet "gdale12regression.xls"
This was necessary because there is no SC or TDS data for this site, so SLOAD can't do an analysis
Fig. 13 - 2012 ARCH values were derived from arch12regression.xls.
There is starting to be data for ARCH, but the SLOAD load estimate for 2008 was very low (12) so the regression spreadsheet values were used for 2008 - 2011.
The SLOAD load values for 2009-2011 for ARCH were fairly close to the regression model values.
Probably next cycle the SLOAD values will be useable. This needs to be looked into then.

## Fig 18 HOOVER
| TDS | Flow | TDS | Load
| mg/L | 1000-af | tons/af | 1000-tons
1975 | 680 | 8367 | 0.92481 | 7737.8449
1976 | 674 | 7927 | 0.91665 | 7266.246
1977 | 665 | 7873 | 0.90441 | 7120.3811
1978 | 678 | 7476 | 0.92209 | 6893.5087
1979 | 688 | 7721 | 0.93569 | 7224.4257
1980 | 691 | 11088 | 0.93977 | 10420.1172
1981 | 681 | 8284 | 0.92617 | 7672.3524
1982 | 679 | 7454 | 0.92345 | 6883.3603
1983 | 659 | 19067 | 0.89625 | 17088.7038
1984 | 598 | 21411 | 0.81328 | 17413.2356
1985 | 556 | 17209 | 0.75616 | 13012.8303
1986 | 517 | 17529 | 0.70312 | 12325.0595
1987 | 519 | 11333 | 0.70584 | 7999.3295
1988 | 529 | 9420 | 0.71944 | 6777.1628
1989 | 564 | 9165 | 0.76704 | 7029.961
1990 | 587 | 9204 | 0.79832 | 7347.7784
1991 | 629 | 8953 | 0.85544 | 7658.7972
1992 | 657 | 7810 | 0.89353 | 6978.4303
1993 | 665 | 7445 | 0.90441 | 6733.2957
1994 | 667 | 9352 | 0.90713 | 8483.4337
1995 | 654 | 8545 | 0.88944 | 7600.3074
1996 | 618 | 9973 | 0.84048 | 8382.154
1997 | 585 | 11689 | 0.7956 | 9299.8205
1998 | 559 | 12777 | 0.76024 | 9713.6409
1999 | 549 | 11035 | 0.74664 | 8239.2185
2000 | 539 | 10692 | 0.73 | 7833
2001 | 550 | 10210 | 0.75 | 7635
2002 | 561 | 10448 | 0.76 | 7977
2003 | 584 | 9382 | 0.79 | 7456
2004 | 625 | 9345 | 0.85 | 7945
2005 | 643 | 8275 | 0.87 | 7239
2006 | 646 | 9260 | 0.88 | 8131
2007 | 632 | 9363 | 0.86 | 8044
2008 | 620 | 9541 | 0.84 | 8050
2009 | 604 | 9481 | 0.82 | 7783
2010 | 577 | 9453 | 0.79 | 7422
2011 | 568 | 9208 | 0.77 | 7110
2012 | 548 | 9387 | 0.75 | 6997
2013 | 551 | 9376 | 0.75 | 7027

## Fig 19 PARKER
| TDS | Flow | TDS | Load
| mg/L | 1000-af | tons/af | 1000-tons
1975 | 702 | 7210 | 0.95473 | 6883.5697
1976 | 690 | 6697 | 0.93841 | 6284.5
1977 | 687 | 6711 | 0.93433 | 6270.2566
1978 | 688 | 6685 | 0.93569 | 6255.0558
1979 | 701 | 7195 | 0.95337 | 6859.4636
1980 | 712 | 10723 | 0.96833 | 10383.3535
1981 | 716 | 7229 | 0.97377 | 7039.3505
1982 | 713 | 6367 | 0.96969 | 6173.9871
1983 | 678 | 18198 | 0.92209 | 16780.1058
1984 | 611 | 20464 | 0.83096 | 17004.8607
1985 | 561 | 16305 | 0.76296 | 12440.1325
1986 | 535 | 15964 | 0.7276 | 11615.4714
1987 | 538 | 9560 | 0.73168 | 6994.9
1988 | 540 | 7508 | 0.7344 | 5513.9061
1989 | 559 | 6931 | 0.76024 | 5269.2529
1990 | 600 | 7127 | 0.816 | 5815.6646
1991 | 624 | 6738 | 0.84864 | 5718.1683
1992 | 651 | 5986 | 0.88536 | 5299.7946
1993 | 631 | 5534 | 0.85816 | 4749.084
1994 | 673 | 6886 | 0.91529 | 6302.6534
1995 | 671 | 6719 | 0.91257 | 6131.525
1996 | 648 | 7300 | 0.88128 | 6433.38
1997 | 612 | 8471 | 0.83232 | 7050.6222
1998 | 559 | 10380 | 0.76024 | 7891.3354
1999 | 550 | 8353 | 0.748 | 6250
2000 | 549 | 7896 | 0.75 | 5899
2001 | 549 | 7699 | 0.75 | 5750
2002 | 572 | 7565 | 0.78 | 5887
2003 | 592 | 7303 | 0.8 | 5876
2004 | 644 | 6780 | 0.88 | 5938
2005 | 668 | 6370 | 0.91 | 5789
2006 | 671 | 6593 | 0.91 | 6012
2007 | 657 | 6565 | 0.89 | 5867
2008 | 644 | 6848 | 0.88 | 5999
2009 | 624 | 6536 | 0.85 | 5544
2010 | 600 | 6452 | 0.82 | 5267
2011 | 591 | 6687 | 0.8 | 5373
2012 | 569 | 6646 | 0.77 | 5141
2013 | 567 | 6335 | 0.77 | 4889

## Fig 20 IMPER
| TDS | Flow | TDS | Load
| mg/L | 1000-af | tons/af | 1000-tons
1975 | 829 | 6154 | 1.1274 | 6938.3046
1976 | 822 | 5897 | 1.1179 | 6592.4112
1977 | 819 | 5706 | 1.1138 | 6355.6066
1978 | 812 | 5702 | 1.1043 | 6296.8679
1979 | 802 | 6132 | 1.0907 | 6688.3325
1980 | 760 | 9439 | 1.0336 | 9756.205
1981 | 821 | 6269 | 1.1166 | 6999.7538
1982 | 827 | 5406 | 1.1247 | 6080.2704
1983 | 727 | 16927 | 0.98873 | 16736.1572
1984 | 675 | 19108 | 0.91801 | 17541.2422
1985 | 615 | 14962 | 0.8364 | 12514.2869
1986 | 577 | 14705 | 0.78472 | 11539.3722
1987 | 612 | 8712 | 0.83232 | 7251.2124
1988 | 648 | 6608 | 0.88128 | 5823.5309
1989 | 683 | 5976 | 0.92889 | 5551.018
1990 | 702 | 6039 | 0.95473 | 5765.5864
1991 | 749 | 5738 | 1.0186 | 5844.9891
1992 | 767 | 5179 | 1.0431 | 5402.3487
1993 | 785 | 4759 | 1.0676 | 5080.7369
1994 | 796 | 5920 | 1.0826 | 6408.7911
1995 | 803 | 5569 | 1.0921 | 6081.8276
1996 | 768 | 6065 | 1.0445 | 6334.8067
1997 | 710 | 7326 | 0.96561 | 7074.0252
1998 | 655 | 9046 | 0.8908 | 8058.2219
1999 | 670 | 7176 | 0.91121 | 6538.8078
2000 | 661 | 6509 | 0.89897 | 5851.3634
2001 | 680 | 6097 | 0.92481 | 5638.5372
2002 | 689 | 6141 | 0.93705 | 5754.3949
2003 | 695 | 5775 | 0.94521 | 5458.5606
2004 | 729 | 5529 | 0.99 | 5483
2005 | 710 | 5271 | 0.97 | 5089
2006 | 720 | 5673 | 0.98 | 5553
2007 | 715 | 5673 | 0.97 | 5518
2008 | 733 | 5673 | 1 | 5658
2009 | 717 | 5407 | 0.98 | 5275
2010 | 690 | 5421 | 0.94 | 5090
2011 | 681 | 5721 | 0.93 | 5301
2012 | 677 | 5718 | 0.92 | 5264
2013 | 677 | 5311 | 0.92 | 4892