303(d) Fact Sheet—Felicita Creek

905.23 City of San Diego Data

# Summary of Proposed Action

Due to severity of water quality objective violations for TDS, Felicita Creek should be included on 303(d) list of impaired waterbodies.

303(d) Listing / TMDL Information

- Waterbody Name - Felicita Creek

- Hydrologic Unit - 905.23

- Total Waterbody Size - ??

- Pollutants / Stressors - Total Dissolved Solids (TDS)

- Suspected Sources - unknown

- Extent of Impairment  - ½ mile up and downstream of sampling locations

- Further Location Descriptors

- TMDL Priority - low

- Notes - Data collected and compiled by City of San Diego Water Quality Laboratory.  Lab is EPA certified and follows pertinent QA/QC procedures.

- References City of San Diego, Water Quality Laboratory.

###### Jeffrey Pasek, Senior Biologist  (619) 668-3240

###### Ron Coss, Source Water Biologist III, (619) 668-3241

Electronic data files described in item “Information Sources”

Water Quality Control Plan for the San Diego Basin

#### Watershed Characteristics

San Dieguito Hydrologic Unit (HU 905.00) is a rectangular-shaped area of about 350 square miles.  It includes the San Dieguito River and its tributaries, including Santa Ysabel and Santa Maria Creeks.  The HU contains two major reservoirs, Lake Hodges and Sutherland Reservoir.  The San Dieguito Lagoon is located at the mouth of the San Dieguito River.  The lagoon forms the northerly boundary of the City of Del Mar.  The lagoon is normally closed off from the ocean by a sandbar. Beneficial uses include:  MUN, AGR, IND, PROC, REC1, REC2, WARM, COLD and WILD1.

Water Quality Objectives Not Attained (or Objectives being Attained for Delisting)

The water quality standard, or criteria used in the data assessment came from one primary source, the Basin Plan.  The water quality objective for TDS is a site-specific value found in the Basin Plan.  For creeks listed in HU 905, the water quality objective for TDS is listed as 500 mg/L.

# Evidence of Impairment

TDS:  96% of the samples (23/24) were in exceedence of the Basin Plan objective of 500 mg/L. The average value of the points monitored between 4/99 and 5/01 was 1182 mg/L.  The data also show a rising trend over this time period (Figure 1).

Aluminum:  33% of samples (2/6) were in exceedence of the Basin Plan objective of 200 g/L.  However, both points appear to be isolated, i.e. no trend is apparent.

Extent of Impairment (or Extent of Attainment)

The station IDs are described as “Rd Xing above wtr line,” and “Felicita Creek Station 2.”  Since further location descriptors are not provided, the extent of impairment is estimated as ½ mile up and downstream of each sampling location.

#### Potential Sources

The prevailing belief is that much of the TDS problem is anthropogenic in nature.  Evaporation and natural salt sources also contribute.

#### TMDL Priority

Low.  Although the data shows significant violations of Basin Plan objectives for TDS, this waterbody is not listed in the Basin Plan as a high-use area, therefore TMDL priority shall be low.

NOTES

TDS may consist of carbonates, bicarbonates, chlorides, sulfates, phosphates, nitrates, magnesium, sodium, iron and manganese.  The most frequent constituents are usually salts (sodium, chloride, boron, etc.)  Most of the problem can be traced to human impacts, and therefore, can be cleaned up. Geologic conditions help to define the natural levels of many of these constituents.  The fact that Felicita Creek flows into the Lake Hodges drinking water reservoir adds further support for 303(d) listing.  High TDS concentrations may be expected to impair the MUN beneficial use. High concentrations of TDS are also expected to impact the AGR beneficial use directly through irrigation waters or indirectly through adverse effects on soil permeability.  TDS values between 450 to 2000 mg/L are expected to have a slight to moderate restriction on use of waters for irrigation of crops1.

Information Sources

Data submitted to SDRWQCB by City of San Diego.  Files can be found on local network server at the following location:

S:\wqs\303d\City of San Diego\Felicita Creek-

File names used for this assessment:  Fel3solids2000, Fel3lCPMS, and

Felicita Cr Al TDS 1997 Aug 2001

1 Water Quality Control Plan for the San Diego Basin (9), 1994