## Table
Table 1 - Aliso Creek NPDES Annual Data
Sampling from 2 July 97 through 30 June 00
| EC | Trubidity | pH | NO3 | NH3 | TKN | PO4 | o-PO4 | TSS | VSS | Cd | Cr | Cu | Pb | Ni | Ag | Zn | Hardness
| (umhos) | (NTU) |  | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (ug/L) | (ug/L) | (ug/L) | (ug/L) | (ug/L) | (ug/L) | (ug/L) | (mg/L)
Basin Plan Std |  | 20 | 6.5 - 9.0 | 45 | 0.025 | ? | 0.306 | ? |  |  | 5* | 50* | 1000* |  | 100* | 100* | 5000*
A Compilation of Water Quality Goals | [8 empty] | Pb: 280
MCL from K. Cole | 900
from B. Ott | [8 empty] | TSS: 350; VSS: 275 | 300
# of times the standard was exceeded | 40 of 40 (100%) | 13 of 40 (33%) Avg=32.2 Med=6.9 | none | 1 of 40 (2.5%) | 24 of 40 (60%) Avg=0.11 Med=0.10 |  | 39 of 40 (97.5%) Avg=0.83 Med=0.61 |  | 3 of 40 (8%) | 1 of 40 (3%) | 5 of 42 (12%) Avg=2.9 Med=2.0 | none | none | none | none | none | none | 16 of 20 (80%)
National Toxics Rule (Freshwater Aquatic Life) 1-hr avg | [10 empty] | 0.35- 51 | 83-3600 | 1.5- 118 | 5-700 | 67- 3284 | 0.07- 181 | 17- 824
Cal Ocean Plan (Instnts Max) | [10 empty] | 10 | 20 | 30 | 20 | 150 | 7 | 200
# of times Ocean Plan was exceeded | [10 empty] | 2 of 42 (5%) | 5 of 42 (11%) | 7 of 42 (17%) | none | none | none | 1 of 42 (2%)
* = Secondary Maximum Contaminant Level for Drinking Water

## Stats
|  | EC | turbidity | pH | NO3 | NH3 | PO4 | P (from PO4) | TSS | VSS | Cd | Cr | Cu | Pb | Ni | Ag | Zn | Hardness
8
| Date | [7 empty] | Cd: 0
| 1997-07-02 | 3500 | 1.1 | 7.9 | 2 | 0 | 0.42 | 0.13705 | Cd: 8
| 1997-08-07 | 3400 | 1.7 | 7.6 | 2 | 0 | 0.73 | 0.23821 | Cd: 3
| 1997-09-17 | 3200 | 2.1 | 7.5 | 5 | 0 | 0.93 | 0.30347 | Cd: 8
| 1997-10-09 | 3400 | 2 | 8.2 | 7 | 0 | 0.83 | 0.27084 | Cd: 2
| 1998-06-19 | 3250 | 7.6 | 8 | 6 | 0 | 0.61 | 0.19905 | Cd: 3
| 1998-09-02 | 3220 | 0.3 | 7.8 | 4.2 | 0.17 | 0 | 0 | bar: Cd
| 1998-10-01 | 3060 | 4.3 | 7.6 | 5.2 | 0.1 | 0 | 0 | Cd: 5
| 1998-12-17 | 2250 | 9.4 | 7.9 | 5.3 | 0.06 | 0.67 | 0.21863 | Cd: 0
| 1998-01-13 | 3260 | 1.8 | 7.9 | 7.3 | 0.18 | 0.34 | 0.11095 | Cd: 3
| 1998-01-25 | 2550 | 75 | 8.1 | 6.6 | 0.11 | 1.53 | 0.49926 | Cd: 2
| 1999-01-25 | 1350 | 40 | 7.9 | 4.3 | 0.14 | 1.01 | 0.32958 | Cd: 5
| 1999-01-26 | 1020 | 230 | 7.9 | 3.9 | 0.15 | 2.51 | 0.81905 | Cd: 3
| 1999-01-27 | 2230 | 12 | 7.8 | 5.2 | 0.12 | 0.64 | 0.20884 | Cd: 2
| 1999-02-08 | 3200 | 2.6 | 8 | 6.6 | 0.1 | 0.46 | 0.15011 | Cd: 0
| 1999-02-09 | 2520 | 36 | 8.3 | 7 | 0.1 | 1.07 | 0.34916 | Cd: 3
| 1999-02-09 | 1040 | 72 | 8.1 | 4.4 | 0.13 | 1.01 | 0.32958 | Cd: 3
| 1999-02-10 | 2410 | 8.4 | 8.1 | 5.9 | 0 | 0.46 | 0.15011 | Cd: 4
| 1999-03-01 | 3140 | 1.8 | 8 | 5.6 | 0.1 | 0.34 | 0.11095 | Cd: 3
| 1999-03-11 | 2630 | 21 | 8.3 | 6.1 | 0.13 | 0.4 | 0.13053 | Cd: 11
| 1999-03-25 | 1840 | 136 | 7.8 | 159 | 0.17 | 2.69 | 0.87779 | bar: Cd
| 1999-03-25 | 1210 | 72 | 7.8 | 3.3 | 0.14 | 1.38 | 0.45032 | Cd: 2
| 1999-03-26 | 2540 | 2.5 | 8.2 | 4.7 | 0 | 0.43 | 0.14032 | Cd: 0
| 1999-04-29 | 3080 | 2 | 8 | 4.7 | 0 | 0.36 | 0.11747 | Cd: 2
| 1999-05-20 | 3150 | 2.2 | 8 | 5.8 | 0 | 0.49 | 0.15989 | Cd: 2
| 1999-06-09 | 2880 | 2 | 8.1 | 3.6 | 0 | 0.49 | 0.15989 | Cd: 4
| 1999-07-12 | 2820 | 2.5 | 8 | 4.8 | 0 | 0.61 | 0.19905 | Cd: 4
| 1999-08-17 | 3150 | 3.1 | 8.2 | 5.2 | 0 | 0.67 | 0.21863 | Cd: 2
| 1999-10-27 | 3320 | 3.3 | 8.2 | 5.5 | 0 | 0.55 | 0.17947 | Cd: 0
| 1999-12-16 | 3320 | 4.8 | 8.2 | 6.2 | 0.08 | 0.37 | 0.12074 | Cd: 2
| 2000-01-07 | 3210 | 6.9 | 8.2 | 9.3 | 1.34 | 1.22 | 0.39811 | bar: Cd
| 2000-02-29 | 2120 | 14 | 8.2 | 5.1 | 0.12 | 0.61 | 0.19905 | Cd: 3
| 2000-03-03 | 2540 | 110 | 8.3 | 6.2 | 0.16 | 1.93 | 0.62979 | Cd: 2
| 2000-03-04 | 1220 | 45 | 7.9 | 6.1 | 0.15 | 0.95 | 0.31 | Cd: 13
| 2000-03-06 | 1510 | 34 | 8.1 | 5.2 | 0.15 | 0.89 | 0.29042 | Cd: 0
| 2000-03-08 | 1660 | 50 | 8.2 | 4.9 | 0.14 | 0.98 | 0.31979 | Cd: 0
| 2000-03-23 | 3070 | 4.4 | 8.3 | 4.2 | 0 | 0.46 | 0.15011 | Cd: 0
| 2000-04-06 | 2920 | 3.2 | 8.3 | 5.1 | 0.12 | 0.52 | 0.16968 | Cd: 3
| 2000-04-18 | 1160 | 252 | 7.9 | 3.8 | 0.06 | 2.6 | 0.84842 | Cd: 0
| 2000-05-30 | 2820 | 1.8 | 8.3 | 3.5 | 0 | 0.49 | 0.15989 | Cd: 2
| 2000-06-29 | 2510 | 7.3 | 8.3 | 1.9 | 0 | 0.52 | 0.16968 | Cd: 2
Avg = |  | 2567 | 32.2025 | 8.035 | 8.9425 | 0.1055 | 0.82925 | 0.2706 | TSS: #DIV/0!; VSS: #DIV/0!; Cd: 2.9048
Median = |  | 2820 | 6.9 | 8.035 | 5.2 | 0.1 | 0.61 | 0.19905 | TSS: #DIV/0!; VSS: #DIV/0!; Cd: 2
Std Dev = |  | 765.5707 | 58.0306 | 0.21189 | 24.3792 | 0.21093 | 0.63683 | 0.20781 | TSS: #DIV/0!; VSS: #DIV/0!; Cd: 2.9368

## Ammonia conv.
Conversions--Total Ammonia --> Unionized (Toxic Ammonia)
pH | Total Ammonia (mg/L) | Conversion Factor 10 degrees Celsius | NH3 (mg/L) | Conversion Factor 25 degrees Celsius | NH3 (mg/L)
7.9 | 0
7.6 | 0
7.5 | 0
8.2 | 0
8 | 0
7.8 | 0.17 | 0.0116 | 0.001972 | 0.0329 | 0.005593
7.6 | 0.1 |  |  | 0.0217 | 0.00217
7.9 | 0.06 |  |  | 0.0424 | 0.002544
7.9 | 0.18 |  |  | 0.0424 | 0.007632
8.1 | 0.11 |  |  | 0.0655 | 0.007205
7.9 | 0.14 |  |  | 0.0424 | 0.005936
7.9 | 0.15 |  |  | 0.0424 | 0.00636
7.8 | 0.12 |  |  | 0.0329 | 0.003948
8 | 0.1 |  |  | 0.0528 | 0.00528
8.3 | 0.1 |  |  | 0.1 | 0.01
8.1 | 0.13 |  |  | 0.0655 | 0.008515
8.1 | 0 |  |  | 0.0655 | 0
8 | 0.1 |  |  | 0.0528 | 0.00528
8.3 | 0.13 |  |  | 0.1 | 0.013
7.8 | 0.17 |  |  | 0.0329 | 0.005593
7.8 | 0.14 |  |  | 0.0329 | 0.004606
8.2 | 0 |  |  |  | 0
8 | 0 |  |  |  | 0
8 | 0 |  |  |  | 0
8.1 | 0 |  |  |  | 0
8 | 0 |  |  |  | 0
8.2 | 0 |  |  |  | 0
8.2 | 0 |  |  |  | 0
8.2 | 0.08 |  |  | 0.0711 | 0.005688
8.2 | 1.34 |  |  | 0.0711 | 0.095274
8.2 | 0.12 |  |  | 0.0711 | 0.008532
8.3 | 0.16 |  |  | 0.1 | 0.016
7.9 | 0.15 |  |  | 0.0424 | 0.00636
8.1 | 0.15 |  |  | 0.0655 | 0.009825
8.2 | 0.14 |  |  | 0.0711 | 0.009954
8.3 | 0 |  |  | 0.1 | 0
8.3 | 0.12 |  |  | 0.1 | 0.012
7.9 | 0.06 |  |  | 0.0424 | 0.002544
8.3 | 0 |  |  | 0.1 | 0
8.3 | 0 |  |  | 0.1 | 0

## Sheet1
Aliso Creek NPDES Data