## Data
1999-2000 City of San Diego and Co-Permittee NPDES Stormwater Monitoring Program Report
Date | Station | Location | TDS | Sulfate | Chloride | Turbidity | Diazinon | Cadmium | Chromium | Total P
1998-06-10 | AHC-SA | AHC at Sycamore Ave | 1372 | ND | ND | ND | - | - | - | -
1998-06-10 | AHC-ECR | AHC at El Camino Real | 1716 | ND | ND | ND | - | - | - | -
1998-06-29 | LLP-978-405-AGH | Agua H. Creek | 1624 | 363 | 456 | ND | - | ND | ND | -
1998-11-08 | AH1 | Agua H. Creek | 853 | - | - | 72 | 0.16 | 0.007 | ND | 0.72
1999-01-31 | AH1 | Agua H. Creek | 892 | - | - | ND | ND | ND | ND | 0.13
1999-03-15 | AH1 | Agua H. Creek | 1611 | - | - | ND | 0.38 | ND | 0.12 | 0.12
2000-01-25 | AH1 | Agua H. Creek | 1356 | - | - | 22 | ND | ND | ND | ND
2000-02-20 | AH1 | Agua H. Creek | 335 | - | - | 52 | 0.47 | ND | ND | ND
2000-03-05 | AH1 | Agua H. Creek | 362 | - | - | 58 | 0.29 | ND | ND | ND
*Turbidity in NTU,diazinon in ug/l, all else in mg/l
Date | Station | Location | TDS | TDS | TDS | TDS
|  |  | (mg/L) | (mean) | (median) | (exceedance)
1998-06-10 | AHC-SA | AHC at Sycamore Ave | 1372
1998-06-29 | LLP-978-405-AGH | Agua H. Creek ???? | 1624
1998-06-10 | AHC-ECR | AHC at El Camino Real | 1716
1998-11-08 | AH1 | AHC at El Camino Real | 853
1999-01-31 | AH1 | AHC at El Camino Real | 892
1999-03-15 | AH1 | AHC at El Camino Real | 1611 | 1268 | 1251.5 | 4 of 4 (100%)
2000-01-25 | AH1 | AHC at El Camino Real | 1356
2000-02-20 | AH1 | AHC at El Camino Real | 335
2000-03-05 | AH1 | AHC at El Camino Real | 362 | 684.3333 | 362 | 1 of 3 (33%)
Overall Stats
|  | Average = | 1124.5556
|  | Median = | 1356
|  | Std Dev = | 534.2504
|  | 95% Confidence Intrvl = | 349.0372
|  | 95% CI Range = | 775.5 to 1474.0