## SVA_GA170_2000
File Name: J:\LIMSUSER\rkf\SVA_GA170_2000.csv
San Diego Water Quality Laboratory
WQL
Report By: RKF
Report Date: December 18, 2000 2:14 PM
Report Selection Criteria
Raw Value IS NOT NULL
Reportable(1/0) = 1
Sample Date BETWEEN '01-Jan-1996' AND '15-Dec-2000'
Source IN ('SVA-GA170')
Test Type IN ('SAMP')
Report Options
Equal_Weight_Samples=Y
Equal_Weight_Days=N
Apply_Less_Than=Y
Non_Detect_Mdl_Factor=NULL
Concatenate_Cells_Calculation=N
Quote_Strings=Y
Strip_Internal=N
Print_Comments=N
Output Specification
Source
Sample Date
Analysis
Analyte
Avg Units
| Avg Value | Decimal Digits: 3
Avg Qualifier
Report Data
Number of result records queried: 360
Number of summary records found: 339
Source | Sample Date | Analysis | Analyte | Avg Units | Avg Value | Avg Qualifier
QC Limits
Source | Sample Date | Analysis | Analyte | Begin Date | End Date | Metric
SVA-GA170 | 1996-03-04 | CLOSTRIDIA | C_PERFRINGENS | /100 L | 0.25 | <
SVA-GA170 | 1996-01-02 | TURBIDITY | COLOR | COLOR | 13
SVA-GA170 | 1996-01-08 | TURBIDITY | COLOR | COLOR | 12
SVA-GA170 | 1996-01-16 | TURBIDITY | COLOR | COLOR | 12
SVA-GA170 | 1996-01-22 | PH_MANUAL | COLOR | COLOR | 14
SVA-GA170 | 1996-01-29 | COLOR | COLOR | COLOR | 14
SVA-GA170 | 1996-02-05 | TURBIDITY | COLOR | COLOR | 19
SVA-GA170 | 1996-02-12 | TURBIDITY | COLOR | COLOR | 18
SVA-GA170 | 1996-02-21 | TURBIDITY | COLOR | COLOR | 13
SVA-GA170 | 1996-02-26 | PH_MANUAL | COLOR | COLOR | 13
SVA-GA170 | 1996-03-04 | TURBIDITY | COLOR | COLOR | 15
SVA-GA170 | 1996-03-11 | COLOR | COLOR | COLOR | 22
SVA-GA170 | 1996-03-18 | COLOR | COLOR | COLOR | 67
SVA-GA170 | 1998-02-17 | TURBIDITY | COLOR | COLOR | 18
SVA-GA170 | 1998-02-23 | TURBIDITY | COLOR | COLOR | 25
SVA-GA170 | 1998-03-02 | COLOR | COLOR | COLOR | 39
SVA-GA170 | 1998-03-09 | COLOR | COLOR | COLOR | 31
SVA-GA170 | 1998-03-16 | COLOR | COLOR | COLOR | 25
SVA-GA170 | 1998-03-23 | COLOR | COLOR | COLOR | 26
SVA-GA170 | 1998-03-30 | COLOR | COLOR | COLOR | 20
SVA-GA170 | 1998-04-06 | COLOR | COLOR | COLOR | 25.5
SVA-GA170 | 1998-04-13 | COLOR | COLOR | COLOR | 25
SVA-GA170 | 1998-04-20 | COLOR | COLOR | COLOR | 29
SVA-GA170 | 1998-04-27 | TURBIDITY | COLOR | COLOR | 28
SVA-GA170 | 1998-05-04 | COLOR | COLOR | COLOR | 29
SVA-GA170 | 1998-05-11 | COLOR | COLOR | COLOR | 30
SVA-GA170 | 1998-05-18 | COLOR | COLOR | COLOR | 30
SVA-GA170 | 1998-05-26 | UV254 | COLOR | COLOR | 25
SVA-GA170 | 1998-06-01 | TURBIDITY | COLOR | COLOR | 26
SVA-GA170 | 1998-06-08 | COLOR | COLOR | COLOR | 24
SVA-GA170 | 1998-06-15 | COLOR | COLOR | COLOR | 27
SVA-GA170 | 1998-06-22 | COLOR | COLOR | COLOR | 25
SVA-GA170 | 1998-06-29 | TURBIDITY | COLOR | COLOR | 22
SVA-GA170 | 1998-07-06 | COLOR | COLOR | COLOR | 20
SVA-GA170 | 1998-07-13 | TURBIDITY | COLOR | COLOR | 18
SVA-GA170 | 1998-07-20 | COLOR | COLOR | COLOR | 19
SVA-GA170 | 1998-07-27 | COLOR | COLOR | COLOR | 17
SVA-GA170 | 1998-08-03 | COLOR | COLOR | COLOR | 15
SVA-GA170 | 1998-08-10 | COLOR | COLOR | COLOR | 16
SVA-GA170 | 1998-08-17 | COLOR | COLOR | COLOR | 16
SVA-GA170 | 1998-08-24 | COLOR | COLOR | COLOR | 18
SVA-GA170 | 1998-08-31 | COLOR | COLOR | COLOR | 19.5
SVA-GA170 | 1998-09-08 | TURBIDITY | COLOR | COLOR | 18
SVA-GA170 | 1998-09-14 | TURBIDITY | COLOR | COLOR | 19
SVA-GA170 | 1998-09-21 | TURBIDITY | COLOR | COLOR | 16
SVA-GA170 | 1998-09-28 | COLOR | COLOR | COLOR | 15
SVA-GA170 | 1998-10-05 | COLOR | COLOR | COLOR | 13
SVA-GA170 | 1998-10-12 | COLOR | COLOR | COLOR | 14
SVA-GA170 | 1998-10-19 | COLOR | COLOR | COLOR | 14
SVA-GA170 | 1998-10-26 | COLOR | COLOR | COLOR | 14
SVA-GA170 | 1998-11-02 | COLOR | COLOR | COLOR | 14
SVA-GA170 | 1998-11-09 | TURBIDITY | COLOR | COLOR | 15
SVA-GA170 | 1998-11-16 | COLOR | COLOR | COLOR | 15
SVA-GA170 | 1998-11-23 | COLOR | COLOR | COLOR | 16
SVA-GA170 | 1998-11-30 | COLOR | COLOR | COLOR | 16
SVA-GA170 | 1998-12-07 | COLOR | COLOR | COLOR | 15
SVA-GA170 | 1998-12-14 | COLOR | COLOR | COLOR | 15
SVA-GA170 | 1998-12-21 | COLOR | COLOR | COLOR | 15
SVA-GA170 | 1999-01-04 | COLOR | COLOR | COLOR | 18
SVA-GA170 | 1999-01-11 | COLOR | COLOR | COLOR | 17
SVA-GA170 | 1999-01-19 | COLOR | COLOR | COLOR | 17
SVA-GA170 | 1999-01-25 | COLOR | COLOR | COLOR | 14.5
SVA-GA170 | 1999-02-01 | COLOR | COLOR | COLOR | 17
SVA-GA170 | 1999-02-08 | COLOR | COLOR | COLOR | 14
SVA-GA170 | 1999-02-22 | COLOR | COLOR | COLOR | 21
SVA-GA170 | 1996-01-02 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1996-01-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1996-01-16 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1996-01-22 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1996-01-29 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1996-02-05 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1996-02-12 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1996-02-21 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1996-02-26 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1996-03-04 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1996-03-11 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1996-03-18 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1998-02-17 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 5
SVA-GA170 | 1998-02-23 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 16
SVA-GA170 | 1998-03-02 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 21
SVA-GA170 | 1998-03-09 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 17
SVA-GA170 | 1998-03-16 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1998-03-23 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 5
SVA-GA170 | 1998-03-30 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 34
SVA-GA170 | 1998-04-06 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 35
SVA-GA170 | 1998-04-13 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1998-04-20 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1998-04-27 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1998-05-04 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1998-05-11 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 3
SVA-GA170 | 1998-05-18 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 4
SVA-GA170 | 1998-05-26 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1998-06-01 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 3
SVA-GA170 | 1998-06-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVA-GA170 | 1998-06-15 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1998-06-22 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVA-GA170 | 1998-06-29 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 4
SVA-GA170 | 1998-07-06 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1998-07-13 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 3
SVA-GA170 | 1998-07-20 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 3
SVA-GA170 | 1998-07-27 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVA-GA170 | 1998-08-05 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1998-08-10 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 4
SVA-GA170 | 1998-08-17 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1998-08-24 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 3
SVA-GA170 | 1998-08-31 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 3
SVA-GA170 | 1998-09-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 3
SVA-GA170 | 1998-09-14 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 3
SVA-GA170 | 1998-09-21 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 5
SVA-GA170 | 1998-09-24 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1998-10-01 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1998-10-05 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1998-10-12 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1998-10-19 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1998-10-26 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1998-11-09 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1998-11-16 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1998-11-23 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVA-GA170 | 1998-11-30 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVA-GA170 | 1998-12-14 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVA-GA170 | 1998-12-21 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1999-01-11 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 3
SVA-GA170 | 1999-01-19 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVA-GA170 | 1999-01-25 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVA-GA170 | 1999-02-01 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1999-02-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVA-GA170 | 1999-02-22 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 4
SVA-GA170 | 1996-01-02 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1996-01-08 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1996-01-16 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1996-01-22 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1996-01-29 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1996-02-05 | MF_FC | F_COLIFORM | CFU/100ML | 6
SVA-GA170 | 1996-02-12 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1996-02-21 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1996-02-26 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1996-03-04 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1996-03-11 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1996-03-18 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1998-02-17 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVA-GA170 | 1998-02-23 | MF_FC | F_COLIFORM | CFU/100ML | 5
SVA-GA170 | 1998-03-02 | MF_FC | F_COLIFORM | CFU/100ML | 12
SVA-GA170 | 1998-03-09 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVA-GA170 | 1998-03-16 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1998-03-23 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1998-03-30 | MF_FC | F_COLIFORM | CFU/100ML | 20
SVA-GA170 | 1998-04-06 | MF_FC | F_COLIFORM | CFU/100ML | 6
SVA-GA170 | 1998-04-13 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVA-GA170 | 1998-04-20 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1998-04-27 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVA-GA170 | 1998-05-04 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1998-05-11 | MF_FC | F_COLIFORM | CFU/100ML | 3
SVA-GA170 | 1998-05-18 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1998-05-26 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1998-06-01 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1998-06-08 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVA-GA170 | 1998-06-15 | MF_FC | F_COLIFORM | CFU/100ML | 3
SVA-GA170 | 1998-06-22 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1998-06-29 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1998-07-06 | MF_FC | F_COLIFORM | CFU/100ML | 4
SVA-GA170 | 1998-07-13 | MF_FC | F_COLIFORM | CFU/100ML | 3
SVA-GA170 | 1998-07-20 | MF_FC | F_COLIFORM | CFU/100ML | 3
SVA-GA170 | 1998-07-27 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1998-08-05 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVA-GA170 | 1998-08-10 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1998-08-17 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1998-08-24 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1998-08-31 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1998-09-08 | MF_FC | F_COLIFORM | CFU/100ML | 3
SVA-GA170 | 1998-09-14 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVA-GA170 | 1998-09-21 | MF_FC | F_COLIFORM | CFU/100ML | 9
SVA-GA170 | 1998-09-24 | MF_FC | F_COLIFORM | CFU/100ML | 3
SVA-GA170 | 1998-09-28 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1998-10-01 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1998-10-05 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1998-10-12 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1998-10-19 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1998-10-26 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1998-11-09 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1998-11-16 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1998-11-23 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1998-11-30 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1998-12-14 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVA-GA170 | 1998-12-21 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1999-01-04 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1999-01-11 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1999-01-19 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVA-GA170 | 1999-01-25 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1999-02-01 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1999-02-08 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1999-02-22 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVA-GA170 | 1996-01-02 | MPN | T_COLIFORM | /100 ML | 110
SVA-GA170 | 1996-01-08 | MPN | T_COLIFORM | /100 ML | 500
SVA-GA170 | 1996-01-16 | MPN | T_COLIFORM | /100 ML | 13
SVA-GA170 | 1996-01-22 | MPN | T_COLIFORM | /100 ML | 8
SVA-GA170 | 1996-01-29 | MPN | T_COLIFORM | /100 ML | 2
SVA-GA170 | 1996-02-05 | MPN | T_COLIFORM | /100 ML | 11
SVA-GA170 | 1996-02-12 | MPN | T_COLIFORM | /100 ML | 13
SVA-GA170 | 1996-02-21 | MPN | T_COLIFORM | /100 ML | 1600 | >
SVA-GA170 | 1996-02-26 | MPN | T_COLIFORM | /100 ML | 280
SVA-GA170 | 1996-03-04 | MPN | T_COLIFORM | /100 ML | 30
SVA-GA170 | 1996-03-11 | MPN | T_COLIFORM | /100 ML | 4
SVA-GA170 | 1996-03-18 | MPN | T_COLIFORM | /100 ML | 70
SVA-GA170 | 1998-02-17 | MPN | T_COLIFORM | /100 ML | 81
SVA-GA170 | 1998-02-23 | MPN | T_COLIFORM | /100 ML | 3000
SVA-GA170 | 1998-03-02 | MPN | T_COLIFORM | /100 ML | 5000
SVA-GA170 | 1998-03-09 | MPN | T_COLIFORM | /100 ML | 70
SVA-GA170 | 1998-03-16 | MPN | T_COLIFORM | /100 ML | 75
SVA-GA170 | 1998-03-23 | MPN | T_COLIFORM | /100 ML | 110
SVA-GA170 | 1998-03-30 | MPN | T_COLIFORM | /100 ML | 2800
SVA-GA170 | 1998-04-06 | MPN | T_COLIFORM | /100 ML | 30
SVA-GA170 | 1998-04-13 | MPN | T_COLIFORM | /100 ML | 40
SVA-GA170 | 1998-04-20 | MPN | T_COLIFORM | /100 ML | 23
SVA-GA170 | 1998-04-27 | MPN | T_COLIFORM | /100 ML | 4
SVA-GA170 | 1998-05-04 | MPN | T_COLIFORM | /100 ML | 70
SVA-GA170 | 1998-05-11 | MPN | T_COLIFORM | /100 ML | 800
SVA-GA170 | 1998-05-18 | MPN | T_COLIFORM | /100 ML | 30
SVA-GA170 | 1998-05-26 | MPN | T_COLIFORM | /100 ML | 17
SVA-GA170 | 1998-06-01 | MPN | T_COLIFORM | /100 ML | 30
SVA-GA170 | 1998-06-08 | MPN | T_COLIFORM | /100 ML | 13
SVA-GA170 | 1998-06-15 | MPN | T_COLIFORM | /100 ML | 300
SVA-GA170 | 1998-06-22 | MPN | T_COLIFORM | /100 ML | 1600
SVA-GA170 | 1998-06-29 | MPN | T_COLIFORM | /100 ML | 170
SVA-GA170 | 1998-07-06 | MPN | T_COLIFORM | /100 ML | 1300
SVA-GA170 | 1998-07-13 | MPN | T_COLIFORM | /100 ML | 16000 | >
SVA-GA170 | 1998-07-20 | MPN | T_COLIFORM | /100 ML | 350
SVA-GA170 | 1998-07-27 | MPN | T_COLIFORM | /100 ML | 140
SVA-GA170 | 1998-08-05 | MPN | T_COLIFORM | /100 ML | 300
SVA-GA170 | 1998-08-10 | MPN | T_COLIFORM | /100 ML | 80
SVA-GA170 | 1998-08-17 | MPN | T_COLIFORM | /100 ML | 240
SVA-GA170 | 1998-08-24 | MPN | T_COLIFORM | /100 ML | 50
SVA-GA170 | 1998-08-31 | MPN | T_COLIFORM | /100 ML | 17
SVA-GA170 | 1998-09-08 | MPN | T_COLIFORM | /100 ML | 70
SVA-GA170 | 1998-09-14 | MPN | T_COLIFORM | /100 ML | 170
SVA-GA170 | 1998-09-21 | MPN | T_COLIFORM | /100 ML | 1600 | >
SVA-GA170 | 1998-09-24 | MPN | T_COLIFORM | /100 ML | 16000
SVA-GA170 | 1998-09-28 | MPN | T_COLIFORM | /100 ML | 16000 | >
SVA-GA170 | 1998-10-01 | MPN | T_COLIFORM | /100 ML | 16000 | >
SVA-GA170 | 1998-10-05 | MPN | T_COLIFORM | /100 ML | 16000
SVA-GA170 | 1998-10-12 | MPN | T_COLIFORM | /100 ML | 5000
SVA-GA170 | 1998-10-19 | MPN | T_COLIFORM | /100 ML | 350
SVA-GA170 | 1998-10-26 | MPN | T_COLIFORM | /100 ML | 21
SVA-GA170 | 1998-11-09 | MPN | T_COLIFORM | /100 ML | 350
SVA-GA170 | 1998-11-16 | MPN | T_COLIFORM | /100 ML | 13
SVA-GA170 | 1998-11-23 | MPN | T_COLIFORM | /100 ML | 30
SVA-GA170 | 1998-11-30 | MPN | T_COLIFORM | /100 ML | 50
SVA-GA170 | 1998-12-07 | MPN | T_COLIFORM | /100 ML | 30
SVA-GA170 | 1998-12-14 | MPN | T_COLIFORM | /100 ML | 2200
SVA-GA170 | 1998-12-21 | MPN | T_COLIFORM | /100 ML | 90
SVA-GA170 | 1999-01-04 | MPN | T_COLIFORM | /100 ML | 1300
SVA-GA170 | 1999-01-11 | MPN | T_COLIFORM | /100 ML | 14
SVA-GA170 | 1999-01-19 | MPN | T_COLIFORM | /100 ML | 23
SVA-GA170 | 1999-01-25 | MPN | T_COLIFORM | /100 ML | 13
SVA-GA170 | 1999-02-01 | MPN | T_COLIFORM | /100 ML | 23
SVA-GA170 | 1999-02-08 | MPN | T_COLIFORM | /100 ML | 17
SVA-GA170 | 1999-02-22 | MPN | T_COLIFORM | /100 ML | 32
SVA-GA170 | 1996-01-16 | TOC | TOC | MG/L | 5.8
SVA-GA170 | 1996-02-12 | TOC | TOC | MG/L | 6.1
SVA-GA170 | 1996-03-11 | TOC | TOC | MG/L | 6.61
SVA-GA170 | 1998-03-16 | TOC | TOC | MG/L | 5.3
SVA-GA170 | 1998-04-13 | TOC | TOC | MG/L | 5.56
SVA-GA170 | 1998-05-18 | TOC | TOC | MG/L | 6.22
SVA-GA170 | 1998-06-15 | TOC | TOC | MG/L | 6.16
SVA-GA170 | 1998-07-06 | TOC | TOC | MG/L | 5.63
SVA-GA170 | 1998-08-10 | TOC | TOC | MG/L | 5.46
SVA-GA170 | 1998-09-21 | TOC | TOC | MG/L | 6.15
SVA-GA170 | 1998-10-19 | TOC | TOC | MG/L | 5.5
SVA-GA170 | 1998-12-14 | TOC | TOC | MG/L | 4.87
SVA-GA170 | 1996-01-08 | TON | TON | ODOR | 1
SVA-GA170 | 1996-01-16 | TON | TON | ODOR | 3
SVA-GA170 | 1998-03-16 | TON | TON | ODOR | 24 | >
SVA-GA170 | 1998-09-21 | TON | TON | ODOR | 12
SVA-GA170 | 1998-10-05 | TON | TON | ODOR | 8
SVA-GA170 | 1998-10-12 | TON | TON | ODOR | 12
SVA-GA170 | 1998-10-19 | TON | TON | ODOR | 8
SVA-GA170 | 1998-11-23 | TON | TON | ODOR | 8
SVA-GA170 | 1999-02-22 | TON | TON | ODOR | 4
SVA-GA170 | 1996-01-02 | TURBIDITY | TURBIDITY | NTU | 0.84
SVA-GA170 | 1996-01-08 | TURBIDITY | TURBIDITY | NTU | 0.63
SVA-GA170 | 1996-01-16 | TURBIDITY | TURBIDITY | NTU | 0.66
SVA-GA170 | 1996-01-22 | CONDUCTIVITY | TURBIDITY | NTU | 1.06
SVA-GA170 | 1996-01-29 | COLOR | TURBIDITY | NTU | 0.97
SVA-GA170 | 1996-02-05 | TURBIDITY | TURBIDITY | NTU | 1.55
SVA-GA170 | 1996-02-12 | TURBIDITY | TURBIDITY | NTU | 1.7
SVA-GA170 | 1996-02-21 | TURBIDITY | TURBIDITY | NTU | 0.86
SVA-GA170 | 1996-02-26 | TURBIDITY | TURBIDITY | NTU | 0.83
SVA-GA170 | 1996-03-04 | TURBIDITY | TURBIDITY | NTU | 1.07
SVA-GA170 | 1996-03-11 | PH_MANUAL | TURBIDITY | NTU | 1.55
SVA-GA170 | 1996-03-18 | COLOR | TURBIDITY | NTU | 3.65
SVA-GA170 | 1998-02-17 | TURBIDITY | TURBIDITY | NTU | 3.34
SVA-GA170 | 1998-02-23 | TURBIDITY | TURBIDITY | NTU | 5.58
SVA-GA170 | 1998-03-02 | COLOR | TURBIDITY | NTU | 7.81
SVA-GA170 | 1998-03-09 | COLOR | TURBIDITY | NTU | 5.15
SVA-GA170 | 1998-03-16 | COLOR | TURBIDITY | NTU | 2.31
SVA-GA170 | 1998-03-23 | COLOR | TURBIDITY | NTU | 2.58
SVA-GA170 | 1998-03-30 | COLOR | TURBIDITY | NTU | 2.51
SVA-GA170 | 1998-04-06 | COLOR | TURBIDITY | NTU | 3.59
SVA-GA170 | 1998-04-13 | COLOR | TURBIDITY | NTU | 2.38
SVA-GA170 | 1998-04-20 | COLOR | TURBIDITY | NTU | 2.93
SVA-GA170 | 1998-04-27 | TURBIDITY | TURBIDITY | NTU | 1.71
SVA-GA170 | 1998-05-04 | COLOR | TURBIDITY | NTU | 2.71
SVA-GA170 | 1998-05-11 | COLOR | TURBIDITY | NTU | 2.24
SVA-GA170 | 1998-05-18 | COLOR | TURBIDITY | NTU | 2.41
SVA-GA170 | 1998-05-26 | UV254 | TURBIDITY | NTU | 3.01
SVA-GA170 | 1998-06-01 | TURBIDITY | TURBIDITY | NTU | 2.57
SVA-GA170 | 1998-06-08 | COLOR | TURBIDITY | NTU | 2.94
SVA-GA170 | 1998-06-15 | COLOR | TURBIDITY | NTU | 2.43
SVA-GA170 | 1998-06-22 | COLOR | TURBIDITY | NTU | 2.3
SVA-GA170 | 1998-06-29 | TURBIDITY | TURBIDITY | NTU | 2.84
SVA-GA170 | 1998-07-06 | COLOR | TURBIDITY | NTU | 2.53
SVA-GA170 | 1998-07-13 | TURBIDITY | TURBIDITY | NTU | 1.8
SVA-GA170 | 1998-07-20 | COLOR | TURBIDITY | NTU | 1.45
SVA-GA170 | 1998-07-27 | COLOR | TURBIDITY | NTU | 1.65
SVA-GA170 | 1998-08-03 | COLOR | TURBIDITY | NTU | 1.48
SVA-GA170 | 1998-08-10 | COLOR | TURBIDITY | NTU | 1.66
SVA-GA170 | 1998-08-17 | COLOR | TURBIDITY | NTU | 1.36
SVA-GA170 | 1998-08-24 | COLOR | TURBIDITY | NTU | 2.23
SVA-GA170 | 1998-08-31 | COLOR | TURBIDITY | NTU | 1.87
SVA-GA170 | 1998-09-08 | TURBIDITY | TURBIDITY | NTU | 1.87
SVA-GA170 | 1998-09-14 | TURBIDITY | TURBIDITY | NTU | 1.48
SVA-GA170 | 1998-09-21 | TURBIDITY | TURBIDITY | NTU | 1.21
SVA-GA170 | 1998-09-28 | COLOR | TURBIDITY | NTU | 1.14
SVA-GA170 | 1998-10-05 | COLOR | TURBIDITY | NTU | 0.69
SVA-GA170 | 1998-10-12 | COLOR | TURBIDITY | NTU | 0.78
SVA-GA170 | 1998-10-19 | COLOR | TURBIDITY | NTU | 0.67
SVA-GA170 | 1998-10-26 | COLOR | TURBIDITY | NTU | 0.47
SVA-GA170 | 1998-11-02 | COLOR | TURBIDITY | NTU | 0.61
SVA-GA170 | 1998-11-09 | TURBIDITY | TURBIDITY | NTU | 0.82
SVA-GA170 | 1998-11-23 | TURBIDITY | TURBIDITY | NTU | 1.05
SVA-GA170 | 1998-11-30 | TURBIDITY | TURBIDITY | NTU | 0.58
SVA-GA170 | 1998-12-07 | TURBIDITY | TURBIDITY | NTU | 0.83
SVA-GA170 | 1998-12-14 | TURBIDITY | TURBIDITY | NTU | 0.88
SVA-GA170 | 1998-12-21 | TURBIDITY | TURBIDITY | NTU | 0.94
SVA-GA170 | 1999-01-11 | TURBIDITY | TURBIDITY | NTU | 1.23
SVA-GA170 | 1999-01-19 | TURBIDITY | TURBIDITY | NTU | 0.89
SVA-GA170 | 1999-01-25 | TURBIDITY | TURBIDITY | NTU | 1.3
SVA-GA170 | 1999-02-01 | TURBIDITY | TURBIDITY | NTU | 1.19
SVA-GA170 | 1999-02-08 | TURBIDITY | TURBIDITY | NTU | 0.81
SVA-GA170 | 1999-02-22 | TURBIDITY | TURBIDITY | NTU | 1.52
[7 empty] | Test Type | Recovery Type | Value(%) | LCL | LWL | UWL | UCL | Assessment