303(d) Fact Sheet Region 9 Water Quality Control Board

(Sandia Creek 902.22 – listing)

# Summary of Proposed Action

Based on the available data submitted, it is recommended that Sandia Creek be added to the 303d list of impaired water bodies for TDS, iron and sulfate.  It should also be documented as threatened for manganese, phosphorous and lead in the 305b assessment.

303(d) Listing / TMDL Information

- Waterbody Name – Sandia Creek

- Hydrologic Unit – 902.22

- Total Waterbody Size –  3.6 miles

- Potential Pollutants / Stressors – TDS, Fe, SO4, Mn, P, Pb

- Suspected Sources – development/urban runoff? agricultural activities?

natural sources? imported water supply

- Extent of Impairment –  3.6 miles?

- TMDL Priority – medium

#### Watershed Characteristics

Santa Margarita Hydrologic Unit is a rectangular area of approximately 750 square miles.  It includes portions of US Marine Corps’ Camp Pendleton, as well as the civilian populations of Murrieta, Temecula, and part of Fallbrook. The Santa Margarita Hydrologic Unit is comprised of the following nine hydrologic areas: the Ysidora, Deluz, Murrieta, Auld, Pechanga, Wilson, Cave Rocks, Aguanga and Oak Grove Hydrologic Areas. Annual precipitation ranges from less that 12 inches near the coast to more than 45 inches inland near Palomar Mountain. The major surface water storage areas are Vail Lake and O'Neil Lake.1

Santa Margarita Hydrologic Unit is drained largely by the Santa Margarita River, Murrieta Creek and the Temecula Creek.  The Santa Margarita flows approximately 27 miles from the confluence of Temecula Creek and Murrieta Creek toward the Pacific Ocean to the Santa Margarita Lagoon, which lies within the Camp Pendleton Naval Reservation of the US Marine Corps.  The slough at the mouth of the river is normally closed off from the ocean by a sandbar.  The Santa Margarita River provides groundwater recharge to Camp Pendleton’s only domestic water supply. 1,2

Sandia Creek is located near Fallbrook and flows from the north into Santa Margarita River just downstream from the Rainbow Creek confluence with the Santa Margarita.

Water Quality Objectives Not Attained (or Objectives being Attained for Delisting)

The designated beneficial uses for Sandia Creek includes MUN, AGR, IND, REC1, REC2, WARM, COLD, and WILD.1 Since this waterbody is designated as MUN, drinking water standards were used as criteria.   Data shows exceedances of secondary drinking water MCLs6 and for Basin Plan objectives.

# Evidence of Impairment

Based on quarterly surface water quality data collected, compiled and analyzed by Camp Pendleton for 1997-2000, Sandia Creek has consistently exceeded water quality standards for TDS, iron,  and sulfates at 100%, 36% and 45%, respectively.   Additionally and to a lesser degree, there were exceedances for manganese and phosphorus at 18% and 17%, respectively.2

Grab sampling conducted by the SDRWQCB in June 1998 confirmed the high TDS levels in Sandia Creek.  These samples also showed exceedances of standards for As, Cr, Cu, Ni and Pb.  However since these were only single grab samples, they did not serve as the basis for listing, but did support recommendations for the listings.3

Though the proceeding documents exceedances of Basin Plan and drinking water standards for various parameters, review of historical trend data for Sandia Creek (also compiled by Camp Pendleton) from 1965-2000, illustrates consistently increasing trends in TDS, iron and sulfate concentrations indicating a decrease in water quality.  Trend data for manganese suggests there is no evidence of increasing trends and may represent ambient conditions.

TSMP fish tissue samples were collected and analyzed in 1998.  Analysis showed no exceedances of MTRLs, NAS, FDA, or EDLs.

Extent of Impairment (or Extent of Attainment)

3.6 miles

#### Potential Sources

Unknown -  possibly development/urban runoff? agricultural activities? natural sources? imported water supply

#### TMDL Priority

Medium – There are current and extensive efforts underway to address water quality issues in the Santa Margarita Watershed.5  Various stakeholders have recognized and identified some existing and potential water quality issues and are attempting to gain a better understanding, conduct more monitoring, target pollutant sources and develop comprehensive management strategies.  TMDLs would provide the legal framework necessary to address some of these problems and could assist in this coordinated effort and be a major component of this work.

###### Notes

TDS may consist of carbonates, bicarbonates, chlorides, sulfates, phosphates, nitrates, magnesium, sodium, iron and manganese.  The most frequent constituents are usually salts (sodium, chloride, boron, etc.)  Most of the problem can be traced to human impacts, and therefore, can be cleaned up. Geologic conditions help to define the natural levels of many of these constituents.  High TDS concentrations may be expected to impair the MUN beneficial use1. High concentrations of TDS are also expected to impact the AGR beneficial use directly through irrigation waters or indirectly through adverse effects on soil permeability.  TDS values between 450 to 2000 mg/L are expected to have a slight to moderate restriction on use of waters for irrigation of crops1.  All 12 TDS samples exceeded the Basin Plan Standard of 750 mg/L.1

###### Iron

Thirty-six percent of eleven samples exceeded the secondary MCL of 0.3 mg/L for drinking water.6  “Excess iron is undesirable because it causes unpleasant tastes, deposits on food during cooking, stains and discolors laundry and plumbing fixtures.”1  This exceedance is expected to impair the MUN beneficial use.

###### Sulfate

Forty-Five percent of 11 samples exceeded the secondary MCL of 250 mg/L for drinking water.6  High sulfate concentrations are expected to impair the MUN beneficial use.  The Basin Plan recommends a secondary drinking water standard of 250 mg/L, with a upper limit of 500 mg/L.1  While this upper limit has not yet been reached, the observed trend indicates an increasing concentration.

###### References

1 Water Quality Water Quality Control Plan for the San Diego Basin – Region 9. CA RWQCB, San Diego Region. September 1994, amended Oct. 1994 and May 1998.

2 Final Report of Water Quality Studies & Proposed Watershed Monitoring Program for Portions of San Mateo & Santa Margarita River Watershed. Marine Corps Base, Camp Pendleton, CA. Contract No. N68711-95-D-7573, D.O. 0021.

3 Santa Margarita Watershed Sampling. 	San Diego Regional Water Quality Control Board, L. Pardy. June 1998.

4Preliminary Summary of 1998 Data Organic Chemicals in Fish & Clams. Toxic Substance Monitoring Program, SWRCB DWQ, D. Rassmussen. 1999.

5 DRAFT Framework Monitoring Plan for the Santa Margarita Watershed California. US Bureau of Reclamation. CDM Federal Corp., Boyle Engr. Corp. RECON.  Feb 2001.

6 CA Code of Regulations, Title 22, MCLs.