## OTA_GA117_2000
File Name: J:\LIMSUSER\rkf\OTA_GA117_2000.csv
San Diego Water Quality Laboratory
WQL
Report By: RKF
Report Date: December 19, 2000 6:55 AM
Report Selection Criteria
Raw Value IS NOT NULL
Reportable(1/0) = 1
Sample Date BETWEEN '01-Jan-1996' AND '15-Dec-2000'
Source IN ('OTA-GA117')
Test Type IN ('SAMP')
Report Options
Equal_Weight_Samples=Y
Equal_Weight_Days=N
Apply_Less_Than=Y
Non_Detect_Mdl_Factor=NULL
Concatenate_Cells_Calculation=N
Quote_Strings=Y
Strip_Internal=N
Print_Comments=N
Output Specification
Source
Sample Date
Analysis
Analyte
Avg Units
| Avg Value | Decimal Digits: 3
Avg Qualifier
Report Data
Number of result records queried: 982
Number of summary records found: 892
Source | Sample Date | Analysis | Analyte | Avg Units | Avg Value | Avg Qualifier | EXCEEDANCES
OTA-GA117 | 1997-06-05 | PH_ALK_MAN | ALKALINITY_TOT | MG/L | 155
OTA-GA117 | 1999-02-11 | PLANKTON | ANKISTRODESMUS | STD_U/ML | 27
OTA-GA117 | 1996-11-21 | PLANKTON | CERATIUM | STD_U/ML | 259
OTA-GA117 | 1996-09-19 | PLANKTON | CHLORELLA | STD_U/ML | 17
OTA-GA117 | 1996-10-24 | PLANKTON | CHLORELLA | STD_U/ML | 43
OTA-GA117 | 1999-02-11 | PLANKTON | CLOSTERIUM | STD_U/ML | 44
OTA-GA117 | 1996-08-22 | TURBIDITY | COLOR | COLOR | 10
OTA-GA117 | 1998-09-29 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 1998-10-06 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 1998-10-15 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 1998-10-20 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 1998-10-27 | COLOR | COLOR | COLOR | 15.5 |  | 0 | 1
OTA-GA117 | 1998-11-03 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA117 | 1999-02-23 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA117 | 1999-03-04 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA117 | 1999-03-09 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA117 | 1999-03-16 | COLOR | COLOR | COLOR | 18 |  | 0 | 1
OTA-GA117 | 1999-03-25 | COLOR | COLOR | COLOR | 21 |  | 1 | 1
OTA-GA117 | 1999-03-30 | COLOR | COLOR | COLOR | 19 |  | 0 | 1
OTA-GA117 | 1999-04-08 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA117 | 1999-04-13 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA117 | 1999-04-20 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 1999-04-29 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA117 | 1999-05-06 | COLOR | COLOR | COLOR | 18 |  | 0 | 1
OTA-GA117 | 1999-05-13 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA117 | 1999-05-18 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 1999-05-27 | COLOR | COLOR | COLOR | 19 |  | 0 | 1
OTA-GA117 | 1999-06-03 | COLOR | COLOR | COLOR | 18 |  | 0 | 1
OTA-GA117 | 1999-06-10 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 1999-06-15 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 1999-06-22 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA117 | 1999-06-29 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 1999-07-08 | COLOR | COLOR | COLOR | 12 |  | 0 | 1
OTA-GA117 | 1999-07-13 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA117 | 1999-07-22 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA117 | 1999-07-26 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA117 | 1999-08-05 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA117 | 1999-08-10 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA117 | 1999-08-17 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA117 | 1999-08-24 | COLOR | COLOR | COLOR | 13.5 |  | 0 | 1
OTA-GA117 | 1999-08-31 | COLOR | COLOR | COLOR | 11 |  | 0 | 1
OTA-GA117 | 1999-09-09 | COLOR | COLOR | COLOR | 12 |  | 0 | 1
OTA-GA117 | 1999-09-16 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA117 | 1999-09-21 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA117 | 1999-09-28 | COLOR | COLOR | COLOR | 11 |  | 0 | 1
OTA-GA117 | 1999-10-07 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA117 | 1999-10-14 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA117 | 1999-10-21 | COLOR | COLOR | COLOR | 10 |  | 0 | 1
OTA-GA117 | 1999-10-26 | COLOR | COLOR | COLOR | 10 |  | 0 | 1
OTA-GA117 | 1999-11-02 | COLOR | COLOR | COLOR | 12 |  | 0 | 1
OTA-GA117 | 1999-11-09 | COLOR | COLOR | COLOR | 10 |  | 0 | 1
OTA-GA117 | 1999-11-16 | COLOR | COLOR | COLOR | 12 |  | 0 | 1
OTA-GA117 | 1999-11-23 | COLOR | COLOR | COLOR | 12 |  | 0 | 1
OTA-GA117 | 1999-11-30 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 1999-12-09 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA117 | 1999-12-14 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA117 | 1999-12-21 | COLOR | COLOR | COLOR | 18 |  | 0 | 1
OTA-GA117 | 1999-12-28 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA117 | 2000-01-04 | COLOR | COLOR | COLOR | 18 |  | 0 | 1
OTA-GA117 | 2000-01-13 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 2000-01-20 | COLOR | COLOR | COLOR | 19 |  | 0 | 1
OTA-GA117 | 2000-01-26 | COLOR | COLOR | COLOR | 19 |  | 0 | 1
OTA-GA117 | 2000-02-03 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 2000-02-10 | COLOR | COLOR | COLOR | 15.5 |  | 0 | 1
OTA-GA117 | 2000-02-17 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 2000-02-24 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 2000-03-02 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 2000-03-09 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA117 | 2000-03-16 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 2000-03-23 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 2000-03-30 | COLOR | COLOR | COLOR | 16.5 |  | 0 | 1
OTA-GA117 | 2000-04-06 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA117 | 2000-04-13 | COLOR | COLOR | COLOR | 17.5 |  | 0 | 1
OTA-GA117 | 2000-04-20 | COLOR | COLOR | COLOR | 16.5 |  | 0 | 1
OTA-GA117 | 2000-04-27 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA117 | 2000-05-04 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA117 | 2000-05-08 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA117 | 2000-05-18 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 2000-05-25 | COLOR | COLOR | COLOR | 12 |  | 0 | 1
OTA-GA117 | 2000-06-01 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA117 | 2000-06-08 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 2000-06-15 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 2000-06-22 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 2000-06-29 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 2000-07-06 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 2000-07-13 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 2000-07-17 | COLOR | COLOR | COLOR | 18 |  | 0 | 1
OTA-GA117 | 2000-07-24 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA117 | 2000-08-03 | COLOR | COLOR | COLOR | 19 |  | 0 | 1
OTA-GA117 | 2000-08-10 | COLOR | COLOR | COLOR | 14.5 |  | 0 | 1
OTA-GA117 | 2000-08-17 | COLOR | COLOR | COLOR | 15.5 |  | 0 | 1
OTA-GA117 | 2000-08-24 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA117 | 2000-08-31 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA117 | 2000-09-07 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 2000-09-14 | COLOR | COLOR | COLOR | 12 |  | 0 | 1
OTA-GA117 | 2000-09-21 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 2000-09-28 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA117 | 2000-10-05 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA117 | 2000-10-12 | COLOR | COLOR | COLOR | 12.5 |  | 0 | 1
OTA-GA117 | 2000-10-26 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA117 | 2000-11-02 | COLOR | COLOR | COLOR | 11 |  | 0 | 1
OTA-GA117 | 2000-11-09 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA117 | 2000-11-16 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 2000-11-21 | COLOR | COLOR | COLOR | 12 |  | 0 | 1
OTA-GA117 | 2000-11-30 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA117 | 2000-12-07 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA117 | 2000-12-14 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA117 | 1996-09-19 | PLANKTON | DINOBRYON | STD_U/ML | 172 |  | 1 | 100 | 1%
OTA-GA117 | 1996-10-03 | PLANKTON | DINOBRYON | STD_U/ML | 86
OTA-GA117 | 1996-11-21 | PLANKTON | DINOBRYON | STD_U/ML | 259
OTA-GA117 | 1999-07-22 | DOC | DOC | MG/L | 7.5
OTA-GA117 | 1999-07-26 | DOC | DOC | MG/L | 7.22
OTA-GA117 | 1999-08-05 | DOC | DOC | MG/L | 6.93
OTA-GA117 | 1999-08-05 | QT_CST | E_COLI | /100 ML | 52
OTA-GA117 | 1999-08-10 | QT_CST | E_COLI | /100 ML | 10
OTA-GA117 | 1999-11-02 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 1999-11-09 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 1999-11-16 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 1999-11-23 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 1999-11-30 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 1999-12-09 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 1999-12-14 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 1999-12-21 | QT_CST | E_COLI | /100 ML | 10
OTA-GA117 | 1999-12-28 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-01-04 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-01-13 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-01-20 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-01-26 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-02-03 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-02-10 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-02-17 | QT_CST | E_COLI | /100 ML | 10
OTA-GA117 | 2000-02-24 | QT_CST | E_COLI | /100 ML | 10
OTA-GA117 | 2000-03-02 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-03-09 | QT_CST | E_COLI | /100 ML | 10
OTA-GA117 | 2000-03-16 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-03-23 | QT_CST | E_COLI | /100 ML | 20
OTA-GA117 | 2000-03-30 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-04-06 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-04-13 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-04-20 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-04-27 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-05-04 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-05-08 | QT_CST | E_COLI | /100 ML | 10
OTA-GA117 | 2000-05-18 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-05-25 | QT_CST | E_COLI | /100 ML | 10
OTA-GA117 | 2000-06-01 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-06-08 | QT_CST | E_COLI | /100 ML | 20
OTA-GA117 | 2000-06-15 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-06-22 | QT_CST | E_COLI | /100 ML | 20
OTA-GA117 | 2000-06-29 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-07-06 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-07-13 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-07-17 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-07-24 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-08-03 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-08-10 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-08-17 | QT_CST | E_COLI | /100 ML | 10
OTA-GA117 | 2000-08-24 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-08-31 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-09-07 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-09-14 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-09-21 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-09-25 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-09-28 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-10-05 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-10-12 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-10-19 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-10-26 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-11-02 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-11-09 | QT_CST | E_COLI | /100 ML | 10
OTA-GA117 | 2000-11-16 | QT_CST | E_COLI | /100 ML | 10
OTA-GA117 | 2000-11-21 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 2000-11-30 | QT_CST | E_COLI | /100 ML | 10
OTA-GA117 | 2000-12-07 | QT_CST | E_COLI | /100 ML | 10
OTA-GA117 | 2000-12-14 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA117 | 1998-09-29 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 4
OTA-GA117 | 1999-08-05 | QT_CST | ENTEROCOCCUS | /100 ML | 20
OTA-GA117 | 1999-08-10 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 1999-11-02 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 1999-11-09 | QT_CST | ENTEROCOCCUS | /100 ML | 2
OTA-GA117 | 1999-11-16 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 1999-11-23 | QT_CST | ENTEROCOCCUS | /100 ML | 2
OTA-GA117 | 1999-11-30 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 1999-12-09 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 1999-12-14 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 1999-12-21 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 1999-12-28 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-01-04 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-01-13 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-01-20 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-01-26 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-02-03 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-02-10 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-02-17 | QT_CST | ENTEROCOCCUS | /100 ML | 4
OTA-GA117 | 2000-02-24 | QT_CST | ENTEROCOCCUS | /100 ML | 3.1
OTA-GA117 | 2000-03-02 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-03-09 | QT_CST | ENTEROCOCCUS | /100 ML | 4
OTA-GA117 | 2000-03-16 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-03-23 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-03-30 | QT_CST | ENTEROCOCCUS | /100 ML | 2
OTA-GA117 | 2000-04-06 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-04-13 | QT_CST | ENTEROCOCCUS | /100 ML | 2
OTA-GA117 | 2000-04-20 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-04-27 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-05-04 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-05-08 | QT_CST | ENTEROCOCCUS | /100 ML | 2
OTA-GA117 | 2000-05-18 | QT_CST | ENTEROCOCCUS | /100 ML | 2
OTA-GA117 | 2000-05-25 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-06-01 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-06-08 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-06-15 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-06-22 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-06-29 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-07-06 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-07-13 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-07-17 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-07-24 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-08-03 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-08-10 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-08-17 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-08-24 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-08-31 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-09-07 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-09-14 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-09-21 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-09-28 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-10-05 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-10-12 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-10-19 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-11-02 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA117 | 2000-11-09 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-11-16 | QT_CST | ENTEROCOCCUS | /100 ML | 2
OTA-GA117 | 2000-11-21 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA117 | 2000-11-30 | QT_CST | ENTEROCOCCUS | /100 ML | 3
OTA-GA117 | 2000-12-07 | QT_CST | ENTEROCOCCUS | /100 ML | 6.1
OTA-GA117 | 2000-12-14 | QT_CST | ENTEROCOCCUS | /100 ML | 41
OTA-GA117 | 1998-09-29 | MF_FC | F_COLIFORM | CFU/100ML | 26
OTA-GA117 | 2000-09-11 | MPN | F_COLIFORM | /100 ML | 20 | <
OTA-GA117 | 2000-09-18 | MPN | F_COLIFORM | /100 ML | 20 | <
OTA-GA117 | 1998-04-21 | GEOS_MIB_6040B | GEOSMIN | NG/L | 3.25
OTA-GA117 | 1998-09-29 | GEOS_MIB_6040B | GEOSMIN | NG/L | 5.45
OTA-GA117 | 1998-10-27 | GEOS_MIB_6040B | GEOSMIN | NG/L | 3.45
OTA-GA117 | 1999-02-23 | GEOS_MIB_SPME | GEOSMIN | NG/L | 3.32
OTA-GA117 | 1999-05-18 | GEOS_MIB_SPME | GEOSMIN | NG/L | 4.27
OTA-GA117 | 1999-06-29 | GEOS_MIB_SPME | GEOSMIN | NG/L | 4.85
OTA-GA117 | 1999-09-21 | GEOS_MIB_SPME | GEOSMIN | NG/L | 4.32
OTA-GA117 | 1999-09-30 | GEOS_MIB_SPME | GEOSMIN | NG/L | 4.22
OTA-GA117 | 2000-01-26 | GEOS_MIB_SPME | GEOSMIN | NG/L | 3.41
OTA-GA117 | 2000-05-10 | GEOS_MIB_SPME | GEOSMIN | NG/L | 4.94
OTA-GA117 | 2000-06-01 | GEOS_MIB_SPME | GEOSMIN | NG/L | 5.93
OTA-GA117 | 2000-06-08 | GEOS_MIB_SPME | GEOSMIN | NG/L | 3.05
OTA-GA117 | 1998-09-29 | HPC | HETERO_B | CFU/ML | 200
OTA-GA117 | 2000-01-13 | PLANKTON | MELOSIRA | STD_U/ML | 35
OTA-GA117 | 1997-10-14 | GEOS_MIB_6040B | MIB | NG/L | 6.3
OTA-GA117 | 1998-07-14 | GEOS_MIB_6040B | MIB | NG/L | 4.39
OTA-GA117 | 1998-08-11 | GEOS_MIB_6040B | MIB | NG/L | 3.74
OTA-GA117 | 1998-09-29 | GEOS_MIB_6040B | MIB | NG/L | 30
OTA-GA117 | 1998-12-15 | GEOS_MIB_SPME | MIB | NG/L | 4.3
OTA-GA117 | 1999-02-23 | GEOS_MIB_SPME | MIB | NG/L | 7.61
OTA-GA117 | 1999-08-24 | GEOS_MIB_SPME | MIB | NG/L | 11.1
OTA-GA117 | 1999-09-21 | GEOS_MIB_SPME | MIB | NG/L | 9.19
OTA-GA117 | 1999-09-30 | GEOS_MIB_SPME | MIB | NG/L | 7.24
OTA-GA117 | 1999-11-02 | GEOS_MIB_SPME | MIB | NG/L | 9.24
OTA-GA117 | 1999-12-21 | GEOS_MIB_SPME | MIB | NG/L | 9.62
OTA-GA117 | 2000-01-26 | GEOS_MIB_SPME | MIB | NG/L | 6.13
OTA-GA117 | 2000-05-10 | GEOS_MIB_SPME | MIB | NG/L | 3.17
OTA-GA117 | 2000-07-13 | GEOS_MIB_SPME | MIB | NG/L | 15.8
OTA-GA117 | 2000-07-17 | GEOS_MIB_SPME | MIB | NG/L | 15.5
OTA-GA117 | 2000-07-20 | GEOS_MIB_SPME | MIB | NG/L | 15.6
OTA-GA117 | 2000-07-24 | GEOS_MIB_SPME | MIB | NG/L | 12.2
OTA-GA117 | 2000-07-27 | GEOS_MIB_SPME | MIB | NG/L | 8.63
OTA-GA117 | 2000-08-03 | GEOS_MIB_SPME | MIB | NG/L | 8.47
OTA-GA117 | 2000-08-10 | GEOS_MIB_SPME | MIB | NG/L | 8.62
OTA-GA117 | 2000-08-17 | GEOS_MIB_SPME | MIB | NG/L | 14.7
OTA-GA117 | 2000-08-24 | GEOS_MIB_SPME | MIB | NG/L | 15.9
OTA-GA117 | 2000-08-31 | GEOS_MIB_SPME | MIB | NG/L | 14.9
OTA-GA117 | 2000-09-07 | GEOS_MIB_SPME | MIB | NG/L | 13.1
OTA-GA117 | 2000-09-14 | GEOS_MIB_SPME | MIB | NG/L | 15.4
OTA-GA117 | 2000-09-21 | GEOS_MIB_SPME | MIB | NG/L | 19
OTA-GA117 | 2000-09-28 | GEOS_MIB_SPME | MIB | NG/L | 9.23
OTA-GA117 | 2000-10-05 | GEOS_MIB_SPME | MIB | NG/L | 9.86
OTA-GA117 | 2000-10-12 | GEOS_MIB_SPME | MIB | NG/L | 9.1
OTA-GA117 | 2000-10-19 | GEOS_MIB_SPME | MIB | NG/L | 6.45
OTA-GA117 | 2000-10-26 | GEOS_MIB_SPME | MIB | NG/L | 7.55
OTA-GA117 | 2000-11-02 | GEOS_MIB_SPME | MIB | NG/L | 8.65
OTA-GA117 | 2000-11-09 | GEOS_MIB_SPME | MIB | NG/L | 5.87
OTA-GA117 | 2000-11-16 | GEOS_MIB_SPME | MIB | NG/L | 3.74
OTA-GA117 | 2000-11-30 | GEOS_MIB_SPME | MIB | NG/L | 6.01
OTA-GA117 | 2000-12-14 | GEOS_MIB_SPME | MIB | NG/L | 5.66
OTA-GA117 | 1999-08-10 | EPA524.2 | MTBE | UG/L | 1.77
OTA-GA117 | 1996-10-03 | PLANKTON | NAVICULA | STD_U/ML | 17
OTA-GA117 | 2000-01-13 | PLANKTON | NAVICULA | STD_U/ML | 18
OTA-GA117 | 1996-09-19 | PLANKTON | PENNATE | STD_U/ML | 9
OTA-GA117 | 1996-11-21 | PLANKTON | PERIDINIUM | STD_U/ML | 17
OTA-GA117 | 1997-06-05 | PH_ALK_MAN | PH | PH | 8.54
OTA-GA117 | 1996-08-29 | PLANKTON | PLK_AM | STD_U/ML | 345
OTA-GA117 | 1996-09-19 | PLANKTON | PLK_AM | STD_U/ML | 819
OTA-GA117 | 1996-09-26 | PLANKTON | PLK_AM | STD_U/ML | 948
OTA-GA117 | 1996-10-03 | PLANKTON | PLK_AM | STD_U/ML | 1080
OTA-GA117 | 1996-10-24 | PLANKTON | PLK_AM | STD_U/ML | 2200
OTA-GA117 | 1996-10-31 | PLANKTON | PLK_AM | STD_U/ML | 1380
OTA-GA117 | 1996-11-07 | PLANKTON | PLK_AM | STD_U/ML | 388
OTA-GA117 | 1996-11-21 | PLANKTON | PLK_AM | STD_U/ML | 1640
OTA-GA117 | 1996-12-05 | PLANKTON | PLK_AM | STD_U/ML | 991
OTA-GA117 | 1999-02-11 | PLANKTON | PLK_AM | STD_U/ML | 4160
OTA-GA117 | 2000-01-13 | PLANKTON | PLK_AM | STD_U/ML | 6730
OTA-GA117 | 1996-09-19 | PLANKTON | PLK_BG | STD_U/ML | 9
OTA-GA117 | 1996-10-03 | PLANKTON | PLK_BG | STD_U/ML | 26
OTA-GA117 | 1996-11-07 | PLANKTON | PLK_BG | STD_U/ML | 43
OTA-GA117 | 1999-02-11 | PLANKTON | PLK_DF | STD_U/ML | 35
OTA-GA117 | 1996-11-07 | PLANKTON | PLK_G | STD_U/ML | 26
OTA-GA117 | 1999-02-11 | PLANKTON | PLK_G | STD_U/ML | 27
OTA-GA117 | 2000-01-13 | PLANKTON | PSEUDANABAENA | STD_U/ML | 53
OTA-GA117 | 1996-10-03 | PLANKTON | RHIZOSOLENIA | STD_U/ML | 17
OTA-GA117 | 1996-10-31 | PLANKTON | ROTIFER | STD_U/ML | 345
OTA-GA117 | 1996-11-21 | PLANKTON | ROTIFER | STD_U/ML | 431
OTA-GA117 | 1996-08-29 | PLANKTON | SYNEDRA | STD_U/ML | 43
OTA-GA117 | 1996-10-03 | PLANKTON | SYNEDRA | STD_U/ML | 198
OTA-GA117 | 1996-10-24 | PLANKTON | SYNEDRA | STD_U/ML | 112
OTA-GA117 | 1996-10-31 | PLANKTON | SYNEDRA | STD_U/ML | 35
OTA-GA117 | 1996-11-07 | PLANKTON | SYNEDRA | STD_U/ML | 121
OTA-GA117 | 1999-02-11 | PLANKTON | SYNEDRA | STD_U/ML | 53
OTA-GA117 | 1998-09-29 | MPN | T_COLIFORM | /100 ML | 170
OTA-GA117 | 1999-08-05 | QT_CST | T_COLIFORM | /100 ML | 3260
OTA-GA117 | 1999-08-10 | QT_CST | T_COLIFORM | /100 ML | 3260
OTA-GA117 | 1999-11-02 | QT_CST | T_COLIFORM | /100 ML | 142
OTA-GA117 | 1999-11-09 | QT_CST | T_COLIFORM | /100 ML | 5790
OTA-GA117 | 1999-11-16 | QT_CST | T_COLIFORM | /100 ML | 5170
OTA-GA117 | 1999-11-23 | QT_CST | T_COLIFORM | /100 ML | 2220
OTA-GA117 | 1999-11-30 | QT_CST | T_COLIFORM | /100 ML | 1150
OTA-GA117 | 1999-12-09 | QT_CST | T_COLIFORM | /100 ML | 249
OTA-GA117 | 1999-12-14 | QT_CST | T_COLIFORM | /100 ML | 605
OTA-GA117 | 1999-12-21 | QT_CST | T_COLIFORM | /100 ML | 24192 | >
OTA-GA117 | 1999-12-28 | QT_CST | T_COLIFORM | /100 ML | 19900
OTA-GA117 | 2000-01-04 | QT_CST | T_COLIFORM | /100 ML | 8660
OTA-GA117 | 2000-01-13 | QT_CST | T_COLIFORM | /100 ML | 14100
OTA-GA117 | 2000-01-20 | QT_CST | T_COLIFORM | /100 ML | 7700
OTA-GA117 | 2000-01-26 | QT_CST | T_COLIFORM | /100 ML | 1610
OTA-GA117 | 2000-02-03 | QT_CST | T_COLIFORM | /100 ML | 4350
OTA-GA117 | 2000-02-10 | QT_CST | T_COLIFORM | /100 ML | 2910
OTA-GA117 | 2000-02-17 | QT_CST | T_COLIFORM | /100 ML | 410
OTA-GA117 | 2000-02-24 | QT_CST | T_COLIFORM | /100 ML | 183
OTA-GA117 | 2000-03-02 | QT_CST | T_COLIFORM | /100 ML | 10
OTA-GA117 | 2000-03-09 | QT_CST | T_COLIFORM | /100 ML | 63
OTA-GA117 | 2000-03-16 | QT_CST | T_COLIFORM | /100 ML | 260
OTA-GA117 | 2000-03-23 | QT_CST | T_COLIFORM | /100 ML | 24000 | >
OTA-GA117 | 2000-03-30 | QT_CST | T_COLIFORM | /100 ML | 7700
OTA-GA117 | 2000-04-06 | QT_CST | T_COLIFORM | /100 ML | 11000
OTA-GA117 | 2000-04-13 | QT_CST | T_COLIFORM | /100 ML | 620
OTA-GA117 | 2000-04-20 | QT_CST | T_COLIFORM | /100 ML | 110
OTA-GA117 | 2000-04-27 | QT_CST | T_COLIFORM | /100 ML | 96
OTA-GA117 | 2000-05-04 | QT_CST | T_COLIFORM | /100 ML | 74
OTA-GA117 | 2000-05-08 | QT_CST | T_COLIFORM | /100 ML | 310
OTA-GA117 | 2000-05-18 | QT_CST | T_COLIFORM | /100 ML | 1700
OTA-GA117 | 2000-05-25 | QT_CST | T_COLIFORM | /100 ML | 1200
OTA-GA117 | 2000-06-01 | QT_CST | T_COLIFORM | /100 ML | 1100
OTA-GA117 | 2000-06-08 | QT_CST | T_COLIFORM | /100 ML | 860
OTA-GA117 | 2000-06-15 | QT_CST | T_COLIFORM | /100 ML | 150
OTA-GA117 | 2000-06-22 | QT_CST | T_COLIFORM | /100 ML | 520
OTA-GA117 | 2000-06-29 | QT_CST | T_COLIFORM | /100 ML | 300
OTA-GA117 | 2000-07-06 | QT_CST | T_COLIFORM | /100 ML | 350
OTA-GA117 | 2000-07-13 | QT_CST | T_COLIFORM | /100 ML | 660
OTA-GA117 | 2000-07-17 | QT_CST | T_COLIFORM | /100 ML | 710
OTA-GA117 | 2000-07-24 | QT_CST | T_COLIFORM | /100 ML | 830
OTA-GA117 | 2000-08-03 | QT_CST | T_COLIFORM | /100 ML | 20000
OTA-GA117 | 2000-08-10 | QT_CST | T_COLIFORM | /100 ML | 9200
OTA-GA117 | 2000-08-17 | QT_CST | T_COLIFORM | /100 ML | 16000
OTA-GA117 | 2000-08-24 | QT_CST | T_COLIFORM | /100 ML | 3300
OTA-GA117 | 2000-08-31 | QT_CST | T_COLIFORM | /100 ML | 3300
OTA-GA117 | 2000-09-07 | QT_CST | T_COLIFORM | /100 ML | 24000 | >
OTA-GA117 | 2000-09-11 | MPN | T_COLIFORM | /100 ML | 160000
OTA-GA117 | 2000-09-14 | QT_CST | T_COLIFORM | /100 ML | 24000 | >
OTA-GA117 | 2000-09-18 | MPN | T_COLIFORM | /100 ML | 16000
OTA-GA117 | 2000-09-21 | QT_CST | T_COLIFORM | /100 ML | 17000
OTA-GA117 | 2000-09-25 | QT_CST | T_COLIFORM | /100 ML | 7300
OTA-GA117 | 2000-09-28 | QT_CST | T_COLIFORM | /100 ML | 24000 | >
OTA-GA117 | 2000-10-05 | QT_CST | T_COLIFORM | /100 ML | 24000 | >
OTA-GA117 | 2000-10-12 | QT_CST | T_COLIFORM | /100 ML | 24000 | >
OTA-GA117 | 2000-10-19 | QT_CST | T_COLIFORM | /100 ML | 24000 | >
OTA-GA117 | 2000-10-26 | QT_CST | T_COLIFORM | /100 ML | 6100
OTA-GA117 | 2000-11-02 | QT_CST | T_COLIFORM | /100 ML | 5800
OTA-GA117 | 2000-11-09 | QT_CST | T_COLIFORM | /100 ML | 1700
OTA-GA117 | 2000-11-16 | QT_CST | T_COLIFORM | /100 ML | 690
OTA-GA117 | 2000-11-21 | QT_CST | T_COLIFORM | /100 ML | 780
OTA-GA117 | 2000-11-30 | QT_CST | T_COLIFORM | /100 ML | 24000
OTA-GA117 | 2000-12-07 | QT_CST | T_COLIFORM | /100 ML | 4900
OTA-GA117 | 2000-12-14 | QT_CST | T_COLIFORM | /100 ML | 460
OTA-GA117 | 1996-01-18 | TOC | TOC | MG/L | 6.73
OTA-GA117 | 1996-02-15 | TOC | TOC | MG/L | 6.96
OTA-GA117 | 1996-03-14 | TOC | TOC | MG/L | 6.32
OTA-GA117 | 1996-04-18 | TOC | TOC | MG/L | 7.04
OTA-GA117 | 1996-05-16 | TOC | TOC | MG/L | 7.5
OTA-GA117 | 1996-06-20 | TOC | TOC | MG/L | 7
OTA-GA117 | 1996-07-18 | TOC | TOC | MG/L | 8.03
OTA-GA117 | 1996-08-22 | TOC | TOC | MG/L | 6.87
OTA-GA117 | 1996-09-12 | TOC | TOC | MG/L | 6.57
OTA-GA117 | 1996-10-17 | TOC | TOC | MG/L | 6.51
OTA-GA117 | 1996-11-14 | TOC | TOC | MG/L | 7.72
OTA-GA117 | 1996-12-17 | TOC | TOC | MG/L | 6.28
OTA-GA117 | 1997-01-28 | TOC | TOC | MG/L | 6.5
OTA-GA117 | 1997-02-25 | TOC | TOC | MG/L | 6.57
OTA-GA117 | 1997-03-27 | TOC | TOC | MG/L | 7.34
OTA-GA117 | 1997-05-13 | TOC | TOC | MG/L | 8.01
OTA-GA117 | 1997-06-10 | TOC | TOC | MG/L | 6.76
OTA-GA117 | 1997-07-22 | TOC | TOC | MG/L | 6.21
OTA-GA117 | 1997-08-19 | TOC | TOC | MG/L | 6.92
OTA-GA117 | 1997-09-23 | TOC | TOC | MG/L | 5.86
OTA-GA117 | 1997-10-14 | TOC | TOC | MG/L | 5.79
OTA-GA117 | 1997-11-18 | TOC | TOC | MG/L | 6.31
OTA-GA117 | 1997-12-09 | TOC | TOC | MG/L | 7.1
OTA-GA117 | 1998-01-02 | TOC | TOC | MG/L | 5.67
OTA-GA117 | 1998-02-10 | TOC | TOC | MG/L | 5.47
OTA-GA117 | 1998-03-12 | TOC | TOC | MG/L | 6.37
OTA-GA117 | 1998-04-14 | TOC | TOC | MG/L | 7.01
OTA-GA117 | 1998-05-05 | TOC | TOC | MG/L | 6.63
OTA-GA117 | 1998-06-23 | TOC | TOC | MG/L | 6.78
OTA-GA117 | 1998-07-14 | TOC | TOC | MG/L | 6.19
OTA-GA117 | 1998-08-18 | TOC | TOC | MG/L | 6.15
OTA-GA117 | 1998-09-15 | TOC | TOC | MG/L | 7.08
OTA-GA117 | 1998-10-06 | TOC | TOC | MG/L | 6.6
OTA-GA117 | 1998-12-22 | TOC | TOC | MG/L | 5.73
OTA-GA117 | 1999-01-12 | TOC | TOC | MG/L | 5.89
OTA-GA117 | 1999-02-09 | TOC | TOC | MG/L | 6.34
OTA-GA117 | 1999-03-16 | TOC | TOC | MG/L | 6.19
OTA-GA117 | 1999-04-20 | TOC | TOC | MG/L | 7.52
OTA-GA117 | 1999-05-18 | TOC | TOC | MG/L | 6.92
OTA-GA117 | 1999-06-15 | TOC | TOC | MG/L | 7.79
OTA-GA117 | 1999-07-22 | TOC | TOC | MG/L | 8.07
OTA-GA117 | 1999-07-26 | TOC | TOC | MG/L | 9.07
OTA-GA117 | 1999-08-05 | TOC | TOC | MG/L | 7.46
OTA-GA117 | 1999-09-09 | TOC | TOC | MG/L | 8.29
OTA-GA117 | 1999-10-14 | TOC | TOC | MG/L | 6.03
OTA-GA117 | 1999-11-02 | TOC | TOC | MG/L | 6.07
OTA-GA117 | 1999-12-09 | TOC | TOC | MG/L | 5.88
OTA-GA117 | 2000-01-13 | TOC | TOC | MG/L | 6
OTA-GA117 | 2000-02-10 | TOC | TOC | MG/L | 6.28
OTA-GA117 | 2000-03-09 | TOC | TOC | MG/L | 6.47
OTA-GA117 | 2000-04-06 | TOC | TOC | MG/L | 6.06
OTA-GA117 | 2000-05-04 | TOC | TOC | MG/L | 6.43
OTA-GA117 | 2000-06-08 | TOC | TOC | MG/L | 6.79
OTA-GA117 | 2000-07-06 | TOC | TOC | MG/L | 8.09
OTA-GA117 | 2000-08-10 | TOC | TOC | MG/L | 5.94
OTA-GA117 | 2000-09-07 | TOC | TOC | MG/L | 7.04
OTA-GA117 | 2000-10-05 | TOC | TOC | MG/L | 6.67
OTA-GA117 | 2000-11-09 | TOC | TOC | MG/L | 6.31
OTA-GA117 | 2000-12-07 | TOC | TOC | MG/L | 6.51
OTA-GA117 | 1996-08-22 | TON | TON | ODOR | 8
OTA-GA117 | 1996-08-29 | TON | TON | ODOR | 8
OTA-GA117 | 1996-09-05 | TON | TON | ODOR | 8
OTA-GA117 | 1996-09-12 | TON | TON | ODOR | 8
OTA-GA117 | 1996-09-19 | TON | TON | ODOR | 8
OTA-GA117 | 1996-09-26 | TON | TON | ODOR | 8
OTA-GA117 | 1996-10-03 | TON | TON | ODOR | 8
OTA-GA117 | 1996-10-10 | TON | TON | ODOR | 12
OTA-GA117 | 1996-10-17 | TON | TON | ODOR | 12
OTA-GA117 | 1996-10-24 | TON | TON | ODOR | 12
OTA-GA117 | 1996-10-31 | TON | TON | ODOR | 12
OTA-GA117 | 1996-11-07 | TON | TON | ODOR | 12
OTA-GA117 | 1996-11-14 | TON | TON | ODOR | 12
OTA-GA117 | 1996-11-21 | TON | TON | ODOR | 12
OTA-GA117 | 1996-12-05 | TON | TON | ODOR | 8
OTA-GA117 | 1996-12-12 | TON | TON | ODOR | 6
OTA-GA117 | 1996-12-17 | TON | TON | ODOR | 8
OTA-GA117 | 1996-12-26 | TON | TON | ODOR | 8
OTA-GA117 | 1997-01-09 | TON | TON | ODOR | 8
OTA-GA117 | 1997-01-16 | TON | TON | ODOR | 6
OTA-GA117 | 1997-01-28 | TON | TON | ODOR | 4
OTA-GA117 | 1997-02-06 | TON | TON | ODOR | 4
OTA-GA117 | 1997-02-13 | TON | TON | ODOR | 1.4
OTA-GA117 | 1997-02-20 | TON | TON | ODOR | 1.4
OTA-GA117 | 1997-02-25 | TON | TON | ODOR | 3
OTA-GA117 | 1997-03-03 | TON | TON | ODOR | 1.4
OTA-GA117 | 1997-03-13 | TON | TON | ODOR | 1.4
OTA-GA117 | 1997-03-20 | TON | TON | ODOR | 1.4
OTA-GA117 | 1997-03-27 | TON | TON | ODOR | 1.4
OTA-GA117 | 1997-04-03 | TON | TON | ODOR | 1.4
OTA-GA117 | 1997-04-10 | TON | TON | ODOR | 1.4
OTA-GA117 | 1997-04-15 | TON | TON | ODOR | 1.4
OTA-GA117 | 1997-04-22 | TON | TON | ODOR | 3
OTA-GA117 | 1997-04-29 | TON | TON | ODOR | 3
OTA-GA117 | 1997-05-08 | TON | TON | ODOR | 4
OTA-GA117 | 1997-05-13 | TON | TON | ODOR | 4
OTA-GA117 | 1997-05-20 | TON | TON | ODOR | 2
OTA-GA117 | 1997-05-29 | TON | TON | ODOR | 2
OTA-GA117 | 1997-06-05 | TON | TON | ODOR | 3
OTA-GA117 | 1997-06-10 | TON | TON | ODOR | 2
OTA-GA117 | 1997-06-19 | TON | TON | ODOR | 2
OTA-GA117 | 1997-06-26 | TON | TON | ODOR | 2
OTA-GA117 | 1997-07-01 | PH_ALK_MAN | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1997-07-10 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 1997-07-15 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1997-07-22 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1997-07-31 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 1997-08-07 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1997-08-12 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1997-08-19 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 1997-08-28 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1997-09-04 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1997-09-11 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1997-09-16 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1997-09-23 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1997-09-30 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1997-10-09 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1997-10-14 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1997-10-21 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1997-10-28 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1997-11-06 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1997-11-13 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1997-11-18 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1997-11-25 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1997-12-04 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1997-12-09 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1997-12-16 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1997-12-23 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1997-12-30 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1998-01-06 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1998-01-15 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-01-20 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-01-27 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1998-02-05 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1998-02-10 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1998-02-19 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1998-02-24 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1998-03-05 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1998-03-12 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1998-03-19 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1998-03-24 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1998-03-31 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1998-04-09 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1998-04-14 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-04-21 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-04-28 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-05-05 | COLOR | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-05-12 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1998-05-21 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-05-28 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-06-04 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1998-06-09 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1998-06-16 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1998-06-23 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-06-30 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-07-07 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-07-14 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-07-23 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-07-28 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-08-06 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-08-11 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-08-18 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-08-25 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-09-03 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-09-10 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-09-15 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-09-22 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1998-09-29 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1998-10-06 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1998-10-15 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1998-10-20 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1998-10-27 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1998-11-03 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1998-11-12 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-11-19 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1998-11-24 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-12-01 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1998-12-10 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1998-12-15 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1998-12-22 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1998-12-29 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1999-01-07 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 1999-01-12 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1999-01-21 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1999-01-26 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1999-02-04 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1999-02-09 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1999-02-18 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1999-02-23 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 1999-03-04 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 1999-03-09 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1999-03-16 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1999-03-25 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1999-03-30 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1999-04-08 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 1999-04-13 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1999-04-20 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1999-04-29 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1999-05-06 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 1999-05-13 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA117 | 1999-05-18 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 1999-05-27 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 1999-06-03 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 1999-06-10 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1999-06-15 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 1999-06-22 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 1999-06-29 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 1999-07-08 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1999-07-13 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1999-07-22 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 1999-07-26 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 1999-08-05 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1999-08-10 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 1999-08-17 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 1999-08-24 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 1999-08-31 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 1999-09-09 | TON | TON | ODOR | 24 | > | 1 | 1
OTA-GA117 | 1999-09-16 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1999-09-21 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA117 | 1999-09-28 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 1999-10-07 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 1999-10-14 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 1999-10-21 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1999-10-26 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 1999-11-02 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1999-11-09 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1999-11-16 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 1999-11-23 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA117 | 1999-11-30 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 1999-12-09 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA117 | 1999-12-14 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 1999-12-21 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 1999-12-28 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 2000-01-04 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 2000-01-13 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 2000-01-20 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 2000-01-26 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 2000-02-03 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 2000-02-10 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA117 | 2000-02-17 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA117 | 2000-02-24 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA117 | 2000-03-02 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 2000-03-09 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 2000-03-16 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA117 | 2000-03-23 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA117 | 2000-03-30 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 2000-04-06 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 2000-04-13 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA117 | 2000-04-27 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA117 | 2000-05-04 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 2000-05-08 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 2000-05-18 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 2000-05-25 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 2000-06-01 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 2000-06-08 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA117 | 2000-06-15 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 2000-06-22 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 2000-06-29 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 2000-07-06 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 2000-07-13 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 2000-07-17 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 2000-07-24 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 2000-08-03 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 2000-08-10 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA117 | 2000-08-17 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA117 | 2000-08-24 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 2000-08-31 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA117 | 2000-09-07 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 2000-09-14 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 2000-09-21 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 2000-09-28 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA117 | 2000-10-05 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA117 | 2000-10-12 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA117 | 2000-10-19 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA117 | 2000-10-26 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 2000-11-02 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA117 | 2000-11-09 | TON | TON | ODOR | 1 | < | 0 | 1
OTA-GA117 | 2000-11-16 | TON | TON | ODOR | 1 | < | 0 | 1
OTA-GA117 | 2000-11-21 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA117 | 2000-11-30 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA117 | 2000-12-07 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA117 | 2000-12-14 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA117 | 1999-02-11 | PLANKTON | TRIBONEMA | STD_U/ML | 1020 |  | 131 | 180 | 72.78%
OTA-GA117 | 1996-08-22 | TURBIDITY | TURBIDITY | NTU | 0.61
OTA-GA117 | 1996-08-29 | COLOR | TURBIDITY | NTU | 0.8
OTA-GA117 | 1996-09-05 | TURBIDITY | TURBIDITY | NTU | 0.79
OTA-GA117 | 1996-09-12 | PH_MANUAL | TURBIDITY | NTU | 0.78
OTA-GA117 | 1996-09-19 | TURBIDITY | TURBIDITY | NTU | 1.02
OTA-GA117 | 1996-09-26 | TURBIDITY | TURBIDITY | NTU | 0.97
OTA-GA117 | 1996-10-10 | TURBIDITY | TURBIDITY | NTU | 0.905
OTA-GA117 | 1996-10-17 | PH_MANUAL | TURBIDITY | NTU | 0.74
OTA-GA117 | 1996-10-24 | COLOR | TURBIDITY | NTU | 1.24
OTA-GA117 | 1996-10-31 | COLOR | TURBIDITY | NTU | 1.43
OTA-GA117 | 1996-11-07 | PH_MANUAL | TURBIDITY | NTU | 0.71
OTA-GA117 | 1996-11-14 | TURBIDITY | TURBIDITY | NTU | 1.14
OTA-GA117 | 1996-11-21 | TURBIDITY | TURBIDITY | NTU | 1.27
OTA-GA117 | 1996-12-05 | COLOR | TURBIDITY | NTU | 1.68
OTA-GA117 | 1996-12-12 | UV254 | TURBIDITY | NTU | 1.79
OTA-GA117 | 1996-12-17 | TURBIDITY | TURBIDITY | NTU | 1.95
OTA-GA117 | 1996-12-26 | PH_MANUAL | TURBIDITY | NTU | 2.66
OTA-GA117 | 1997-01-09 | COLOR | TURBIDITY | NTU | 3.51
OTA-GA117 | 1997-01-16 | TURBIDITY | TURBIDITY | NTU | 3.42
OTA-GA117 | 1997-01-28 | PH_MANUAL | TURBIDITY | NTU | 1.79
OTA-GA117 | 1997-02-06 | TURBIDITY | TURBIDITY | NTU | 1.4
OTA-GA117 | 1997-02-13 | PH_MANUAL | TURBIDITY | NTU | 1.62
OTA-GA117 | 1997-02-20 | COLOR | TURBIDITY | NTU | 2.26
OTA-GA117 | 1997-02-25 | PH_MANUAL | TURBIDITY | NTU | 1.54
OTA-GA117 | 1997-03-03 | PH_MANUAL | TURBIDITY | NTU | 1.87
OTA-GA117 | 1997-03-13 | PH_MANUAL | TURBIDITY | NTU | 1.18
OTA-GA117 | 1997-03-20 | COLOR | TURBIDITY | NTU | 1.26
OTA-GA117 | 1997-03-27 | CONDUCTIVITY | TURBIDITY | NTU | 1.25
OTA-GA117 | 1997-04-03 | TURBIDITY | TURBIDITY | NTU | 1.03
OTA-GA117 | 1997-04-10 | TURBIDITY | TURBIDITY | NTU | 1.81
OTA-GA117 | 1997-04-15 | COLOR | TURBIDITY | NTU | 1.67
OTA-GA117 | 1997-04-22 | COLOR | TURBIDITY | NTU | 1.74
OTA-GA117 | 1997-04-29 | CONDUCTIVITY | TURBIDITY | NTU | 2.15
OTA-GA117 | 1997-05-08 | PH_MANUAL | TURBIDITY | NTU | 1.82
OTA-GA117 | 1997-05-13 | TURBIDITY | TURBIDITY | NTU | 1.39
OTA-GA117 | 1997-05-20 | TURBIDITY | TURBIDITY | NTU | 1.53
OTA-GA117 | 1997-05-29 | COLOR | TURBIDITY | NTU | 1.04
OTA-GA117 | 1997-06-05 | COLOR | TURBIDITY | NTU | 1.4
OTA-GA117 | 1997-06-10 | COLOR | TURBIDITY | NTU | 1.02
OTA-GA117 | 1997-06-19 | PH_MANUAL | TURBIDITY | NTU | 0.75
OTA-GA117 | 1997-06-26 | PH_MANUAL | TURBIDITY | NTU | 1.18
OTA-GA117 | 1997-07-01 | PH_MANUAL | TURBIDITY | NTU | 1.35 |  | 0 | 1
OTA-GA117 | 1997-07-10 | PH_MANUAL | TURBIDITY | NTU | 1.05 |  | 0 | 1
OTA-GA117 | 1997-07-15 | COLOR | TURBIDITY | NTU | 1.16 |  | 0 | 1
OTA-GA117 | 1997-07-22 | TURBIDITY | TURBIDITY | NTU | 0.95 |  | 0 | 1
OTA-GA117 | 1997-07-31 | PH_MANUAL | TURBIDITY | NTU | 1.16 |  | 0 | 1
OTA-GA117 | 1997-08-07 | COLOR | TURBIDITY | NTU | 1.39 |  | 0 | 1
OTA-GA117 | 1997-08-12 | CONDUCTIVITY | TURBIDITY | NTU | 0.93 |  | 0 | 1
OTA-GA117 | 1997-08-19 | TURBIDITY | TURBIDITY | NTU | 0.86 |  | 0 | 1
OTA-GA117 | 1997-08-28 | PH_MANUAL | TURBIDITY | NTU | 0.98 |  | 0 | 1
OTA-GA117 | 1997-09-04 | PH_MANUAL | TURBIDITY | NTU | 0.93 |  | 0 | 1
OTA-GA117 | 1997-09-11 | PH_MANUAL | TURBIDITY | NTU | 1.08 |  | 0 | 1
OTA-GA117 | 1997-09-16 | PH_MANUAL | TURBIDITY | NTU | 0.82 |  | 0 | 1
OTA-GA117 | 1997-09-23 | COLOR | TURBIDITY | NTU | 1.01 |  | 0 | 1
OTA-GA117 | 1997-09-30 | PH_MANUAL | TURBIDITY | NTU | 0.93 |  | 0 | 1
OTA-GA117 | 1997-10-09 | PH_MANUAL | TURBIDITY | NTU | 0.72 |  | 0 | 1
OTA-GA117 | 1997-10-14 | PH_MANUAL | TURBIDITY | NTU | 1.12 |  | 0 | 1
OTA-GA117 | 1997-10-21 | PH_MANUAL | TURBIDITY | NTU | 0.97 |  | 0 | 1
OTA-GA117 | 1997-10-28 | PH_MANUAL | TURBIDITY | NTU | 1.2 |  | 0 | 1
OTA-GA117 | 1997-11-06 | PH_MANUAL | TURBIDITY | NTU | 1.05 |  | 0 | 1
OTA-GA117 | 1997-11-13 | CONDUCTIVITY | TURBIDITY | NTU | 0.995 |  | 0 | 1
OTA-GA117 | 1997-11-18 | PH_MANUAL | TURBIDITY | NTU | 1.39 |  | 0 | 1
OTA-GA117 | 1997-11-25 | COLOR | TURBIDITY | NTU | 1.43 |  | 0 | 1
OTA-GA117 | 1997-12-04 | PH_MANUAL | TURBIDITY | NTU | 1.79 |  | 0 | 1
OTA-GA117 | 1997-12-09 | PH_MANUAL | TURBIDITY | NTU | 2.19 |  | 0 | 1
OTA-GA117 | 1997-12-16 | PH_MANUAL | TURBIDITY | NTU | 2.13 |  | 0 | 1
OTA-GA117 | 1997-12-23 | COLOR | TURBIDITY | NTU | 2.43 |  | 0 | 1
OTA-GA117 | 1997-12-30 | COLOR | TURBIDITY | NTU | 2.35 |  | 0 | 1
OTA-GA117 | 1998-01-06 | TURBIDITY | TURBIDITY | NTU | 1.35 |  | 0 | 1
OTA-GA117 | 1998-01-15 | TURBIDITY | TURBIDITY | NTU | 1.97 |  | 0 | 1
OTA-GA117 | 1998-01-20 | COLOR | TURBIDITY | NTU | 2.34 |  | 0 | 1
OTA-GA117 | 1998-01-27 | TURBIDITY | TURBIDITY | NTU | 2.09 |  | 0 | 1
OTA-GA117 | 1998-02-05 | COLOR | TURBIDITY | NTU | 1.87 |  | 0 | 1
OTA-GA117 | 1998-02-10 | COLOR | TURBIDITY | NTU | 2.32 |  | 0 | 1
OTA-GA117 | 1998-02-19 | COLOR | TURBIDITY | NTU | 22.3 |  | 1 | 1
OTA-GA117 | 1998-02-24 | TURBIDITY | TURBIDITY | NTU | 29.3 |  | 1 | 1
OTA-GA117 | 1998-03-05 | CONDUCTIVITY | TURBIDITY | NTU | 22 |  | 1 | 1
OTA-GA117 | 1998-03-12 | COLOR | TURBIDITY | NTU | 10.2 |  | 0 | 1
OTA-GA117 | 1998-03-19 | COLOR | TURBIDITY | NTU | 4.94 |  | 0 | 1
OTA-GA117 | 1998-03-24 | TURBIDITY | TURBIDITY | NTU | 5.92 |  | 0 | 1
OTA-GA117 | 1998-03-31 | TURBIDITY | TURBIDITY | NTU | 5.1 |  | 0 | 1
OTA-GA117 | 1998-04-09 | COLOR | TURBIDITY | NTU | 7.14 |  | 0 | 1
OTA-GA117 | 1998-04-14 | TURBIDITY | TURBIDITY | NTU | 7.69 |  | 0 | 1
OTA-GA117 | 1998-04-21 | TURBIDITY | TURBIDITY | NTU | 5.62 |  | 0 | 1
OTA-GA117 | 1998-04-28 | TURBIDITY | TURBIDITY | NTU | 2.57 |  | 0 | 1
OTA-GA117 | 1998-05-05 | COLOR | TURBIDITY | NTU | 3.05 |  | 0 | 1
OTA-GA117 | 1998-05-12 | PH_MANUAL | TURBIDITY | NTU | 1.93 |  | 0 | 1
OTA-GA117 | 1998-05-21 | CONDUCTIVITY | TURBIDITY | NTU | 2.66 |  | 0 | 1
OTA-GA117 | 1998-05-28 | COLOR | TURBIDITY | NTU | 1.85 |  | 0 | 1
OTA-GA117 | 1998-06-04 | TURBIDITY | TURBIDITY | NTU | 2.09 |  | 0 | 1
OTA-GA117 | 1998-06-09 | COLOR | TURBIDITY | NTU | 1.96 |  | 0 | 1
OTA-GA117 | 1998-06-16 | COLOR | TURBIDITY | NTU | 2.35 |  | 0 | 1
OTA-GA117 | 1998-06-23 | COLOR | TURBIDITY | NTU | 2.28 |  | 0 | 1
OTA-GA117 | 1998-06-30 | TURBIDITY | TURBIDITY | NTU | 1.42 |  | 0 | 1
OTA-GA117 | 1998-07-07 | COLOR | TURBIDITY | NTU | 2.85 |  | 0 | 1
OTA-GA117 | 1998-07-14 | TURBIDITY | TURBIDITY | NTU | 1.54 |  | 0 | 1
OTA-GA117 | 1998-07-23 | COLOR | TURBIDITY | NTU | 2.09 |  | 0 | 1
OTA-GA117 | 1998-07-28 | COLOR | TURBIDITY | NTU | 2.94 |  | 0 | 1
OTA-GA117 | 1998-08-06 | COLOR | TURBIDITY | NTU | 1.69 |  | 0 | 1
OTA-GA117 | 1998-08-11 | COLOR | TURBIDITY | NTU | 1.5 |  | 0 | 1
OTA-GA117 | 1998-08-18 | COLOR | TURBIDITY | NTU | 1.83 |  | 0 | 1
OTA-GA117 | 1998-08-25 | COLOR | TURBIDITY | NTU | 1.42 |  | 0 | 1
OTA-GA117 | 1998-09-03 | TURBIDITY | TURBIDITY | NTU | 1.25 |  | 0 | 1
OTA-GA117 | 1998-09-10 | COLOR | TURBIDITY | NTU | 1.02 |  | 0 | 1
OTA-GA117 | 1998-09-15 | TURBIDITY | TURBIDITY | NTU | 1.18 |  | 0 | 1
OTA-GA117 | 1998-09-22 | COLOR | TURBIDITY | NTU | 1.37 |  | 0 | 1
OTA-GA117 | 1998-09-29 | COLOR | TURBIDITY | NTU | 1.09 |  | 0 | 1
OTA-GA117 | 1998-10-06 | COLOR | TURBIDITY | NTU | 1 |  | 0 | 1
OTA-GA117 | 1998-10-15 | COLOR | TURBIDITY | NTU | 1.09 |  | 0 | 1
OTA-GA117 | 1998-10-20 | COLOR | TURBIDITY | NTU | 1.17 |  | 0 | 1
OTA-GA117 | 1998-10-27 | COLOR | TURBIDITY | NTU | 0.855 |  | 0 | 1
OTA-GA117 | 1998-11-03 | COLOR | TURBIDITY | NTU | 0.95 |  | 0 | 1
OTA-GA117 | 1998-11-12 | TURBIDITY | TURBIDITY | NTU | 1.46 |  | 0 | 1
OTA-GA117 | 1998-11-24 | TURBIDITY | TURBIDITY | NTU | 1.47 |  | 0 | 1
OTA-GA117 | 1998-12-01 | TURBIDITY | TURBIDITY | NTU | 1.34 |  | 0 | 1
OTA-GA117 | 1998-12-10 | TURBIDITY | TURBIDITY | NTU | 1.76 |  | 0 | 1
OTA-GA117 | 1998-12-15 | TURBIDITY | TURBIDITY | NTU | 1.82 |  | 0 | 1
OTA-GA117 | 1998-12-22 | TURBIDITY | TURBIDITY | NTU | 1.27 |  | 0 | 1
OTA-GA117 | 1999-01-07 | TURBIDITY | TURBIDITY | NTU | 1.16 |  | 0 | 1
OTA-GA117 | 1999-01-12 | TURBIDITY | TURBIDITY | NTU | 1.23 |  | 0 | 1
OTA-GA117 | 1999-01-21 | TURBIDITY | TURBIDITY | NTU | 1.22 |  | 0 | 1
OTA-GA117 | 1999-01-26 | TURBIDITY | TURBIDITY | NTU | 1.56 |  | 0 | 1
OTA-GA117 | 1999-02-04 | TURBIDITY | TURBIDITY | NTU | 1.53 |  | 0 | 1
OTA-GA117 | 1999-02-09 | TURBIDITY | TURBIDITY | NTU | 1.19 |  | 0 | 1
OTA-GA117 | 1999-02-18 | TURBIDITY | TURBIDITY | NTU | 1.61 |  | 0 | 1
OTA-GA117 | 1999-02-23 | TURBIDITY | TURBIDITY | NTU | 1.37 |  | 0 | 1
OTA-GA117 | 1999-03-04 | TURBIDITY | TURBIDITY | NTU | 0.85 |  | 0 | 1
OTA-GA117 | 1999-03-09 | TURBIDITY | TURBIDITY | NTU | 0.96 |  | 0 | 1
OTA-GA117 | 1999-03-16 | TURBIDITY | TURBIDITY | NTU | 0.91 |  | 0 | 1
OTA-GA117 | 1999-03-25 | TURBIDITY | TURBIDITY | NTU | 0.98 |  | 0 | 1
OTA-GA117 | 1999-03-30 | TURBIDITY | TURBIDITY | NTU | 1.04 |  | 0 | 1
OTA-GA117 | 1999-04-08 | TURBIDITY | TURBIDITY | NTU | 0.88 |  | 0 | 1
OTA-GA117 | 1999-04-13 | TURBIDITY | TURBIDITY | NTU | 1.14 |  | 0 | 1
OTA-GA117 | 1999-04-20 | TURBIDITY | TURBIDITY | NTU | 0.855 |  | 0 | 1
OTA-GA117 | 1999-04-29 | TURBIDITY | TURBIDITY | NTU | 0.905 |  | 0 | 1
OTA-GA117 | 1999-05-06 | TURBIDITY | TURBIDITY | NTU | 1.37 |  | 0 | 1
OTA-GA117 | 1999-05-13 | TURBIDITY | TURBIDITY | NTU | 1.52 |  | 0 | 1
OTA-GA117 | 1999-05-18 | TURBIDITY | TURBIDITY | NTU | 0.87 |  | 0 | 1
OTA-GA117 | 1999-05-27 | TURBIDITY | TURBIDITY | NTU | 1.25 |  | 0 | 1
OTA-GA117 | 1999-06-03 | TURBIDITY | TURBIDITY | NTU | 1.16 |  | 0 | 1
OTA-GA117 | 1999-06-10 | TURBIDITY | TURBIDITY | NTU | 1.73 |  | 0 | 1
OTA-GA117 | 1999-06-15 | TURBIDITY | TURBIDITY | NTU | 1.52 |  | 0 | 1
OTA-GA117 | 1999-06-22 | TURBIDITY | TURBIDITY | NTU | 0.89 |  | 0 | 1
OTA-GA117 | 1999-06-29 | TURBIDITY | TURBIDITY | NTU | 1.32 |  | 0 | 1
OTA-GA117 | 1999-07-08 | TURBIDITY | TURBIDITY | NTU | 1.14 |  | 0 | 1
OTA-GA117 | 1999-07-13 | TURBIDITY | TURBIDITY | NTU | 1.44 |  | 0 | 1
OTA-GA117 | 1999-07-22 | TURBIDITY | TURBIDITY | NTU | 1.02 |  | 0 | 1
OTA-GA117 | 1999-07-26 | TURBIDITY | TURBIDITY | NTU | 1.27 |  | 0 | 1
OTA-GA117 | 1999-08-05 | TURBIDITY | TURBIDITY | NTU | 1.07 |  | 0 | 1
OTA-GA117 | 1999-08-10 | TURBIDITY | TURBIDITY | NTU | 0.97 |  | 0 | 1
OTA-GA117 | 1999-08-17 | TURBIDITY | TURBIDITY | NTU | 1.03 |  | 0 | 1
OTA-GA117 | 1999-08-24 | TURBIDITY | TURBIDITY | NTU | 1.21 |  | 0 | 1
OTA-GA117 | 1999-08-31 | TURBIDITY | TURBIDITY | NTU | 1.24 |  | 0 | 1
OTA-GA117 | 1999-09-09 | TURBIDITY | TURBIDITY | NTU | 0.78 |  | 0 | 1
OTA-GA117 | 1999-09-16 | TURBIDITY | TURBIDITY | NTU | 1.04 |  | 0 | 1
OTA-GA117 | 1999-09-21 | TURBIDITY | TURBIDITY | NTU | 0.98 |  | 0 | 1
OTA-GA117 | 1999-09-28 | TURBIDITY | TURBIDITY | NTU | 0.68 |  | 0 | 1
OTA-GA117 | 1999-10-07 | TURBIDITY | TURBIDITY | NTU | 0.95 |  | 0 | 1
OTA-GA117 | 1999-10-14 | TURBIDITY | TURBIDITY | NTU | 0.91 |  | 0 | 1
OTA-GA117 | 1999-10-21 | TURBIDITY | TURBIDITY | NTU | 0.82 |  | 0 | 1
OTA-GA117 | 1999-10-26 | TURBIDITY | TURBIDITY | NTU | 0.86 |  | 0 | 1
OTA-GA117 | 1999-11-02 | TURBIDITY | TURBIDITY | NTU | 0.98 |  | 0 | 1
OTA-GA117 | 1999-11-09 | TURBIDITY | TURBIDITY | NTU | 0.71 |  | 0 | 1
OTA-GA117 | 1999-11-16 | TURBIDITY | TURBIDITY | NTU | 0.8 |  | 0 | 1
OTA-GA117 | 1999-11-23 | TURBIDITY | TURBIDITY | NTU | 0.94 |  | 0 | 1
OTA-GA117 | 1999-11-30 | TURBIDITY | TURBIDITY | NTU | 1.13 |  | 0 | 1
OTA-GA117 | 1999-12-09 | TURBIDITY | TURBIDITY | NTU | 1.19 |  | 0 | 1
OTA-GA117 | 1999-12-14 | TURBIDITY | TURBIDITY | NTU | 1.01 |  | 0 | 1
OTA-GA117 | 1999-12-21 | TURBIDITY | TURBIDITY | NTU | 1.46 |  | 0 | 1
OTA-GA117 | 1999-12-28 | TURBIDITY | TURBIDITY | NTU | 1.2 |  | 0 | 1
OTA-GA117 | 2000-01-04 | TURBIDITY | TURBIDITY | NTU | 1.97 |  | 0 | 1
OTA-GA117 | 2000-01-13 | TURBIDITY | TURBIDITY | NTU | 1.96 |  | 0 | 1
OTA-GA117 | 2000-01-20 | TURBIDITY | TURBIDITY | NTU | 1.86 |  | 0 | 1
OTA-GA117 | 2000-01-26 | TURBIDITY | TURBIDITY | NTU | 1.5 |  | 0 | 1
OTA-GA117 | 2000-02-03 | TURBIDITY | TURBIDITY | NTU | 1.94 |  | 0 | 1
OTA-GA117 | 2000-02-10 | TURBIDITY | TURBIDITY | NTU | 1.57 |  | 0 | 1
OTA-GA117 | 2000-02-17 | TURBIDITY | TURBIDITY | NTU | 1.56 |  | 0 | 1
OTA-GA117 | 2000-02-24 | TURBIDITY | TURBIDITY | NTU | 1.74 |  | 0 | 1
OTA-GA117 | 2000-03-02 | TURBIDITY | TURBIDITY | NTU | 1.21 |  | 0 | 1
OTA-GA117 | 2000-03-09 | TURBIDITY | TURBIDITY | NTU | 1.5 |  | 0 | 1
OTA-GA117 | 2000-03-16 | TURBIDITY | TURBIDITY | NTU | 1.4 |  | 0 | 1
OTA-GA117 | 2000-03-23 | TURBIDITY | TURBIDITY | NTU | 1.3 |  | 0 | 1
OTA-GA117 | 2000-03-30 | TURBIDITY | TURBIDITY | NTU | 1.14 |  | 0 | 1
OTA-GA117 | 2000-04-06 | TURBIDITY | TURBIDITY | NTU | 1.35 |  | 0 | 1
OTA-GA117 | 2000-04-13 | TURBIDITY | TURBIDITY | NTU | 1.3 |  | 0 | 1
OTA-GA117 | 2000-04-20 | TURBIDITY | TURBIDITY | NTU | 1.65 |  | 0 | 1
OTA-GA117 | 2000-04-27 | TURBIDITY | TURBIDITY | NTU | 1.48 |  | 0 | 1
OTA-GA117 | 2000-05-04 | TURBIDITY | TURBIDITY | NTU | 1.23 |  | 0 | 1
OTA-GA117 | 2000-05-08 | TURBIDITY | TURBIDITY | NTU | 1.41 |  | 0 | 1
OTA-GA117 | 2000-05-18 | TURBIDITY | TURBIDITY | NTU | 1.34 |  | 0 | 1
OTA-GA117 | 2000-05-25 | TURBIDITY | TURBIDITY | NTU | 1.52 |  | 0 | 1
OTA-GA117 | 2000-06-01 | TURBIDITY | TURBIDITY | NTU | 2.1 |  | 0 | 1
OTA-GA117 | 2000-06-08 | TURBIDITY | TURBIDITY | NTU | 1.95 |  | 0 | 1
OTA-GA117 | 2000-06-15 | TURBIDITY | TURBIDITY | NTU | 2.4 |  | 0 | 1
OTA-GA117 | 2000-06-22 | TURBIDITY | TURBIDITY | NTU | 2.19 |  | 0 | 1
OTA-GA117 | 2000-06-29 | TURBIDITY | TURBIDITY | NTU | 2.77 |  | 0 | 1
OTA-GA117 | 2000-07-06 | TURBIDITY | TURBIDITY | NTU | 2.03 |  | 0 | 1
OTA-GA117 | 2000-07-13 | TURBIDITY | TURBIDITY | NTU | 0.97 |  | 0 | 1
OTA-GA117 | 2000-07-17 | TURBIDITY | TURBIDITY | NTU | 0.9 |  | 0 | 1
OTA-GA117 | 2000-07-24 | TURBIDITY | TURBIDITY | NTU | 1.08 |  | 0 | 1
OTA-GA117 | 2000-08-03 | TURBIDITY | TURBIDITY | NTU | 1.12 |  | 0 | 1
OTA-GA117 | 2000-08-10 | TURBIDITY | TURBIDITY | NTU | 1.01 |  | 0 | 1
OTA-GA117 | 2000-08-17 | TURBIDITY | TURBIDITY | NTU | 0.915 |  | 0 | 1
OTA-GA117 | 2000-08-24 | TURBIDITY | TURBIDITY | NTU | 1.06 |  | 0 | 1
OTA-GA117 | 2000-08-31 | TURBIDITY | TURBIDITY | NTU | 1.27 |  | 0 | 1
OTA-GA117 | 2000-09-07 | TURBIDITY | TURBIDITY | NTU | 1.03 |  | 0 | 1
OTA-GA117 | 2000-09-14 | TURBIDITY | TURBIDITY | NTU | 1.03 |  | 0 | 1
OTA-GA117 | 2000-09-21 | TURBIDITY | TURBIDITY | NTU | 1.06 |  | 0 | 1
OTA-GA117 | 2000-09-28 | TURBIDITY | TURBIDITY | NTU | 1.05 |  | 0 | 1
OTA-GA117 | 2000-10-05 | TURBIDITY | TURBIDITY | NTU | 1.06 |  | 0 | 1
OTA-GA117 | 2000-10-12 | TURBIDITY | TURBIDITY | NTU | 1.09 |  | 0 | 1
OTA-GA117 | 2000-10-19 | TURBIDITY | TURBIDITY | NTU | 0.75 |  | 0 | 1
OTA-GA117 | 2000-10-26 | TURBIDITY | TURBIDITY | NTU | 0.99 |  | 0 | 1
OTA-GA117 | 2000-11-02 | TURBIDITY | TURBIDITY | NTU | 0.66 |  | 0 | 1
OTA-GA117 | 2000-11-09 | TURBIDITY | TURBIDITY | NTU | 1.16 |  | 0 | 1
OTA-GA117 | 2000-11-16 | TURBIDITY | TURBIDITY | NTU | 1.04 |  | 0 | 1
OTA-GA117 | 2000-11-21 | TURBIDITY | TURBIDITY | NTU | 1.04 |  | 0 | 1
OTA-GA117 | 2000-11-30 | TURBIDITY | TURBIDITY | NTU | 1.01 |  | 0 | 1
OTA-GA117 | 2000-12-07 | TURBIDITY | TURBIDITY | NTU | 1.01 |  | 0 | 1
OTA-GA117 | 2000-12-14 | TURBIDITY | TURBIDITY | NTU | 1.16 |  | 0 | 1
OTA-GA117 | 1996-10-03 | PLANKTON | ULOTHRIX | STD_U/ML | 129 |  | 3 | 179 | 1.676%
OTA-GA117 | 1996-12-05 | PLANKTON | ULOTHRIX | STD_U/ML | 69
OTA-GA117 | 1999-02-11 | PLANKTON | ULOTHRIX | STD_U/ML | 133
QC Limits
Source | Sample Date | Analysis | Analyte | Begin Date | End Date | Metric
Test Type | Recovery Type | Value(%) | LCL | LWL | UWL | UCL
Assessment