Aliso Creek (901.130) – 303(d) Fact Sheet

County of Orange NPDES Annual Progress Report

Aliso Creek should be 303(d) listed due to the presence of elevated turbidity, ammonia and phosphate in water samples. Cadmium should be listed as threatened.

# Watershed Characteristics

Aliso Creek is a 7.20 mile waterway in the San Juan Watershed of Region 9.  It is classified inland surface water with the following beneficial uses: AGR, REC1, REC2, WARM and WILD1. The mouth of the creek is currently on the 1998 303(d) list because of high coliform counts from non-point sources.

# Water Quality Objectives not Obtained

Region 9 Basin Plan1 standards for turbidity, ammonia (NH3), phosphate (PO4) and cadmium (Cd) were exceeded.  Very strong2 total suspended solids (TSS) and volatile suspended solids (VSS) were measured in the water body.  Very hard water3 was also measured.  The secondary maximum contaminant level6 of 900hmos for electrical conductivity was also exceeded.  California Ocean Plan4 limits were exceeded for several metals.

# Evidence of Impairment

Thirteen out of forty measurements of turbidity exceeded the Region 9 Basin Plan1 standard of 20 NTU.  Ten of these were at least twice the standard, and two of these were ten times the standard.  Basin plan standards for NH3 and PO4 were also exceeded for at least 60% of the samples.  The drinking water secondary Maximum Contaminant Level (MCL)6 for cadmium was exceeded in 12% of the samples.  Aliso Creek is exempt from the standards for municipal and domestic drinking water supplies.1 Very strong2 TSS and VSS values were measured in 8% and 3% of the samples.  Very hard water levels were exceeded in 80% of the samples.  The electrical conductivity value of 900hmos6 was exceeded for all samples.  Cal Ocean Plan4 limits for cadmium, copper, chromium and zinc were exceeded.  Since Aliso Creek does drain into the ocean, this is a problem.  See Table 1 for standards and number of exceedances.

Turbidity concentrations consistently exceeded the Basin Plan Standard of 20 NTU.  High turbidity can decrease the penetration of light into the water column and adversely affect photosynthesis which aquatic organisms depend upon for survival.  High concentrations of particulate matter that produce turbidity can be directly lethal to aquatic life.  This would impair the WARM and WILD beneficial uses of this water body.

High concentrations of ammonia are toxic to fish and other aquatic organisms.  This would directly impair the WARM and WILD beneficial uses of this creek.

Concentrations of phosphate over the Basin Plan Standard are expected to contribute to excess algae growth. Excess algae growth would impair REC1, REC2, WARM and WILD beneficial uses through the creation of odors, colors, increased turbidity and low dissolved oxygen environments.

# Extent of Impairment

Site ACJ01 is very near the mouth of the creek.  The specific standards exceeded are most likely due to cumulative effects throughout the waterbody, but the data is for only one site.  Extensive undercutting of the banks is evident approximately 0.8 miles upstream.  The site itself is located adjacent to a golf course.  Therefore, the extent of impairment is estimated to be approximately from one mile upstream of the station, down to the mouth of the creek.

# Potential Sources

Most of Aliso Creek runs through highly urbanized areas and has seen tremendous growth in recent years.  Channalization of the stream has probably increased water velocity and is causing the undercutting of banks and increasing turbidity.  Proximity to the golf course, with its narrow riparian corridor, may also be contributing to turbidity and elevated ammonia and phosphate.

# TMDL Priority

A medium TMDL priority is suggested as biofiltration projects are planned, approved and may be in place within one to two years.

# Notes

Other constituents in the water are in excess of known standards, but are not being suggested for 303(d) listing.  It is believed that practices that will eliminate turbidity problems, may also help to reduce nutrient loading, TSS and VSS.

No standards are set for hardness.  Aliso Creek waters are very hard and may be buffering the system from pollution from metals.  Of the metals tested, only Cd exceeded drinking water standards and this occurred in just 5 of 42 samples.  Several metals were found to violate standards for ocean waters.  National Toxics Rules5 for the protection of aquatic life could not be applied as they are applicable to 1-hour averages and the data in this report are only a single point in time. The system may be loaded with metals that are being buffered by the high concentration of cations in the water.  This would also explain the high electrical conductivity values.  Until further investigation, it may be detrimental to aquatic life in Aliso Creek if Total Hardness and Electrical Conductivity values are lowered.

# Information Sources

1 Water Quality Control Plan for the San Diego Basin (9), 1994

2 Metcalf and Eddy, Wastewater Engineering, Third Edition

3 Boulder Area Sustainability Information Network. Water Quality (Advanced),

http://bcn.boulder.co.us/basin/learning/wq2teacher.html

4 California Ocean Plan, 1997.  State Water Resources Control Board.

California Environmental Protection Agency.

5 U.S. Environmental Protection Agency, 2000, Federal Register, Vol 65, No. 97,

California Toxics Rule

6 State of California, 2001. California Code of Regulations, TITLE 22. Social

Security  Division 4. Environmental Health Chapter 15. Domestic Water Quality and Monitoring Regulations, Articles 4 and 16.