## All data
Table 1 - Dana Point Harbor NPDES Annual Data
| EC | Trubidity | pH | NO3 | NH3-N (NH3) | TKN | PO4 | o-PO4 | TSS | VSS | Cd | Cr | Cu | Pb | Ni | Ag | Zn | Hardness
| (umhos) | (NTU) |  | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (ug/L) | (ug/L) | (ug/L) | (ug/L) | (ug/L) | (ug/L) | (ug/L) | (mg/L)
Ocean Plan (Instantaneous Max) | ? | 225 | 6.0 - 9.0 | ? | 6000 (7285.8) | ? | ? | ? | ? | ? | 10 | 20 | 30 | 20 | 50 | 7 | 200 | ?
California Toxics Rule (4-day avg max, saltwater, dissolved) | [10 empty] | 9.3 | 50 | 3.1 | 8.1 | 8.2 |  | 81
# of std exceedances (DAPTEB) 17 Oct 97-7 June 00 |  | none | none |  | none | [5 empty] | none | none | 4 of 9 (44%) Avg=39.0 Med=29.0 | none | none | none | none
4 day avg = 31ug/L
# of std exceedances (DAPTWB) 17 Oct 97-7 June 00 |  | none | none |  | none | [5 empty] | none | none | 4 of 9 (44%) Avg=37.9 Med=30.0 | none | none | none | none
4 day avg = 30ug/L
# of std exceedances (DAPLTR) 10 Oct 98-21 Apr 00 |  | none | none |  | none | [5 empty] | none | none | 5 of 8 (63%) Avg=169.3 Med=33.5 | none | none | none | none
4 day avg = 27.3ug/L
# of std exceedances (DAPTLB) 17 Oct 97-7 June 00 |  | none | none |  | none | [5 empty] | none | none | 5 of 9 (56%) Avg=38.6 Med=33.0 | none | none | none | none
4 day avg = 29ug/L
# of std exceedances (DAPTHE) 17 Oct 97-21 Apr 00 |  | none | none |  | none | [5 empty] | none | none | 2 of 7 (29%) Avg=22.4 Med=22.0 | none | none | none | none
4 day avg = 24ug/L
* All standard exceedances based upon Ocean Plan Instantaneous Limits

## Stats
Table 1: Copper, dissolved
Station | DAPTEB |  | DAPTWB |  | DAPTLR |  | DAPTLB |  | DAPTHE
| (ug/L) |  | (ug/L) |  | (ug/L) |  | (ug/L) |  | (ug/L)
1997-10-17 | 7.6 | DT | 9.3 | DT | - | - | 5.2 | DT | 2 | DT**
1998-10-28 | 57 | DT | 68 | DT | 63 | DT | 77 | DT | - | -
1999-06-23 | 96 | DT | 81 | DT | 117 | DT | 81 | DT | - | -
2000-04-17 | 29 | ST | 30 | ST | 38 | ST | 33 | ST | 33 | ST
2000-04-19 | 29 | ST | 26 | ST | 22 | ST | 24 | ST | 22 | ST
2000-04-21 | 39 | ST | 37 | ST | 32 | ST | 35 | ST | 31 | ST
2001-01-24 | 3.5 | ST | 1 | ST* | 1 | ST* | 1 | ST* | 1 | ST*
2001-01-26 | 1 | ST* | 3.1 | ST | 1 | ST* | 2.4 | ST | 7.3 | ST
2001-01-28 | 8.7 | ST | 11 | ST | 17 | ST | 8.8 | ST | 1 | ST*
2001-02-26 | 8.1 | ST | 22 | ST | 1 | ST* | 1 | ST* | 1 | ST*
2001-02-28 | 1 | ST* | 1 | ST* | 1 | ST* | 1 | ST* | 1 | ST*
2001-03-02 | 1 | ST* | 1 | ST* | 1 | ST* | 1 | ST* | 1 | ST*
2000-04-17 | 27 | SF | 28 | SF | 26 | SF | 30 | SF | 21 | SF
2000-04-19 | 27 | SF | 25 | SF | 21 | SF | 22 | SF | 20 | SF
2000-04-21 | 39 | SF | 37 | SF | 35 | SF | 40 | SF | 30 | SF
2001-01-24 | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF*
2001-01-26 | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF* | 2 | SF
2001-01-28 | 3.2 | SF | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF*
2001-02-26 | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF*
2001-02-28 | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF*
2001-03-02 | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF*
4-day avg
17-21 Apr, 00 | 31 | SF | 30 | SF | 27.3 | SF | 29 | SF | 24 | SF
* = Value reported as "<2.0" |  |  |  | ** = Value reported as "<4.0"
Summary Statistics
ST (storm, total recoverable)
Avg = | 13.3667 |  | 14.6778 |  | 12.6667 |  | 11.9111 |  | 10.9222
Median = | 8.1 |  | 11 |  | 1 |  | 2.4 |  | 1
Std Dev = | 14.7967 |  | 14.2464 |  | 15.0083 |  | 14.5788 |  | 13.7779
SF (storm, filtered)
Avg = | 11.2444 |  | 10.6667 |  | 9.7778 |  | 10.8889 |  | 8.6667
Median = | 1 |  | 1 |  | 1 |  | 1 |  | 1
Std Dev = | 15.2328 |  | 14.8324 |  | 13.6361 |  | 15.5036 |  | 11.5866
California Toxics Rule
Criteria Continuous Concentration (CCC), 4 Day Average (dissolved) = 3.1 ug/L
CCC = the water quality criteria to protect against chronic effects in aquatic life and is the highest in stream concentration of a 4-day average not to be exceeded more than once every three years on the average.
Criteria Maximum Concentration (CMC), 1 Hour Average (dissolved) = 4.8 ug/L
CMC = the water quality criteria to protect against acute effects in aquatic life and is the highest in stream concentration of a priority toxic pollutant consisting of a short-term average not be exceeded more than once every three years on the average.
Summary
The CCC was exceeded during the period 17 - 21 April, 2000
The CMC was exceeded in 3 of 9 (33%) samples collected at each of the 5 sites (15 of 45 total)
All exceedances occured during storm events.

## Stats (2)
Table 1
Station | DAPTEB |  | DAPTWB |  | DAPTLR |  | DAPTLB |  | DAPTHE
| (ug/L) |  | (ug/L) |  | (ug/L) |  | (ug/L) |  | (ug/L)
1997-10-17 | 7.6 | DT | 9.3 | DT | - | - | 5.2 | DT | 2 | DT**
1998-10-28 | 57 | DT | 68 | DT | 63 | DT | 77 | DT | - | -
1999-06-23 | 96 | DT | 81 | DT | 117 | DT | 81 | DT | - | -
2000-04-17 | 29 | ST | 30 | ST | 38 | ST | 33 | ST | 33 | ST
2000-04-19 | 29 | ST | 26 | ST | 22 | ST | 24 | ST | 22 | ST
2000-04-21 | 39 | ST | 37 | ST | 32 | ST | 35 | ST | 31 | ST
2001-01-24 | 3.5 | ST | 1 | ST* | 1 | ST* | 1 | ST* | 1 | ST*
2001-01-26 | 1 | ST* | 3.1 | ST | 1 | ST* | 2.4 | ST | 7.3 | ST
2001-01-28 | 8.7 | ST | 11 | ST | 17 | ST | 8.8 | ST | 1 | ST*
2001-02-26 | 8.1 | ST | 22 | ST | 1 | ST* | 1 | ST* | 1 | ST*
2001-02-28 | 1 | ST* | 1 | ST* | 1 | ST* | 1 | ST* | 1 | ST*
2001-03-02 | 1 | ST* | 1 | ST* | 1 | ST* | 1 | ST* | 1 | ST*
2000-04-17 | 27 | SF | 28 | SF | 26 | SF | 30 | SF | 21 | SF
2000-04-19 | 27 | SF | 25 | SF | 21 | SF | 22 | SF | 20 | SF
2000-04-21 | 39 | SF | 37 | SF | 35 | SF | 40 | SF | 30 | SF | All
Avg = | 31 |  | 30 |  | 27.3333 |  | 30.6667 |  | 23.6667 |  | 28.5333
Median = | 27 |  | 28 |  | 26 |  | 30 |  | 21 |  | 27
% med above CMC | 462.5% |  | 483.3% |  | 441.7% |  | 525% |  | 337.5% |  | 462.5%
2001-01-24 | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF*
2001-01-26 | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF* | 2 | SF
2001-01-28 | 3.2 | SF | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF*
2001-02-26 | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF*
2001-02-28 | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF*
2001-03-02 | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF* | 1 | SF*
* = Value reported as "<2.0" |  |  |  | ** = Value reported as "<4.0"
DT = Dry, Total (total recoverable)
SF = Storm, Filtered (dissolved) |  |  |  | ST = Storm, Total (total recoverable)
Summary Statistics
SF (storm, filtered)
Avg = | 13.6521 |  | 13.2361 |  | 12.1458 |  | 13.6597 |  | 10.5035
Median = | 3.9125 |  | 2.9167 |  | 2.7083 |  | 3.125 |  | 2.6875
Std Dev = | 14.982 |  | 14.7372 |  | 13.5525 |  | 15.43 |  | 11.4361
California Toxics Rule
Criteria Continuous Concentration (CCC), 4 Day Average (dissolved) = 3.1 ug/L
CCC = the water quality criteria to protect against chronic effects in aquatic life and is the highest in stream concentration of a 4-day average not to be exceeded more than once every three years on the average.
Criteria Maximum Concentration (CMC), 1 Hour Average (dissolved) = 4.8 ug/L
CMC = the water quality criteria to protect against acute effects in aquatic life and is the highest in stream concentration of a priority toxic pollutant consisting of a short-term average not be exceeded more than once every three years on the average.
Summary
The CCC was exceeded during the period 17 - 21 April, 2000
The CMC was exceeded in 3 of 9 (33%) samples collected at each of the 5 sites (15 of 45 total)
All exceedances occured during storm events.

## %st as sf
Copper, dissolved |  |  | When dissolved copper was detected, how much of the total copper did it constitute?
Station | DAPTEB |  |  | DAPTWB |  |  | DAPTLR |  |  | DAPTLB |  |  | DAPTHE
| (ug/L) |  |  | (ug/L) |  |  | (ug/L) |  |  | (ug/L) |  |  | (ug/L)
Date | ST | SF | %ST as SF | ST | SF | %ST as SF | ST | SF | %ST as SF | ST | SF | %ST as SF | ST | SF | %ST as SF
2000-04-17 | 29 | 27 | 93.1% | 30 | 28 | 93.33% | 38 | 26 | 68.42% | 33 | 30 | 90.91% | 33 | 21 | 63.64%
2000-04-19 | 29 | 27 | 93.1% | 26 | 25 | 96.15% | 22 | 21 | 95.45% | 24 | 22 | 91.67% | 22 | 20 | 90.91%
2000-04-21 | 39 | 39 | 100% | 37 | 37 | 100% | 32 | 35 | 109.4% | 35 | 40 | 114.3% | 31 | 30 | 96.77%
2001-01-24 | 3.5 | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0*
2001-01-26 | 1.0* | 1.0* |  | 3.1 | 1.0* |  | 1.0* | 1.0* |  | 2.4 | 1.0* |  | 7.3 | 2 | 27.4%
2001-01-28 | 8.7 | 3.2 | 36.78% | 11 | 1.0* |  | 17 | 1.0* |  | 8.8 | 1.0* |  | 1.0* | 1.0*
2001-02-26 | 8.1 | 1.0* |  | 22 | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0*
2001-02-28 | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0*
2001-03-02 | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0*
Average = |  |  | 80.75% |  |  | 96.5% |  |  | 91.08% |  |  | 98.95% |  |  | 69.68%
Std Dev = |  |  | 29.49% |  |  | 3.346% |  |  | 20.82% |  |  | 13.28% |  |  | 31.67%
Total Average = |  | 85.96%
Total Std Dev = |  | 23.65%
ST = Storm, total copper
SF = Storm, dissolved copper

## Chart theor sf
CTR CMC = 4.8 ug/L

## theoretical sf
Table 3: Theoretical concentration of Dissolved Copper
Station | DAPTEB |  |  | DAPTWB |  |  | DAPTLR |  |  | DAPTLB |  |  | DAPTHE
| (ug/L) |  |  | (ug/L) |  |  | (ug/L) |  |  | (ug/L) |  |  | (ug/L)
Date | DT |  | Theoretical SF | DT |  | Theoretical SF | DT |  | Theoretical SF | DT |  | Theoretical SF | DT |  | Theoretical SF
1997-10-17 | 7.6 |  | 6.308 | 9.3 |  | 7.719 | - |  | - | 5.2 |  | 4.316 | - | - | -
1998-10-28 | 57 |  | 47.31 | 68 |  | 56.44 | 63 |  | 52.29 | 77 |  | 63.91 | - | - | -
1999-06-23 | 96 |  | 79.68 | 81 |  | 67.23 | 117 |  | 97.11 | 81 |  | 67.23 | - | - | -
| ST | SF | Theoretical SF | ST | SF | Theoretical SF | ST | SF | Theoretical SF | ST | SF | Theoretical SF | ST | SF | Theoretical SF
2000-04-17 | 29 | 27 | 24.07 | 30 | 28 | 24.9 | 38 | 26 | 31.54 | 33 | 30 | 27.39 | 33 | 21 | 27.39
2000-04-19 | 29 | 27 | 24.07 | 26 | 25 | 21.58 | 22 | 21 | 18.26 | 24 | 22 | 19.92 | 22 | 20 | 18.26
2000-04-21 | 39 | 39 | 32.37 | 37 | 37 | 30.71 | 32 | 35 | 26.56 | 35 | 40 | 29.05 | 31 | 30 | 25.73
2001-01-24 | 3.5 | 1.0* | 2.905 | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0*
2001-01-26 | 1.0* | 1.0* |  | 3.1 | 1.0* | 2.573 | 1.0* | 1.0* |  | 2.4 | 1.0* | 1.992 | 7.3 | 2 | 6.059
2001-01-28 | 8.7 | 3.2 | 7.221 | 11 | 1.0* | 9.13 | 17 | 1.0* | 14.11 | 8.8 | 1.0* | 7.304 | 1.0* | 1.0*
2001-02-26 | 8.1 | 1.0* | 6.723 | 22 | 1.0* | 18.26 | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0*
2001-02-28 | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0*
2001-03-02 | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0* |  | 1.0* | 1.0*
Theoretical SF = 83% of ST concentration
(US EPA 823-B-96-007 Metals Translator: to convert salt water 1 hr. avg total Cu to dissolved Cu multiply by 0.83)
Avg Theoretical Dsslvd Cu |  |  | 25.6286 |  |  | 26.5047 |  |  | 39.9783 |  |  | 27.639 |  |  | 19.3597
Std Deviation |  |  | 25.0695 |  |  | 22.0643 |  |  | 31.0088 |  |  | 25.5229 |  |  | 9.7157
Total Theoretical Dissolved Cu = |  |  |  | 27.9894
Std Deviation = |  |  |  | 23.7875
Storm 1 (17-21 April, 00)
Theoretical Avg SF= |  |  | 26.8367 |  |  | 25.73 |  |  | 25.4533 |  |  | 25.4533 |  |  | 23.7933
Std Deviation = |  |  | 4.792 |  |  | 4.6212 |  |  | 6.7088 |  |  | 4.8634 |  |  | 4.8634
Storm 2 (24-28 Jan, 01)
Theoretical Avg SF= |  |  | 7.221 |  |  | 5.8515 |  |  | 14.1 |  |  | 4.648 |  |  | 6.1
Std Deviation = |  |  | - |  |  | 4.6365 |  |  | - |  |  | - |  |  | -
Strom 3 (26 Feb- 2 Mar, 01)
Theoretical Avg SF= |  |  | 6.7 |  |  | 18.3 |  |  | - |  |  | - |  |  | -
Std Deviation = |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
ST = Storm, total copper
SF = Storm, dissolved copper
DT = Dry, total copper

## Interlab comp
Table 2: Interlab Comparison of Copper Concentrations
| EPA Result | Wek Result
Sample ID | Cu (mg/L) | Cu (mg/L) | Factor Above EPA
WR41385 (FW) | 9.3 | 12 | 1.2903
WR41439 (SW) | 3.44 | 4.9 | 1.4244
35 ppt salinity | 0.517 | <2.0 | -
15 ppt salinity | 1.55 | 5 | 3.2258
7 ppt salinity | 0.71 | 9.6 | 13.5211
<2 ppt salinity | 1.81 | 5.3 | 2.9282
FW = fresh water |  | Avg above = | 4.478
SW = salt water
Table 2: Split Sample Copper Concentrations
| NRCC* | Orange Co. Result
Sample ID | Cu (mg/L) | Cu (mg/L)
35 ppt salinity | 0.517 | <2.0
15 ppt salinity | 1.55 | 5
7 ppt salinity | 0.71 | 9.6
<2 ppt salinity | 1.81 | 5.3
*NRCC = National Research Council Canada standard reference material