Padre Dam (influent and receiving waters) (907.120) – 303(d) Fact Sheet

Padre Dam Municipal Water District Receiving Water Sampling & Analysis

(Padre Dam, Carlton Hills Blvd Bridge, Forester Creek, Sycamore Creek, Old Mission Dam, Mission Pond, I-5 Estuary and Fashion Valley Road)

Forester Creek should be listed as threatened for ammonia-nitrogen.  In addition, Forester Creek should be 303(d) listed for specific conductance and total dissolved solids.

## Watershed Characteristics

Padre Dam is a Publicly Owned Treatment Work (POTW) that sits on Sycamore Canyon Creek, a tributary to the San Diego River.  Sampling sites were located at influence to the facility, Carlton Hills Blvd Bridge, Forester Creek, Old Mission Dam, Mission Pond and Fashion Valley Road.  These areas are located in the Lower San Diego River in the San Diego River Watershed of Region 9.  Sycamore Canyon Creek is classified inland surface water with the following beneficial uses: AGR, IND, REC1, REC2, WARM, COLD WILD and Rare1.  This designation also covers the Padre Dam, Carlton Hills Blvd Bridge, Old Mission Dam and Mission Pond sites.  Forester Creek is classified inland surface water with the following beneficial uses: MUN, IND, REC1, REC2, WARM, COLD and WILD1.  Fashion Valley Road and the I-5 Estuary are located further downstream and is classified inland surface water with the following beneficial uses: AGR, IND, REC1, REC2, WARM, COLD and WILD1.

# Water Quality Objectives not Obtained

Secondary Maximum Contaminant Levels2 (MCLs) for specific conductance were exceeded.  Basin plan standards1 for ammonia-nitrogen were exceeded.  Note that drinking water standards were applied to Forester Creek.

# Evidence of Impairment

Sampling occurred at point of influence into the plant, effluent ponds, at Cl2 contact ponds, at a “raw sludge” point and at seven receiving bodies. Point of influence, Cl2 contact ponds and “raw sludge” data were analyzed.

The secondary MCL for specific conductance was exceeded every time it was measured.  TDS values at Forester Creek always exceeded the MCL for drinking water (Table 1b).  Concentrations of ammonia-nitrogen were frequently in excess of Basin Plan Standards.  Ammonia-nitrogen was often two-times the standard. See attached tables for standard values, average values and frequency of exceedance.

# Extent of Impairment

Sampling occurred at Carlton Hills Blvd Bridge, Forester Creek, Sycamore Creek, Old Mission Dam, Mission Pond, I-5 Estuary and Fashion Valley Road.  Determining the extent of impairment from a single point in a waterbody is difficult and dubious.  An estimated extent of up and down stream for ½ mile is the conservative estimate.

# Potential Sources

# Unknown

# TMDL Priority

A medium TMDL is recommended at this time.

# Notes

Only data from the last quarter of 1997 and all of 2000 were analyzed.  1998 and 1999 data were reviewed only if the evidence of impairment condition was not clear in the 1997 and 2000 data sets.

Due to the limited nature of the sampling design, the percentage of time that water quality is impaired per year is not clear.  While exceedances of TDS and specific conductance standards were always present, standard exceedances of ammonia-nitrogen warrant further investigation.  DO sampling occurred generally in the morning hours and may be influencing the results.

TDS may consist of carbonates, bicarbonates, chlorides, sulfates, phosphates, nitrates, magnesium, sodium, iron and manganese.  The most frequent constituents are usually salts (sodium, chloride, boron, etc.)  Most of the problem can be traced to human impacts, and therefore, can be cleaned up. Geologic conditions help to define the natural levels of many of these constituents.  The fact that Felicita Creek flows into the Lake Hodges drinking water reservoir adds further support for 303(d) listing.  High TDS concentrations may be expected to impair the MUN beneficial use. High concentrations of TDS are also expected to impact the AGR beneficial use directly through irrigation waters or indirectly through adverse effects on soil permeability.  TDS values between 450 to 2000 mg/L are expected to have a slight to moderate restriction on use of waters for irrigation of crops1.  All samples were well above the secondary MCL for drinking water.2  In addition, the average value in 9 of 10 months exceeded the Basin Plan Standard of 1500 mg/L.1

# Specific Conductance

Excess of the secondary MCL of 900 umhos was always exceeded in Forester Creek.  This is most likely caused by the same source(s) that lead to the high TDS concentrations.  Beneficial use impacts would be expected to be the same are for high TDS concentrations.

# Information Sources

1 Water Quality Control Plan for the San Diego Basin (9), 1994

2 State of California, 2001. California Code of Regulations, TITLE 22. Social

Security  Division 4. Environmental Health Chapter 15. Domestic Water Quality and Monitoring Regulations, Articles 4 and 16.