## SVG_0M_2000
File Name: J:\LIMSUSER\rkf\SVG_0M_2000.csv
San Diego Water Quality Laboratory
WQL
Report By: RKF
Report Date: December 18, 2000 2:29 PM
Report Selection Criteria
Raw Value IS NOT NULL
Reportable(1/0) = 1
Sample Date BETWEEN '01-Jan-1996' AND '15-Dec-2000'
Source IN ('SVG-0')
Test Type IN ('SAMP')
Report Options
Equal_Weight_Samples=Y
Equal_Weight_Days=N
Apply_Less_Than=Y
Non_Detect_Mdl_Factor=NULL
Concatenate_Cells_Calculation=N
Quote_Strings=Y
Strip_Internal=N
Print_Comments=N
Output Specification
Source
Sample Date
Analysis
Analyte
Avg Units
| Avg Value | Decimal Digits: 3
Avg Qualifier
Report Data
Number of result records queried: 898
Number of summary records found: 866
Source | Sample Date | Analysis | Analyte | Avg Units | Avg Value | Avg Qualifier | GeoMean
QC Limits
Source | Sample Date | Analysis | Analyte | Begin Date | End Date | Metric
SVG-0 | 1996-12-17 | AMMONIA_N_AUTO | AMMONIA_N | MG/L | 0.063
SVG-0 | 1997-05-27 | AMMONIA_N_AUTO | AMMONIA_N | MG/L | 0.026
SVG-0 | 1997-07-28 | AMMONIA_N_AUTO | AMMONIA_N | MG/L | 0.051
SVG-0 | 1997-09-29 | AMMONIA_N_AUTO | AMMONIA_N | MG/L | 0.015
SVG-0 | 1997-10-27 | AMMONIA_N_AUTO | AMMONIA_N | MG/L | 0.015 | <
SVG-0 | 1997-11-24 | AMMONIA_N_AUTO | AMMONIA_N | MG/L | 0.017
SVG-0 | 1997-12-15 | AMMONIA_N_AUTO | AMMONIA_N | MG/L | 0.198
SVG-0 | 1998-02-23 | AMMONIA_N_AUTO | AMMONIA_N | MG/L | 0.059
SVG-0 | 1998-03-24 | AMMONIA_N_AUTO | AMMONIA_N | MG/L | 0.025
SVG-0 | 1998-04-27 | AMMONIA_N_AUTO | AMMONIA_N | MG/L | 0.017
SVG-0 | 1998-05-26 | AMMONIA_N_AUTO | AMMONIA_N | MG/L | 0.028
SVG-0 | 1998-12-21 | AMMONIA_N_AUTO | AMMONIA_N | MG/L | 0.072
SVG-0 | 1996-03-04 | CLOSTRIDIA | C_PERFRINGENS | /100 L | 0.25
SVG-0 | 1999-08-16 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-08-23 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-08-30 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-09-07 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-09-13 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-09-20 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-09-27 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-10-04 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-10-11 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-10-18 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-10-25 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-11-01 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-11-10 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-11-15 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-11-22 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-11-29 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-12-06 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-12-13 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-12-20 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1999-12-29 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-01-03 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-01-10 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-01-18 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-01-31 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-02-07 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-02-14 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-02-23 | QT_CST | E_COLI | /100 ML | 10
SVG-0 | 2000-02-28 | QT_CST | E_COLI | /100 ML | 10
SVG-0 | 2000-03-06 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-03-13 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-03-20 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-03-27 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-04-03 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-04-10 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-04-19 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-04-24 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-05-01 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-05-10 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-05-17 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-05-24 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-05-31 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-06-05 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-06-14 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-06-19 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-06-26 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-07-05 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-07-10 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-07-19 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-07-26 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-07-31 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-08-07 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-08-14 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-08-21 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-08-28 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-09-06 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-09-11 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-09-18 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-09-25 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-10-02 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-10-09 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-10-16 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-10-23 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-10-30 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-11-06 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-11-13 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-11-20 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-11-27 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-12-04 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 2000-12-11 | QT_CST | E_COLI | /100 ML | 10 | <
SVG-0 | 1996-01-02 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1996-01-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-01-16 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-01-22 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-01-29 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-02-05 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 13
SVG-0 | 1996-02-12 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-02-21 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-02-26 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-03-04 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-03-11 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-03-18 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-03-25 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-04-01 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-04-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-04-15 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-04-22 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-04-29 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-05-06 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-05-13 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-05-20 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-05-28 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1996-06-03 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1996-06-10 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-06-17 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-06-24 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-07-01 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-07-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-07-15 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-07-22 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-07-29 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-08-05 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-08-12 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-08-19 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-08-26 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-09-03 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-09-09 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-09-16 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-09-23 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-09-30 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-10-07 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-10-14 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-10-28 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-11-04 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-11-12 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-11-18 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-11-25 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-12-02 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-12-09 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-12-16 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1996-12-23 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-01-13 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 4
SVG-0 | 1997-01-21 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 5
SVG-0 | 1997-01-27 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1997-02-03 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVG-0 | 1997-02-10 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1997-02-18 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-02-24 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-03-03 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1997-03-10 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1997-03-17 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-03-24 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-03-31 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-04-07 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-04-14 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-04-23 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-04-28 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-05-05 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-05-12 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-05-19 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-05-27 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-06-02 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-06-09 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVG-0 | 1997-06-16 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-06-23 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-06-30 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-07-07 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-07-14 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-07-21 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-07-28 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-08-04 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-08-11 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-08-18 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-09-02 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-09-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1997-09-15 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-09-22 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-09-29 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-10-06 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-10-13 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1997-10-22 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1997-10-27 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-11-03 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-11-10 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-11-17 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1997-11-24 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-12-01 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-12-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1997-12-15 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1997-12-22 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1997-12-29 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 3
SVG-0 | 1998-01-05 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 4
SVG-0 | 1998-01-12 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 6
SVG-0 | 1998-01-21 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVG-0 | 1998-01-26 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-02-02 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-02-09 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 200 | > | 63.1823
SVG-0 | 1998-02-17 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 290
SVG-0 | 1998-02-23 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 20
SVG-0 | 1998-03-02 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 28
SVG-0 | 1998-03-09 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 31
SVG-0 | 1998-03-16 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-03-23 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 5
SVG-0 | 1998-03-30 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 200
SVG-0 | 1998-04-06 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 70
SVG-0 | 1998-04-13 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 12
SVG-0 | 1998-04-20 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1998-04-27 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1998-05-04 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1998-05-11 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 9
SVG-0 | 1998-05-18 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 9
SVG-0 | 1998-05-26 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVG-0 | 1998-06-01 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1998-06-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-06-15 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-06-22 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-06-29 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1998-07-06 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1998-07-13 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1998-07-20 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-07-27 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-08-05 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1998-08-17 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-08-24 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-08-31 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-09-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 3
SVG-0 | 1998-09-14 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVG-0 | 1998-09-21 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 7
SVG-0 | 1998-10-05 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1998-10-12 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-10-19 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1998-10-26 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1998-11-09 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-11-16 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1998-11-23 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1998-11-30 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 9
SVG-0 | 1998-12-14 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1998-12-21 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1999-01-11 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 60 | >
SVG-0 | 1999-01-19 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1999-01-25 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVG-0 | 1999-02-01 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 8
SVG-0 | 1999-02-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVG-0 | 1999-02-16 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 5
SVG-0 | 1999-02-22 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 3
SVG-0 | 1999-03-01 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-03-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-03-15 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-03-22 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-03-29 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-04-05 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-04-08 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-04-12 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-04-19 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-04-27 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-05-03 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
SVG-0 | 1999-05-10 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-05-17 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-05-25 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-06-01 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVG-0 | 1999-06-07 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-06-23 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVG-0 | 1999-06-28 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 2
SVG-0 | 1999-07-06 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-07-12 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-07-19 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-07-27 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-08-09 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1 | <
SVG-0 | 1999-08-16 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-08-23 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-08-30 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-09-07 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-09-13 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-09-20 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-09-27 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-10-04 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-10-11 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-10-18 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-10-25 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-11-01 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-11-10 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-11-15 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-11-22 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-11-29 | QT_CST | ENTEROCOCCUS | /100 ML | 1
SVG-0 | 1999-12-06 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-12-13 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-12-20 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1999-12-29 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-01-03 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-01-10 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-01-18 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-01-24 | QT_CST | ENTEROCOCCUS | /100 ML | 1
SVG-0 | 2000-01-31 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-02-07 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-02-14 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-02-23 | QT_CST | ENTEROCOCCUS | /100 ML | 2
SVG-0 | 2000-02-28 | QT_CST | ENTEROCOCCUS | /100 ML | 3.1
SVG-0 | 2000-03-06 | QT_CST | ENTEROCOCCUS | /100 ML | 2
SVG-0 | 2000-03-13 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-03-20 | QT_CST | ENTEROCOCCUS | /100 ML | 1
SVG-0 | 2000-03-27 | QT_CST | ENTEROCOCCUS | /100 ML | 2
SVG-0 | 2000-04-03 | QT_CST | ENTEROCOCCUS | /100 ML | 1
SVG-0 | 2000-04-10 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-04-19 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-04-24 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-05-01 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-05-10 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-05-17 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-05-24 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-05-31 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-06-05 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-06-14 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-06-19 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-06-26 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-07-05 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-07-10 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-07-19 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-07-26 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-07-31 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-08-07 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-08-14 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-08-21 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-08-28 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-09-06 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-09-11 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-09-18 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-09-25 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-10-02 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-10-09 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-10-16 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-10-23 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-10-30 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-11-06 | QT_CST | ENTEROCOCCUS | /100 ML | 1
SVG-0 | 2000-11-13 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-11-20 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-11-27 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 2000-12-04 | QT_CST | ENTEROCOCCUS | /100 ML | 1
SVG-0 | 2000-12-11 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
SVG-0 | 1996-01-02 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1996-01-08 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-01-16 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-01-22 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-01-29 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-02-05 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVG-0 | 1996-02-12 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-02-21 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-02-26 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-03-04 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVG-0 | 1996-03-11 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-03-18 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1996-03-25 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-04-01 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-04-08 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-04-15 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-04-22 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-04-29 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-05-06 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-05-13 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-05-20 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-05-28 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-06-03 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-06-10 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-06-17 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-06-24 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-07-01 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-07-08 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-07-15 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-07-22 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-07-29 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-08-05 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-08-12 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-08-19 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-08-26 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-09-03 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-09-09 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1996-09-16 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-09-23 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVG-0 | 1996-09-30 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-10-07 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-10-14 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-10-28 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-11-04 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-11-12 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-11-18 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-11-25 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-12-02 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-12-09 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1996-12-16 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1996-12-23 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1997-01-13 | MF_FC | F_COLIFORM | CFU/100ML | 4
SVG-0 | 1997-01-21 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVG-0 | 1997-01-27 | MF_FC | F_COLIFORM | CFU/100ML | 5
SVG-0 | 1997-02-03 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1997-02-10 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-02-18 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-02-24 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-03-03 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-03-10 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVG-0 | 1997-03-17 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-03-24 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-03-31 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-04-07 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-04-14 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-04-23 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-04-28 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-05-05 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1997-05-12 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-05-19 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-05-27 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-06-02 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-06-09 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVG-0 | 1997-06-16 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-06-23 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-06-30 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-07-07 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-07-14 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-07-21 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-07-28 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-08-11 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-08-18 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-09-02 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-09-08 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-09-15 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-09-22 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-09-29 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-10-06 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-10-13 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1997-10-22 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-10-27 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1997-11-03 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1997-11-10 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1997-11-17 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-11-24 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVG-0 | 1997-12-01 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-12-08 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-12-15 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-12-22 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1997-12-29 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-01-05 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1998-01-12 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1998-01-21 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1998-01-26 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-02-02 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1998-02-09 | MF_FC | F_COLIFORM | CFU/100ML | 200 | >
SVG-0 | 1998-02-17 | MF_FC | F_COLIFORM | CFU/100ML | 190
SVG-0 | 1998-02-23 | MF_FC | F_COLIFORM | CFU/100ML | 21
SVG-0 | 1998-03-02 | MF_FC | F_COLIFORM | CFU/100ML | 26
SVG-0 | 1998-03-09 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVG-0 | 1998-03-16 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-03-23 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-03-30 | MF_FC | F_COLIFORM | CFU/100ML | 280
SVG-0 | 1998-04-06 | MF_FC | F_COLIFORM | CFU/100ML | 14
SVG-0 | 1998-04-13 | MF_FC | F_COLIFORM | CFU/100ML | 29
SVG-0 | 1998-04-20 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-04-27 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-05-04 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-05-11 | MF_FC | F_COLIFORM | CFU/100ML | 6
SVG-0 | 1998-05-18 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1998-05-26 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1998-06-01 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-06-08 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-06-15 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1998-06-22 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-06-29 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-07-06 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-07-13 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-07-20 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-07-27 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-08-05 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-08-17 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1998-08-24 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1998-08-31 | MF_FC | F_COLIFORM | CFU/100ML | 5
SVG-0 | 1998-09-08 | MF_FC | F_COLIFORM | CFU/100ML | 6
SVG-0 | 1998-09-14 | MF_FC | F_COLIFORM | CFU/100ML | 4
SVG-0 | 1998-09-21 | MF_FC | F_COLIFORM | CFU/100ML | 3
SVG-0 | 1998-09-28 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-10-05 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-10-12 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVG-0 | 1998-10-19 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-10-26 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-11-09 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-11-16 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-11-23 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-11-30 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVG-0 | 1998-12-14 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1998-12-21 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-01-04 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1999-01-11 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-01-19 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1999-01-25 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-02-01 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1999-02-08 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-02-16 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-02-22 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-03-01 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-03-08 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-03-15 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-03-22 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-03-29 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-04-05 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1999-04-08 | MF_FC | F_COLIFORM | CFU/100ML | 2
SVG-0 | 1999-04-12 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-04-19 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1999-04-27 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-05-03 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-05-10 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-05-17 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1999-05-25 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-06-01 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-06-07 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-06-16 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-06-23 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-06-28 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-07-06 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-07-12 | MF_FC | F_COLIFORM | CFU/100ML | 1
SVG-0 | 1999-07-19 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-07-27 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1999-08-09 | MF_FC | F_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-01-27 | ANIONS_IC | NITRATE | MG/L | 0.577
SVG-0 | 1997-03-24 | ANIONS_IC_LOW | NITRATE | MG/L | 0.01
SVG-0 | 1997-04-14 | ANIONS_IC_SOL_L | NITRATE | MG/L | 0.025
SVG-0 | 1997-09-29 | ANIONS_IC_LOW | NITRATE | MG/L | 0.073
SVG-0 | 1997-12-15 | ANIONS_IC_LOW | NITRATE | MG/L | 0.034
SVG-0 | 1998-01-26 | ANIONS_IC_LOW | NITRATE | MG/L | 0.061
SVG-0 | 1998-03-24 | ANIONS_IC | NITRATE | MG/L | 0.2 | <
SVG-0 | 1998-06-22 | ANIONS_IC_LOW | NITRATE | MG/L | 0.038
SVG-0 | 1998-08-24 | ANIONS_IC_LOW | NITRATE | MG/L | 0.023
SVG-0 | 1998-11-16 | ANIONS_IC | NITRATE | MG/L | 0.435
SVG-0 | 1998-12-21 | ANIONS_IC | NITRATE | MG/L | 0.447
SVG-0 | 1998-09-28 | ANIONS_IC_LOW | NITRATE_DIS | MG/L | 0.032
SVG-0 | 1997-01-27 | NITRITE_AUTO | NITRITE | MG/L | 0.013
SVG-0 | 1997-02-10 | CYANIDE_AUTO | NITRITE | MG/L | 0.01
SVG-0 | 1997-05-27 | NITRITE_AUTO | NITRITE | MG/L | 0.007
SVG-0 | 1997-12-15 | NITRITE_AUTO | NITRITE | MG/L | 0.005
SVG-0 | 1998-01-26 | NITRITE_AUTO | NITRITE | MG/L | 0.014
SVG-0 | 1998-02-23 | NITRITE_AUTO | NITRITE | MG/L | 0.075
SVG-0 | 1998-03-24 | NITRITE_AUTO | NITRITE | MG/L | 0.014
SVG-0 | 1998-04-27 | NITRITE_AUTO | NITRITE | MG/L | 0.006
SVG-0 | 1998-05-26 | NITRITE_AUTO | NITRITE | MG/L | 0.013
SVG-0 | 1998-06-22 | NITRITE_AUTO | NITRITE | MG/L | 0.009
SVG-0 | 1998-07-27 | NITRITE_AUTO | NITRITE | MG/L | 0.005
SVG-0 | 1998-08-24 | NITRITE_AUTO | NITRITE | MG/L | 0.007
SVG-0 | 1998-09-28 | NITRITE_AUTO | NITRITE | MG/L | 0.011
SVG-0 | 1998-12-21 | NITRITE_AUTO | NITRITE | MG/L | 0.011
SVG-0 | 1996-05-20 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.214
SVG-0 | 1996-09-17 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.238
SVG-0 | 1996-10-22 | NITRITE_AUTO | PHOSPHATE_AH | MG/L | 0.219
SVG-0 | 1996-10-22 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.164
SVG-0 | 1996-11-19 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.312
SVG-0 | 1996-12-17 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.448
SVG-0 | 1997-01-27 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.686
SVG-0 | 1997-02-10 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.162
SVG-0 | 1997-02-24 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.359
SVG-0 | 1997-03-24 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.277
SVG-0 | 1997-04-14 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.309
SVG-0 | 1997-05-12 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.586
SVG-0 | 1997-05-27 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.341
SVG-0 | 1997-07-28 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.196
SVG-0 | 1997-08-25 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.306
SVG-0 | 1997-09-29 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.314
SVG-0 | 1997-10-27 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.487
SVG-0 | 1998-01-26 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.295
SVG-0 | 1998-02-23 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.418
SVG-0 | 1998-03-24 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.276
SVG-0 | 1998-04-27 | PHOSPH_AH_AUTO | PHOSPHATE_AH | MG/L | 0.254
SVG-0 | 1998-05-26 | PHOSPH_AH_COLOR | PHOSPHATE_AH | MG/L | 0.117
SVG-0 | 1998-06-22 | PHOSPH_AH_COLOR | PHOSPHATE_AH | MG/L | 0.04
SVG-0 | 1998-07-27 | PHOSPH_AH_COLOR | PHOSPHATE_AH | MG/L | 0.029
SVG-0 | 1998-08-24 | PHOSPH_AH_COLOR | PHOSPHATE_AH | MG/L | 0.042
SVG-0 | 1998-09-28 | PHOSPH_AH_COLOR | PHOSPHATE_AH | MG/L | 0.035
SVG-0 | 1998-11-16 | PHOSPH_AH_COLOR | PHOSPHATE_AH | MG/L | 0.31
SVG-0 | 1998-12-21 | PHOSPH_AH_COLOR | PHOSPHATE_AH | MG/L | 0.109
SVG-0 | 1996-06-17 | ANIONS_IC_LOW | PHOSPHATE_O | MG/L | 0.021
SVG-0 | 1996-09-17 | ANIONS_IC_LOW | PHOSPHATE_O | MG/L | 0.019
SVG-0 | 1996-11-19 | ANIONS_IC_LOW | PHOSPHATE_O | MG/L | 0.1
SVG-0 | 1996-12-17 | ANIONS_IC_LOW | PHOSPHATE_O | MG/L | 0.17
SVG-0 | 1997-01-27 | ANIONS_IC_SOL_L | PHOSPHATE_O | MG/L | 0.169
SVG-0 | 1997-02-10 | ANIONS_IC_LOW | PHOSPHATE_O | MG/L | 0.06
SVG-0 | 1997-02-24 | ANIONS_IC_LOW | PHOSPHATE_O | MG/L | 0.05
SVG-0 | 1997-12-15 | ANIONS_IC_LOW | PHOSPHATE_O | MG/L | 0.194
SVG-0 | 1998-01-26 | ANIONS_IC_LOW | PHOSPHATE_O | MG/L | 0.209
SVG-0 | 1998-02-23 | ANIONS_IC_LOW | PHOSPHATE_O | MG/L | 0.124
SVG-0 | 1998-03-24 | ANIONS_IC | PHOSPHATE_O | MG/L | 0.2 | <
SVG-0 | 1998-11-16 | ANIONS_IC | PHOSPHATE_O | MG/L | 0.294
SVG-0 | 1998-12-21 | ANIONS_IC | PHOSPHATE_O | MG/L | 0.409
SVG-0 | 1996-09-17 | ANIONS_IC_LOW | PHOSPHATE_O_DIS | MG/L | 0.01
SVG-0 | 1996-11-19 | ANIONS_IC_LOW | PHOSPHATE_O_DIS | MG/L | 0.07
SVG-0 | 1996-12-17 | ANIONS_IC_LOW | PHOSPHATE_O_DIS | MG/L | 0.14
SVG-0 | 1997-01-27 | ANIONS_IC_SOL_L | PHOSPHATE_O_DIS | MG/L | 0.166
SVG-0 | 1997-02-24 | ANIONS_IC_LOW | PHOSPHATE_O_DIS | MG/L | 0.05
SVG-0 | 1997-09-29 | ANIONS_IC | PHOSPHATE_O_DIS | MG/L | 0.25 | <
SVG-0 | 1997-12-15 | ANIONS_IC_LOW | PHOSPHATE_O_DIS | MG/L | 0.19
SVG-0 | 1998-01-26 | ANIONS_IC_SOL | PHOSPHATE_O_DIS | MG/L | 0.456
SVG-0 | 1998-02-23 | ANIONS_IC_LOW | PHOSPHATE_O_DIS | MG/L | 0.142
SVG-0 | 1996-01-02 | MPN | T_COLIFORM | /100 ML | 170
SVG-0 | 1996-01-08 | MPN | T_COLIFORM | /100 ML | 50
SVG-0 | 1996-01-16 | MPN | T_COLIFORM | /100 ML | 17
SVG-0 | 1996-01-22 | MPN | T_COLIFORM | /100 ML | 13
SVG-0 | 1996-01-29 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1996-02-05 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1996-02-12 | MPN | T_COLIFORM | /100 ML | 30
SVG-0 | 1996-02-21 | MPN | T_COLIFORM | /100 ML | 900
SVG-0 | 1996-02-26 | MPN | T_COLIFORM | /100 ML | 300
SVG-0 | 1996-03-04 | MPN | T_COLIFORM | /100 ML | 30
SVG-0 | 1996-03-11 | MPN | T_COLIFORM | /100 ML | 2 | <
SVG-0 | 1996-03-18 | MPN | T_COLIFORM | /100 ML | 30
SVG-0 | 1996-03-25 | MPN | T_COLIFORM | /100 ML | 17
SVG-0 | 1996-04-01 | MPN | T_COLIFORM | /100 ML | 17
SVG-0 | 1996-04-08 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1996-04-15 | MPN | T_COLIFORM | /100 ML | 13
SVG-0 | 1996-04-22 | MPN | T_COLIFORM | /100 ML | 30
SVG-0 | 1996-04-29 | MPN | T_COLIFORM | /100 ML | 2 | <
SVG-0 | 1996-05-06 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1996-05-13 | MPN | T_COLIFORM | /100 ML | 2 | <
SVG-0 | 1996-05-20 | MPN | T_COLIFORM | /100 ML | 13
SVG-0 | 1996-05-28 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1996-06-03 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1996-06-10 | MPN | T_COLIFORM | /100 ML | 2
SVG-0 | 1996-06-17 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1996-06-24 | MPN | T_COLIFORM | /100 ML | 50
SVG-0 | 1996-07-01 | MPN | T_COLIFORM | /100 ML | 1600 | >
SVG-0 | 1996-07-08 | MPN | T_COLIFORM | /100 ML | 30
SVG-0 | 1996-07-15 | MPN | T_COLIFORM | /100 ML | 7
SVG-0 | 1996-07-22 | MPN | T_COLIFORM | /100 ML | 2 | <
SVG-0 | 1996-07-29 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1996-08-05 | MPN | T_COLIFORM | /100 ML | 2
SVG-0 | 1996-08-12 | MPN | T_COLIFORM | /100 ML | 2 | <
SVG-0 | 1996-08-19 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1996-08-26 | MPN | T_COLIFORM | /100 ML | 80
SVG-0 | 1996-09-03 | MPN | T_COLIFORM | /100 ML | 80
SVG-0 | 1996-09-09 | MPN | T_COLIFORM | /100 ML | 17
SVG-0 | 1996-09-16 | MPN | T_COLIFORM | /100 ML | 130
SVG-0 | 1996-09-23 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1996-09-30 | MPN | T_COLIFORM | /100 ML | 17
SVG-0 | 1996-10-07 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1996-10-14 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1996-10-28 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1996-11-04 | MPN | T_COLIFORM | /100 ML | 13
SVG-0 | 1996-11-12 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1996-11-18 | MPN | T_COLIFORM | /100 ML | 2
SVG-0 | 1996-11-25 | MPN | T_COLIFORM | /100 ML | 17
SVG-0 | 1996-12-02 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1996-12-09 | MPN | T_COLIFORM | /100 ML | 2
SVG-0 | 1996-12-16 | MPN | T_COLIFORM | /100 ML | 2 | <
SVG-0 | 1996-12-23 | MPN | T_COLIFORM | /100 ML | 2
SVG-0 | 1997-01-13 | MPN | T_COLIFORM | /100 ML | 140
SVG-0 | 1997-01-21 | MPN | T_COLIFORM | /100 ML | 30
SVG-0 | 1997-01-27 | MPN | T_COLIFORM | /100 ML | 130
SVG-0 | 1997-02-03 | MPN | T_COLIFORM | /100 ML | 13
SVG-0 | 1997-02-10 | MPN | T_COLIFORM | /100 ML | 900
SVG-0 | 1997-02-18 | MPN | T_COLIFORM | /100 ML | 500
SVG-0 | 1997-02-24 | MPN | T_COLIFORM | /100 ML | 500
SVG-0 | 1997-03-03 | MPN | T_COLIFORM | /100 ML | 220
SVG-0 | 1997-03-10 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1997-03-17 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1997-03-24 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1997-03-31 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1997-04-07 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1997-04-14 | MPN | T_COLIFORM | /100 ML | 13
SVG-0 | 1997-04-23 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1997-04-28 | MPN | T_COLIFORM | /100 ML | 13
SVG-0 | 1997-05-05 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1997-05-12 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1997-05-19 | MPN | T_COLIFORM | /100 ML | 2 | <
SVG-0 | 1997-05-27 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1997-06-02 | MPN | T_COLIFORM | /100 ML | 2 | <
SVG-0 | 1997-06-09 | MPN | T_COLIFORM | /100 ML | 900
SVG-0 | 1997-06-16 | MPN | T_COLIFORM | /100 ML | 1600 | >
SVG-0 | 1997-06-23 | MPN | T_COLIFORM | /100 ML | 130
SVG-0 | 1997-06-30 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1997-07-07 | MPN | T_COLIFORM | /100 ML | 240
SVG-0 | 1997-07-14 | MPN | T_COLIFORM | /100 ML | 2400
SVG-0 | 1997-07-21 | MPN | T_COLIFORM | /100 ML | 130
SVG-0 | 1997-07-28 | MPN | T_COLIFORM | /100 ML | 2
SVG-0 | 1997-08-04 | MF_TC | T_COLIFORM | CFU/100ML | 1 | <
SVG-0 | 1997-08-04 | MPN | T_COLIFORM | /100 ML | 7
SVG-0 | 1997-08-11 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1997-08-18 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1997-09-02 | MPN | T_COLIFORM | /100 ML | 17
SVG-0 | 1997-09-08 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1997-09-15 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1997-09-22 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1997-09-29 | MPN | T_COLIFORM | /100 ML | 17
SVG-0 | 1997-10-06 | MPN | T_COLIFORM | /100 ML | 50
SVG-0 | 1997-10-13 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1997-10-22 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1997-10-27 | MPN | T_COLIFORM | /100 ML | 13
SVG-0 | 1997-11-03 | MPN | T_COLIFORM | /100 ML | 13
SVG-0 | 1997-11-10 | MPN | T_COLIFORM | /100 ML | 11
SVG-0 | 1997-11-17 | MPN | T_COLIFORM | /100 ML | 1600 | >
SVG-0 | 1997-11-24 | MPN | T_COLIFORM | /100 ML | 3000
SVG-0 | 1997-12-01 | MPN | T_COLIFORM | /100 ML | 9000
SVG-0 | 1997-12-08 | MPN | T_COLIFORM | /100 ML | 1300
SVG-0 | 1997-12-15 | MPN | T_COLIFORM | /100 ML | 17
SVG-0 | 1997-12-22 | MPN | T_COLIFORM | /100 ML | 300
SVG-0 | 1997-12-29 | MPN | T_COLIFORM | /100 ML | 2200
SVG-0 | 1998-01-05 | MPN | T_COLIFORM | /100 ML | 16000
SVG-0 | 1998-01-12 | MPN | T_COLIFORM | /100 ML | 16000 | >
SVG-0 | 1998-01-21 | MPN | T_COLIFORM | /100 ML | 3000
SVG-0 | 1998-01-26 | MPN | T_COLIFORM | /100 ML | 3000
SVG-0 | 1998-02-02 | MPN | T_COLIFORM | /100 ML | 17000
SVG-0 | 1998-02-09 | MPN | T_COLIFORM | /100 ML | 30000
SVG-0 | 1998-02-17 | MPN | T_COLIFORM | /100 ML | 5000
SVG-0 | 1998-02-23 | MPN | T_COLIFORM | /100 ML | 5000
SVG-0 | 1998-03-02 | MPN | T_COLIFORM | /100 ML | 280
SVG-0 | 1998-03-09 | MPN | T_COLIFORM | /100 ML | 140
SVG-0 | 1998-03-16 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1998-03-23 | MPN | T_COLIFORM | /100 ML | 900
SVG-0 | 1998-03-30 | MPN | T_COLIFORM | /100 ML | 8000
SVG-0 | 1998-04-06 | MPN | T_COLIFORM | /100 ML | 90
SVG-0 | 1998-04-13 | MPN | T_COLIFORM | /100 ML | 800
SVG-0 | 1998-04-20 | MPN | T_COLIFORM | /100 ML | 130
SVG-0 | 1998-04-27 | MPN | T_COLIFORM | /100 ML | 2
SVG-0 | 1998-05-04 | MPN | T_COLIFORM | /100 ML | 1600 | >
SVG-0 | 1998-05-11 | MPN | T_COLIFORM | /100 ML | 1700
SVG-0 | 1998-05-18 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1998-05-26 | MPN | T_COLIFORM | /100 ML | 13
SVG-0 | 1998-06-01 | MPN | T_COLIFORM | /100 ML | 13
SVG-0 | 1998-06-08 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1998-06-15 | MPN | T_COLIFORM | /100 ML | 1600
SVG-0 | 1998-06-22 | MPN | T_COLIFORM | /100 ML | 1600 | >
SVG-0 | 1998-06-29 | MPN | T_COLIFORM | /100 ML | 900
SVG-0 | 1998-07-06 | MPN | T_COLIFORM | /100 ML | 1300
SVG-0 | 1998-07-13 | MPN | T_COLIFORM | /100 ML | 16000
SVG-0 | 1998-07-20 | MPN | T_COLIFORM | /100 ML | 170
SVG-0 | 1998-07-27 | MPN | T_COLIFORM | /100 ML | 70
SVG-0 | 1998-08-05 | MPN | T_COLIFORM | /100 ML | 110
SVG-0 | 1998-08-17 | MPN | T_COLIFORM | /100 ML | 170
SVG-0 | 1998-08-24 | MPN | T_COLIFORM | /100 ML | 130
SVG-0 | 1998-08-31 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1998-09-08 | MPN | T_COLIFORM | /100 ML | 80
SVG-0 | 1998-09-14 | MPN | T_COLIFORM | /100 ML | 170
SVG-0 | 1998-09-21 | MPN | T_COLIFORM | /100 ML | 1600 | >
SVG-0 | 1998-09-28 | MPN | T_COLIFORM | /100 ML | 16000
SVG-0 | 1998-10-05 | MPN | T_COLIFORM | /100 ML | 500
SVG-0 | 1998-10-12 | MPN | T_COLIFORM | /100 ML | 290
SVG-0 | 1998-10-19 | MPN | T_COLIFORM | /100 ML | 11000
SVG-0 | 1998-10-26 | MPN | T_COLIFORM | /100 ML | 12
SVG-0 | 1998-11-09 | MPN | T_COLIFORM | /100 ML | 50
SVG-0 | 1998-11-16 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1998-11-23 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1998-11-30 | MPN | T_COLIFORM | /100 ML | 30
SVG-0 | 1998-12-07 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1998-12-14 | MPN | T_COLIFORM | /100 ML | 140
SVG-0 | 1998-12-21 | MPN | T_COLIFORM | /100 ML | 14
SVG-0 | 1999-01-04 | MPN | T_COLIFORM | /100 ML | 17
SVG-0 | 1999-01-11 | MPN | T_COLIFORM | /100 ML | 13
SVG-0 | 1999-01-25 | MPN | T_COLIFORM | /100 ML | 13
SVG-0 | 1999-02-01 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1999-02-08 | MPN | T_COLIFORM | /100 ML | 23
SVG-0 | 1999-02-16 | MPN | T_COLIFORM | /100 ML | 28
SVG-0 | 1999-02-22 | MPN | T_COLIFORM | /100 ML | 75
SVG-0 | 1999-03-01 | MPN | T_COLIFORM | /100 ML | 7
SVG-0 | 1999-03-08 | MPN | T_COLIFORM | /100 ML | 16000 | >=
SVG-0 | 1999-03-15 | MPN | T_COLIFORM | /100 ML | 760
SVG-0 | 1999-03-22 | MPN | T_COLIFORM | /100 ML | 57
SVG-0 | 1999-03-29 | MPN | T_COLIFORM | /100 ML | 16000
SVG-0 | 1999-04-05 | MPN | T_COLIFORM | /100 ML | 220
SVG-0 | 1999-04-08 | MPN | T_COLIFORM | /100 ML | 195
SVG-0 | 1999-04-12 | MPN | T_COLIFORM | /100 ML | 203
SVG-0 | 1999-04-19 | MPN | T_COLIFORM | /100 ML | 2200
SVG-0 | 1999-04-27 | MPN | T_COLIFORM | /100 ML | 70
SVG-0 | 1999-05-03 | MPN | T_COLIFORM | /100 ML | 30
SVG-0 | 1999-05-10 | MPN | T_COLIFORM | /100 ML | 2
SVG-0 | 1999-05-17 | MPN | T_COLIFORM | /100 ML | 80
SVG-0 | 1999-05-25 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1999-06-01 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1999-06-07 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1999-06-16 | MPN | T_COLIFORM | /100 ML | 8
SVG-0 | 1999-06-23 | MPN | T_COLIFORM | /100 ML | 4
SVG-0 | 1999-06-28 | MPN | T_COLIFORM | /100 ML | 50
SVG-0 | 1999-07-06 | MPN | T_COLIFORM | /100 ML | 14
SVG-0 | 1999-07-12 | MPN | T_COLIFORM | /100 ML | 50
SVG-0 | 1999-07-19 | MPN | T_COLIFORM | /100 ML | 80
SVG-0 | 1999-07-27 | MPN | T_COLIFORM | /100 ML | 180
SVG-0 | 1999-08-09 | MPN | T_COLIFORM | /100 ML | 6
SVG-0 | 1999-08-16 | QT_CST | T_COLIFORM | /100 ML | 496
SVG-0 | 1999-08-23 | QT_CST | T_COLIFORM | /100 ML | 512
SVG-0 | 1999-08-30 | QT_CST | T_COLIFORM | /100 ML | 84
SVG-0 | 1999-09-07 | QT_CST | T_COLIFORM | /100 ML | 187
SVG-0 | 1999-09-13 | QT_CST | T_COLIFORM | /100 ML | 160
SVG-0 | 1999-09-20 | QT_CST | T_COLIFORM | /100 ML | 880
SVG-0 | 1999-09-27 | QT_CST | T_COLIFORM | /100 ML | 1520
SVG-0 | 1999-10-04 | QT_CST | T_COLIFORM | /100 ML | 776
SVG-0 | 1999-10-11 | QT_CST | T_COLIFORM | /100 ML | 256
SVG-0 | 1999-10-18 | QT_CST | T_COLIFORM | /100 ML | 1020
SVG-0 | 1999-10-25 | QT_CST | T_COLIFORM | /100 ML | 408
SVG-0 | 1999-11-01 | QT_CST | T_COLIFORM | /100 ML | 1120
SVG-0 | 1999-11-10 | QT_CST | T_COLIFORM | /100 ML | 1420
SVG-0 | 1999-11-15 | QT_CST | T_COLIFORM | /100 ML | 759
SVG-0 | 1999-11-22 | QT_CST | T_COLIFORM | /100 ML | 2100
SVG-0 | 1999-11-29 | QT_CST | T_COLIFORM | /100 ML | 142
SVG-0 | 1999-12-06 | QT_CST | T_COLIFORM | /100 ML | 1790
SVG-0 | 1999-12-13 | QT_CST | T_COLIFORM | /100 ML | 3260
SVG-0 | 1999-12-20 | QT_CST | T_COLIFORM | /100 ML | 384
SVG-0 | 1999-12-29 | QT_CST | T_COLIFORM | /100 ML | 288
SVG-0 | 2000-01-03 | QT_CST | T_COLIFORM | /100 ML | 933
SVG-0 | 2000-01-10 | QT_CST | T_COLIFORM | /100 ML | 521
SVG-0 | 2000-01-18 | QT_CST | T_COLIFORM | /100 ML | 1020
SVG-0 | 2000-01-31 | QT_CST | T_COLIFORM | /100 ML | 2990
SVG-0 | 2000-02-07 | QT_CST | T_COLIFORM | /100 ML | 6130
SVG-0 | 2000-02-14 | QT_CST | T_COLIFORM | /100 ML | 3080
SVG-0 | 2000-02-23 | QT_CST | T_COLIFORM | /100 ML | 1720
SVG-0 | 2000-02-28 | QT_CST | T_COLIFORM | /100 ML | 583
SVG-0 | 2000-03-06 | QT_CST | T_COLIFORM | /100 ML | 610
SVG-0 | 2000-03-13 | QT_CST | T_COLIFORM | /100 ML | 2200
SVG-0 | 2000-03-20 | QT_CST | T_COLIFORM | /100 ML | 1900
SVG-0 | 2000-03-27 | QT_CST | T_COLIFORM | /100 ML | 4000
SVG-0 | 2000-04-03 | QT_CST | T_COLIFORM | /100 ML | 1500
SVG-0 | 2000-04-10 | QT_CST | T_COLIFORM | /100 ML | 2200
SVG-0 | 2000-04-19 | QT_CST | T_COLIFORM | /100 ML | 550
SVG-0 | 2000-04-24 | QT_CST | T_COLIFORM | /100 ML | 330
SVG-0 | 2000-05-01 | QT_CST | T_COLIFORM | /100 ML | 170
SVG-0 | 2000-05-10 | QT_CST | T_COLIFORM | /100 ML | 63
SVG-0 | 2000-05-17 | QT_CST | T_COLIFORM | /100 ML | 52
SVG-0 | 2000-05-24 | QT_CST | T_COLIFORM | /100 ML | 260
SVG-0 | 2000-05-31 | QT_CST | T_COLIFORM | /100 ML | 180
SVG-0 | 2000-06-05 | QT_CST | T_COLIFORM | /100 ML | 320
SVG-0 | 2000-06-14 | QT_CST | T_COLIFORM | /100 ML | 97
SVG-0 | 2000-06-19 | QT_CST | T_COLIFORM | /100 ML | 160
SVG-0 | 2000-06-26 | QT_CST | T_COLIFORM | /100 ML | 1100
SVG-0 | 2000-07-05 | QT_CST | T_COLIFORM | /100 ML | 2000
SVG-0 | 2000-07-10 | QT_CST | T_COLIFORM | /100 ML | 1600
SVG-0 | 2000-07-19 | QT_CST | T_COLIFORM | /100 ML | 1300
SVG-0 | 2000-07-26 | QT_CST | T_COLIFORM | /100 ML | 750
SVG-0 | 2000-07-31 | QT_CST | T_COLIFORM | /100 ML | 1700
SVG-0 | 2000-08-07 | QT_CST | T_COLIFORM | /100 ML | 530
SVG-0 | 2000-08-14 | QT_CST | T_COLIFORM | /100 ML | 290
SVG-0 | 2000-08-21 | QT_CST | T_COLIFORM | /100 ML | 660
SVG-0 | 2000-08-28 | QT_CST | T_COLIFORM | /100 ML | 880
SVG-0 | 2000-09-06 | QT_CST | T_COLIFORM | /100 ML | 2100
SVG-0 | 2000-09-11 | QT_CST | T_COLIFORM | /100 ML | 2500
SVG-0 | 2000-09-18 | QT_CST | T_COLIFORM | /100 ML | 1300
SVG-0 | 2000-09-25 | QT_CST | T_COLIFORM | /100 ML | 3100
SVG-0 | 2000-10-02 | QT_CST | T_COLIFORM | /100 ML | 1700
SVG-0 | 2000-10-09 | QT_CST | T_COLIFORM | /100 ML | 910
SVG-0 | 2000-10-16 | QT_CST | T_COLIFORM | /100 ML | 3300
SVG-0 | 2000-10-23 | QT_CST | T_COLIFORM | /100 ML | 2200
SVG-0 | 2000-10-30 | QT_CST | T_COLIFORM | /100 ML | 570
SVG-0 | 2000-11-06 | QT_CST | T_COLIFORM | /100 ML | 580
SVG-0 | 2000-11-13 | QT_CST | T_COLIFORM | /100 ML | 52
SVG-0 | 2000-11-20 | QT_CST | T_COLIFORM | /100 ML | 84
SVG-0 | 2000-11-27 | QT_CST | T_COLIFORM | /100 ML | 300
SVG-0 | 2000-12-04 | QT_CST | T_COLIFORM | /100 ML | 930
SVG-0 | 2000-12-11 | QT_CST | T_COLIFORM | /100 ML | 1700
SVG-0 | 1996-05-20 | TKN_AUTO | TKN | MG/L | 0.605
SVG-0 | 1996-09-17 | TKN_AUTO | TKN | MG/L | 0.477
SVG-0 | 1996-10-22 | TKN_AUTO | TKN | MG/L | 0.474
SVG-0 | 1996-11-19 | TKN_AUTO | TKN | MG/L | 0.471
SVG-0 | 1996-12-17 | TKN_AUTO | TKN | MG/L | 0.557
SVG-0 | 1997-01-27 | TKN_AUTO | TKN | MG/L | 0.486
SVG-0 | 1997-02-10 | TKN_AUTO | TKN | MG/L | 0.579
SVG-0 | 1997-02-24 | TKN_AUTO | TKN | MG/L | 0.587
SVG-0 | 1997-03-24 | TKN_AUTO | TKN | MG/L | 0.521
SVG-0 | 1997-04-14 | TKN_AUTO | TKN | MG/L | 1.45
SVG-0 | 1997-05-12 | TKN_AUTO | TKN | MG/L | 0.878
SVG-0 | 1997-05-27 | TKN_AUTO | TKN | MG/L | 0.969
SVG-0 | 1997-08-25 | TKN_AUTO | TKN | MG/L | 0.561
SVG-0 | 1997-09-29 | TKN_AUTO | TKN | MG/L | 0.498
SVG-0 | 1997-10-27 | TKN_AUTO | TKN | MG/L | 0.526
SVG-0 | 1997-11-24 | TKN_AUTO | TKN | MG/L | 0.524
SVG-0 | 1997-12-15 | TKN_AUTO | TKN | MG/L | 0.602
SVG-0 | 1998-01-26 | TKN_AUTO | TKN | MG/L | 0.666
SVG-0 | 1998-02-23 | TKN_AUTO | TKN | MG/L | 0.643
SVG-0 | 1998-03-24 | TKN_AUTO | TKN | MG/L | 0.833
SVG-0 | 1998-04-27 | TKN_AUTO | TKN | MG/L | 0.677
SVG-0 | 1998-05-26 | TKN_AUTO | TKN | MG/L | 1.02
SVG-0 | 1998-06-22 | TKN_AUTO | TKN | MG/L | 0.845
SVG-0 | 1998-07-27 | TKN_AUTO | TKN | MG/L | 0.6
SVG-0 | 1998-08-24 | TKN_AUTO | TKN | MG/L | 0.522
SVG-0 | 1998-09-28 | TKN_AUTO | TKN | MG/L | 0.8
SVG-0 | 1998-10-26 | TKN_AUTO | TKN | MG/L | 0.538
SVG-0 | 1998-11-16 | TKN_AUTO | TKN | MG/L | 0.557
SVG-0 | 1998-12-21 | TKN_AUTO | TKN | MG/L | 0.743
[7 empty] | Test Type | Recovery Type | Value(%) | LCL | LWL | UWL | UCL | Assessment