## Report
San Vicente Watershed Sample Report
June 1, 1998
Summary:
Samples were collected on 27 May 1998 from Padre Barona Creek and the Bryntwood Well for MPN/MF analysis (Total and Fecal Coliforms
and Entercoccus bacteria). Physicochemical parameters were measured with a YSI 6000 UPG Datasonde. Stream flow was not estimated.
Turbidity was measured with a Hach 2100P portable turbidimeter.
Bacti data are reportable under EPA and State certifications. Turbidity data are provided for informational purposes only and are not EPA
or State certified.
For questions regarding this report, please contact David Gibson or Jeff Pasek at 668-3249 or 668-3240.
YSI Datasonde Report and Flow Estimate:
Station | Sampler | Discharge | Date Time | Temp. | Sp. Cond. | TDS | DO% | DO CONC | pH | ORP
|  | cfs | mmddyy hh:mm | �C | uS/cm | mg/l | % | mg/l |  | mV
BAR3 | DWG | na | 05/27/98 12:48 | 24.5787 | 531.5 | 337 | 98.6875 | 8.2012 | 7.84 | 181.5
Brynt. Well | DWG | - | 05/27/98 12:53 | 21.4217 | 937.8333 | 559.1667 | 69.9167 | 6.1617 | 7.295 | -13.5
Microbiological Analyses: | [8 empty] | Turbidity:
Station | Log Number | Total Coliform |  | Fecal Coliform |  | Enterococcus |  |  | Station | Turbidity
| mmddyy-nnnn | MPN/100ml |  | CFU/100ml |  | CFU/100ml |  |  |  | NTU
BAR3 | 052798-4831 | 5000 |  | 170 |  | 1300 |  |  | BAR3 | 0.28
B. WELL | 052798-4832 | <2 |  | 4 |  | <2 |  |  | B. WELL | 0.02
Legend:
nd = not detected |  | cfs = cubic feet per second |  | uS/cm = micro Siemens per centimeter |  |  | MPN = Most Probable Number
MDL = Method Detection Limit |  | mg/l = milligrams per liter |  | mV = millivolts |  |  | CFU = Colony Forming units
Report Prepared by: |  |  |  | Date:
Reviewed and Released by: |  |  |  | Date:

## YSI Data
Data Transfer Range
Paste data below: |  |  | Temp | Sp. Cond. | TDS | DO % | DO Conc. | Depth | pH | ORP
05/27/98 12:52 | 52798 | 122835 | 21.53 | 936 | 559 | 73.2 | 6.44 | 0.2 | 7.29 | -2
05/27/98 12:52 | 52798 | 122907 | 21.45 | 937 | 559 | 76.1 | 6.7 | 0.2 | 7.3 | -3
05/27/98 12:52 | 52798 | 122936 | 21.4 | 938 | 559 | 68.7 | 6.06 | 0.1 | 7.29 | -7
05/27/98 12:53 | 52798 | 123000 | 21.38 | 939 | 560 | 67.8 | 5.98 | 0.1 | 7.3 | -8
05/27/98 12:53 | 52798 | 123024 | 21.35 | 938 | 558 | 67 | 5.91 | 0 | 7.3 | -25
05/27/98 12:53 | 52798 | 123037 | 21.42 | 939 | 560 | 66.7 | 5.88 | 0 | 7.29 | -36
Average |  | 122956.5 | 21.4217 | 937.8333 | 559.1667 | 69.9167 | 6.1617 | 0.1 | 7.295 | -13.5
|  |  | 21.4217 | 937.8333 | 559.1667 | 69.9167 | 6.1617 | 7.295 | -13.5

## Flow
Stream Discharge WorkSheet
Station
| Width |  | Flow Q = | 0
| Width/7 | 0
| Depth 1 |  | Velocity 1
| Depth 2 |  | Velocity 2
| Depth 3 |  | Velocity 3
| Mid Depth |  | Mid Vel.
| Depth 5 |  | Velocity 5
| Depth 6 |  | Velocity 6
| Depth 7 |  | Velocity 7