## 1998 Beach Closure Report
Closed | Opened | Beach Location | City | Cause | Volume | Units | Type | Source | Actions Taken | # of Samples | # of Days
January
1/4/98 | 1/8/98 | Mission Bay - Visitor Information Center | San Diego | Roots/Grease | 730 | gallons | Raw | Sewer line |  |  | 4
1998-01-10 | 1/13/98 | Carnation Ave to Border | Imperial Beach | Tijuana River Contamination |  |  | Raw/Mixed | Tijuana River |  |  | 3
1998-01-15 | 1/16/98 | San Diego Bay - Glorietta Bay | Coronado | Cross-connection | 6,000 | gallons | Raw | Sewer line |  |  | 1
Total | [10 empty] | 8
February
2/3/98 | 2/12/98 | San Onofre State Beach (Trestles) | San Clemente | Surcharge/Infiltration | 19,500 | gallons | Raw | Sewer Line |  |  | 9
2/14/98 | 1998-02-17 | Santa Margarita River | Camp Pendelton | Construction | 15000 |  | Raw | Sewer Line |  |  | 3
2/24/98 | 3/2/98 | Santa Margarita River | Camp Pendelton | Infiltration | 200,000 | gallons | Raw/Mixed | Sewer Line |  |  | 6
1998-02-24 | 2/27/98 | Buccaneer Beach - Loma Alta Lagoon | Oceanside | Infiltration | 7,500 | gallons | Raw | Sewer Line |  |  | 3*
1998-02-26 | 1998-02-27 | Buccaneer Beach - Loma Alta Lagoon | Oceanside | Line Break | 3000 |  | Raw | Sewer Line
2/24/98 | 3/9/98 | Batiquitos Lagoon - Outlet | Carlsbad | Line Break | 7000000 | gallons | Raw | Sewer Line |  |  | 13
2/17/98 | 1998-02-20 | Moonlight Beach | Encinitas | Pump Station Failure | 85000 |  | Raw | Sewer Line |  |  | 3
1998-02-09 | 2/12/98 | San Elijo Lagoon outlet | Encinitas | Debris/Urban Runoff | 500 |  | Raw/Mixed | Sewer Line |  |  | 3
1998-02-12 | 1998-02-13 | Torrey Pines State Beach - Los Penasquitos Lagoon | La Jolla | Debris/Urban Runoff | 1200 |  | Raw/Mixed | Sewer Line |  |  | 1
1998-02-18 | 2/27/98 | Torrey Pines State Beach - Los Penasquitos Lagoon | La Jolla | Line Break/Debris | 120,150 | gallons | Raw/Mixed | Sewer Line |  |  | 9
2/10/98 | 1998-02-27 | Tourmaline Surf Park | Pacific Beach | Flood Damage/Rocks | 23500 |  | Raw | Sewer Line |  |  | 17
2/17/98* | 1998-02-27 | Tourmaline Surf Park | Pacific Beach | Wash Out | 27000 | gallons | Raw | Sewer Line
2/10/98 | 2/13/98 | San Diego River to Ocean Beach Pier | Ocean Beach | 2 Surcharging Manholes | 30350 | gallons | Raw | Sewer Line |  |  | 3
1998-02-09 | 1998-03-09 | Mission Bay, Crown Pt to Tecolote Creek | San Diego | Surcharge | 24955 |  | Raw | Sewer Line |  |  | 28
1998-02-16 | 1998-03-09 | Mission Bay, Crown Pt to Tecolote Creek | San Diego | Line Break | 250 |  | Raw | Sewer Line
1998-02-16 | 1998-03-09 | Mission Bay, Crown Pt to Tecolote Creek | San Diego | Flood Damage | 43300 |  | Raw | Sewer Line
1998-02-17 | 1998-03-09 | Mission Bay, Crown Pt to Tecolote Creek | San Diego | Surcharge/Infiltration | 36000 |  | Raw | Sewer Line
2/18/98 | 1998-03-09 | Mission Bay, Crown Pt to Tecolote Creek | San Diego | Infiltration | 12,050 | gallons | Raw | Sewer Line
1998-02-20 | 1998-03-09 | Mission Bay, Crown Pt to Tecolote Creek | San Diego | Flood Damage/Infiltration | 10500 |  | Raw | Sewer Line
1998-02-06 | 1998-02-28 | San Diego Bay @ 32nd Street* | La Mesa | Surcharge/Infiltration | 100000 |  | Raw | Sewer Line |  |  | 22
1998-02-09 | 1998-02-28 | San Diego Bay @ 32nd Street | La Mesa | Surcharge/Infiltration | 9125 |  | Raw | Sewer Line
1998-02-09 | 1998-02-28 | San Diego Bay @ 32nd Street | La Mesa | Surcharge/Infiltration | 135000 |  | Raw | Sewer Line
1998-02-14 | 1998-02-28 | San Diego Bay @ 32nd Street | La Mesa | Surcharge/Infiltration | 20000 |  | Raw | Sewer Line
1998-02-17 | 1998-02-28 | San Diego Bay @ 32nd Street | La Mesa | Surcharge/Infiltration | 1500 |  | Raw | Sewer Line
1998-02-24 | 1998-02-28 | San Diego Bay @ 32nd Street | La Mesa | Surcharge/Infiltration | 2160 |  | Raw | Sewer Line
2/9/98 | 2/12/98 | Silver Strand & Coronado | Coronado | Tijuana River Contamination/Stormdrains |  |  | Raw/Mixed | Tijuana River |  |  | 3
1998-02-03 | 1998-02-27 | Carnation Ave to Border | Imperial Beach | Tijuana River Contamination |  |  | Raw/Mixed | Tijuana River |  |  | 24
Total | [10 empty] | 147
March
1998-03-10 | 1998-03-18 | San Diego River Outlet | Ocean Beach | Flood Damage | 122360 |  | Raw | Sewer Line |  |  | 8
1998-03-13 | 1998-03-18 | Tourmaline Surf Park | Pacific Beach | Flood Damage | 4838 |  | Raw | Sewer Line |  |  | 5
3/13/98* | 1998-03-18 | Tourmaline Surf Park | Pacific Beach | Line Break | 6300 |  | Raw | Sewer Line
1998-03-15 | 1998-03-18 | 32nd Street, San Diego Bay | San Diego | Vandalism | 19150 |  | Raw | Sewer Line |  |  | 3
1998-03-27 | 1998-04-03 | Cardiff State Beach | Encinitas | Grease | 3150 |  | Raw | Sewer Line |  |  | 7
1998-03-27 | 1998-03-31 | San Diego River Outlet | Ocean Beach | Grease | 16,500 | gallons | Raw | Sewer Line |  |  | 4
3/27/98 | 1998-03-31 | Carnation Ave to Border | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 4
Total | [10 empty] | 31
April
1998-04-01 | 4/7/98 | Tourmaline Surf Park | Pacific Beach | Line Break | 16,600 | gallons | Raw | Sewer Line |  |  | 6
1998-04-29 | 5/1/98 | Tourmaline Surf Park | Pacific Beach | Debris | 2265 | gallons | Raw | Sewer Line |  |  | 2
4/1/98* | 1998-04-05 | San Diego River Outlet | Ocean Beach | Continuation of March Spill | [6 empty] | 4
1998-04-15 | 1998-04-24 | San Diego River outlet | Ocean Beach | Debris | 3,850 | gallons | Raw | Sewer Line |  |  | 9
1998-04-16 | 1998-04-20 | Mission Bay, DeAnza Cove to Visitor Center | San Diego | Flood Damage | 40,800 | gallons | Raw | Sewer Line |  |  | 4
1998-04-01 | 1998-04-07 | Carnation Ave to Border | Imperial Beach | Tijuana River Contamination |  |  | Raw/Mixed | Tijuana River |  |  | 6
1998-04-12 | 1998-04-15 | Carnation Ave to Border | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 3
Total | [10 empty] | 34
May
1998-05-13 | 1998-05-20 | Cardiff State Beach | Encinitas | Grease | 31500 | gallons | Raw | Sewer Line |  |  | 7
1998-05-28 | 1998-06-01 | Cardiff State Beach | Encinitas | Grease | 8400 |  | Raw | Sewer Line |  |  | 4
1998-05-05 | 1998-05-11 | San Dieguito River Outlet | Del Mar | Lake Hodges Sewage Spill | 2160000 |  | Raw | Sewer Line |  |  | 6
1998-05-13 | 5/17/98 | Torrey Pines State Beach | La Jolla | Debris | 2,600 | gallons | Raw | Sewer Line |  |  | 4
1998-05-07 | 1998-05-14 | La Jolla Shores - Ave de la Playa | La Jolla | Elevated Bacteria Levels |  |  | Urban | Stormdrain |  |  | 7
1998-05-15 | 1998-05-17 | Mission Bay - Visitor Information Center | San Diego | Roots | 11250 |  | Raw | Sewer Line |  |  | 2
5/16/98* | 1998-05-17 | Mission Bay - Leisure Lagoon to DeAnza Cove | San Diego | Washed out line | 14400 |  | Raw | Sewer Line
1998-05-13 | 1998-05-15 | Imperial Beach and Silver Strand State Beach | Imperial Beach & Coronado | Tijuana River Contamination |  |  | Raw/Mixed | Tijuana River |  |  | 2
1998-05-01 | 1998-05-11 | Carnation Ave to Border | Imperial Beach | Tijuana River Contamination |  |  | Raw/Mixed | Tijuana River |  |  | 10
1998-05-13 | 1998-05-19 | Carnation Ave to Border | Imperial Beach | Tijuana River Contamination |  |  | Raw/Mixed | Tijuana River |  |  | 6
Total | [10 empty] | 48
June
1998-06-01 | 6/4/98 | San Luis Rey River | Oceanside | Vandalism | 18,000 | gallons | Raw | Sewer Line |  |  | 3
6/10/98 | 6/11/98 | Carlsbad City Beach | Carlsbad | Debris | 1,500 | gallons | Raw | Sewer Line |  |  | 1
1998-06-10 | 6/11/98 | La Jolla Shores - Ave de la Playa | La Jolla | Elevated Bacteria Levels |  |  | Urban | Stormdrain |  |  | 1
1998-06-22 | 6/25/98 | WindanSea | La Jolla | Roots | 3,500 | gallons | Raw | Sewer Line |  |  | 3
1998-06-16 | 6/18/98 | San Diego River Outlet | Ocean Beach | Grease | 1,800 | gallons | Raw | Sewer Line |  |  | 2
1998-06-08 | 6/10/98 | San Diego Bay - Kellogg Beach | Pt. Loma | Line Break | 3,000 | gallons | Raw | Sewer Line |  |  | 2
1998-06-12 | 1998-06-15 | San Diego Bay - Kellogg Beach | Pt Loma | Line Break | 2,000 | gallons | Raw | Sewer Line |  |  | 3
1998-06-18 | 6/23/98 | San Diego Bay - Shelter Island | Pt. Loma | Line blockage | 4,020 | gallons | Raw | Sewer Line |  |  | 5
Total | [10 empty] | 20
July
1998-07-21 | 7/23/98 | Mission Bay - Bonita Cove | San Diego | Pump Station Failure | 32200 | gallons | Raw | Sewer Line |  |  | 2
7/1/98 | 1998-07-02 | San Diego Bay - Kellogg Beach | Pt. Loma | Roots | 2480 |  | Raw | Sewer Line |  |  | 1
1998-07-16 | 1998-07-19 | Carnation Ave to Border | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 3
1998-07-19 | 7/22/98 | Cortez Ave to U.S./Mexico Border | Imperial Beach | Reduction in Posting |  |  |  | Tijuana River |  |  | 3
1998-07-22 | 1998-07-29 | Carnation Ave to Border | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 7
1998-07-22 | 1998-07-25 | San Elijo Lagoon - Cardiff State Beach | Encinitas | Lagoon Opening |  |  |  | Escondido Creek |  |  | 3
Total | [10 empty] | 19
August
1998-08-17 | 8/19/98 | Torrey Pines State Beach | La Jolla | Tidal Flushing |  |  | Lagoon Opening | Los Penasquitos Lagoon | Samples |  | 2
1998-08-12 | 1998-08-19 | Main gate at Silver Strand State Beach | Coronado | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 7
8/11/98 | 1998-08-19 | Carnation Ave to Border | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 8
1998-08-29 | 1998-09-01 | Carnation Ave to Border | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 3
Total | [10 empty] | 20
September
1998-09-05 | 9/9/98 | N. Carlsbad State Beach | Carlsbad | Corrosion | 50,000 | gallons | Raw | Sewer Line | Samples |  | 4
1998-09-14 | 1998-09-17 | Cardiff State Beach - San Elijo Lagoon | Solana Beach | Crack in Line | 800,000 | gallons | Raw | By-Pass Line | Samples |  | 3
9/30/98 | 10/2/98 | Cardiff State Beach - San Elijo Lagoon | Solana Beach | Tidal Flushing |  |  | Raw/Lagoon Opening | San Elijo Lagoon | Samples |  | 2
9/30/98 | 10/2/98 | La Jolla Shores - Ave de la Playa | La Jolla | Elevated Bacteria levels |  |  | Urban Runoff | Stormdrain | Samples |  | 2
1998-09-04 | 1998-09-06 | WindanSea Beach | La Jolla | Pump Station Failure | 3,000 | gallons | Raw | Sewer Pump Station | Samples |  | 2
1998-09-30 | 10/3/98 | WindanSea Beach - Fernglen Ave | La Jolla | Contractor | 12000 | gallons | Raw | Sewer Line | Samples |  | 3
1998-09-28 | 9/30/98 | San Diego Bay - Chollas Creek | San Diego | Unknown | 925 | gallons | Raw | Sewer Line | Posted/PR |  | 2
1998-09-01 | 1998-09-05 | Carnation Ave to U.S./Mexico Border | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 4
1998-09-06 | 1998-09-30 | Carnation Ave to U.S./Mexico Border | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River | Samples |  | 24
Total | [10 empty] | 46
October
10/26/98* | 12/31/98* | Buccaneer Beach - Loma Alta Lagoon | Oceanside | Urban Runoff |  |  | Lagoon Opening |  | Permanet Posting
1998-10-05 | 10/9/98 | San Diego River | Ocean Beach | Debris | 15,800 | gallons | Raw | Sewer Line | Samples |  | 4
10/6/98* | 10/9/98 | San Diego River | Ocean Beach | Sanitizer spill | 100 | gallons
1998-10-01 | 10/2/98 | San Diego Bay - Glorietta Bay | Coronado | Crack in Line | 2,500 | gallons | Raw | Sewer Line | Samples | 3 | 1
10/1/98 | 1998-11-01 | Carnation Ave to Border | Imperial Beach | Tijuana River Contamination |  |  |  | Tijuana River |  |  | 31
Total | [10 empty] | 36
November
1998-11-05 | 11/7/98 | Torrey Pines State Beach | La Jolla | Tidal Flushing |  |  | Lagoon Opening | Los Penasquitos Lagoon | Samples |  | 2
11/5/98 | 11/7/98 | Mission Bay - Visitor Information Center | San Diego | Debris | 200 | gallons | Raw | Sewer Line | Samples |  | 2
1998-11-01 | 1998-11-20 | Carnation Ave to Border | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 19
Total | [10 empty] | 23
December
1998-12-05 | 1998-12-09 | WindanSea | La Jolla | Power Outage | 2500 |  | Raw | Sewer Line |  |  | 4
1998-12-07 | 1998-12-09 | Torrey Pines State Beach | La Jolla | Roots | 355920 |  | Raw | Sewer Line |  |  | 2
1998-12-12 | 1998-12-15 | San Diego Bay - Scott Street | Pt Loma | Contractor | 18700 |  | Raw | Sewer Line |  |  | 3
1998-12-21 | 1998-12-23 | San Diego River - Dog Beach | Ocean Beach | Grease/Debris | 6640 |  | Raw | Sewer Line |  |  | 2
Total | [10 empty] | 11
Total for Year | [10 empty] | 443
1998-01-04 | 1998-01-07 | General Advisory | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
1998-01-20 | 1998-01-23 | General Advisory | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
1998-01-29 | 1998-02-01 | General Advisory | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
2/3/98 | 2/6/98 | General Advisory | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
1998-02-09 | 1998-02-12 | General Advisory | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
1998-02-14 | 1998-02-27 | General Advisory - Extended | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 13
3/27/98 | 3/30/98 | General Advisory | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
3/31/98 | 1998-04-03 | General Advisory | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
1998-04-13 | 1998-04-19 | General Advisory - Extended | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 6
1998-05-06 | 1998-05-09 | General Advisory | Countywide | Urban Runoff |  |  | Rain | Stormdrain |  |  | 3
1998-05-13 | 1998-05-16 | General Advisory | Countywide | Urban Runoff |  |  | Rain | Stormdrain |  |  | 3
1998-11-08 | 11/11/98 | General Advisory | Countywide | Urban Runoff |  |  | Rain | Stormdrains | Press Release |  | 3
1998-11-29 | 1998-12-09 | General Advisory - Extended | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 10
Total | [10 empty] | 59

## calculations
Beach Location | Closed | Opened | City | Cause | Volume | Units | Type | Source | Actions Taken | # of Samples | # of Days
32nd Street, San Diego Bay | 1998-03-15 | 1998-03-18 | San Diego | Vandalism | 19150 |  | Raw | Sewer Line |  |  | 3
Batiquitos Lagoon - Outlet | 2/24/98 | 3/9/98 | Carlsbad | Line Break | 7000000 | gallons | Raw | Sewer Line |  |  | 13
Buccaneer Beach - Loma Alta Lagoon | 1998-02-24 | 2/27/98 | Oceanside | Infiltration | 7,500 | gallons | Raw | Sewer Line |  |  | 3*
Buccaneer Beach - Loma Alta Lagoon | 1998-02-26 | 1998-02-27 | Oceanside | Line Break | 3000 |  | Raw | Sewer Line
Buccaneer Beach - Loma Alta Lagoon | 10/26/98* | 12/31/98* | Oceanside | Urban Runoff |  |  | Lagoon Opening |  | Permanet Posting
Cardiff State Beach | 1998-03-27 | 1998-04-03 | Encinitas | Grease | 3150 |  | Raw | Sewer Line |  |  | 7
Cardiff State Beach | 1998-05-13 | 1998-05-20 | Encinitas | Grease | 31500 | gallons | Raw | Sewer Line |  |  | 7
Cardiff State Beach | 1998-05-28 | 1998-06-01 | Encinitas | Grease | 8400 |  | Raw | Sewer Line |  |  | 4
Cardiff State Beach - San Elijo Lagoon | 1998-09-14 | 1998-09-17 | Solana Beach | Crack in Line | 800,000 | gallons | Raw | By-Pass Line | Samples |  | 3
Cardiff State Beach - San Elijo Lagoon | 9/30/98 | 10/2/98 | Solana Beach | Tidal Flushing |  |  | Raw/Lagoon Opening | San Elijo Lagoon | Samples |  | 2
Carlsbad City Beach | 6/10/98 | 6/11/98 | Carlsbad | Debris | 1,500 | gallons | Raw | Sewer Line |  |  | 1
Carnation Ave to Border | 1998-01-10 | 1/13/98 | Imperial Beach | Tijuana River Contamination |  |  | Raw/Mixed | Tijuana River |  |  | 3
Carnation Ave to Border | 1998-02-03 | 1998-02-27 | Imperial Beach | Tijuana River Contamination |  |  | Raw/Mixed | Tijuana River |  |  | 24
Carnation Ave to Border | 1998-04-01 | 1998-04-07 | Imperial Beach | Tijuana River Contamination |  |  | Raw/Mixed | Tijuana River |  |  | 6
Carnation Ave to Border | 1998-04-12 | 1998-04-15 | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 3
Carnation Ave to Border | 1998-05-01 | 1998-05-11 | Imperial Beach | Tijuana River Contamination |  |  | Raw/Mixed | Tijuana River |  |  | 10
Carnation Ave to Border | 1998-05-13 | 1998-05-19 | Imperial Beach | Tijuana River Contamination |  |  | Raw/Mixed | Tijuana River |  |  | 6
Carnation Ave to Border | 1998-07-16 | 1998-07-19 | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 3
Carnation Ave to Border | 1998-07-22 | 1998-07-29 | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 7
Carnation Ave to Border | 1998-08-29 | 1998-09-01 | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 3
Carnation Ave to Border | 1998-11-01 | 1998-11-20 | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 19
Carnation Ave to Border | 10/1/98 | 1998-11-01 | Imperial Beach | Tijuana River Contamination |  |  |  | Tijuana River |  |  | 31
Carnation Ave to Border | 8/11/98 | 1998-08-19 | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 8
Carnation Ave to Border | 3/27/98 | 1998-03-31 | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 4
Carnation Ave to U.S./Mexico Border | 1998-09-01 | 1998-09-05 | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 4
Carnation Ave to U.S./Mexico Border | 1998-09-06 | 1998-09-30 | Imperial Beach | Tijuana River Contamination |  |  | Raw | Tijuana River | Samples |  | 24
Cortez Ave to U.S./Mexico Border | 1998-07-19 | 7/22/98 | Imperial Beach | Reduction in Posting |  |  |  | Tijuana River |  |  | 3
Imperial Beach and Silver Strand State Beach | 1998-05-13 | 1998-05-15 | Imperial Beach & Coronado | Tijuana River Contamination |  |  | Raw/Mixed | Tijuana River |  |  | 2
La Jolla Shores - Ave de la Playa | 9/30/98 | 10/2/98 | La Jolla | Elevated Bacteria levels |  |  | Urban Runoff | Stormdrain | Samples |  | 2
La Jolla Shores - Ave de la Playa | 1998-05-07 | 1998-05-14 | La Jolla | Elevated Bacteria Levels |  |  | Urban | Stormdrain |  |  | 7
La Jolla Shores - Ave de la Playa | 1998-06-10 | 6/11/98 | La Jolla | Elevated Bacteria Levels |  |  | Urban | Stormdrain |  |  | 1
Main gate at Silver Strand State Beach | 1998-08-12 | 1998-08-19 | Coronado | Tijuana River Contamination |  |  | Raw | Tijuana River |  |  | 7
Mission Bay - Bonita Cove | 1998-07-21 | 7/23/98 | San Diego | Pump Station Failure | 32200 | gallons | Raw | Sewer Line |  |  | 2
Mission Bay - Leisure Lagoon to DeAnza Cove | 5/16/98* | 1998-05-17 | San Diego | Washed out line | 14400 |  | Raw | Sewer Line
Mission Bay - Visitor Information Center | 1998-05-15 | 1998-05-17 | San Diego | Roots | 11250 |  | Raw | Sewer Line |  |  | 2
Mission Bay - Visitor Information Center | 1/4/98 | 1/8/98 | San Diego | Roots/Grease | 730 | gallons | Raw | Sewer line |  |  | 4
Mission Bay - Visitor Information Center | 11/5/98 | 11/7/98 | San Diego | Debris | 200 | gallons | Raw | Sewer Line | Samples |  | 2
Mission Bay, Crown Pt to Tecolote Creek | 1998-02-09 | 1998-03-09 | San Diego | Surcharge | 24955 |  | Raw | Sewer Line |  |  | 28
Mission Bay, Crown Pt to Tecolote Creek | 1998-02-16 | 1998-03-09 | San Diego | Line Break | 250 |  | Raw | Sewer Line
Mission Bay, Crown Pt to Tecolote Creek | 1998-02-16 | 1998-03-09 | San Diego | Flood Damage | 43300 |  | Raw | Sewer Line
Mission Bay, Crown Pt to Tecolote Creek | 1998-02-17 | 1998-03-09 | San Diego | Surcharge/Infiltration | 36000 |  | Raw | Sewer Line
Mission Bay, Crown Pt to Tecolote Creek | 1998-02-20 | 1998-03-09 | San Diego | Flood Damage/Infiltration | 10500 |  | Raw | Sewer Line
Mission Bay, Crown Pt to Tecolote Creek | 2/18/98 | 1998-03-09 | San Diego | Infiltration | 12,050 | gallons | Raw | Sewer Line
Mission Bay, DeAnza Cove to Visitor Center | 1998-04-16 | 1998-04-20 | San Diego | Flood Damage | 40,800 | gallons | Raw | Sewer Line |  |  | 4
Moonlight Beach | 2/17/98 | 1998-02-20 | Encinitas | Pump Station Failure | 85000 |  | Raw | Sewer Line |  |  | 3
N. Carlsbad State Beach | 1998-09-05 | 9/9/98 | Carlsbad | Corrosion | 50,000 | gallons | Raw | Sewer Line | Samples |  | 4
San Diego Bay - Chollas Creek | 1998-09-28 | 9/30/98 | San Diego | Unknown | 925 | gallons | Raw | Sewer Line | Posted/PR |  | 2
San Diego Bay - Glorietta Bay | 1998-01-15 | 1/16/98 | Coronado | Cross-connection | 6,000 | gallons | Raw | Sewer line |  |  | 1
San Diego Bay - Glorietta Bay | 1998-10-01 | 10/2/98 | Coronado | Crack in Line | 2,500 | gallons | Raw | Sewer Line | Samples | 3 | 1
San Diego Bay - Kellogg Beach | 1998-06-08 | 6/10/98 | Pt. Loma | Line Break | 3,000 | gallons | Raw | Sewer Line |  |  | 2
San Diego Bay - Kellogg Beach | 1998-06-12 | 1998-06-15 | Pt Loma | Line Break | 2,000 | gallons | Raw | Sewer Line |  |  | 3
San Diego Bay - Kellogg Beach | 7/1/98 | 1998-07-02 | Pt. Loma | Roots | 2480 |  | Raw | Sewer Line |  |  | 1
San Diego Bay - Scott Street | 1998-12-12 | 1998-12-15 | Pt Loma | Contractor | 18700 |  | Raw | Sewer Line |  |  | 3
San Diego Bay - Shelter Island | 1998-06-18 | 6/23/98 | Pt. Loma | Line blockage | 4,020 | gallons | Raw | Sewer Line |  |  | 5
San Diego Bay @ 32nd Street | 1998-02-09 | 1998-02-28 | La Mesa | Surcharge/Infiltration | 9125 |  | Raw | Sewer Line
San Diego Bay @ 32nd Street | 1998-02-09 | 1998-02-28 | La Mesa | Surcharge/Infiltration | 135000 |  | Raw | Sewer Line
San Diego Bay @ 32nd Street | 1998-02-14 | 1998-02-28 | La Mesa | Surcharge/Infiltration | 20000 |  | Raw | Sewer Line
San Diego Bay @ 32nd Street | 1998-02-17 | 1998-02-28 | La Mesa | Surcharge/Infiltration | 1500 |  | Raw | Sewer Line
San Diego Bay @ 32nd Street | 1998-02-24 | 1998-02-28 | La Mesa | Surcharge/Infiltration | 2160 |  | Raw | Sewer Line
San Diego Bay @ 32nd Street* | 1998-02-06 | 1998-02-28 | La Mesa | Surcharge/Infiltration | 100000 |  | Raw | Sewer Line |  |  | 22
San Diego River | 1998-10-05 | 10/9/98 | Ocean Beach | Debris | 15,800 | gallons | Raw | Sewer Line | Samples |  | 4
San Diego River | 10/6/98* | 10/9/98 | Ocean Beach | Sanitizer spill | 100 | gallons
San Diego River - Dog Beach | 1998-12-21 | 1998-12-23 | Ocean Beach | Grease/Debris | 6640 |  | Raw | Sewer Line |  |  | 2
San Diego River Outlet | 1998-03-10 | 1998-03-18 | Ocean Beach | Flood Damage | 122360 |  | Raw | Sewer Line |  |  | 8
San Diego River Outlet | 1998-03-27 | 1998-03-31 | Ocean Beach | Grease | 16,500 | gallons | Raw | Sewer Line |  |  | 4
San Diego River outlet | 1998-04-15 | 1998-04-24 | Ocean Beach | Debris | 3,850 | gallons | Raw | Sewer Line |  |  | 9
San Diego River Outlet | 1998-06-16 | 6/18/98 | Ocean Beach | Grease | 1,800 | gallons | Raw | Sewer Line |  |  | 2
San Diego River Outlet | 4/1/98* | 1998-04-05 | Ocean Beach | Continuation of March Spill | [6 empty] | 4
San Diego River to Ocean Beach Pier | 2/10/98 | 2/13/98 | Ocean Beach | 2 Surcharging Manholes | 30350 | gallons | Raw | Sewer Line |  |  | 3
San Dieguito River Outlet | 1998-05-05 | 1998-05-11 | Del Mar | Lake Hodges Sewage Spill | 2160000 |  | Raw | Sewer Line |  |  | 6
San Elijo Lagoon - Cardiff State Beach | 1998-07-22 | 1998-07-25 | Encinitas | Lagoon Opening |  |  |  | Escondido Creek |  |  | 3
San Elijo Lagoon outlet | 1998-02-09 | 2/12/98 | Encinitas | Debris/Urban Runoff | 500 |  | Raw/Mixed | Sewer Line |  |  | 3
San Luis Rey River | 1998-06-01 | 6/4/98 | Oceanside | Vandalism | 18,000 | gallons | Raw | Sewer Line |  |  | 3
San Onofre State Beach (Trestles) | 2/3/98 | 2/12/98 | San Clemente | Surcharge/Infiltration | 19,500 | gallons | Raw | Sewer Line |  |  | 9
Santa Margarita River | 2/14/98 | 1998-02-17 | Camp Pendelton | Construction | 15000 |  | Raw | Sewer Line |  |  | 3
Santa Margarita River | 2/24/98 | 3/2/98 | Camp Pendelton | Infiltration | 200,000 | gallons | Raw/Mixed | Sewer Line |  |  | 6
Silver Strand & Coronado | 2/9/98 | 2/12/98 | Coronado | Tijuana River Contamination/Stormdrains |  |  | Raw/Mixed | Tijuana River |  |  | 3
Torrey Pines State Beach | 1998-05-13 | 5/17/98 | La Jolla | Debris | 2,600 | gallons | Raw | Sewer Line |  |  | 4
Torrey Pines State Beach | 1998-08-17 | 8/19/98 | La Jolla | Tidal Flushing |  |  | Lagoon Opening | Los Penasquitos Lagoon | Samples |  | 2
Torrey Pines State Beach | 1998-11-05 | 11/7/98 | La Jolla | Tidal Flushing |  |  | Lagoon Opening | Los Penasquitos Lagoon | Samples |  | 2
Torrey Pines State Beach | 1998-12-07 | 1998-12-09 | La Jolla | Roots | 355920 |  | Raw | Sewer Line |  |  | 2
Torrey Pines State Beach - Los Penasquitos Lagoon | 1998-02-12 | 1998-02-13 | La Jolla | Debris/Urban Runoff | 1200 |  | Raw/Mixed | Sewer Line |  |  | 1
Torrey Pines State Beach - Los Penasquitos Lagoon | 1998-02-18 | 2/27/98 | La Jolla | Line Break/Debris | 120,150 | gallons | Raw/Mixed | Sewer Line |  |  | 9
Tourmaline Surf Park | 1998-03-13 | 1998-03-18 | Pacific Beach | Flood Damage | 4838 |  | Raw | Sewer Line |  |  | 5
Tourmaline Surf Park | 1998-04-01 | 4/7/98 | Pacific Beach | Line Break | 16,600 | gallons | Raw | Sewer Line |  |  | 6
Tourmaline Surf Park | 1998-04-29 | 5/1/98 | Pacific Beach | Debris | 2265 | gallons | Raw | Sewer Line |  |  | 2
Tourmaline Surf Park | 2/10/98 | 1998-02-27 | Pacific Beach | Flood Damage/Rocks | 23500 |  | Raw | Sewer Line |  |  | 17
Tourmaline Surf Park | 2/17/98* | 1998-02-27 | Pacific Beach | Wash Out | 27000 | gallons | Raw | Sewer Line
Tourmaline Surf Park | 3/13/98* | 1998-03-18 | Pacific Beach | Line Break | 6300 |  | Raw | Sewer Line
WindanSea | 1998-06-22 | 6/25/98 | La Jolla | Roots | 3,500 | gallons | Raw | Sewer Line |  |  | 3
WindanSea | 1998-12-05 | 1998-12-09 | La Jolla | Power Outage | 2500 |  | Raw | Sewer Line |  |  | 4
WindanSea Beach | 1998-09-04 | 1998-09-06 | La Jolla | Pump Station Failure | 3,000 | gallons | Raw | Sewer Pump Station | Samples |  | 2
WindanSea Beach - Fernglen Ave | 1998-09-30 | 10/3/98 | La Jolla | Contractor | 12000 | gallons | Raw | Sewer Line | Samples |  | 3
| Total | [9 empty] | 11
| Total for Year | [9 empty] | 443
General Advisory | 1998-01-04 | 1998-01-07 | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
General Advisory | 1998-01-20 | 1998-01-23 | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
General Advisory | 1998-01-29 | 1998-02-01 | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
General Advisory | 2/3/98 | 2/6/98 | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
General Advisory | 1998-02-09 | 1998-02-12 | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
General Advisory - Extended | 1998-02-14 | 1998-02-27 | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 13
General Advisory | 3/27/98 | 3/30/98 | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
General Advisory | 3/31/98 | 1998-04-03 | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 3
General Advisory - Extended | 1998-04-13 | 1998-04-19 | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 6
General Advisory | 1998-05-06 | 1998-05-09 | Countywide | Urban Runoff |  |  | Rain | Stormdrain |  |  | 3
General Advisory | 1998-05-13 | 1998-05-16 | Countywide | Urban Runoff |  |  | Rain | Stormdrain |  |  | 3
General Advisory | 1998-11-08 | 11/11/98 | Countywide | Urban Runoff |  |  | Rain | Stormdrains | Press Release |  | 3
General Advisory - Extended | 1998-11-29 | 1998-12-09 | Countywide | Urban Runoff |  |  | Rain | Stormdrains |  |  | 10
| Total | [9 empty] | 59