## OTA_GA84_2000
File Name: J:\LIMSUSER\rkf\OTA_GA84_2000.csv
San Diego Water Quality Laboratory
WQL
Report By: RKF
Report Date: December 19, 2000 6:58 AM
Report Selection Criteria
Raw Value IS NOT NULL
Reportable(1/0) = 1
Sample Date BETWEEN '01-Jan-1996' AND '15-Dec-2000'
Source IN ('OTA-GA84')
Test Type IN ('SAMP')
Report Options
Equal_Weight_Samples=Y
Equal_Weight_Days=N
Apply_Less_Than=Y
Non_Detect_Mdl_Factor=NULL
Concatenate_Cells_Calculation=N
Quote_Strings=Y
Strip_Internal=N
Print_Comments=N
Output Specification
Source
Sample Date
Analysis
Analyte
Avg Units
| Avg Value | Decimal Digits: 3
Avg Qualifier
Report Data
Number of result records queried: 1229
Number of summary records found: 1111
Source | Sample Date | Analysis | Analyte | Avg Units | Avg Value | Avg Qualifier
OTA-GA84 | 1997-06-05 | PH_ALK_MAN | ALKALINITY_TOT | MG/L | 155
OTA-GA84 | 1996-07-25 | PLANKTON | ANABAENA | STD_U/ML | 129
OTA-GA84 | 1999-07-08 | PLANKTON | ANABAENA | STD_U/ML | 266
OTA-GA84 | 1996-03-28 | PLANKTON | ANKISTRODESMUS | STD_U/ML | 17
OTA-GA84 | 1996-04-25 | PLANKTON | ANKISTRODESMUS | STD_U/ML | 17
OTA-GA84 | 1996-06-06 | PLANKTON | ANKISTRODESMUS | STD_U/ML | 9
OTA-GA84 | 1997-08-12 | PLANKTON | ANKISTRODESMUS | STD_U/ML | 9
OTA-GA84 | 1999-06-29 | PLANKTON | ANKISTRODESMUS | STD_U/ML | 9
OTA-GA84 | 1999-07-13 | PLANKTON | ANKISTRODESMUS | STD_U/ML | 9
OTA-GA84 | 1996-12-05 | PLANKTON | APHANIZOMENON | STD_U/ML | 172
OTA-GA84 | 1998-05-05 | PLANKTON | APHANIZOMENON | STD_U/ML | 770
OTA-GA84 | 1998-05-21 | PLANKTON | APHANIZOMENON | STD_U/ML | 133
OTA-GA84 | 1996-02-27 | PLANKTON | ASTERIONELLA | STD_U/ML | 52
OTA-GA84 | 1998-04-09 | PLANKTON | ASTERIONELLA | STD_U/ML | 177
OTA-GA84 | 1998-05-05 | PLANKTON | ASTERIONELLA | STD_U/ML | 89
OTA-GA84 | 1996-03-07 | PLANKTON | CENTRIC | STD_U/ML | 60
OTA-GA84 | 1999-02-11 | PLANKTON | CENTRIC | STD_U/ML | 18
OTA-GA84 | 1999-03-30 | PLANKTON | CENTRIC | STD_U/ML | 18
OTA-GA84 | 1996-11-07 | PLANKTON | CERATIUM | STD_U/ML | 86 | >
OTA-GA84 | 1996-11-21 | PLANKTON | CERATIUM | STD_U/ML | 129
OTA-GA84 | 1999-04-13 | PLANKTON | CERATIUM | STD_U/ML | 266
OTA-GA84 | 1996-03-07 | PLANKTON | CHLORELLA | STD_U/ML | 9
OTA-GA84 | 1997-08-12 | PLANKTON | CHLORELLA | STD_U/ML | 9 | <
OTA-GA84 | 1998-06-04 | PLANKTON | CHLORELLA | STD_U/ML | 27
OTA-GA84 | 1996-05-09 | PLANKTON | CILIATE | STD_U/ML | 43
OTA-GA84 | 1997-07-31 | PLANKTON | CILIATE | STD_U/ML | 86
OTA-GA84 | 1996-05-30 | PLANKTON | CLOSTERIOPSIS | STD_U/ML | 26
OTA-GA84 | 1998-05-28 | PLANKTON | CLOSTERIUM | STD_U/ML | 89
OTA-GA84 | 1998-11-03 | PLANKTON | COELASTRUM | STD_U/ML | 27
OTA-GA84 | 1996-08-22 | TURBIDITY | COLOR | COLOR | 15
OTA-GA84 | 1998-09-29 | COLOR | COLOR | COLOR | 39 |  | 1 | 1
OTA-GA84 | 1998-10-06 | COLOR | COLOR | COLOR | 38 |  | 1 | 1
OTA-GA84 | 1998-10-15 | COLOR | COLOR | COLOR | 40 |  | 1 | 1
OTA-GA84 | 1998-10-20 | COLOR | COLOR | COLOR | 42 | < | 1 | 1
OTA-GA84 | 1998-10-27 | COLOR | COLOR | COLOR | 54 |  | 1 | 1
OTA-GA84 | 1998-11-03 | COLOR | COLOR | COLOR | 46 |  | 1 | 1
OTA-GA84 | 1999-02-23 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA84 | 1999-03-04 | COLOR | COLOR | COLOR | 16.5 |  | 0 | 1
OTA-GA84 | 1999-03-09 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA84 | 1999-03-16 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA84 | 1999-03-25 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA84 | 1999-03-30 | COLOR | COLOR | COLOR | 15 | < | 0 | 1
OTA-GA84 | 1999-04-08 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA84 | 1999-04-13 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA84 | 1999-04-20 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA84 | 1999-04-29 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA84 | 1999-05-06 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA84 | 1999-05-13 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA84 | 1999-05-18 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA84 | 1999-05-27 | COLOR | COLOR | COLOR | 16.5 |  | 0 | 1
OTA-GA84 | 1999-06-03 | COLOR | COLOR | COLOR | 15 | < | 0 | 1
OTA-GA84 | 1999-06-10 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA84 | 1999-06-15 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA84 | 1999-06-22 | COLOR | COLOR | COLOR | 15.5 |  | 0 | 1
OTA-GA84 | 1999-06-29 | COLOR | COLOR | COLOR | 20 |  | 0 | 1
OTA-GA84 | 1999-07-08 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA84 | 1999-07-13 | COLOR | COLOR | COLOR | 19 | < | 0 | 1
OTA-GA84 | 1999-07-22 | COLOR | COLOR | COLOR | 21.5 | < | 1 | 1
OTA-GA84 | 1999-07-26 | COLOR | COLOR | COLOR | 20 |  | 0 | 1
OTA-GA84 | 1999-08-05 | COLOR | COLOR | COLOR | 29 |  | 1 | 1
OTA-GA84 | 1999-08-10 | COLOR | COLOR | COLOR | 26 |  | 1 | 1
OTA-GA84 | 1999-08-17 | COLOR | COLOR | COLOR | 35.5 |  | 1 | 1
OTA-GA84 | 1999-08-24 | COLOR | COLOR | COLOR | 36 |  | 1 | 1
OTA-GA84 | 1999-08-31 | COLOR | COLOR | COLOR | 34 |  | 1 | 1
OTA-GA84 | 1999-09-09 | COLOR | COLOR | COLOR | 37.5 |  | 1 | 1
OTA-GA84 | 1999-09-16 | COLOR | COLOR | COLOR | 48 |  | 1 | 1
OTA-GA84 | 1999-09-21 | COLOR | COLOR | COLOR | 38.5 |  | 1 | 1
OTA-GA84 | 1999-09-28 | COLOR | COLOR | COLOR | 40 |  | 1 | 1
OTA-GA84 | 1999-10-07 | COLOR | COLOR | COLOR | 46 |  | 1 | 1
OTA-GA84 | 1999-10-14 | COLOR | COLOR | COLOR | 47 |  | 1 | 1
OTA-GA84 | 1999-10-21 | COLOR | COLOR | COLOR | 37 |  | 1 | 1
OTA-GA84 | 1999-10-26 | COLOR | COLOR | COLOR | 35.5 |  | 1 | 1
OTA-GA84 | 1999-11-02 | COLOR | COLOR | COLOR | 25 |  | 1 | 1
OTA-GA84 | 1999-11-09 | COLOR | COLOR | COLOR | 16 | > | 0 | 1
OTA-GA84 | 1999-11-16 | COLOR | COLOR | COLOR | 21 |  | 1 | 1
OTA-GA84 | 1999-11-23 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA84 | 1999-11-30 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA84 | 1999-12-09 | COLOR | COLOR | COLOR | 17.5 |  | 0 | 1
OTA-GA84 | 1999-12-14 | COLOR | COLOR | COLOR | 19 |  | 0 | 1
OTA-GA84 | 1999-12-21 | COLOR | COLOR | COLOR | 19.5 |  | 0 | 1
OTA-GA84 | 1999-12-28 | COLOR | COLOR | COLOR | 19 |  | 0 | 1
OTA-GA84 | 2000-01-04 | COLOR | COLOR | COLOR | 19 | > | 0 | 1
OTA-GA84 | 2000-01-13 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA84 | 2000-01-20 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA84 | 2000-01-26 | COLOR | COLOR | COLOR | 19 |  | 0 | 1
OTA-GA84 | 2000-02-03 | COLOR | COLOR | COLOR | 15.5 |  | 0 | 1
OTA-GA84 | 2000-02-10 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA84 | 2000-02-17 | COLOR | COLOR | COLOR | 15 | > | 0 | 1
OTA-GA84 | 2000-02-24 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA84 | 2000-03-02 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA84 | 2000-03-09 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA84 | 2000-03-16 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA84 | 2000-03-23 | COLOR | COLOR | COLOR | 13 | < | 0 | 1
OTA-GA84 | 2000-03-30 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA84 | 2000-04-06 | COLOR | COLOR | COLOR | 9 |  | 0 | 1
OTA-GA84 | 2000-04-13 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA84 | 2000-04-20 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA84 | 2000-04-27 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA84 | 2000-05-04 | COLOR | COLOR | COLOR | 11.5 |  | 0 | 1
OTA-GA84 | 2000-05-08 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA84 | 2000-05-18 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA84 | 2000-05-25 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA84 | 2000-06-01 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA84 | 2000-06-08 | COLOR | COLOR | COLOR | 17 |  | 0 | 1
OTA-GA84 | 2000-06-15 | COLOR | COLOR | COLOR | 18 |  | 0 | 1
OTA-GA84 | 2000-06-22 | COLOR | COLOR | COLOR | 16.5 |  | 0 | 1
OTA-GA84 | 2000-06-29 | COLOR | COLOR | COLOR | 20 |  | 0 | 1
OTA-GA84 | 2000-07-06 | COLOR | COLOR | COLOR | 18 |  | 0 | 1
OTA-GA84 | 2000-07-13 | COLOR | COLOR | COLOR | 21 |  | 1 | 1
OTA-GA84 | 2000-07-17 | COLOR | COLOR | COLOR | 23 |  | 1 | 1
OTA-GA84 | 2000-07-24 | COLOR | COLOR | COLOR | 29 | < | 1 | 1
OTA-GA84 | 2000-08-03 | COLOR | COLOR | COLOR | 30 |  | 1 | 1
OTA-GA84 | 2000-08-10 | COLOR | COLOR | COLOR | 27 |  | 1 | 1
OTA-GA84 | 2000-08-17 | COLOR | COLOR | COLOR | 25 |  | 1 | 1
OTA-GA84 | 2000-08-24 | COLOR | COLOR | COLOR | 39 |  | 1 | 1
OTA-GA84 | 2000-08-31 | COLOR | COLOR | COLOR | 26 |  | 1 | 1
OTA-GA84 | 2000-09-07 | COLOR | COLOR | COLOR | 37 |  | 1 | 1
OTA-GA84 | 2000-09-14 | COLOR | COLOR | COLOR | 26 |  | 1 | 1
OTA-GA84 | 2000-09-21 | COLOR | COLOR | COLOR | 39 |  | 1 | 1
OTA-GA84 | 2000-09-28 | COLOR | COLOR | COLOR | 24 | < | 1 | 1
OTA-GA84 | 2000-10-05 | COLOR | COLOR | COLOR | 38 | < | 1 | 1
OTA-GA84 | 2000-10-12 | COLOR | COLOR | COLOR | 48 |  | 1 | 1
OTA-GA84 | 2000-10-26 | COLOR | COLOR | COLOR | 24 |  | 1 | 1
OTA-GA84 | 2000-11-02 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA84 | 2000-11-09 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA84 | 2000-11-16 | COLOR | COLOR | COLOR | 16 |  | 0 | 1
OTA-GA84 | 2000-11-21 | COLOR | COLOR | COLOR | 12.5 |  | 0 | 1
OTA-GA84 | 2000-11-30 | COLOR | COLOR | COLOR | 14 |  | 0 | 1
OTA-GA84 | 2000-12-07 | COLOR | COLOR | COLOR | 13 |  | 0 | 1
OTA-GA84 | 2000-12-14 | COLOR | COLOR | COLOR | 15 |  | 0 | 1
OTA-GA84 | 1996-10-24 | PLANKTON | COPEPOD | STD_U/ML | 431 |  | 37 | 100 | 37%
OTA-GA84 | 1996-12-05 | PLANKTON | COPEPOD | STD_U/ML | 5170
OTA-GA84 | 1997-07-31 | PLANKTON | COPEPOD | STD_U/ML | 3450
OTA-GA84 | 1999-04-29 | PLANKTON | COPEPOD | STD_U/ML | 7080
OTA-GA84 | 2000-01-13 | PLANKTON | COPEPOD | STD_U/ML | 443
OTA-GA84 | 1998-05-05 | PLANKTON | CYCLOTELLA | STD_U/ML | 2510
OTA-GA84 | 1998-05-12 | PLANKTON | CYCLOTELLA | STD_U/ML | 204
OTA-GA84 | 1998-05-21 | PLANKTON | CYCLOTELLA | STD_U/ML | 27
OTA-GA84 | 1999-05-13 | PLANKTON | CYCLOTELLA | STD_U/ML | 9
OTA-GA84 | 1999-07-22 | DOC | DOC | MG/L | 7.06
OTA-GA84 | 1999-07-26 | DOC | DOC | MG/L | 7.23
OTA-GA84 | 1999-08-05 | DOC | DOC | MG/L | 7.22
OTA-GA84 | 1999-08-05 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 1999-08-10 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 1999-11-02 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 1999-11-09 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 1999-11-16 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 1999-11-23 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 1999-11-30 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 1999-12-09 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 1999-12-14 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 1999-12-21 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 1999-12-28 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-01-04 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-01-13 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-01-20 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-01-26 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-02-03 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-02-10 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA84 | 2000-02-17 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA84 | 2000-02-24 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-03-02 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-03-09 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-03-16 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-03-23 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-03-30 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-04-06 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-04-13 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA84 | 2000-04-20 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA84 | 2000-04-27 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-05-04 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-05-08 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-05-25 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-06-01 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-06-08 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-06-15 | QT_CST | E_COLI | /100 ML | 20
OTA-GA84 | 2000-06-22 | QT_CST | E_COLI | /100 ML | 20
OTA-GA84 | 2000-06-29 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-07-06 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-07-13 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-07-17 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-07-24 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-08-03 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-08-10 | QT_CST | E_COLI | /100 ML | 10 | <
OTA-GA84 | 2000-08-17 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-08-24 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-08-31 | QT_CST | E_COLI | /100 ML | 10 | >
OTA-GA84 | 2000-09-07 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-09-14 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-09-21 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-09-25 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-09-28 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-10-05 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-10-12 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-10-19 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-10-26 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-11-02 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-11-09 | QT_CST | E_COLI | /100 ML | 20
OTA-GA84 | 2000-11-16 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-11-21 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-11-30 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-12-07 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 2000-12-14 | QT_CST | E_COLI | /100 ML | 10
OTA-GA84 | 1998-02-05 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 12 | >
OTA-GA84 | 1998-09-29 | MF_ENTERO | ENTEROCOCCUS | CFU/100ML | 1
OTA-GA84 | 1999-08-05 | QT_CST | ENTEROCOCCUS | /100 ML | 10
OTA-GA84 | 1999-08-10 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 1999-11-02 | QT_CST | ENTEROCOCCUS | /100 ML | 2
OTA-GA84 | 1999-11-09 | QT_CST | ENTEROCOCCUS | /100 ML | 2
OTA-GA84 | 1999-11-16 | QT_CST | ENTEROCOCCUS | /100 ML | 5.2
OTA-GA84 | 1999-11-23 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 1999-11-30 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA84 | 1999-12-09 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA84 | 1999-12-14 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 1999-12-21 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 1999-12-28 | QT_CST | ENTEROCOCCUS | /100 ML | 2
OTA-GA84 | 2000-01-04 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-01-13 | QT_CST | ENTEROCOCCUS | /100 ML | 2
OTA-GA84 | 2000-01-20 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-01-26 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-02-03 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-02-10 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-02-17 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-02-24 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-03-02 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-03-09 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-03-16 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-03-23 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-03-30 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-04-06 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-04-13 | QT_CST | ENTEROCOCCUS | /100 ML | 2
OTA-GA84 | 2000-04-20 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-04-27 | QT_CST | ENTEROCOCCUS | /100 ML | 3
OTA-GA84 | 2000-05-04 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-05-08 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-05-25 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-06-01 | QT_CST | ENTEROCOCCUS | /100 ML | 2 | >
OTA-GA84 | 2000-06-08 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-06-15 | QT_CST | ENTEROCOCCUS | /100 ML | 3
OTA-GA84 | 2000-06-22 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-06-29 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA84 | 2000-07-06 | QT_CST | ENTEROCOCCUS | /100 ML | 1 | <
OTA-GA84 | 2000-07-13 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-07-17 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-07-24 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-08-03 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-08-10 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-08-17 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-08-24 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-08-31 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-09-07 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-09-14 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-09-21 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-09-28 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-10-05 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-10-12 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-10-19 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-10-26 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-11-02 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-11-09 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-11-16 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-11-21 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-11-30 | QT_CST | ENTEROCOCCUS | /100 ML | 4.1
OTA-GA84 | 2000-12-07 | QT_CST | ENTEROCOCCUS | /100 ML | 1
OTA-GA84 | 2000-12-14 | QT_CST | ENTEROCOCCUS | /100 ML | 3.1
OTA-GA84 | 1996-07-25 | MPN | F_COLIFORM | /100 ML | 2
OTA-GA84 | 1998-02-05 | MF_FC | F_COLIFORM | CFU/100ML | 32
OTA-GA84 | 1998-09-29 | MF_FC | F_COLIFORM | CFU/100ML | 1
OTA-GA84 | 2000-09-11 | MPN | F_COLIFORM | /100 ML | 20
OTA-GA84 | 2000-09-18 | MPN | F_COLIFORM | /100 ML | 20
OTA-GA84 | 1998-12-15 | GEOS_MIB_SPME | GEOSMIN | NG/L | 3.81
OTA-GA84 | 1999-01-26 | GEOS_MIB_SPME | GEOSMIN | NG/L | 3
OTA-GA84 | 1999-09-21 | GEOS_MIB_SPME | GEOSMIN | NG/L | 4.91 | >
OTA-GA84 | 1999-09-30 | GEOS_MIB_SPME | GEOSMIN | NG/L | 4.69
OTA-GA84 | 1999-10-07 | GEOS_MIB_SPME | GEOSMIN | NG/L | 7.25
OTA-GA84 | 2000-08-24 | GEOS_MIB_SPME | GEOSMIN | NG/L | 4.34
OTA-GA84 | 2000-09-07 | GEOS_MIB_SPME | GEOSMIN | NG/L | 7.21 | <
OTA-GA84 | 2000-10-05 | GEOS_MIB_SPME | GEOSMIN | NG/L | 4.37
OTA-GA84 | 1996-02-08 | PLANKTON | GOLENKINIOPSIS | STD_U/ML | 52
OTA-GA84 | 1998-09-29 | HPC | HETERO_B | CFU/ML | 39
OTA-GA84 | 1997-06-05 | AA_FL_IRON | IRON | UG/L | 103
OTA-GA84 | 1997-06-05 | AA_FL_MANGANESE | MANGANESE | UG/L | 245
OTA-GA84 | 1996-02-22 | PLANKTON | MELOSIRA | STD_U/ML | 86
OTA-GA84 | 1996-02-27 | PLANKTON | MELOSIRA | STD_U/ML | 52
OTA-GA84 | 2000-01-13 | PLANKTON | MELOSIRA | STD_U/ML | 9
OTA-GA84 | 1997-09-02 | GEOS_MIB_6040B | MIB | NG/L | 6.57
OTA-GA84 | 1997-10-14 | GEOS_MIB_6040B | MIB | NG/L | 10.8
OTA-GA84 | 1997-12-09 | GEOS_MIB_6040B | MIB | NG/L | 3
OTA-GA84 | 1998-07-14 | GEOS_MIB_6040B | MIB | NG/L | 8.86
OTA-GA84 | 1998-09-29 | GEOS_MIB_6040B | MIB | NG/L | 3.74
OTA-GA84 | 1998-12-15 | GEOS_MIB_SPME | MIB | NG/L | 8.36
OTA-GA84 | 1999-01-26 | GEOS_MIB_SPME | MIB | NG/L | 5.67 | <
OTA-GA84 | 1999-08-24 | GEOS_MIB_SPME | MIB | NG/L | 3.27 | <
OTA-GA84 | 1999-09-30 | GEOS_MIB_SPME | MIB | NG/L | 3.63
OTA-GA84 | 1999-11-02 | GEOS_MIB_SPME | MIB | NG/L | 8.04
OTA-GA84 | 1999-12-21 | GEOS_MIB_SPME | MIB | NG/L | 8.4
OTA-GA84 | 2000-01-26 | GEOS_MIB_SPME | MIB | NG/L | 5.73
OTA-GA84 | 2000-08-31 | GEOS_MIB_SPME | MIB | NG/L | 4.09
OTA-GA84 | 2000-09-14 | GEOS_MIB_SPME | MIB | NG/L | 4.66
OTA-GA84 | 2000-09-21 | GEOS_MIB_SPME | MIB | NG/L | 6.45
OTA-GA84 | 2000-09-28 | GEOS_MIB_SPME | MIB | NG/L | 9.67
OTA-GA84 | 2000-10-05 | GEOS_MIB_SPME | MIB | NG/L | 10.7
OTA-GA84 | 2000-10-12 | GEOS_MIB_SPME | MIB | NG/L | 4.95
OTA-GA84 | 2000-10-19 | GEOS_MIB_SPME | MIB | NG/L | 6.22
OTA-GA84 | 2000-10-26 | GEOS_MIB_SPME | MIB | NG/L | 7.11
OTA-GA84 | 2000-11-02 | GEOS_MIB_SPME | MIB | NG/L | 10.5
OTA-GA84 | 2000-11-09 | GEOS_MIB_SPME | MIB | NG/L | 6.88 | <
OTA-GA84 | 2000-11-16 | GEOS_MIB_SPME | MIB | NG/L | 3.49 | <
OTA-GA84 | 2000-11-30 | GEOS_MIB_SPME | MIB | NG/L | 4.06
OTA-GA84 | 2000-12-14 | GEOS_MIB_SPME | MIB | NG/L | 7.5
OTA-GA84 | 1999-04-08 | PLANKTON | MICRACTINIUM | STD_U/ML | 9
OTA-GA84 | 1998-08-27 | EPA524.2 | MTBE | UG/L | 0.962
OTA-GA84 | 1999-08-10 | EPA524.2 | MTBE | UG/L | 1.53
OTA-GA84 | 1996-01-25 | PLANKTON | NAVICULA | STD_U/ML | 9
OTA-GA84 | 1996-02-01 | PLANKTON | NAVICULA | STD_U/ML | 17
OTA-GA84 | 1996-02-08 | PLANKTON | NAVICULA | STD_U/ML | 78
OTA-GA84 | 1996-06-13 | PLANKTON | NAVICULA | STD_U/ML | 9
OTA-GA84 | 1996-07-25 | PLANKTON | NAVICULA | STD_U/ML | 26
OTA-GA84 | 1996-09-19 | PLANKTON | NAVICULA | STD_U/ML | 9
OTA-GA84 | 1996-09-26 | PLANKTON | NAVICULA | STD_U/ML | 17
OTA-GA84 | 1996-10-24 | PLANKTON | NAVICULA | STD_U/ML | 9
OTA-GA84 | 1996-11-07 | PLANKTON | NAVICULA | STD_U/ML | 9
OTA-GA84 | 1997-08-12 | PLANKTON | NAVICULA | STD_U/ML | 9
OTA-GA84 | 1998-08-18 | PLANKTON | NAVICULA | STD_U/ML | 18
OTA-GA84 | 1998-10-27 | PLANKTON | NAVICULA | STD_U/ML | 9
OTA-GA84 | 1998-11-03 | PLANKTON | NAVICULA | STD_U/ML | 9
OTA-GA84 | 2000-09-14 | PLANKTON | NAVICULA | STD_U/ML | 18 | <
OTA-GA84 | 1996-08-15 | PLANKTON | OSCILLATORIA | STD_U/ML | 172
OTA-GA84 | 1996-08-29 | PLANKTON | OSCILLATORIA | STD_U/ML | 259
OTA-GA84 | 1996-09-19 | PLANKTON | OSCILLATORIA | STD_U/ML | 86
OTA-GA84 | 1996-09-26 | PLANKTON | OSCILLATORIA | STD_U/ML | 216 | <
OTA-GA84 | 1997-07-31 | PLANKTON | OSCILLATORIA | STD_U/ML | 10700
OTA-GA84 | 1997-08-07 | PLANKTON | OSCILLATORIA | STD_U/ML | 13400 | >
OTA-GA84 | 1997-08-12 | PLANKTON | OSCILLATORIA | STD_U/ML | 11900
OTA-GA84 | 1998-06-16 | PLANKTON | OSCILLATORIA | STD_U/ML | 89
OTA-GA84 | 1998-07-28 | PLANKTON | OSCILLATORIA | STD_U/ML | 620
OTA-GA84 | 1998-08-06 | PLANKTON | OSCILLATORIA | STD_U/ML | 177
OTA-GA84 | 1998-08-18 | PLANKTON | OSCILLATORIA | STD_U/ML | 354
OTA-GA84 | 1998-09-03 | PLANKTON | OSCILLATORIA | STD_U/ML | 398 | >
OTA-GA84 | 1999-06-29 | PLANKTON | OSCILLATORIA | STD_U/ML | 89
OTA-GA84 | 1999-07-22 | PLANKTON | OSCILLATORIA | STD_U/ML | 177
OTA-GA84 | 1999-07-26 | PLANKTON | OSCILLATORIA | STD_U/ML | 841
OTA-GA84 | 1998-08-18 | PLANKTON | PACHYCLADON | STD_U/ML | 18
OTA-GA84 | 1996-01-04 | PLANKTON | PEDIASTRUM | STD_U/ML | 26
OTA-GA84 | 1996-09-19 | PLANKTON | PENNATE | STD_U/ML | 9 | <
OTA-GA84 | 1996-12-05 | PLANKTON | PENNATE | STD_U/ML | 86
OTA-GA84 | 1999-03-16 | PLANKTON | PENNATE | STD_U/ML | 18
OTA-GA84 | 1999-05-13 | PLANKTON | PENNATE | STD_U/ML | 27
OTA-GA84 | 1996-10-03 | PLANKTON | PERIDINIUM | STD_U/ML | 17
OTA-GA84 | 1997-06-05 | PH_ALK_MAN | PH | PH | 8.12
OTA-GA84 | 1999-07-13 | PLANKTON | PHACUS | STD_U/ML | 27
OTA-GA84 | 1999-07-22 | PLANKTON | PHACUS | STD_U/ML | 27 | <
OTA-GA84 | 1996-01-04 | PLANKTON | PLK_AM | STD_U/ML | 1120 | <
OTA-GA84 | 1996-01-25 | PLANKTON | PLK_AM | STD_U/ML | 4050
OTA-GA84 | 1996-02-01 | PLANKTON | PLK_AM | STD_U/ML | 4140
OTA-GA84 | 1996-02-08 | PLANKTON | PLK_AM | STD_U/ML | 2500
OTA-GA84 | 1996-02-22 | PLANKTON | PLK_AM | STD_U/ML | 3280
OTA-GA84 | 1996-02-27 | PLANKTON | PLK_AM | STD_U/ML | 2540
OTA-GA84 | 1996-03-07 | PLANKTON | PLK_AM | STD_U/ML | 2410
OTA-GA84 | 1996-03-21 | PLANKTON | PLK_AM | STD_U/ML | 1030 | <
OTA-GA84 | 1996-03-28 | PLANKTON | PLK_AM | STD_U/ML | 1640 | <
OTA-GA84 | 1996-04-04 | PLANKTON | PLK_AM | STD_U/ML | 1810
OTA-GA84 | 1996-04-25 | PLANKTON | PLK_AM | STD_U/ML | 3620
OTA-GA84 | 1996-05-02 | PLANKTON | PLK_AM | STD_U/ML | 991
OTA-GA84 | 1996-05-09 | PLANKTON | PLK_AM | STD_U/ML | 733
OTA-GA84 | 1996-05-23 | PLANKTON | PLK_AM | STD_U/ML | 1290
OTA-GA84 | 1996-05-30 | PLANKTON | PLK_AM | STD_U/ML | 560
OTA-GA84 | 1996-06-06 | PLANKTON | PLK_AM | STD_U/ML | 991
OTA-GA84 | 1996-06-13 | PLANKTON | PLK_AM | STD_U/ML | 733
OTA-GA84 | 1996-07-11 | PLANKTON | PLK_AM | STD_U/ML | 733
OTA-GA84 | 1996-07-25 | PLANKTON | PLK_AM | STD_U/ML | 603
OTA-GA84 | 1996-08-15 | PLANKTON | PLK_AM | STD_U/ML | 862
OTA-GA84 | 1996-08-29 | PLANKTON | PLK_AM | STD_U/ML | 1420
OTA-GA84 | 1996-09-19 | PLANKTON | PLK_AM | STD_U/ML | 1770
OTA-GA84 | 1996-09-26 | PLANKTON | PLK_AM | STD_U/ML | 1250
OTA-GA84 | 1996-10-03 | PLANKTON | PLK_AM | STD_U/ML | 991
OTA-GA84 | 1996-10-24 | PLANKTON | PLK_AM | STD_U/ML | 1210
OTA-GA84 | 1996-10-31 | PLANKTON | PLK_AM | STD_U/ML | 1720
OTA-GA84 | 1996-11-07 | PLANKTON | PLK_AM | STD_U/ML | 1510
OTA-GA84 | 1996-11-21 | PLANKTON | PLK_AM | STD_U/ML | 1510
OTA-GA84 | 1996-12-05 | PLANKTON | PLK_AM | STD_U/ML | 905
OTA-GA84 | 1997-07-31 | PLANKTON | PLK_AM | STD_U/ML | 1470
OTA-GA84 | 1997-08-07 | PLANKTON | PLK_AM | STD_U/ML | 2410 | >
OTA-GA84 | 1997-08-12 | PLANKTON | PLK_AM | STD_U/ML | 2030
OTA-GA84 | 1998-02-19 | PLANKTON | PLK_AM | STD_U/ML | 5340 | >
OTA-GA84 | 1998-03-05 | PLANKTON | PLK_AM | STD_U/ML | 4310
OTA-GA84 | 1998-03-19 | PLANKTON | PLK_AM | STD_U/ML | 560
OTA-GA84 | 1998-04-09 | PLANKTON | PLK_AM | STD_U/ML | 620
OTA-GA84 | 1998-05-05 | PLANKTON | PLK_AM | STD_U/ML | 1280
OTA-GA84 | 1998-05-12 | PLANKTON | PLK_AM | STD_U/ML | 1770
OTA-GA84 | 1998-05-21 | PLANKTON | PLK_AM | STD_U/ML | 1770
OTA-GA84 | 1998-05-28 | PLANKTON | PLK_AM | STD_U/ML | 2740
OTA-GA84 | 1998-06-04 | PLANKTON | PLK_AM | STD_U/ML | 2700
OTA-GA84 | 1998-06-09 | PLANKTON | PLK_AM | STD_U/ML | 1110
OTA-GA84 | 1998-06-16 | PLANKTON | PLK_AM | STD_U/ML | 5580
OTA-GA84 | 1998-07-07 | PLANKTON | PLK_AM | STD_U/ML | 885 | <
OTA-GA84 | 1998-07-14 | PLANKTON | PLK_AM | STD_U/ML | 1200
OTA-GA84 | 1998-07-28 | PLANKTON | PLK_AM | STD_U/ML | 1950
OTA-GA84 | 1998-08-06 | PLANKTON | PLK_AM | STD_U/ML | 443
OTA-GA84 | 1998-08-18 | PLANKTON | PLK_AM | STD_U/ML | 1460
OTA-GA84 | 1998-09-03 | PLANKTON | PLK_AM | STD_U/ML | 1860
OTA-GA84 | 1998-09-10 | PLANKTON | PLK_AM | STD_U/ML | 885
OTA-GA84 | 1998-09-15 | PLANKTON | PLK_AM | STD_U/ML | 1950
OTA-GA84 | 1998-10-27 | PLANKTON | PLK_AM | STD_U/ML | 3010
OTA-GA84 | 1998-11-03 | PLANKTON | PLK_AM | STD_U/ML | 2170
OTA-GA84 | 1999-02-11 | PLANKTON | PLK_AM | STD_U/ML | 2300
OTA-GA84 | 1999-03-16 | PLANKTON | PLK_AM | STD_U/ML | 4340
OTA-GA84 | 1999-03-25 | PLANKTON | PLK_AM | STD_U/ML | 2570
OTA-GA84 | 1999-03-30 | PLANKTON | PLK_AM | STD_U/ML | 4070
OTA-GA84 | 1999-04-08 | PLANKTON | PLK_AM | STD_U/ML | 1950
OTA-GA84 | 1999-04-13 | PLANKTON | PLK_AM | STD_U/ML | 3540
OTA-GA84 | 1999-04-29 | PLANKTON | PLK_AM | STD_U/ML | 4600
OTA-GA84 | 1999-05-06 | PLANKTON | PLK_AM | STD_U/ML | 1730
OTA-GA84 | 1999-05-13 | PLANKTON | PLK_AM | STD_U/ML | 1810
OTA-GA84 | 1999-06-10 | PLANKTON | PLK_AM | STD_U/ML | 2740
OTA-GA84 | 1999-06-22 | PLANKTON | PLK_AM | STD_U/ML | 2920
OTA-GA84 | 1999-06-29 | PLANKTON | PLK_AM | STD_U/ML | 2300
OTA-GA84 | 1999-07-08 | PLANKTON | PLK_AM | STD_U/ML | 1060
OTA-GA84 | 1999-07-13 | PLANKTON | PLK_AM | STD_U/ML | 3980
OTA-GA84 | 1999-07-22 | PLANKTON | PLK_AM | STD_U/ML | 1770
OTA-GA84 | 1999-07-26 | PLANKTON | PLK_AM | STD_U/ML | 5840
OTA-GA84 | 2000-01-13 | PLANKTON | PLK_AM | STD_U/ML | 1860
OTA-GA84 | 2000-09-14 | PLANKTON | PLK_AM | STD_U/ML | 1460
OTA-GA84 | 1996-04-25 | PLANKTON | PLK_BG | STD_U/ML | 9
OTA-GA84 | 1996-10-03 | PLANKTON | PLK_BG | STD_U/ML | 43
OTA-GA84 | 1996-01-04 | PLANKTON | PLK_D | STD_U/ML | 43 | <
OTA-GA84 | 1996-01-25 | PLANKTON | PLK_D | STD_U/ML | 60 | <
OTA-GA84 | 1996-02-01 | PLANKTON | PLK_D | STD_U/ML | 69
OTA-GA84 | 1996-02-08 | PLANKTON | PLK_D | STD_U/ML | 9
OTA-GA84 | 1996-02-27 | PLANKTON | PLK_D | STD_U/ML | 52
OTA-GA84 | 1996-02-01 | PLANKTON | PLK_F | STD_U/ML | 35
OTA-GA84 | 1996-01-25 | PLANKTON | PLK_G | STD_U/ML | 35
OTA-GA84 | 1996-02-01 | PLANKTON | PLK_G | STD_U/ML | 69
OTA-GA84 | 1996-04-25 | PLANKTON | PLK_G | STD_U/ML | 17
OTA-GA84 | 1996-05-02 | PLANKTON | PLK_G | STD_U/ML | 86
OTA-GA84 | 1996-05-23 | PLANKTON | PLK_G | STD_U/ML | 17 | <
OTA-GA84 | 1996-09-19 | PLANKTON | PLK_G | STD_U/ML | 26
OTA-GA84 | 1998-05-05 | PLANKTON | PSEUDANABAENA | STD_U/ML | 89
OTA-GA84 | 1998-05-12 | PLANKTON | PSEUDANABAENA | STD_U/ML | 27
OTA-GA84 | 1998-07-14 | PLANKTON | PSEUDANABAENA | STD_U/ML | 44
OTA-GA84 | 1998-08-18 | PLANKTON | PSEUDANABAENA | STD_U/ML | 44
OTA-GA84 | 1998-11-03 | PLANKTON | PSEUDANABAENA | STD_U/ML | 9
OTA-GA84 | 1999-04-08 | PLANKTON | PSEUDANABAENA | STD_U/ML | 27
OTA-GA84 | 1999-05-13 | PLANKTON | PSEUDANABAENA | STD_U/ML | 44
OTA-GA84 | 1999-06-29 | PLANKTON | PSEUDANABAENA | STD_U/ML | 9
OTA-GA84 | 1999-07-08 | PLANKTON | PSEUDANABAENA | STD_U/ML | 27
OTA-GA84 | 1999-07-13 | PLANKTON | PSEUDANABAENA | STD_U/ML | 18
OTA-GA84 | 1999-07-22 | PLANKTON | PSEUDANABAENA | STD_U/ML | 18
OTA-GA84 | 1999-07-26 | PLANKTON | PSEUDANABAENA | STD_U/ML | 18
OTA-GA84 | 2000-01-13 | PLANKTON | PSEUDANABAENA | STD_U/ML | 35
OTA-GA84 | 1996-11-21 | PLANKTON | ROTIFER | STD_U/ML | 172
OTA-GA84 | 1998-05-05 | PLANKTON | ROTIFER | STD_U/ML | 177
OTA-GA84 | 1996-04-25 | PLANKTON | SCENEDESMUS | STD_U/ML | 17 | <
OTA-GA84 | 1996-02-22 | PLANKTON | STEPHANODISCUS | STD_U/ML | 26
OTA-GA84 | 1996-01-25 | PLANKTON | SYNEDRA | STD_U/ML | 155
OTA-GA84 | 1996-02-01 | PLANKTON | SYNEDRA | STD_U/ML | 86
OTA-GA84 | 1996-02-27 | PLANKTON | SYNEDRA | STD_U/ML | 60
OTA-GA84 | 1996-05-09 | PLANKTON | SYNEDRA | STD_U/ML | 43
OTA-GA84 | 1996-05-23 | PLANKTON | SYNEDRA | STD_U/ML | 138 | <
OTA-GA84 | 1996-05-30 | PLANKTON | SYNEDRA | STD_U/ML | 9 | <
OTA-GA84 | 1996-06-06 | PLANKTON | SYNEDRA | STD_U/ML | 17
OTA-GA84 | 1996-07-11 | PLANKTON | SYNEDRA | STD_U/ML | 9
OTA-GA84 | 1996-08-15 | PLANKTON | SYNEDRA | STD_U/ML | 9
OTA-GA84 | 1996-08-29 | PLANKTON | SYNEDRA | STD_U/ML | 26
OTA-GA84 | 1996-09-19 | PLANKTON | SYNEDRA | STD_U/ML | 9
OTA-GA84 | 1996-10-03 | PLANKTON | SYNEDRA | STD_U/ML | 26
OTA-GA84 | 1996-10-31 | PLANKTON | SYNEDRA | STD_U/ML | 17
OTA-GA84 | 1996-11-07 | PLANKTON | SYNEDRA | STD_U/ML | 129
OTA-GA84 | 1997-07-31 | PLANKTON | SYNEDRA | STD_U/ML | 17
OTA-GA84 | 1997-08-07 | PLANKTON | SYNEDRA | STD_U/ML | 26 | >
OTA-GA84 | 1998-05-12 | PLANKTON | SYNEDRA | STD_U/ML | 44
OTA-GA84 | 1998-09-10 | PLANKTON | SYNEDRA | STD_U/ML | 35
OTA-GA84 | 1998-11-03 | PLANKTON | SYNEDRA | STD_U/ML | 97
OTA-GA84 | 1999-02-11 | PLANKTON | SYNEDRA | STD_U/ML | 18
OTA-GA84 | 1999-04-13 | PLANKTON | SYNEDRA | STD_U/ML | 44
OTA-GA84 | 1999-06-10 | PLANKTON | SYNEDRA | STD_U/ML | 27
OTA-GA84 | 1999-07-26 | PLANKTON | SYNEDRA | STD_U/ML | 27
OTA-GA84 | 2000-09-14 | PLANKTON | SYNEDRA | STD_U/ML | 9
OTA-GA84 | 1996-07-25 | MPN | T_COLIFORM | /100 ML | 23
OTA-GA84 | 1998-02-05 | MPN | T_COLIFORM | /100 ML | 800
OTA-GA84 | 1998-09-29 | MPN | T_COLIFORM | /100 ML | 220
OTA-GA84 | 1999-08-05 | QT_CST | T_COLIFORM | /100 ML | 985
OTA-GA84 | 1999-08-10 | QT_CST | T_COLIFORM | /100 ML | 609
OTA-GA84 | 1999-11-02 | QT_CST | T_COLIFORM | /100 ML | 331
OTA-GA84 | 1999-11-09 | QT_CST | T_COLIFORM | /100 ML | 1790
OTA-GA84 | 1999-11-16 | QT_CST | T_COLIFORM | /100 ML | 13000
OTA-GA84 | 1999-11-23 | QT_CST | T_COLIFORM | /100 ML | 1130
OTA-GA84 | 1999-11-30 | QT_CST | T_COLIFORM | /100 ML | 933
OTA-GA84 | 1999-12-09 | QT_CST | T_COLIFORM | /100 ML | 146
OTA-GA84 | 1999-12-14 | QT_CST | T_COLIFORM | /100 ML | 10
OTA-GA84 | 1999-12-21 | QT_CST | T_COLIFORM | /100 ML | 11200
OTA-GA84 | 1999-12-28 | QT_CST | T_COLIFORM | /100 ML | 6870
OTA-GA84 | 2000-01-04 | QT_CST | T_COLIFORM | /100 ML | 11200
OTA-GA84 | 2000-01-13 | QT_CST | T_COLIFORM | /100 ML | 17300
OTA-GA84 | 2000-01-20 | QT_CST | T_COLIFORM | /100 ML | 3870
OTA-GA84 | 2000-01-26 | QT_CST | T_COLIFORM | /100 ML | 798 | <
OTA-GA84 | 2000-02-03 | QT_CST | T_COLIFORM | /100 ML | 1170
OTA-GA84 | 2000-02-10 | QT_CST | T_COLIFORM | /100 ML | 373
OTA-GA84 | 2000-02-17 | QT_CST | T_COLIFORM | /100 ML | 110
OTA-GA84 | 2000-02-24 | QT_CST | T_COLIFORM | /100 ML | 171
OTA-GA84 | 2000-03-02 | QT_CST | T_COLIFORM | /100 ML | 41 | <
OTA-GA84 | 2000-03-09 | QT_CST | T_COLIFORM | /100 ML | 130
OTA-GA84 | 2000-03-16 | QT_CST | T_COLIFORM | /100 ML | 41
OTA-GA84 | 2000-03-23 | QT_CST | T_COLIFORM | /100 ML | 310
OTA-GA84 | 2000-03-30 | QT_CST | T_COLIFORM | /100 ML | 1200
OTA-GA84 | 2000-04-06 | QT_CST | T_COLIFORM | /100 ML | 3900
OTA-GA84 | 2000-04-13 | QT_CST | T_COLIFORM | /100 ML | 490
OTA-GA84 | 2000-04-20 | QT_CST | T_COLIFORM | /100 ML | 160
OTA-GA84 | 2000-04-27 | QT_CST | T_COLIFORM | /100 ML | 130
OTA-GA84 | 2000-05-04 | QT_CST | T_COLIFORM | /100 ML | 74
OTA-GA84 | 2000-05-08 | QT_CST | T_COLIFORM | /100 ML | 120
OTA-GA84 | 2000-05-25 | QT_CST | T_COLIFORM | /100 ML | 490
OTA-GA84 | 2000-06-01 | QT_CST | T_COLIFORM | /100 ML | 290
OTA-GA84 | 2000-06-08 | QT_CST | T_COLIFORM | /100 ML | 730
OTA-GA84 | 2000-06-15 | QT_CST | T_COLIFORM | /100 ML | 700
OTA-GA84 | 2000-06-22 | QT_CST | T_COLIFORM | /100 ML | 390
OTA-GA84 | 2000-06-29 | QT_CST | T_COLIFORM | /100 ML | 350
OTA-GA84 | 2000-07-06 | QT_CST | T_COLIFORM | /100 ML | 230
OTA-GA84 | 2000-07-13 | QT_CST | T_COLIFORM | /100 ML | 270
OTA-GA84 | 2000-07-17 | QT_CST | T_COLIFORM | /100 ML | 330
OTA-GA84 | 2000-07-24 | QT_CST | T_COLIFORM | /100 ML | 140
OTA-GA84 | 2000-08-03 | QT_CST | T_COLIFORM | /100 ML | 1400
OTA-GA84 | 2000-08-10 | QT_CST | T_COLIFORM | /100 ML | 960
OTA-GA84 | 2000-08-17 | QT_CST | T_COLIFORM | /100 ML | 3400 | >
OTA-GA84 | 2000-08-24 | QT_CST | T_COLIFORM | /100 ML | 2000
OTA-GA84 | 2000-08-31 | QT_CST | T_COLIFORM | /100 ML | 1000
OTA-GA84 | 2000-09-07 | QT_CST | T_COLIFORM | /100 ML | 2100
OTA-GA84 | 2000-09-11 | MPN | T_COLIFORM | /100 ML | 1300
OTA-GA84 | 2000-09-14 | QT_CST | T_COLIFORM | /100 ML | 14000
OTA-GA84 | 2000-09-18 | MPN | T_COLIFORM | /100 ML | 2400
OTA-GA84 | 2000-09-21 | QT_CST | T_COLIFORM | /100 ML | 4900 | <
OTA-GA84 | 2000-09-25 | QT_CST | T_COLIFORM | /100 ML | 4400 | <
OTA-GA84 | 2000-09-28 | QT_CST | T_COLIFORM | /100 ML | 24000
OTA-GA84 | 2000-10-05 | QT_CST | T_COLIFORM | /100 ML | 5500
OTA-GA84 | 2000-10-12 | QT_CST | T_COLIFORM | /100 ML | 7300
OTA-GA84 | 2000-10-19 | QT_CST | T_COLIFORM | /100 ML | 24000
OTA-GA84 | 2000-10-26 | QT_CST | T_COLIFORM | /100 ML | 6500
OTA-GA84 | 2000-11-02 | QT_CST | T_COLIFORM | /100 ML | 4600
OTA-GA84 | 2000-11-09 | QT_CST | T_COLIFORM | /100 ML | 2400
OTA-GA84 | 2000-11-16 | QT_CST | T_COLIFORM | /100 ML | 960
OTA-GA84 | 2000-11-21 | QT_CST | T_COLIFORM | /100 ML | 400 | >
OTA-GA84 | 2000-11-30 | QT_CST | T_COLIFORM | /100 ML | 1100
OTA-GA84 | 2000-12-07 | QT_CST | T_COLIFORM | /100 ML | 310
OTA-GA84 | 2000-12-14 | QT_CST | T_COLIFORM | /100 ML | 790
OTA-GA84 | 1999-06-22 | PLANKTON | TETRAEDRON | STD_U/ML | 9
OTA-GA84 | 1996-01-18 | TOC | TOC | MG/L | 6.81
OTA-GA84 | 1996-02-15 | TOC | TOC | MG/L | 6.83
OTA-GA84 | 1996-03-14 | TOC | TOC | MG/L | 6.05
OTA-GA84 | 1996-04-18 | TOC | TOC | MG/L | 6.41
OTA-GA84 | 1996-05-16 | TOC | TOC | MG/L | 6.46
OTA-GA84 | 1996-06-20 | TOC | TOC | MG/L | 6.84
OTA-GA84 | 1996-07-18 | TOC | TOC | MG/L | 6.7
OTA-GA84 | 1996-08-22 | TOC | TOC | MG/L | 6.28
OTA-GA84 | 1996-09-12 | TOC | TOC | MG/L | 5.91
OTA-GA84 | 1996-10-17 | TOC | TOC | MG/L | 6.52
OTA-GA84 | 1996-11-14 | TOC | TOC | MG/L | 7.03
OTA-GA84 | 1996-12-17 | TOC | TOC | MG/L | 5.97
OTA-GA84 | 1997-01-28 | TOC | TOC | MG/L | 6.47
OTA-GA84 | 1997-02-25 | TOC | TOC | MG/L | 6.46
OTA-GA84 | 1997-03-27 | TOC | TOC | MG/L | 6.34
OTA-GA84 | 1997-06-10 | TOC | TOC | MG/L | 6.28
OTA-GA84 | 1997-07-22 | TOC | TOC | MG/L | 6.3
OTA-GA84 | 1997-08-19 | TOC | TOC | MG/L | 6.33
OTA-GA84 | 1997-09-23 | TOC | TOC | MG/L | 5.85
OTA-GA84 | 1997-10-14 | TOC | TOC | MG/L | 5.89
OTA-GA84 | 1997-11-18 | TOC | TOC | MG/L | 6.01 | >
OTA-GA84 | 1997-12-09 | TOC | TOC | MG/L | 6.62
OTA-GA84 | 1998-01-02 | TOC | TOC | MG/L | 5.56
OTA-GA84 | 1998-02-10 | TOC | TOC | MG/L | 5.51 | >
OTA-GA84 | 1998-03-12 | TOC | TOC | MG/L | 6.02
OTA-GA84 | 1998-04-14 | TOC | TOC | MG/L | 6.16
OTA-GA84 | 1998-05-05 | TOC | TOC | MG/L | 6.94 | >
OTA-GA84 | 1998-06-23 | TOC | TOC | MG/L | 6.23
OTA-GA84 | 1998-07-14 | TOC | TOC | MG/L | 5.91
OTA-GA84 | 1998-08-18 | TOC | TOC | MG/L | 5.93
OTA-GA84 | 1998-09-15 | TOC | TOC | MG/L | 6.55
OTA-GA84 | 1998-10-06 | TOC | TOC | MG/L | 6.42
OTA-GA84 | 1998-12-22 | TOC | TOC | MG/L | 5.69
OTA-GA84 | 1999-01-12 | TOC | TOC | MG/L | 5.58
OTA-GA84 | 1999-02-09 | TOC | TOC | MG/L | 6.21 | <
OTA-GA84 | 1999-03-16 | TOC | TOC | MG/L | 6.07 | <
OTA-GA84 | 1999-04-20 | TOC | TOC | MG/L | 5.92
OTA-GA84 | 1999-05-18 | TOC | TOC | MG/L | 5.76
OTA-GA84 | 1999-06-15 | TOC | TOC | MG/L | 7.38
OTA-GA84 | 1999-07-22 | TOC | TOC | MG/L | 7.62
OTA-GA84 | 1999-07-26 | TOC | TOC | MG/L | 8.09
OTA-GA84 | 1999-08-05 | TOC | TOC | MG/L | 7.14
OTA-GA84 | 1999-09-09 | TOC | TOC | MG/L | 6.58
OTA-GA84 | 1999-10-14 | TOC | TOC | MG/L | 10.4
OTA-GA84 | 1999-11-02 | TOC | TOC | MG/L | 6.89
OTA-GA84 | 1999-12-09 | TOC | TOC | MG/L | 5.75
OTA-GA84 | 2000-01-13 | TOC | TOC | MG/L | 5.84
OTA-GA84 | 2000-02-10 | TOC | TOC | MG/L | 6
OTA-GA84 | 2000-03-09 | TOC | TOC | MG/L | 6
OTA-GA84 | 2000-04-06 | TOC | TOC | MG/L | 5.12
OTA-GA84 | 2000-05-04 | TOC | TOC | MG/L | 5.51 | <
OTA-GA84 | 2000-06-08 | TOC | TOC | MG/L | 5.66 | <
OTA-GA84 | 2000-07-06 | TOC | TOC | MG/L | 5.91
OTA-GA84 | 2000-08-10 | TOC | TOC | MG/L | 3.98 | <
OTA-GA84 | 2000-09-07 | TOC | TOC | MG/L | 5.66
OTA-GA84 | 2000-10-05 | TOC | TOC | MG/L | 6.17
OTA-GA84 | 2000-11-09 | TOC | TOC | MG/L | 6.51
OTA-GA84 | 2000-12-07 | TOC | TOC | MG/L | 6.82 | <
OTA-GA84 | 1996-01-04 | TON | TON | ODOR | 8
OTA-GA84 | 1996-01-11 | TON | TON | ODOR | 6
OTA-GA84 | 1996-01-18 | TON | TON | ODOR | 6
OTA-GA84 | 1996-01-25 | TON | TON | ODOR | 12
OTA-GA84 | 1996-02-01 | TON | TON | ODOR | 8
OTA-GA84 | 1996-02-08 | TON | TON | ODOR | 6
OTA-GA84 | 1996-02-15 | TON | TON | ODOR | 4 | >
OTA-GA84 | 1996-02-22 | TON | TON | ODOR | 3
OTA-GA84 | 1996-02-27 | TON | TON | ODOR | 4
OTA-GA84 | 1996-03-07 | TON | TON | ODOR | 4 | <
OTA-GA84 | 1996-03-14 | TON | TON | ODOR | 6 | <
OTA-GA84 | 1996-03-21 | TON | TON | ODOR | 6
OTA-GA84 | 1996-03-28 | TON | TON | ODOR | 4
OTA-GA84 | 1996-04-04 | TON | TON | ODOR | 6
OTA-GA84 | 1996-04-18 | TON | TON | ODOR | 4
OTA-GA84 | 1996-04-25 | TON | TON | ODOR | 6 | >
OTA-GA84 | 1996-05-02 | TON | TON | ODOR | 6
OTA-GA84 | 1996-05-09 | TON | TON | ODOR | 8
OTA-GA84 | 1996-05-16 | TON | TON | ODOR | 6
OTA-GA84 | 1996-05-23 | TON | TON | ODOR | 8
OTA-GA84 | 1996-05-30 | TON | TON | ODOR | 8
OTA-GA84 | 1996-06-06 | TON | TON | ODOR | 24 | <
OTA-GA84 | 1996-06-13 | TON | TON | ODOR | 6 | <
OTA-GA84 | 1996-06-20 | TON | TON | ODOR | 12
OTA-GA84 | 1996-07-11 | TON | TON | ODOR | 8
OTA-GA84 | 1996-07-25 | TON | TON | ODOR | 6
OTA-GA84 | 1996-08-01 | TON | TON | ODOR | 6
OTA-GA84 | 1996-08-08 | TON | TON | ODOR | 12 | <
OTA-GA84 | 1996-08-15 | TON | TON | ODOR | 24 | <
OTA-GA84 | 1996-08-22 | TON | TON | ODOR | 8
OTA-GA84 | 1996-08-29 | TON | TON | ODOR | 6
OTA-GA84 | 1996-09-05 | TON | TON | ODOR | 8
OTA-GA84 | 1996-09-12 | TON | TON | ODOR | 6
OTA-GA84 | 1996-09-19 | TON | TON | ODOR | 17
OTA-GA84 | 1996-09-26 | TON | TON | ODOR | 8
OTA-GA84 | 1996-10-03 | TON | TON | ODOR | 8
OTA-GA84 | 1996-10-10 | TON | TON | ODOR | 12
OTA-GA84 | 1996-10-17 | TON | TON | ODOR | 17
OTA-GA84 | 1996-10-24 | TON | TON | ODOR | 12
OTA-GA84 | 1996-10-31 | TON | TON | ODOR | 12
OTA-GA84 | 1996-11-07 | TON | TON | ODOR | 8
OTA-GA84 | 1996-11-14 | TON | TON | ODOR | 12
OTA-GA84 | 1996-11-21 | TON | TON | ODOR | 12
OTA-GA84 | 1996-12-05 | TON | TON | ODOR | 8
OTA-GA84 | 1996-12-12 | TON | TON | ODOR | 8
OTA-GA84 | 1996-12-17 | TON | TON | ODOR | 8 | >
OTA-GA84 | 1996-12-26 | TON | TON | ODOR | 12
OTA-GA84 | 1997-01-09 | TON | TON | ODOR | 6
OTA-GA84 | 1997-01-16 | TON | TON | ODOR | 6
OTA-GA84 | 1997-01-28 | TON | TON | ODOR | 4
OTA-GA84 | 1997-02-06 | TON | TON | ODOR | 3
OTA-GA84 | 1997-02-20 | TON | TON | ODOR | 2
OTA-GA84 | 1997-02-25 | TON | TON | ODOR | 2
OTA-GA84 | 1997-03-03 | TON | TON | ODOR | 1.4
OTA-GA84 | 1997-03-13 | TON | TON | ODOR | 2
OTA-GA84 | 1997-03-20 | TON | TON | ODOR | 1.4
OTA-GA84 | 1997-03-27 | TON | TON | ODOR | 1.4
OTA-GA84 | 1997-04-03 | TON | TON | ODOR | 1.4
OTA-GA84 | 1997-04-10 | TON | TON | ODOR | 1.4
OTA-GA84 | 1997-04-15 | TON | TON | ODOR | 1
OTA-GA84 | 1997-04-22 | TON | TON | ODOR | 1.4
OTA-GA84 | 1997-04-29 | TON | TON | ODOR | 1.4
OTA-GA84 | 1997-05-08 | TON | TON | ODOR | 1.4
OTA-GA84 | 1997-05-13 | TON | TON | ODOR | 2 | <
OTA-GA84 | 1997-05-20 | TON | TON | ODOR | 6
OTA-GA84 | 1997-05-29 | TON | TON | ODOR | 3
OTA-GA84 | 1997-06-05 | TON | TON | ODOR | 3
OTA-GA84 | 1997-06-19 | TON | TON | ODOR | 6
OTA-GA84 | 1997-06-26 | TON | TON | ODOR | 8
OTA-GA84 | 1997-07-01 | PH_ALK_MAN | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1997-07-10 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1997-07-15 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1997-07-22 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1997-07-31 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1997-08-07 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1997-08-12 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1997-08-19 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1997-08-28 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1997-09-04 | TON | TON | ODOR | 8 | < | 1 | 1
OTA-GA84 | 1997-09-11 | TON | TON | ODOR | 4 | < | 1 | 1
OTA-GA84 | 1997-09-16 | TON | TON | ODOR | 4 | > | 1 | 1
OTA-GA84 | 1997-09-23 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1997-09-30 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 1997-10-09 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1997-10-14 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1997-10-21 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1997-10-28 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA84 | 1997-11-06 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1997-11-13 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1997-11-18 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1997-11-25 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1997-12-04 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1997-12-09 | TON | TON | ODOR | 17 | < | 1 | 1
OTA-GA84 | 1997-12-16 | TON | TON | ODOR | 24 | < | 1 | 1
OTA-GA84 | 1997-12-23 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1997-12-30 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1998-01-06 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1998-01-15 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1998-01-20 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1998-01-27 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1998-02-05 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1998-02-10 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1998-02-19 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1998-02-24 | TON | TON | ODOR | 12 | < | 1 | 1
OTA-GA84 | 1998-03-05 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1998-03-12 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1998-03-19 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1998-03-24 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1998-03-31 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1998-04-09 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA84 | 1998-04-14 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1998-04-21 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1998-05-05 | COLOR | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1998-05-12 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1998-05-21 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1998-05-28 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1998-06-04 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1998-06-09 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1998-06-16 | TON | TON | ODOR | 17 | > | 1 | 1
OTA-GA84 | 1998-06-23 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1998-06-30 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1998-07-07 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1998-07-14 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 1998-07-23 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 1998-07-28 | TON | TON | ODOR | 17 | < | 1 | 1
OTA-GA84 | 1998-08-06 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 1998-08-11 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1998-08-18 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1998-08-25 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 1998-09-03 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1998-09-10 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1998-09-15 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1998-09-22 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1998-09-29 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1998-10-06 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1998-10-15 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1998-10-20 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1998-10-27 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1998-11-03 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1998-11-12 | TON | TON | ODOR | 12 | < | 1 | 1
OTA-GA84 | 1998-11-19 | TON | TON | ODOR | 17 | < | 1 | 1
OTA-GA84 | 1998-11-24 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 1998-12-01 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 1998-12-10 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 1998-12-15 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 1998-12-22 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1998-12-29 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1999-01-07 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1999-01-12 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 1999-01-21 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1999-01-26 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA84 | 1999-02-04 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1999-02-09 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1999-02-18 | TON | TON | ODOR | 3 | > | 0 | 1
OTA-GA84 | 1999-02-23 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA84 | 1999-03-04 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA84 | 1999-03-09 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA84 | 1999-03-16 | TON | TON | ODOR | 3 | < | 0 | 1
OTA-GA84 | 1999-03-25 | TON | TON | ODOR | 2 | < | 0 | 1
OTA-GA84 | 1999-03-30 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 1999-04-08 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 1999-04-13 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1999-04-20 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 1999-04-29 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 1999-05-06 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 1999-05-13 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA84 | 1999-05-18 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 1999-05-27 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 1999-06-03 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA84 | 1999-06-10 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA84 | 1999-06-15 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1999-06-22 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 1999-06-29 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA84 | 1999-07-08 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA84 | 1999-07-13 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1999-07-22 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1999-07-26 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA84 | 1999-08-05 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1999-08-10 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 1999-08-17 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1999-08-24 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 1999-08-31 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1999-09-09 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1999-09-16 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1999-09-21 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 1999-09-28 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 1999-10-07 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1999-10-14 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1999-10-21 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1999-10-26 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1999-11-02 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 1999-11-09 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 1999-11-16 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 1999-11-23 | TON | TON | ODOR | 4 | < | 1 | 1
OTA-GA84 | 1999-11-30 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA84 | 1999-12-09 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 1999-12-14 | TON | TON | ODOR | 3 | > | 0 | 1
OTA-GA84 | 1999-12-21 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA84 | 1999-12-28 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 2000-01-04 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA84 | 2000-01-13 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 2000-01-20 | TON | TON | ODOR | 3 |  | 0 | 1
OTA-GA84 | 2000-01-26 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA84 | 2000-02-03 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA84 | 2000-02-10 | TON | TON | ODOR | 3 | > | 0 | 1
OTA-GA84 | 2000-02-17 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 2000-02-24 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA84 | 2000-03-02 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 2000-03-09 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA84 | 2000-03-16 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 2000-03-23 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 2000-03-30 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA84 | 2000-04-06 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 2000-04-13 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 2000-04-27 | TON | TON | ODOR | 2 |  | 0 | 1
OTA-GA84 | 2000-05-04 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 2000-05-08 | TON | TON | ODOR | 17 | < | 1 | 1
OTA-GA84 | 2000-05-18 | TON | TON | ODOR | 8 | < | 1 | 1
OTA-GA84 | 2000-05-25 | TON | TON | ODOR | 17 |  | 1 | 1
OTA-GA84 | 2000-06-01 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 2000-06-08 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 2000-06-15 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 2000-06-22 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 2000-06-29 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 2000-07-06 | TON | TON | ODOR | 24 |  | 1 | 1
OTA-GA84 | 2000-07-13 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 2000-07-17 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 2000-07-24 | TON | TON | ODOR | 12 | < | 1 | 1
OTA-GA84 | 2000-08-03 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 2000-08-10 | TON | TON | ODOR | 12 |  | 1 | 1
OTA-GA84 | 2000-08-17 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 2000-08-24 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 2000-08-31 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 2000-09-07 | TON | TON | ODOR | 8 |  | 1 | 1
OTA-GA84 | 2000-09-14 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 2000-09-21 | TON | TON | ODOR | 6 |  | 1 | 1
OTA-GA84 | 2000-09-28 | TON | TON | ODOR | 4 | < | 1 | 1
OTA-GA84 | 2000-10-05 | TON | TON | ODOR | 4 | < | 1 | 1
OTA-GA84 | 2000-10-12 | TON | TON | ODOR | 4 |  | 1 | 1
OTA-GA84 | 2000-10-19 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 2000-10-26 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA84 | 2000-11-02 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA84 | 2000-11-09 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA84 | 2000-11-16 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA84 | 2000-11-21 | TON | TON | ODOR | 1 |  | 0 | 1
OTA-GA84 | 2000-11-30 | TON | TON | ODOR | 1.4 |  | 0 | 1
OTA-GA84 | 2000-12-07 | TON | TON | ODOR | 1 | < | 0 | 1
OTA-GA84 | 2000-12-14 | TON | TON | ODOR | 1.4 | < | 0 | 1
OTA-GA84 | 1996-01-04 | PH_MANUAL | TURBIDITY | NTU | 1.71 |  | 132 | 179 | 73.74%
OTA-GA84 | 1996-01-11 | PH_MANUAL | TURBIDITY | NTU | 1.72
OTA-GA84 | 1996-01-18 | UV254 | TURBIDITY | NTU | 1.52
OTA-GA84 | 1996-01-25 | TURBIDITY | TURBIDITY | NTU | 2.29
OTA-GA84 | 1996-02-01 | COLOR | TURBIDITY | NTU | 2.32
OTA-GA84 | 1996-02-08 | TURBIDITY | TURBIDITY | NTU | 1.61
OTA-GA84 | 1996-02-15 | PH_MANUAL | TURBIDITY | NTU | 1.44 | <
OTA-GA84 | 1996-02-22 | TURBIDITY | TURBIDITY | NTU | 1.27 | <
OTA-GA84 | 1996-02-27 | PH_MANUAL | TURBIDITY | NTU | 1.63
OTA-GA84 | 1996-03-07 | TURBIDITY | TURBIDITY | NTU | 1.23
OTA-GA84 | 1996-03-14 | TURBIDITY | TURBIDITY | NTU | 1.35
OTA-GA84 | 1996-03-21 | PH_MANUAL | TURBIDITY | NTU | 1.18
OTA-GA84 | 1996-03-28 | TURBIDITY | TURBIDITY | NTU | 1.28
OTA-GA84 | 1996-04-04 | COLOR | TURBIDITY | NTU | 1.37
OTA-GA84 | 1996-04-18 | TURBIDITY | TURBIDITY | NTU | 1.1
OTA-GA84 | 1996-04-25 | TURBIDITY | TURBIDITY | NTU | 1.01
OTA-GA84 | 1996-05-02 | COLOR | TURBIDITY | NTU | 0.67
OTA-GA84 | 1996-05-09 | TURBIDITY | TURBIDITY | NTU | 0.45
OTA-GA84 | 1996-05-16 | COLOR | TURBIDITY | NTU | 0.63
OTA-GA84 | 1996-05-30 | COLOR | TURBIDITY | NTU | 0.77
OTA-GA84 | 1996-06-06 | TURBIDITY | TURBIDITY | NTU | 1.67
OTA-GA84 | 1996-06-13 | TURBIDITY | TURBIDITY | NTU | 0.86
OTA-GA84 | 1996-07-11 | PH_MANUAL | TURBIDITY | NTU | 1.55
OTA-GA84 | 1996-07-18 | TURBIDITY | TURBIDITY | NTU | 1.63
OTA-GA84 | 1996-07-25 | TURBIDITY | TURBIDITY | NTU | 1.36
OTA-GA84 | 1996-08-01 | TURBIDITY | TURBIDITY | NTU | 1.26
OTA-GA84 | 1996-08-08 | PH_MANUAL | TURBIDITY | NTU | 1.43
OTA-GA84 | 1996-08-15 | TURBIDITY | TURBIDITY | NTU | 1.62
OTA-GA84 | 1996-08-22 | TURBIDITY | TURBIDITY | NTU | 1.08
OTA-GA84 | 1996-08-29 | COLOR | TURBIDITY | NTU | 1.29
OTA-GA84 | 1996-09-05 | TURBIDITY | TURBIDITY | NTU | 1.68
OTA-GA84 | 1996-09-12 | PH_MANUAL | TURBIDITY | NTU | 1.46
OTA-GA84 | 1996-09-19 | TURBIDITY | TURBIDITY | NTU | 1.85
OTA-GA84 | 1996-09-26 | TURBIDITY | TURBIDITY | NTU | 1.89
OTA-GA84 | 1996-10-10 | TURBIDITY | TURBIDITY | NTU | 2.55
OTA-GA84 | 1996-10-17 | PH_MANUAL | TURBIDITY | NTU | 1.99
OTA-GA84 | 1996-10-24 | COLOR | TURBIDITY | NTU | 2.08
OTA-GA84 | 1996-10-31 | COLOR | TURBIDITY | NTU | 1.63
OTA-GA84 | 1996-11-07 | PH_MANUAL | TURBIDITY | NTU | 0.84
OTA-GA84 | 1996-11-14 | TURBIDITY | TURBIDITY | NTU | 1.17 | <
OTA-GA84 | 1996-11-21 | TURBIDITY | TURBIDITY | NTU | 1.47
OTA-GA84 | 1996-12-05 | COLOR | TURBIDITY | NTU | 1.98
OTA-GA84 | 1996-12-12 | UV254 | TURBIDITY | NTU | 1.52
OTA-GA84 | 1996-12-17 | TURBIDITY | TURBIDITY | NTU | 2.11
OTA-GA84 | 1996-12-26 | PH_MANUAL | TURBIDITY | NTU | 2.81
OTA-GA84 | 1997-01-09 | COLOR | TURBIDITY | NTU | 3.09
OTA-GA84 | 1997-01-16 | TURBIDITY | TURBIDITY | NTU | 5.71
OTA-GA84 | 1997-01-28 | PH_MANUAL | TURBIDITY | NTU | 2.5
OTA-GA84 | 1997-02-06 | TURBIDITY | TURBIDITY | NTU | 1.35
OTA-GA84 | 1997-02-20 | COLOR | TURBIDITY | NTU | 1.83
OTA-GA84 | 1997-02-25 | PH_MANUAL | TURBIDITY | NTU | 1.97
OTA-GA84 | 1997-03-03 | PH_MANUAL | TURBIDITY | NTU | 1.7 | <
OTA-GA84 | 1997-03-13 | PH_MANUAL | TURBIDITY | NTU | 1.31
OTA-GA84 | 1997-03-20 | COLOR | TURBIDITY | NTU | 0.85
OTA-GA84 | 1997-03-27 | CONDUCTIVITY | TURBIDITY | NTU | 0.6
OTA-GA84 | 1997-04-03 | TURBIDITY | TURBIDITY | NTU | 0.95
OTA-GA84 | 1997-04-10 | TURBIDITY | TURBIDITY | NTU | 1.12
OTA-GA84 | 1997-04-15 | COLOR | TURBIDITY | NTU | 0.94 | >
OTA-GA84 | 1997-04-22 | COLOR | TURBIDITY | NTU | 1.07 | <
OTA-GA84 | 1997-04-29 | CONDUCTIVITY | TURBIDITY | NTU | 1.52
OTA-GA84 | 1997-05-08 | PH_MANUAL | TURBIDITY | NTU | 0.93
OTA-GA84 | 1997-05-13 | TURBIDITY | TURBIDITY | NTU | 1.72
OTA-GA84 | 1997-05-20 | TURBIDITY | TURBIDITY | NTU | 1.85
OTA-GA84 | 1997-05-29 | COLOR | TURBIDITY | NTU | 1.73
OTA-GA84 | 1997-06-05 | COLOR | TURBIDITY | NTU | 2.67 | <
OTA-GA84 | 1997-06-10 | COLOR | TURBIDITY | NTU | 2.04 | <
OTA-GA84 | 1997-06-19 | PH_MANUAL | TURBIDITY | NTU | 4.53
OTA-GA84 | 1997-07-01 | PH_MANUAL | TURBIDITY | NTU | 5.33 |  | 0 | 1
OTA-GA84 | 1997-07-10 | PH_MANUAL | TURBIDITY | NTU | 4.73 |  | 0 | 1
OTA-GA84 | 1997-07-15 | COLOR | TURBIDITY | NTU | 4.86 | < | 0 | 1
OTA-GA84 | 1997-07-22 | TURBIDITY | TURBIDITY | NTU | 2 |  | 0 | 1
OTA-GA84 | 1997-07-31 | PH_MANUAL | TURBIDITY | NTU | 4.34 |  | 0 | 1
OTA-GA84 | 1997-08-07 | COLOR | TURBIDITY | NTU | 4.6 |  | 0 | 1
OTA-GA84 | 1997-08-12 | CONDUCTIVITY | TURBIDITY | NTU | 2.35 |  | 0 | 1
OTA-GA84 | 1997-08-19 | TURBIDITY | TURBIDITY | NTU | 3.61 |  | 0 | 1
OTA-GA84 | 1997-08-28 | PH_MANUAL | TURBIDITY | NTU | 2 |  | 0 | 1
OTA-GA84 | 1997-09-04 | PH_MANUAL | TURBIDITY | NTU | 0.75 |  | 0 | 1
OTA-GA84 | 1997-09-11 | PH_MANUAL | TURBIDITY | NTU | 2.43 |  | 0 | 1
OTA-GA84 | 1997-09-16 | PH_MANUAL | TURBIDITY | NTU | 1.09 |  | 0 | 1
OTA-GA84 | 1997-09-23 | COLOR | TURBIDITY | NTU | 1.97 |  | 0 | 1
OTA-GA84 | 1997-09-30 | PH_MANUAL | TURBIDITY | NTU | 1.63 |  | 0 | 1
OTA-GA84 | 1997-10-09 | PH_MANUAL | TURBIDITY | NTU | 1.13 |  | 0 | 1
OTA-GA84 | 1997-10-14 | PH_MANUAL | TURBIDITY | NTU | 3.3 |  | 0 | 1
OTA-GA84 | 1997-10-21 | PH_MANUAL | TURBIDITY | NTU | 1.22 |  | 0 | 1
OTA-GA84 | 1997-10-28 | PH_MANUAL | TURBIDITY | NTU | 1.32 |  | 0 | 1
OTA-GA84 | 1997-11-06 | PH_MANUAL | TURBIDITY | NTU | 0.75 |  | 0 | 1
OTA-GA84 | 1997-11-13 | CONDUCTIVITY | TURBIDITY | NTU | 1.02 | < | 0 | 1
OTA-GA84 | 1997-11-18 | PH_MANUAL | TURBIDITY | NTU | 2 | < | 0 | 1
OTA-GA84 | 1997-11-25 | COLOR | TURBIDITY | NTU | 1.44 |  | 0 | 1
OTA-GA84 | 1997-12-04 | PH_MANUAL | TURBIDITY | NTU | 1.84 |  | 0 | 1
OTA-GA84 | 1997-12-09 | PH_MANUAL | TURBIDITY | NTU | 1.98 |  | 0 | 1
OTA-GA84 | 1997-12-16 | PH_MANUAL | TURBIDITY | NTU | 2.32 |  | 0 | 1
OTA-GA84 | 1997-12-23 | COLOR | TURBIDITY | NTU | 3.3 | > | 0 | 1
OTA-GA84 | 1997-12-30 | COLOR | TURBIDITY | NTU | 3.05 |  | 0 | 1
OTA-GA84 | 1998-01-06 | TURBIDITY | TURBIDITY | NTU | 1.23 |  | 0 | 1
OTA-GA84 | 1998-01-15 | TURBIDITY | TURBIDITY | NTU | 2.34 |  | 0 | 1
OTA-GA84 | 1998-01-20 | COLOR | TURBIDITY | NTU | 1.87 |  | 0 | 1
OTA-GA84 | 1998-01-27 | TURBIDITY | TURBIDITY | NTU | 1.3 |  | 0 | 1
OTA-GA84 | 1998-02-05 | COLOR | TURBIDITY | NTU | 1.84 |  | 0 | 1
OTA-GA84 | 1998-02-10 | COLOR | TURBIDITY | NTU | 3.97 |  | 0 | 1
OTA-GA84 | 1998-02-19 | COLOR | TURBIDITY | NTU | 26.8 |  | 1 | 1
OTA-GA84 | 1998-02-24 | TURBIDITY | TURBIDITY | NTU | 24.9 |  | 1 | 1
OTA-GA84 | 1998-03-05 | CONDUCTIVITY | TURBIDITY | NTU | 14.2 | < | 0 | 1
OTA-GA84 | 1998-03-12 | COLOR | TURBIDITY | NTU | 11.6 |  | 0 | 1
OTA-GA84 | 1998-03-19 | COLOR | TURBIDITY | NTU | 9.26 |  | 0 | 1
OTA-GA84 | 1998-03-24 | TURBIDITY | TURBIDITY | NTU | 8.16 |  | 0 | 1
OTA-GA84 | 1998-03-31 | TURBIDITY | TURBIDITY | NTU | 6.76 |  | 0 | 1
OTA-GA84 | 1998-04-09 | COLOR | TURBIDITY | NTU | 11.3 |  | 0 | 1
OTA-GA84 | 1998-04-14 | TURBIDITY | TURBIDITY | NTU | 6.13 |  | 0 | 1
OTA-GA84 | 1998-04-21 | TURBIDITY | TURBIDITY | NTU | 7.8 |  | 0 | 1
OTA-GA84 | 1998-05-05 | COLOR | TURBIDITY | NTU | 4.39 |  | 0 | 1
OTA-GA84 | 1998-05-12 | PH_MANUAL | TURBIDITY | NTU | 2.78 |  | 0 | 1
OTA-GA84 | 1998-05-21 | CONDUCTIVITY | TURBIDITY | NTU | 1.32 |  | 0 | 1
OTA-GA84 | 1998-05-28 | COLOR | TURBIDITY | NTU | 1.13 |  | 0 | 1
OTA-GA84 | 1998-06-04 | TURBIDITY | TURBIDITY | NTU | 1.35 |  | 0 | 1
OTA-GA84 | 1998-06-09 | COLOR | TURBIDITY | NTU | 0.94 |  | 0 | 1
OTA-GA84 | 1998-06-16 | COLOR | TURBIDITY | NTU | 1.08 |  | 0 | 1
OTA-GA84 | 1998-06-23 | COLOR | TURBIDITY | NTU | 1.71 |  | 0 | 1
OTA-GA84 | 1998-06-30 | TURBIDITY | TURBIDITY | NTU | 1.47 |  | 0 | 1
OTA-GA84 | 1998-07-07 | COLOR | TURBIDITY | NTU | 1.5 |  | 0 | 1
OTA-GA84 | 1998-07-14 | TURBIDITY | TURBIDITY | NTU | 2.22 |  | 0 | 1
OTA-GA84 | 1998-07-23 | COLOR | TURBIDITY | NTU | 1.51 |  | 0 | 1
OTA-GA84 | 1998-07-28 | COLOR | TURBIDITY | NTU | 1.75 |  | 0 | 1
OTA-GA84 | 1998-08-06 | COLOR | TURBIDITY | NTU | 1.62 |  | 0 | 1
OTA-GA84 | 1998-08-11 | COLOR | TURBIDITY | NTU | 1.05 |  | 0 | 1
OTA-GA84 | 1998-08-18 | COLOR | TURBIDITY | NTU | 1.33 |  | 0 | 1
OTA-GA84 | 1998-08-25 | COLOR | TURBIDITY | NTU | 1.33 | > | 0 | 1
OTA-GA84 | 1998-09-03 | TURBIDITY | TURBIDITY | NTU | 3.47 |  | 0 | 1
OTA-GA84 | 1998-09-10 | COLOR | TURBIDITY | NTU | 5.16 |  | 0 | 1
OTA-GA84 | 1998-09-15 | TURBIDITY | TURBIDITY | NTU | 7.1 |  | 0 | 1
OTA-GA84 | 1998-09-22 | COLOR | TURBIDITY | NTU | 10.2 |  | 0 | 1
OTA-GA84 | 1998-09-29 | COLOR | TURBIDITY | NTU | 9.45 |  | 0 | 1
OTA-GA84 | 1998-10-06 | COLOR | TURBIDITY | NTU | 8.76 |  | 0 | 1
OTA-GA84 | 1998-10-15 | COLOR | TURBIDITY | NTU | 9.63 |  | 0 | 1
OTA-GA84 | 1998-10-20 | COLOR | TURBIDITY | NTU | 11.6 |  | 0 | 1
OTA-GA84 | 1998-10-27 | COLOR | TURBIDITY | NTU | 15.3 |  | 0 | 1
OTA-GA84 | 1998-11-03 | COLOR | TURBIDITY | NTU | 8.33 |  | 0 | 1
OTA-GA84 | 1998-11-12 | TURBIDITY | TURBIDITY | NTU | 3.49 |  | 0 | 1
OTA-GA84 | 1998-11-24 | TURBIDITY | TURBIDITY | NTU | 2.19 |  | 0 | 1
OTA-GA84 | 1998-12-01 | TURBIDITY | TURBIDITY | NTU | 1.88 |  | 0 | 1
OTA-GA84 | 1998-12-10 | TURBIDITY | TURBIDITY | NTU | 2.07 |  | 0 | 1
OTA-GA84 | 1998-12-15 | TURBIDITY | TURBIDITY | NTU | 1.85 |  | 0 | 1
OTA-GA84 | 1998-12-22 | TURBIDITY | TURBIDITY | NTU | 1.49 |  | 0 | 1
OTA-GA84 | 1999-01-07 | TURBIDITY | TURBIDITY | NTU | 2.18 |  | 0 | 1
OTA-GA84 | 1999-01-12 | TURBIDITY | TURBIDITY | NTU | 1.78 |  | 0 | 1
OTA-GA84 | 1999-01-21 | TURBIDITY | TURBIDITY | NTU | 1.03 |  | 0 | 1
OTA-GA84 | 1999-01-26 | TURBIDITY | TURBIDITY | NTU | 1.74 |  | 0 | 1
OTA-GA84 | 1999-02-04 | TURBIDITY | TURBIDITY | NTU | 1.72 |  | 0 | 1
OTA-GA84 | 1999-02-09 | TURBIDITY | TURBIDITY | NTU | 1.63 |  | 0 | 1
OTA-GA84 | 1999-02-18 | TURBIDITY | TURBIDITY | NTU | 1.54 |  | 0 | 1
OTA-GA84 | 1999-02-23 | TURBIDITY | TURBIDITY | NTU | 0.93 |  | 0 | 1
OTA-GA84 | 1999-03-04 | TURBIDITY | TURBIDITY | NTU | 1.04 |  | 0 | 1
OTA-GA84 | 1999-03-09 | TURBIDITY | TURBIDITY | NTU | 0.82 |  | 0 | 1
OTA-GA84 | 1999-03-16 | TURBIDITY | TURBIDITY | NTU | 0.95 |  | 0 | 1
OTA-GA84 | 1999-03-25 | TURBIDITY | TURBIDITY | NTU | 1.3 | < | 0 | 1
OTA-GA84 | 1999-03-30 | TURBIDITY | TURBIDITY | NTU | 0.85 | < | 0 | 1
OTA-GA84 | 1999-04-08 | TURBIDITY | TURBIDITY | NTU | 0.73 | > | 0 | 1
OTA-GA84 | 1999-04-13 | TURBIDITY | TURBIDITY | NTU | 1.25 |  | 0 | 1
OTA-GA84 | 1999-04-20 | TURBIDITY | TURBIDITY | NTU | 0.95 |  | 0 | 1
OTA-GA84 | 1999-04-29 | TURBIDITY | TURBIDITY | NTU | 0.95 |  | 0 | 1
OTA-GA84 | 1999-05-06 | TURBIDITY | TURBIDITY | NTU | 0.99 |  | 0 | 1
OTA-GA84 | 1999-05-13 | TURBIDITY | TURBIDITY | NTU | 0.995 |  | 0 | 1
OTA-GA84 | 1999-05-18 | TURBIDITY | TURBIDITY | NTU | 0.63 |  | 0 | 1
OTA-GA84 | 1999-05-27 | TURBIDITY | TURBIDITY | NTU | 0.62 |  | 0 | 1
OTA-GA84 | 1999-06-03 | TURBIDITY | TURBIDITY | NTU | 0.655 |  | 0 | 1
OTA-GA84 | 1999-06-10 | TURBIDITY | TURBIDITY | NTU | 0.675 |  | 0 | 1
OTA-GA84 | 1999-06-15 | TURBIDITY | TURBIDITY | NTU | 0.635 |  | 0 | 1
OTA-GA84 | 1999-06-22 | TURBIDITY | TURBIDITY | NTU | 1 |  | 0 | 1
OTA-GA84 | 1999-06-29 | TURBIDITY | TURBIDITY | NTU | 0.97 |  | 0 | 1
OTA-GA84 | 1999-07-08 | TURBIDITY | TURBIDITY | NTU | 1.58 |  | 0 | 1
OTA-GA84 | 1999-07-13 | TURBIDITY | TURBIDITY | NTU | 1.77 |  | 0 | 1
OTA-GA84 | 1999-07-22 | TURBIDITY | TURBIDITY | NTU | 1.35 |  | 0 | 1
OTA-GA84 | 1999-07-26 | TURBIDITY | TURBIDITY | NTU | 1.95 |  | 0 | 1
OTA-GA84 | 1999-08-05 | TURBIDITY | TURBIDITY | NTU | 6.32 |  | 0 | 1
OTA-GA84 | 1999-08-10 | TURBIDITY | TURBIDITY | NTU | 5.38 |  | 0 | 1
OTA-GA84 | 1999-08-17 | TURBIDITY | TURBIDITY | NTU | 9.38 |  | 0 | 1
OTA-GA84 | 1999-08-24 | TURBIDITY | TURBIDITY | NTU | 7.8 |  | 0 | 1
OTA-GA84 | 1999-08-31 | TURBIDITY | TURBIDITY | NTU | 8.94 | < | 0 | 1
OTA-GA84 | 1999-09-09 | TURBIDITY | TURBIDITY | NTU | 10.9 | < | 0 | 1
OTA-GA84 | 1999-09-16 | TURBIDITY | TURBIDITY | NTU | 10.7 |  | 0 | 1
OTA-GA84 | 1999-09-21 | TURBIDITY | TURBIDITY | NTU | 9.41 | > | 0 | 1
OTA-GA84 | 1999-09-28 | TURBIDITY | TURBIDITY | NTU | 11.5 |  | 0 | 1
OTA-GA84 | 1999-10-07 | TURBIDITY | TURBIDITY | NTU | 12.5 |  | 0 | 1
OTA-GA84 | 1999-10-14 | TURBIDITY | TURBIDITY | NTU | 9.63 |  | 0 | 1
OTA-GA84 | 1999-10-21 | TURBIDITY | TURBIDITY | NTU | 12.8 |  | 0 | 1
OTA-GA84 | 1999-10-26 | TURBIDITY | TURBIDITY | NTU | 5.19 |  | 0 | 1
OTA-GA84 | 1999-11-02 | TURBIDITY | TURBIDITY | NTU | 3.22 |  | 0 | 1
OTA-GA84 | 1999-11-09 | TURBIDITY | TURBIDITY | NTU | 1.52 |  | 0 | 1
OTA-GA84 | 1999-11-16 | TURBIDITY | TURBIDITY | NTU | 1.83 |  | 0 | 1
OTA-GA84 | 1999-11-23 | TURBIDITY | TURBIDITY | NTU | 1.07 |  | 0 | 1
OTA-GA84 | 1999-11-30 | TURBIDITY | TURBIDITY | NTU | 1.04 |  | 0 | 1
OTA-GA84 | 1999-12-09 | TURBIDITY | TURBIDITY | NTU | 1.22 |  | 0 | 1
OTA-GA84 | 1999-12-14 | TURBIDITY | TURBIDITY | NTU | 1.36 |  | 0 | 1
OTA-GA84 | 1999-12-21 | TURBIDITY | TURBIDITY | NTU | 1.61 |  | 0 | 1
OTA-GA84 | 1999-12-28 | TURBIDITY | TURBIDITY | NTU | 1.33 |  | 0 | 1
OTA-GA84 | 2000-01-04 | TURBIDITY | TURBIDITY | NTU | 1.89 | < | 0 | 1
OTA-GA84 | 2000-01-13 | TURBIDITY | TURBIDITY | NTU | 2.03 |  | 0 | 1
OTA-GA84 | 2000-01-20 | TURBIDITY | TURBIDITY | NTU | 1.38 |  | 0 | 1
OTA-GA84 | 2000-01-26 | TURBIDITY | TURBIDITY | NTU | 1.8 | > | 0 | 1
OTA-GA84 | 2000-02-03 | TURBIDITY | TURBIDITY | NTU | 1.89 |  | 0 | 1
OTA-GA84 | 2000-02-10 | TURBIDITY | TURBIDITY | NTU | 1.37 | > | 0 | 1
OTA-GA84 | 2000-02-17 | TURBIDITY | TURBIDITY | NTU | 1.11 |  | 0 | 1
OTA-GA84 | 2000-02-24 | TURBIDITY | TURBIDITY | NTU | 1.7 |  | 0 | 1
OTA-GA84 | 2000-03-02 | TURBIDITY | TURBIDITY | NTU | 1.3 |  | 0 | 1
OTA-GA84 | 2000-03-09 | TURBIDITY | TURBIDITY | NTU | 1.5 | < | 0 | 1
OTA-GA84 | 2000-03-16 | TURBIDITY | TURBIDITY | NTU | 1.4 | < | 0 | 1
OTA-GA84 | 2000-03-23 | TURBIDITY | TURBIDITY | NTU | 1.1 |  | 0 | 1
OTA-GA84 | 2000-03-30 | TURBIDITY | TURBIDITY | NTU | 1.19 |  | 0 | 1
OTA-GA84 | 2000-04-06 | TURBIDITY | TURBIDITY | NTU | 0.88 |  | 0 | 1
OTA-GA84 | 2000-04-13 | TURBIDITY | TURBIDITY | NTU | 0.705 |  | 0 | 1
OTA-GA84 | 2000-04-20 | TURBIDITY | TURBIDITY | NTU | 1.05 |  | 0 | 1
OTA-GA84 | 2000-04-27 | TURBIDITY | TURBIDITY | NTU | 1.17 |  | 0 | 1
OTA-GA84 | 2000-05-04 | TURBIDITY | TURBIDITY | NTU | 0.68 |  | 0 | 1
OTA-GA84 | 2000-05-08 | TURBIDITY | TURBIDITY | NTU | 0.69 |  | 0 | 1
OTA-GA84 | 2000-05-18 | TURBIDITY | TURBIDITY | NTU | 0.7 |  | 0 | 1
OTA-GA84 | 2000-05-25 | TURBIDITY | TURBIDITY | NTU | 0.89 |  | 0 | 1
OTA-GA84 | 2000-06-01 | TURBIDITY | TURBIDITY | NTU | 0.82 |  | 0 | 1
OTA-GA84 | 2000-06-08 | TURBIDITY | TURBIDITY | NTU | 1.3 |  | 0 | 1
OTA-GA84 | 2000-06-15 | TURBIDITY | TURBIDITY | NTU | 1.6 |  | 0 | 1
OTA-GA84 | 2000-06-22 | TURBIDITY | TURBIDITY | NTU | 1.49 |  | 0 | 1
OTA-GA84 | 2000-06-29 | TURBIDITY | TURBIDITY | NTU | 2.28 |  | 0 | 1
OTA-GA84 | 2000-07-06 | TURBIDITY | TURBIDITY | NTU | 2.81 |  | 0 | 1
OTA-GA84 | 2000-07-13 | TURBIDITY | TURBIDITY | NTU | 2.8 | < | 0 | 1
OTA-GA84 | 2000-07-17 | TURBIDITY | TURBIDITY | NTU | 3.23 |  | 0 | 1
OTA-GA84 | 2000-07-24 | TURBIDITY | TURBIDITY | NTU | 7.43 |  | 0 | 1
OTA-GA84 | 2000-08-03 | TURBIDITY | TURBIDITY | NTU | 6.33 |  | 0 | 1
OTA-GA84 | 2000-08-10 | TURBIDITY | TURBIDITY | NTU | 6 |  | 0 | 1
OTA-GA84 | 2000-08-17 | TURBIDITY | TURBIDITY | NTU | 5.53 | < | 0 | 1
OTA-GA84 | 2000-08-24 | TURBIDITY | TURBIDITY | NTU | 8.91 | < | 0 | 1
OTA-GA84 | 2000-08-31 | TURBIDITY | TURBIDITY | NTU | 5.96 |  | 0 | 1
OTA-GA84 | 2000-09-07 | TURBIDITY | TURBIDITY | NTU | 8.46 |  | 0 | 1
OTA-GA84 | 2000-09-14 | TURBIDITY | TURBIDITY | NTU | 5.17 |  | 0 | 1
OTA-GA84 | 2000-09-21 | TURBIDITY | TURBIDITY | NTU | 11.3 |  | 0 | 1
OTA-GA84 | 2000-09-28 | TURBIDITY | TURBIDITY | NTU | 6.2 |  | 0 | 1
OTA-GA84 | 2000-10-05 | TURBIDITY | TURBIDITY | NTU | 9.41 |  | 0 | 1
OTA-GA84 | 2000-10-12 | TURBIDITY | TURBIDITY | NTU | 16 |  | 0 | 1
OTA-GA84 | 2000-10-19 | TURBIDITY | TURBIDITY | NTU | 6.56 |  | 0 | 1
OTA-GA84 | 2000-10-26 | TURBIDITY | TURBIDITY | NTU | 2.69 |  | 0 | 1
OTA-GA84 | 2000-11-02 | TURBIDITY | TURBIDITY | NTU | 1.01 | < | 0 | 1
OTA-GA84 | 2000-11-09 | TURBIDITY | TURBIDITY | NTU | 1.15 | < | 0 | 1
OTA-GA84 | 2000-11-16 | TURBIDITY | TURBIDITY | NTU | 1.2 |  | 0 | 1
OTA-GA84 | 2000-11-21 | TURBIDITY | TURBIDITY | NTU | 1.23 |  | 0 | 1
OTA-GA84 | 2000-11-30 | TURBIDITY | TURBIDITY | NTU | 0.83 |  | 0 | 1
OTA-GA84 | 2000-12-07 | TURBIDITY | TURBIDITY | NTU | 0.81 |  | 0 | 1
OTA-GA84 | 2000-12-14 | TURBIDITY | TURBIDITY | NTU | 1.43 | > | 0 | 1
OTA-GA84 | 1996-09-26 | PLANKTON | ULOTHRIX | STD_U/ML | 86 |  | 2 | 178 | 1.124%
OTA-GA84 | 1996-11-07 | PLANKTON | ULOTHRIX | STD_U/ML | 172
OTA-GA84 | 1996-11-21 | PLANKTON | ULOTHRIX | STD_U/ML | 17
OTA-GA84 | 1996-12-05 | PLANKTON | ULOTHRIX | STD_U/ML | 198
OTA-GA84 | 1997-07-31 | PLANKTON | ULOTHRIX | STD_U/ML | 259
OTA-GA84 | 1997-08-07 | PLANKTON | ULOTHRIX | STD_U/ML | 302
OTA-GA84 | 1997-08-12 | PLANKTON | ULOTHRIX | STD_U/ML | 86
OTA-GA84 | 1999-02-11 | PLANKTON | ULOTHRIX | STD_U/ML | 89
OTA-GA84 | 1999-04-29 | PLANKTON | ULOTHRIX | STD_U/ML | 150
OTA-GA84 | 1999-05-06 | PLANKTON | ULOTHRIX | STD_U/ML | 44
OTA-GA84 | 1999-05-13 | PLANKTON | ULOTHRIX | STD_U/ML | 443
OTA-GA84 | 1999-07-08 | PLANKTON | ULOTHRIX | STD_U/ML | 2610
OTA-GA84 | 1999-07-13 | PLANKTON | ULOTHRIX | STD_U/ML | 221
OTA-GA84 | 1999-07-26 | PLANKTON | ULOTHRIX | STD_U/ML | 177
OTA-GA84 | 2000-01-13 | PLANKTON | ULOTHRIX | STD_U/ML | 89
QC Limits
Source | Sample Date | Analysis | Analyte | Begin Date | End Date
Test Type | Recovery Type | Value(%) | LCL | LWL | UWL | UCL
Assessment