## Table
Table 1 - Oso Creek NPDES Annual Data
Sampling from 24 March 98 through 20 May 99
| EC | Turbidity | pH | NO3 | NH3 | TKN | PO4 | o-PO4 | TSS | VSS | Cd | Cr | Cu | Pb | Ni | Ag | Zn | Hardness
| (umhos) | (NTU) |  | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (ug/L) | (ug/L) | (ug/L) | (ug/L) | (ug/L) | (ug/L) | (ug/L) | (mg/L)
Basin Plan Std |  | 20 | 6.5 - 9.0 | 45 | 0.025 | ? | 0.306 | ?
A Compilation of Water Quality Goals | [8 empty] | Pb: 280
MCL from K. Cole | 900
from B. Ott | [8 empty] | TSS: 350; VSS: 275 | 300
# of times the standard was exceeded | 11 of 14 (79%) Avg=1822.9 Med=1990.0 | 10 of 14 (71%) Avg=55.8 Med=36.0 | none | none | none |  | 9 of 14 (64%) Avg=1.4 Med=1.0 |  | TSS: 2 of 14 (15%); VSS: none; Cd: Avg=2.9 Med=2.0; Pb: none | 10 of 13 (77%)
National Toxics Rule (Freshwater Aquatic Life) 1-hr avg | [10 empty] | 0.35- 51 | 83-3600 | 1.5- 118 | 5-700 | 67- 3284 | 0.07- 181 | 17- 824
Cal Ocean Plan (Instnts Max) | [10 empty] | 10 | 20 | 30 | 20 | 150 | 7 | 200
# of times Ocean Plan was exceeded | [10 empty] | none | 1 of 27 (4%) Avg=5.5 Med=0.0 | 3 of 27 (11%) Avg=19.7 Med=17.0 | none | none | none | none

## Stats
| EC | Turbidity | PO4 | Cd | Cr | Cu
| 2760 | 20 | 0 | 2 | 3 | 14
| 2250 | 200 | 6 | 10 | 40 | 59
| 745 | 44 | 3 | 0 | 0 | 9
| 1960 | 9 | 1 | 9 | 14 | 25
| 1680 | 130 | 3 | 4 | 9 | 16
| 785 | 26 | 1 | 1 | 0 | 13
| 700 | 60 | 2 | 1 | 0 | 11
| 1300 | 26 | 1 | 8 | 19 | 35
| 2710 | 28 | 0 | 0 | 0 | 8
| 2430 | 68 | 1 | 3 | 0 | 17
| 2240 | 80 | 0 | 1 | 0 | 10
| 920 | 76 | 1 | 4 | 9 | 26
| 2020 | 12 | 0 | 0 | 0 | 12
| 3020 | 2 | 0 | 2 | 0 | 19
|  |  |  | 1 | 0 | 12
|  |  |  | 3 | 0 | 23
|  |  |  | 2 | 0 | 17
|  |  |  | 6 | 12 | 29
|  |  |  | 1 | 0 | 13
|  |  |  | 6 | 12 | 29
|  |  |  | 1 | 0 | 14
|  |  |  | 7 | 13 | 38
|  |  |  | 1 | 0 | 18
|  |  |  | 3 | 0 | 22
|  |  |  | 2 | 0 | 25
|  |  |  | 1 | 9 | 10
|  |  |  | 0 | 9 | 9
Avg = | 1822.8571 | 55.7857 | 1.3571 | 2.9259 | 5.5185 | 19.7407
Median = | 1990 | 36 | 1 | 2 | 0 | 17
Std Dev = | 808.1239 | 54.3722 | 1.6919 | 2.8946 | 9.04 | 11.3225