## Report
San Vicente Watershed Sample Report
July 8, 1998
Summary:
Samples were collected on 8 July 1998 from Padre Barona Creek for MPN/MF analysis (Total and Fecal Coliforms
and Entercoccus bacteria). Physicochemical parameters were measured with a YSI 6000 UPG Datasonde. Stream flow was estimated.
visually. Turbidity was measured with a Hach 2100P portable turbidimeter. Bacti data are reportable under EPA and State
All other data are provided for informational purposes only and are not EPA or State certified.
For questions regarding this report, please contact David Gibson, Dennis Brown or Jeff Pasek at 668-3249 or 668-3240.
YSI Datasonde Report and Flow Estimate:
Station | Sampler | Discharge | Date Time | Temp. | Sp. Cond. | TDS | DO% | DO CONC | pH | ORP
|  | cfs | mmddyy hh:mm | �C | uS/cm | g/l | % | mg/l |  | mV
BAR3A | DWG | <1 | 07/08/98 08:43 | 20.35 | 714 | 0.4 | 138.3667 | 12.4633 | 7.25 | 132.3333
BAR3B | DWG | <1 | 07/08/98 08:33 | 20.3 | 721 | 0.4 | 118.0333 | 10.6433 | 7.37 | 133.6667
Microbiological Analyses: | [8 empty] | Turbidity:
Station | Log Number | Total Coliform |  | Fecal Coliform |  | Enterococcus |  |  | Station | Turbidity
| mmddyy-nnnn | MPN/100ml |  | CFU/100ml |  | CFU/100ml |  |  |  | NTU
BAR3A | 060398-4149 | [7 empty] | BAR3A | 2.01
BAR3B | 060398-4148 | [7 empty] | BAR3B | 1.06
Legend:
nd = not detected |  | cfs = cubic feet per second |  | uS/cm = micro Siemens per centimeter |  |  | MPN = Most Probable Number
MDL = Method Detection Limit |  | mg/l = milligrams per liter |  | mV = millivolts |  |  | CFU = Colony Forming units
Report Prepared by: |  |  |  | Date:
Reviewed and Released by: |  |  |  | Date:

## YSI Data
Data Transfer Range
Paste data below: |  |  | Temp | Sp. Cond. | TDS | DO % | DO Conc. | Depth | pH | ORP
07/08/98 08:32 | 70898 | 80541 | 20.3 | 721 | 0.4 | 116 | 10.46 | 0 | 7.39 | 142
07/08/98 08:33 | 70898 | 80652 | 20.3 | 721 | 0.4 | 118.8 | 10.71 | 0 | 7.36 | 131
07/08/98 08:33 | 70898 | 80715 | 20.3 | 721 | 0.4 | 119.3 | 10.76 | 0 | 7.36 | 128
Average |  | 80636 | 20.3 | 721 | 0.4 | 118.0333 | 10.6433 | 0 | 7.37 | 133.6667
|  |  | 20.3 | 721 | 0.4 | 118.0333 | 10.6433 | 7.37 | 133.6667

## Flow
Stream Discharge WorkSheet
| Station | bar3b
| Width | 2.46 | Flow Q = | 2.8697
| Width/7 | 0.35143
| Depth 1 | 0.4 | Velocity 1 | 2.81
| Depth 2 | 0.32 | Velocity 2 | 2.66
| Depth 3 | 0.46 | Velocity 3 | 2.72
| Mid Depth | 0.66 | Mid Vel. | 2.39
| Depth 5 | 0.68 | Velocity 5 | 1.99
| Depth 6 | 0.7 | Velocity 6 | 1.86
| Depth 7 | 0.62 | Velocity 7 | 1.14