Prepared by Brennan Ott

7/26/01

San Marcos Creek

904.500

It is recommended that San Marcos Creek not be listed.

# Watershed Characteristics

San Marcos Creek is located in the San Marcos Creek Watershed.  It is 5 miles long.  Uses for the creek include agricultural water supply, contact and non-contact recreation, wildlife habitat, and a warm freshwater habitat as well.

Water Quality Objectives not Obtained

San Marcos Creek was found to be in violation of inland surface water quality standards for total dissolved solids (TDS).

Evidence of Impairment

The water quality data used for San Marcos Creek was taken on June 3, 1998. San Marcos Creek was sampled at stations SMC-RDFR and SMC-M, with TDS concentrations of 780 and 1346 mg/l, respectively.  The standard set by the Basin Plan for inland surface waters for TDS is 500 mg/l.  The water in the San Marcos Creek is in clear violation of this standard.

There is filet and liver fish tissue data available for large mouth bass for San Marcos Creek occurring on 8/24/99, but a site is not given.  The organic concentrations in the tissue are within allowable limits.  However, the heavy metal concentrations are suspect because there is no standards for heavy metal concentrations in fish tissue.  Since Heavy metal concentrations are not high in the water, it is assumed that they are not high in the fish too.

## There is some qualitative data available for biological assessment of the Creek.  The are four areas sampled.  They are 1) 5 riffles 50 m upstream of Mc Mahr Road intersection (station SMC-RSFR)  2) 5 riffles downstream of Santar Place 3) 5 riffles 50 m upstream of Mc Mahr Road intersection (station SMC-M) 4) 5 riffles downstream of Rancho Santa Fe Road.

## Bio-assessments were conducted in May, September, and November 1998 and May 1999.  Results from these bio-assessments indicate that the distribution (richness) of taxa between September and November is relatively the same, while May showed a decrease.  However, in May, the site displayed a greater abundance than the September and November samples.  November and September have similar levels of functional feeding groups whereas May exhibited a decrease in functional feeders from these two months.  At all sampling times, the site was dominated by a few disturbance tolerant insect and worm taxa and the functional feeding groups were composed mainly of collectors, filterers and grazers.  Shredders were rare.  The physical habitat quality at all three sampling periods was fair to good.

Extent of Impairment

Since there are only two data points for water quality in this Creek occurring on the same day, not much can be said about its impairment. There is no data given as to where exactly the sampling stations are located along the San Marcos Creek.

Potential Sources

There is not sufficient data to support any hard claims as to the source(s) of the pollution, but there is enough to warrant good assumptions.

Possible high TDS concentrations may due to urban runoff.

TMDL Priority

It is recommended that San Marcos Creek not be placed on the TMDL list.

# Source References

Water quality standards were taken from the Water Quality Control Plan for the San Diego Basin.  Fish data from the toxic monitoring program.  TDS data from Linda Pardy Sheet 1. Biological assessment data taken from San Diego Regional Water Quality Control Board: 1999 Biological Assessment Annual Report.