# ATTACHMENT B

## DEFINITIONS

Acute - A stimulus severe enough to rapidly induce an effect.  In aquatic toxicity tests, an effect observed in 96 hours or less is typically considered acute.  When referring to aquatic toxicology or human health, an acute effect is not always measured in terms of lethality.

Acute toxicity – For the purposes of compliance with the acute toxicity discharge specification of Order No. 2000-211, less than seventy percent survival of standard test organisms in undiluted effluent in a 96-hour static or continuous-flow test.  Defined in the Water Quality Control Policy for the Enclosed Bays and Estuaries of California as less than ninety percent survival, fifty percent of the time, and less than seventy percent survival, ten percent of the time, of standard test organisms in undiluted effluent in a 96-hour static or continuous-flow test.

Antidegradation – This refers to policies which are part of each State's water quality standards.  These policies are designed to protect water quality and provide a method of assessing activities that may impact the integrity of the water body and therefore the beneficial and/or designated uses of the water body.

Best Available Technology (BAT) - A treatment standard for toxic and nonconventional pollutants.

Best Conventional Technology (BCT) - A treatment standard for conventional pollutants.

Best Management Practices (BMP) - Schedules of activities, prohibitions of practices, maintenance procedures, and other management practices to prevent or reduce the pollution of waters of the United States.  BMP's also include treatment requirements, operating procedures, and practices to control plant site runoff, spillage, leaks, sludge or waste disposal, or drainage from raw material storage.

First Flush Storm Water Runoff - The diversion of storm water runoff to a municipal sanitary sewer system, retention basin, or holding tank for recycling.  The diversion shall not terminate until a minimum of 0.1 inches of precipitation has been collected in a rain gauge or equivalent measurement device from the maintenance and repair areas.

General Permit - An NPDES permit issued under 40 CFR 122.28 authorizing a category of discharges under the CWA within a geographical area.

Grab Sample - A sample which is taken from a waste stream on a one time basis with no regard to the flow of the wastestream and without consideration of time.

Industrial Process Water - Any water which, during manufacturing or processing, comes into direct contact with, or results from, the production of any raw material, intermediate product, finished product, by-product, or waste product.

National Pollutant Discharge Elimination System (NPDES) - The national program for issuing, modifying, revoking and reissuing, terminating, monitoring and enforcing permits, and imposing and enforcing pretreatment requirements, under Sections 307, 402, 318, and 405 of CWA.

Non-Storm Water / Illicit Discharge - Any discharge to a storm water conveyance system that is not composed entirely of storm water, with the exception of discharges pursuant to a NPDES permit and discharges resulting from fire fighting activities.

Pollution Prevention - To employ techniques and policies that eliminate or reduce the generation of pollutants.

Self Monitoring - Sampling and analyses performed by a facility to ensure compliance with a permit or other regulatory requirements.

Significant Difference - Defined as a statistically significant difference in the means of two distributions of sampling results at the 95 percent confidence level.

Significant Materials - These include, but are not limited to: raw materials; fuels; materials such as solvents, detergents, and plastic pellets; finished materials such as metallic products; raw materials used in food processing or production; hazardous substances designated under Section 101(14) of the Comprehensive Environmental Response, Compensation, and Liability Act (CERLCA); any chemical the facility is required to report pursuant to Section 313 of Title III of the Superfund Amendments and Reauthorization Act (SARA); fertilizers; pesticides; and waste products such as ashes, slag, and sludge that have the potential to be released with storm water discharges.

Significant Quantities - The volume, concentrations, or mass of a pollutant in storm water discharges that can cause or threaten to cause pollution, contamination, or nuisance; adversely impact human health or the environment; and cause or contribute to a violation of any applicable water quality standards for the receiving water.

Storm Water - Storm water runoff, snow melt runoff, and surface runoff and drainage.  It excludes infiltration and runoff from agricultural land.

Toxicity Reduction Evaluation (TRE) - A site-specific study conducted in stepwise process designed to identify the causative agents of effluent toxicity, isolate the sources of toxicity, evaluate the effectiveness of toxicity control options, and then confirm the reduction in effluent toxicity.

Toxicity Test - A procedure to determine the toxicity of a chemical or an effluent using living organisms.  A toxicity test measures the degree of effect on exposed test organisms of a specific chemical or effluent.