ATTACHMENT D

CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD (RWQCB)

SAN DIEGO REGION

STANDARD PROVISIONS

A.	General Provisions (Applicable To All Permits)

1.	Duty To Comply [40 CFR 122.41(a)][CWC 13381]

a.	The discharger must comply with all of the conditions of this permit.  Any permit noncompliance constitutes a violation of the Clean Water Act and the Porter-Cologne Water Quality Control Act and is grounds for enforcement action, for permit termination, revocation and reissuance or modification, or for denial of a permit renewal application.

b.	The discharger shall comply with effluent standards or prohibitions established under Section 307(a) of the Clean Water Act for toxic pollutants and with standards for sewage sludge use or disposal established under Section 405(d) of the Clean Water Act within the time provided in the regulations that establish these standards or prohibitions, even if this permit has not been modified to incorporate the requirement.

2.	Duty To Reapply [40 CFR 122.41(b)][23 CCR 2235]

a.	If the discharger wishes to continue an activity regulated by this permit after the expiration date of this permit, the discharger must apply for and obtain a new permit.  The discharger shall submit a new application at least 180 days before the permit expires.

b.	The terms and conditions of an expired permit are automatically continued pending issuance of a new permit if all requirements of the federal NPDES regulations on continuation of expired permits are complied with.

c.	Any application submitted by the discharger for reissuance or modification of this permit shall satisfy all applicable requirements specified in federal regulations as well as any additional requirements for submittal of a Report of Waste Discharge specified in the California Water Code and the California Code of Regulations.

3.	Duty To Mitigate [40 CFR 122.41(d)]

a.	The Discharger shall take all reasonable steps to prevent, minimize, or correct any discharge in noncompliance with this Order which has reasonable potential of adversely impacting the environment, including such accelerated or additional monitoring as may be necessary to determine the nature and impact of the noncompliance.

4.	Proper Operation and Maintenance [40 CFR 122.41(e)]

a.	The discharger shall at all time properly operate and maintain all facilities and systems of treatment and control (and related appurtenances) that are installed or used by the discharger to achieve compliance with this permit.  Proper operation and maintenance also includes adequate laboratory controls and appropriate quality assurance procedures.  This provision requires the operation of backup or auxiliary facilities or similar systems which are installed by a discharger only when necessary to achieve compliance with the conditions of this permit.

5.	Permit Actions [40 CFR 122.41(f)][CWC 13263(e)][40 CFR 122.44(b)(1)]

a.	This permit may be modified, revoked and reissued, or terminated for cause. The filing of a request by the discharger for a permit modification, revocation and reissuance, or termination, or a notification of planned changes or anticipated noncompliance does not stay any permit condition.

b.	Upon application by any affected person, or on its own motion, the Regional Board may review and revise this permit at any time.

c.	If any toxic effluent standard or prohibition (including any schedule of compliance specified in such effluent standard or prohibition) is promulgated under Section 307(a) of the Clean Water Act for a toxic pollutant which is present in the discharge, and that standard or prohibition is more stringent than any limitation on the pollutant in this permit, this permit shall be modified or revoked and reissued to conform to the toxic effluent standard or prohibition and the discharger so notified.

d.	This permit may be terminated or modified for causes, including, but not limited to, all of the following:

1)	Violation of any condition contained in this permit.

2)	Obtaining this permit by misrepresentation, or failure to disclose fully all relevant facts.

3)	A change in any condition that requires either a temporary or permanent reduction or elimination of the permitted discharge. [CWC  13381]

6.	Property Rights [40 CFR 122.41(g)][CWC 13263(g)]

a.	This permit does not convey any property rights of any sort, or any exclusive privileges.

b.	All discharges of waste into waters of the state are privileges, not rights.

7.	Duty To Provide Information [40 CFR 122.41(h)]

a.	The discharger shall furnish the RWQCB, SWRCB, or EPA, within a reasonable time, any information which the RWQCB, SWRCB, or EPA may request to determine whether cause exists for modifying, revoking and reissuing, or terminating this permit or to determine compliance with this permit.  The discharger shall also furnish to the RWQCB, SWRCB, or EPA upon request, copies of records required to be kept by this permit.

8.	Inspection and Entry [40 CFR 122.41(1)]

a.	The discharger shall allow the Regional Board, State Board, EPA, and/or their authorized representatives (including an authorized contractor acting as their representative) upon the presentation of credentials and other documents as may be required by law, to:

(1)	Enter upon the discharger's premises where a regulated facility or activity is located or conducted, or where records are kept under the conditions of this permit.

(2)	Have access to and copy, at reasonable times, any records that must be kept under the conditions of this permit;

(3)	Inspect and photograph, at reasonable times, any facilities, equipment (including monitoring and control equipment), practices, or operations regulated or required under this permit; and

(4)	Sample or monitor, at reasonable times, for the purposes of assuring permit compliance or as otherwise authorized by the Clean Water Act or Porter-Cologne Water Quality Control Act, any substances or parameters at any location.

9.	Bypass [40 CFR 122.41(m)]

a.	Definitions.

(1)	“Bypass” means the intentional diversion of waste streams from any portion of a treatment facility.

(2)	“Severe property damage” means substantial physical damage to property, damage to the treatment facilities which causes them to become inoperable, or substantial and permanent loss of natural resources which can reasonably be expected to occur in the absence of a bypass.  Severe property damage does not mean economic loss caused by delays in production.

b.	The discharger may allow any bypass to occur which does not cause effluent limitations to be exceeded, but only if it also is for essential maintenance to assure efficient operation.  Such bypasses are not subject to paragraphs (c) and (d) of this provision.

c.	Notice.

(1)	If the discharger knows in advance of the need for a bypass, it shall submit prior notice, if possible, at least 10 days before the date of the bypass.

(2)	The discharger shall submit notice of an unanticipated bypass as required in Section B these Standard Provisions, Monitoring and Reporting Requirements, paragraph B.6, Twenty-four Hour Reporting.

d.	Bypass is prohibited, and the Regional Board may take enforcement action against the discharger for bypass, unless:

(1)	Bypass was unavoidable to prevent loss of life, personal injury, or severe property damage;

(2)	There were no feasible alternatives to the bypass, such as the use of auxiliary treatment facilities, retention of untreated wastes, or maintenance during normal periods of equipment downtime.  This condition is not satisfied if adequate back-up equipment should have been installed in the exercise of reasonable engineering judgment to prevent a bypass which occurred during normal periods of equipment downtime or preventive maintenance; and

(3)	The discharger submitted notices as required under paragraph c. of this provision.

e.	The RWQCB may approve an anticipated bypass, after considering its adverse effects, if the RWQCB determines that it will meet the three conditions listed in paragraph (d) of this provision.

10.	Upset [40 CFR 122.41(n)]

a.	Definition.  “Upset” means an exceptional incident in which there is unintentional and temporary noncompliance with technology-based permit effluent limitations because of factors beyond the reasonable control of the discharger.  An upset does not include noncompliance to the extent caused by operational error, improperly designed treatment facilities, inadequate treatment facilities, lack of preventive maintenance, or careless or improper operation.

b.	An upset constitutes an affirmative defense to an action brought for noncompliance with such technology-based permit effluent limitations if the requirements of paragraph (c) of this provision are met.  No determination made before an action for noncompliance, such as during administrative review of claims that noncompliance was caused by upset, is final administrative action subject to judicial review.

c.	A discharger that wishes to establish the affirmative defense of upset shall demonstrate, through properly signed, contemporaneous operating logs, or other relevant evidence that:

(1)	An upset occurred and that the discharger can identify the cause(s) of the upset;

(2)	The permitted facility was at the time being properly operated;

(3)	The discharger submitted notice of the upset as required in provision B.6 of the Monitoring and Reporting Requirements (24-hour notice); and

(4)	The discharger complied with any remedial measures required under provision A.3 of the General Provisions.

d.	In any enforcement proceeding, the discharger seeking to establish the occurrence of an upset has the burden of proof.

11.	Transfers [40 CFR 122.41(L)(3)][CWC 13377][40 CFR 122.61 (a)(b)]

a.	This permit is not transferable to any person except after notice to the RWQCB.  The RWQCB may require modification or revocation and reissuance of the permit to change the name of the discharger and incorporate such other requirements as may be necessary under the Clean Water Act and the Porter-Cologne Water Quality Control Act.

b.	Except as provided in paragraph (c) below, a permit may be transferred by the discharger to a new owner or operator only if the permit has been modified or revoked and reissued, or a minor modification made to identify the new discharger and incorporate such other requirements as may be necessary under the Clean Water Act.

c.	As an alternative to transfers under paragraph (b) above, any NPDES permit may be automatically transferred to a new discharger if:

(1)	The current discharger notifies the Regional Board at least 30 days in advance of the proposed transfer date in paragraph (c) (2) below;

(2)	The notice includes a written agreement between the existing and new dischargers containing a specific date for transfer of permit responsibility, coverage, and liability; and

(3)	The RWQCB does not notify the existing discharger and the proposed new discharger of its intent to modify or revoke and reissue the permit.  A modification under this subparagraph may also be a minor modification under 40 CFR Part 122.63.  If this notice is not received, the transfer is effective on the date specified in the agreement mentioned in paragraph (c) (2) above.

12.	Severability

a.	The provisions of this order are severable, and if any provision of this order, or the application of any provisions of this order to any circumstance, is held invalid, the application of such provision to other circumstances and the remainder of this order shall not be affected thereby.

13.	Pollution, Contamination, Nuisance [CWC 13050]

a.	The handling, transport, treatment, or disposal of waste or the discharge of waste to waters of the state in a manner which causes or threatens to cause a condition of pollution, contamination, or nuisance, as those terms are defined in CWC 13050, is prohibited.

14.	Discharge is a Privilege [CWC 13263(g)]

a.	No discharge of waste into waters of the state, whether or not the discharge is made pursuant to waste discharge requirements, shall create a vested right to continue the discharge.  All discharges of waste into waters of the state are privileges, not rights.

15.	References to Permittee

a.	For the purposes of this permit, the term “permittee” used in parts of 40 CFR incorporated into this permit by reference and/or applicable to this permit shall have the same meaning as the term “Discharger” used elsewhere in this permit.

16.	References to Director

a.	For the purposes of this permit, the term “Director” used in parts of 40 CFR incorporated into this permit by reference and/or applicable to this permit shall have the same meaning as the term “SDRWQCB”, “Regional Board” or other such references used elsewhere in this permit, except that in 40 CFR 122.41(h) & (i), “Director” shall mean “Regional Board, State Board, and USEPA”.

B.	Monitoring and Reporting Requirements (Applicable To All Permits)

1.	Monitoring and Records [40 CFR 122.41(j)]

a.	Samples and measurements taken for the purpose of monitoring shall be representative of the monitored activity.

2.	Plant Supervision and Operation [Title 23, CCR, Div 3, Chap 14]

a.	If the discharger's wastewater treatment plant is publicly owned or subject to regulation by the California Public Utilities Commission, it shall be supervised and operated by persons possessing certificates of appropriate grade.

b.	Except for records of monitoring information required by this permit related to the discharger's sewage sludge use and disposal activities, which shall be retained for a period of at least five years (or longer as required by 40 CFR Part 503), the discharger shall retain records of all monitoring information, including all calibration and maintenance records and all original strip chart recordings of continuous monitoring instrumentation, copies of all reports required by this permit, and records of all data used to complete the application for this permit, for a period of at least three years from the date of the sample, measurement, report, or application.  This period may be extended by request of the RWQCB, SWRCB, or EPA at any time.

c.	Records of monitoring information shall include:

(1)	The date, exact place, and time of sampling or measurements;

(2)	The individual(s) who performed the sampling or measurements;

(3)	The date(s) analyses were performed;

(4)	The individual(s) who performed the analysis;

(5)	The analytical techniques or methods used; and

(6)	The results of such analyses.

d.	Monitoring results must be conducted according to test procedures under 40 CFR Part 136 or, in the case of sludge use or disposal, approved under 40 CFR part 136 unless otherwise specified in 40 CFR Part 503, unless other test procedures have been specified in this permit.

3.	Signatory Requirements [40 CFR 122.41(k)][40 CFR 122.22]

a.	All permit applications submitted to the RWQCB, SWRCB, and/or EPA shall be signed as follows:

(1)	For a corporation:  by a responsible corporate officer.  For the purpose of this provision, a responsible corporate officer means:  a president, secretary, treasure, or vice president of the corporation in charge of a principal business function, or any other person who performs similar policy or decision-making functions for the corporation, or the manager of one or more manufacturing, production, or operating facilities employing more than 250 persons or having gross annual sales or expenditures exceeding $25 million (in second-quarter 1980 dollars), if authority to sign documents has been assigned or delegated to the manager in accordance with corporate procedures.

(2)	For a partnership or sole proprietorship: by a general partner or the proprietor, respectively; or

(3)	For a municipality, State, Federal, or other public agency: by either a principal executive officer or ranking elected official.  For purposes of this provision, a principal executive officer of a Federal agency includes:  the chief executive officer having responsibility for the overall operations of a principal geographic unit of the agency (e.g., Regional Administrators of EPA).

b.	All reports required by this permit and other information requested by the RWQCB, State Board, or EPA shall be signed by a person described in paragraph (a) of this provision, or by a duly authorized representative of that person.  A person is a duly authorized representative only if:

(1)	The authorization is made in writing by a person described in paragraph (a) of this provision;

(2)	The authorization specified either an individual or a position having responsibility for the overall operation of the regulated facility or activity such as the position of plant manager, operator of a well or a well field, superintendent, position of equivalent responsibility, or an individual or position having overall responsibility for environmental matters for the company (a duly authorized representative may thus be either a named individual or any individual occupying a named position) and,

(3)	The written authorization is submitted to the RWQCB, SWRCB or EPA.

c.	If an authorization under paragraph (b) of this provision is no longer accurate because a different individual or position has responsibility for the overall operation of the facility, a new authorization satisfying the requirements of paragraph (b) of this provision must be submitted to the RWQCB, SWRCB or EPA prior to or together with any reports, information, or applications to be signed by an authorized representative.

d.	Any person signing a document under paragraph (a) or (b) of this provision shall make the following certification:

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted, is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations”.

4.	Monitoring Reports [40 CFR 122.41(l)(4)]

a.	The Discharger shall conduct monitoring and submit reports in accordance with Monitoring and Reporting Program (MRP) No. 2000-211.  Monitoring results shall be reported at the intervals specified in MRP No. 2000-211.

b.	Monitoring results must be reported on a Discharge Monitoring Report (DMR) form or forms approved by the RWQCB for reporting results of monitoring of pollutants and sludge use or disposal practices.

c.	If the discharger monitors any pollutant more frequently than required by the permit, using test procedures approved under 40 CFR Part 136 or, in the case of sludge use or disposal, approved under 40 CFR Part 136 unless otherwise specified in Part 503, or as specified in this permit, the results of this monitoring shall be included in the calculation and reporting of the data submitted in the DMR or other approved form.

d.	Calculations for all limitations which require averaging of measurements shall utilize an arithmetic mean unless otherwise specified in this permit.

5.	Compliance Schedules [40 CFR 122.41(l)(5)]

a.	Reports of compliance or noncompliance with, or any progress reports on, interim and final requirements contained in any compliance schedule of this permit shall be submitted no later than 14 days following each schedule date.

6.	Twenty-four Hour Reporting [40 CFR 122.41(l)(6)]

a.	The discharger shall report any noncompliance that may endanger health or the environment.  Any information shall be provided orally within 24 hours from the time the discharger becomes aware of the circumstances.  A written submission shall also be provided within 5 days of the time the discharger becomes aware of the circumstances.  The written submission shall contain a description of the noncompliance and its cause; the period of non-compliance, including exact dates and times, and if the noncompliance has not been corrected, the anticipated time it is expected to continue; and steps taken or planned to reduce, eliminate, and prevent reoccurrence of the noncompliance.

b.	The following shall be included as information that must be reported within 24 hours under this paragraph:

(1)	Any unanticipated bypass which exceeds any effluent limitation in the permit.

(2)	Any upset which exceeds any effluent limitation in the permit.

(3)	Violation of a maximum daily discharge limitation for any of the pollutants listed by the RWQCB in this permit is to be reported within 24 hours.  The RWQCB may waive the above required written report on a case-by-case basis for reports under this provision if an oral report has been received within 24 hours.

7.	Other Noncompliance [40 CFR 122.41(l)(7)]

a.	The discharger shall report all instances of noncompliance not reported under Provisions B.3, B.4, and B.5 at the time monitoring reports are submitted.  The reports shall contain the information listed in Provision B.5.

8.	Other Information [40 CFR 122.41(l)(8)]

a.	When the discharger becomes aware that it failed to submit any relevant facts in a permit application, or submitted incorrect information in a permit application or in any report to the RWQCB, the discharger shall promptly submit such facts or information.

9.	Planned Changes [40 CFR 122.41(l)(l)]

a.	The discharger shall give notice to the RWQCB as soon as possible of any planned physical alterations or additions to the permitted facility.  Notice is required under this provision only when:

(1)	The alteration or addition to a permitted facility may meet one of the criteria for determining whether a facility is a new source in 40 CFR Part 122.29(b); or

(2)	The alteration or addition could significantly change the nature or increase the quantity of pollutants discharged.  This notification applies to pollutants which are subject neither to effluent limitations in the permit, not to notification requirements under 40 CFR Part 122.42 (a)(1); or

(3)	The alteration or addition results in a significant change in the discharger's sludge use or disposal practices, and such alteration, addition, or change may justify the application of permit conditions  that are different from or absent in the existing permit, including notification of additional use or disposal sites not reported during the permit application process or not reported pursuant to an approved land application plan.

10.	Anticipated Noncompliance [40 CFR 122.41(l)(2)]

a.	The discharger shall give advance notice to the RWQCB of any planned changes in the permitted facility or activity which may result in noncompliance with permit requirements.

11.	Discharge Monitoring Quality Assurance (DMQA) Program [SWRCB/USEPA 106 MOA]

a.	The discharger shall conduct appropriate analyses on any sample provided by EPA as part of the DMQA program.  The results of such analyses shall be submitted to EPA's DMQA manager.

C.	Enforcement Provisions (Applicable To All Permits)

1.	The Clean Water Act provides that any person who violates a permit condition implementing Sections 301, 302, 306, 307, 308, 318 or 405 of the Clean Water Act is subject to a civil penalty not to exceed $25,000 per day of violation.  Any person who negligently violates permit conditions implementing Sections 301, 302, 306, 307, 308, 318, or 405 of the Act is subject to a fine of not less than $2,500 nor more than $25,000 per day for each violation, or by imprisonment of not more than 1 year, or both.  Higher penalties may be imposed for knowing violations and for repeat offenders.  The Porter-Cologne Water Quality Control Act provides for civil and criminal penalties comparable to, and in some cases greater than, those provided under the Clean Water Act.  [40 CFR 122.41(a)(2)][CWC Sections 13385 and 13387]

2.	The Clean Water Act provides that any person who knowingly makes any false statement, representation, or certification in any record or other document submitted or required to be maintained under this permit including monitoring reports or reports of compliance or noncompliance shall, upon conviction, be punished by a fine of not more than $10,000 per violation, or by imprisonment for not more than 6 months per violation, or by both.  [40 CFR 122.41(k)(2)]

3.	The Clean Water Act provides that any person who falsifies, tampers with, or knowingly renders inaccurate any monitoring device or method required to be maintained under this permit shall, upon conviction, be punished by a fine of not more than $10,000, or by imprisonment for not more than 2 years, or both.  Higher penalties may be imposed for repeat offenders.  [40 CFR 122.41(j)(5)]

D.	Additional Conditions Applicable to Specified Categories of  Discharges

1.	Existing Manufacturing, Commercial, Mining, and Silvicultural Discharges [40 CFR 122.42(a)]

a.	In addition to the Standard Provisions in Sections A, B, and C, the above classes of dischargers must notify the RWQCB as soon as they know or have reason to believe:

(1)	That any activity has occurred or will occur which would result in the discharge, on a routine or frequent basis, of any toxic pollutant which is not limited in the permit, if that discharge will exceed the highest of the following “notification levels”:

(a)	One hundred micrograms per liter (100 ug/L);

(b)	Two hundred micrograms per liter (200 ug/L) for acrolein and acrylonitrile; five hundred micrograms per liter (500 ug/L) for 2, 4-dinitrophenol and for 2-methyl-4, 6-dinitrophenol; and one milligram per liter (1 mg/L) for antimony;

(c)	Five (5) times the maximum concentration value reported for that pollutant in the permit application in accordance with 40 CFR 122.21(g)(7); or

(d)	The level established by the Regional Board in accordance with 40 CFR 122.44(f).

(2)	That any activity has occurred or will occur which would result in any discharge, on a non-routine or infrequent basis, of a toxic pollutant which is not limited in the permit, if that discharge will exceed the highest of the following “notification levels”:

(a)  	Five hundred micrograms per liter (500 ug/L);

(b)	One milligram per liter (1 mg/L) for antimony;

(c)	Ten (10) times the maximum concentration value reported for that pollutant in the permit application in accordance with 40 CFR 122.21(g)(7); or

(d)	The level established by the RWQCB in accordance with 40 CFR 122.44(f).