## A
YSI WATER QUALITY PROFILE REPORT SHEET
Watershed | Cottonwood |  |  |  |  | DATE | 1997-04-21 |  | SAMPLER | DWG
Drainage | Cottonwood | [7 empty] | UNIT | YSI #1
Station | CWD8
DATE | DATE | TIME | TEMP | SP COND | DO % | DO CONC | DEPTH | PH | ORP | TDS
MM/DD/YY TIME | MMDDYY |  | C | mS/cm | % | mg/l | m |  | mV | g/l
04/21/97 08:55 | 42197 | 94550 | 13.89 | 0.602 | 100.2 | 10.33 | 0.1 | 8.57 | 130 | 0.308
04/21/97 09:03 | 42197 | 95443 | 13.93 | 0.602 | 100.4 | 10.34 | 0 | 8.55 | 138 | 0.309
04/21/97 09:24 | 42197 | 101516 | 14.04 | 0.602 | 99.2 | 10.19 | 0 | 8.52 | 150 | 0.309
04/21/97 09:41 | 42197 | 103210 | 14.04 | 0.602 | 98.8 | 10.15 | 0.1 | 8.55 | 152 | 0.309
04/21/97 09:42 | 42197 | 103312 | 14.05 | 0.602 | 98.8 | 10.15 | 0 | 8.55 | 152 | 0.309
04/21/97 09:54 | 42197 | 104534 | 14.14 | 0.602 | 98.8 | 10.13 | 0 | 8.54 | 154 | 0.31
04/21/97 09:54 | 42197 | 104547 | 14.14 | 0.602 | 98.8 | 10.13 | 0 | 8.54 | 155 | 0.31
04/21/97 09:57 | 42197 | 104823 | 14.14 | 0.602 | 98.7 | 10.12 | 0 | 8.55 | 155 | 0.31
AVERAGE |  |  | 14.0463 | 0.602 | 99.2125 | 10.1925 | 0.025 | 8.5463 | 148.25 | 0.30925
Observations: |  |  | Comments:
Flow | 7.62 | cfs | Site inspection and sampling.
Sky | Clear |  | Illegal Immigrants Impact Project sampling with volunteer Elaine Lukey. Observed large
Wind | 5 |  | piles of white suds in plunge pools. Little human impact on site. Camp site not heavily
Direction | W |  | used and very little trash or waste in the area. No fish observed in the pools or runs.
Air Temp | 77 | F | Large stands of poison oak in oak woodlands and riparian corridor. Nasturtium in runs
downstream.
Samples Taken | Number
Nutrients | 2
TON/Turbidity | 2
Metals | 2
Bacti | 6
Solids | 0
Plankton | 0
TOC | 0
BMI | 1
CPOM | 0
Organics | 0
Crypto-Giardia | 0