## ECA_GA177_2000
File Name: J:\LIMSUSER\rkf\ECA_GA177_2000.csv
San Diego Water Quality Laboratory
WQL
Report By: RKF
Report Date: December 19, 2000 6:28 AM
Report Selection Criteria
Raw Value IS NOT NULL
Reportable(1/0) = 1
Sample Date BETWEEN '01-Jan-1996' AND '15-Dec-2000'
Source IN ('ECA-GA177')
Test Type IN ('SAMP')
Report Options
Equal_Weight_Samples=Y
Equal_Weight_Days=N
Apply_Less_Than=Y
Non_Detect_Mdl_Factor=NULL
Concatenate_Cells_Calculation=N
Quote_Strings=Y
Strip_Internal=N
Print_Comments=N
Output Specification
Source
Sample Date
Analysis
Analyte
Avg Units
| Avg Value | Decimal Digits: 3
Avg Qualifier
Report Data
Number of result records queried: 17
Number of summary records found: 17
Source | Sample Date | Analysis | Analyte | Avg Units | Avg Value | Avg Qualifier
ECA-GA177 | 1996-01-03 | PH_MANUAL | COLOR | COLOR | 21 | 1
ECA-GA177 | 1996-01-10 | TURBIDITY | COLOR | COLOR | 18 | 1
ECA-GA177 | 1996-01-17 | TURBIDITY | COLOR | COLOR | 19 | 1
ECA-GA177 | 1996-01-24 | PH_MANUAL | COLOR | COLOR | 19 | 1
ECA-GA177 | 1996-01-31 | COLOR | COLOR | COLOR | 18 | 1
ECA-GA177 | 1996-02-07 | COLOR | COLOR | COLOR | 27 | 1
ECA-GA177 | 1996-01-24 | TOC | TOC | MG/L | 5.08 | 0.5
ECA-GA177 | 1996-01-03 | TON | TON | ODOR | 1.4 | 1
ECA-GA177 | 1996-01-17 | TON | TON | ODOR | 4 | 1
ECA-GA177 | 1996-01-24 | TON | TON | ODOR | 2 | 1
ECA-GA177 | 1996-01-31 | TON | TON | ODOR | 2 | 1
ECA-GA177 | 1996-01-03 | PH_MANUAL | TURBIDITY | NTU | 1.47 | 0.07
ECA-GA177 | 1996-01-10 | TURBIDITY | TURBIDITY | NTU | 1.3 | 0.07
ECA-GA177 | 1996-01-17 | TURBIDITY | TURBIDITY | NTU | 1.26 | 0.07
ECA-GA177 | 1996-01-24 | PH_MANUAL | TURBIDITY | NTU | 1.5 | 0.07
ECA-GA177 | 1996-01-31 | COLOR | TURBIDITY | NTU | 1.28 | 0.07
ECA-GA177 | 1996-02-07 | COLOR | TURBIDITY | NTU | 4.1 | 0.07
QC Limits
Source | Sample Date | Analysis | Analyte | Begin Date | End Date
[6 empty] | Metric | Test Type | Recovery Type | Value(%) | LCL | LWL | UWL | UCL | Assessment