## COD
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Conventional | COD | mg/L | 63 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 42 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 85 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 87 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 29 |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 27 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 42 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 110 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 71 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 110 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 54 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 60 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 140 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 83 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 80 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 1800 | 40 | 2003-12-26 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 620 | 20 | 2004-02-03 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 240 | 10 | 2004-02-19 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 190 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 260 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 290 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 220 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 440 | 20 | 2006-02-28 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 49 | 10 | 2006-03-11 | Site 8 - Grab | Wet Weather
Conventional | COD | mg/L | 180 | 10 | 2006-03-29 | Site 8 - Grab | Wet Weather

## pH
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Conventional | pH | units | 7.6 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 8 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.9 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.8 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.9 |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 8.2 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 8.1 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.6 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.7 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.6 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.9 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.6 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.6 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.6 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.9 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.5 | 1 | 2003-12-26 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.6 | 1 | 2004-02-03 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.7 | 1 | 2004-02-19 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.9 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.8 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.9 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.9 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 8.2 | 1 | 2006-02-28 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 8.1 | 1 | 2006-03-11 | Site 8 - Grab | Wet Weather
Conventional | pH | units | 7.8 | 1 | 2006-03-29 | Site 8 - Grab | Wet Weather

## TDS
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Conventional | TDS | mg/L | 390 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 500 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 210 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 250 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 540 |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 530 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 450 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 340 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 500 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 190 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 380 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 280 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 380 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 250 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 260 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 470 | 20 | 2003-12-26 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 240 | 20 | 2004-02-03 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 390 | 20 | 2004-02-19 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 180 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 170 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 180 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 280 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 230 | 20 | 2006-02-28 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 520 | 20 | 2006-03-11 | Site 8 - Grab | Wet Weather
Conventional | TDS | mg/L | 280 | 20 | 2006-03-29 | Site 8 - Grab | Wet Weather

## TSS
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Conventional | TSS | mg/L | 78 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 48 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 740 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 690 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 8 |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 30 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 200 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 230 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 57 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 440 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 80 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 340 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 210 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 140 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 280 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 10000 | 200 | 2003-12-26 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 4000 | 67 | 2004-02-03 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 630 | 20 | 2004-02-19 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 5200 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 1600 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 3700 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 3100 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 7500 | 200 | 2006-02-28 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 240 | 10 | 2006-03-11 | Site 8 - Grab | Wet Weather
Conventional | TSS | mg/L | 1500 | 40 | 2006-03-29 | Site 8 - Grab | Wet Weather

## TColi Grab
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Microbiology | Total Coliform | MPN/100 mL | 16000 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100 mL | 160000 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100 mL | 160000 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100 mL | 160000 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100 mL | 11000 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100 mL | 30000 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100 mL | 160000 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100mL | 900000 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100mL | 500000 |  | 2001-11-25 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100mL | 170000 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100mL | 160000 |  | 2002-03-18 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100 mL | 160000 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100 mL | 50000 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100 mL | 160000 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100 mL | 90000 |  | 2004-02-03 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100 mL | 160000 |  | 2004-02-19 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100 mL | 90000 |  | 2006-03-29 | Site 8 - Grab | Wet Weather
Microbiology | Total Coliform | MPN/100 mL | 90000 |  | 2006-04-05 | Site 8 - Grab | Wet Weather
Note on D2: CDM Associate: Original data shows "≥16,000"
Note on D4: CDM Associate: Original data shows "≥16,000"
Note on D5: CDM Associate: Original data shows "≥16,000"

## Fcoli grab
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Microbiology | Fecal Coliform | MPN/100 mL | 16000 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100 mL | 11000 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100 mL | 24000 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100 mL | 5000 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100 mL | 900 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100 mL | 5000 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100 mL | 8000 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100mL | 80000 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100mL | 23000 |  | 2001-11-25 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100mL | 11000 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100mL | 3000 |  | 2002-03-18 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100 mL | 8000 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100 mL | 5000 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100 mL | 14000 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100 mL | 30000 |  | 2004-02-03 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100 mL | 5000 |  | 2004-02-19 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100 mL | 8000 |  | 2006-03-29 | Site 8 - Grab | Wet Weather
Microbiology | Fecal Coliform | MPN/100 mL | 50000 |  | 2006-04-05 | Site 8 - Grab | Wet Weather
Note on D2: CDM Associate: Original data shows "≥16,000"

## Ag
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND | 0.025 | 2003-12-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND | 0.025 | 2004-02-03 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND | 0.01 | 2004-02-19 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | <0.025 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | <0.01 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | <0.025 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | <0.025 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND | 0.05 | 2006-02-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND | 0.01 | 2006-03-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Ag, tr | mg/L | ND | 0.025 | 2006-03-29 | Site 8 - Grab | Wet Weather

## As
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Metals (total recoverable) | As, tr | mg/L | ND |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.006 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.007 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.012 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | ND |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | ND |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.007 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.006 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.006 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.007 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.005 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.0077 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.0056 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.005 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.0065 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.067 | 0.012 | 2003-12-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.025 | 0.012 | 2004-02-03 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.0077 | 0.005 | 2004-02-19 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.031 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.014 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.021 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.02 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.076 | 0.025 | 2006-02-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | ND | 0.005 | 2006-03-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | As, tr | mg/L | 0.025 | 0.012 | 2006-03-29 | Site 8 - Grab | Wet Weather

## B
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Metals (total recoverable) | B, tr | mg/L | 0.2 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.3 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.1 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | ND |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.3 |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.3 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.2 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.2 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.2 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.2 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.2 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.15 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.19 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.12 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.13 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | ND | 0.25 | 2003-12-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | ND | 0.25 | 2004-02-03 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.17 | 0.1 | 2004-02-19 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | <0.25 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | <0.1 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | <0.25 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | <0.25 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | ND | 0.5 | 2006-02-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | 0.22 | 0.1 | 2006-03-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | B, tr | mg/L | ND | 0.25 | 2006-03-29 | Site 8 - Grab | Wet Weather

## Cd
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | 2 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | 0.0064 | 0.005 | 2003-12-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND | 0.005 | 2004-02-03 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND | 0.002 | 2004-02-19 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | <0.005 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | <0.002 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | <0.005 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | <0.005 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND | 0.01 | 2006-02-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND | 0.002 | 2006-03-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cd, tr | mg/L | ND | 0.005 | 2006-03-29 | Site 8 - Grab | Wet Weather

## Cr
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Metals (total recoverable) | Cr, tr | mg/L | ND |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | ND |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.04 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.03 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | ND |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | ND |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | ND |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | ND |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | ND |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.03 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | ND |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.032 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.021 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | ND |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.025 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.5 | 0.05 | 2003-12-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.17 | 0.05 | 2004-02-03 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.026 | 0.02 | 2004-02-19 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.086 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.076 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.17 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.23 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.26 | 0.1 | 2006-02-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | ND | 0.02 | 2006-03-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cr, tr | mg/L | 0.098 | 0.05 | 2006-03-29 | Site 8 - Grab | Wet Weather

## Cu
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Metals (total recoverable) | Cu, tr | mg/L | 0.01 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.02 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.04 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.04 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | ND |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | ND |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.02 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.03 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | ND |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.03 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | ND |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.064 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.12 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.022 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.027 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.54 | 0.025 | 2003-12-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.21 | 0.025 | 2004-02-03 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.031 | 0.01 | 2004-02-19 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.11 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.066 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.14 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.17 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.25 | 0.05 | 2006-02-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.017 | 0.01 | 2006-03-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Cu, tr | mg/L | 0.092 | 0.025 | 2006-03-29 | Site 8 - Grab | Wet Weather

## Hg
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND | 0.0025 | 2003-12-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND | 0.0012 | 2004-02-03 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND | 0.0005 | 2004-02-19 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | <0.0012 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND | 0.0005 | 2004-12-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | <0.0012 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | <0.0012 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND | 0.0025 | 2006-02-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND | 0.0005 | 2006-03-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Hg, tr | mg/L | ND | 0.0012 | 2006-03-29 | Site 8 - Grab | Wet Weather
None exceeded

## Pb
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Metals (total recoverable) | Pb, tr | mg/L | ND |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.01 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.03 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.03 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | ND |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | ND |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | ND |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.01 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | ND |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.02 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | ND |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.024 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.015 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.012 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.016 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.55 | 0.025 | 2003-12-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.2 | 0.025 | 2004-02-03 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.034 | 0.01 | 2004-02-19 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.093 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.044 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.1 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.1 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.18 | 0.05 | 2006-02-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | ND | 0.01 | 2006-03-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Pb, tr | mg/L | 0.068 | 0.025 | 2006-03-29 | Site 8 - Grab | Wet Weather

## Se
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND | 0.012 | 2003-12-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND | 0.012 | 2004-02-03 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND | 0.005 | 2004-02-19 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | <0.012 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | <0.005 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | <0.012 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | <0.012 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND | 0.025 | 2006-02-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | ND | 0.005 | 2006-03-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Se, tr | mg/L | 0.014 | 0.012 | 2006-03-29 | Site 8 - Grab | Wet Weather

## Zn
Constituent Type | Constituent | Units | Result | Sample Date | Site | Sample Type
Metals (total recoverable) | Zn, tr | mg/L | 0.05 | 2000-01-25 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.08 | 2000-02-27 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.14 | 2000-03-04 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.2 | 2000-04-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.03 | 2001-01-09 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.03 | 2001-01-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.06 | 2001-02-23 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.15 | 2001-04-07 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.06 | 2001-11-13 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.14 | 2001-11-24 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.04 | 2002-01-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.12 | 2002-03-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.16 | 2002-11-08 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.08 | 2003-02-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.14 | 2003-03-15 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 1.5 | 2003-12-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.72 | 2004-02-03 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.11 | 2004-02-19 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.28 | 2004-10-26 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.29 | 2004-12-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.51 | 2005-02-17 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.47 | 2005-03-22 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.71 | 2006-02-28 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.057 | 2006-03-11 | Site 8 - Grab | Wet Weather
Metals (total recoverable) | Zn, tr | mg/L | 0.28 | 2006-03-29 | Site 8 - Grab | Wet Weather

## Hardness
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
General Minerals | Total Hardness as CaCO3 | mg/L | 190 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 220 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 180 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 150 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 230 |  | 2001-01-09 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 240 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 220 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 180 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 220 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 190 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 200 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 170 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 210 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 130 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 150 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 1500 | 7.5 | 2003-12-26 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 580 | 7.5 | 2004-02-03 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 210 | 3 | 2004-02-19 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 220 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 240 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 470 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 570 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 800 | 15 | 2006-02-28 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 260 | 3 | 2006-03-11 | Site 8 - Grab | Wet Weather
General Minerals | Total Hardness as CaCO3 | mg/L | 330 | 7.5 | 2006-03-29 | Site 8 - Grab | Wet Weather

## Na
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
General Minerals | Na | mg/L | 62 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 62 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 22 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 24 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 76 |  | 2001-01-09 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 76 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 73 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 45 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 77 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 49 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 57 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 40 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 58 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 34 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 35 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 61 | 2.5 | 2003-12-26 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 45 | 2.5 | 2004-02-03 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 52 | 1 | 2004-02-19 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 17 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 27 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 33 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 38 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 29 | 5 | 2006-02-28 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 75 | 1 | 2006-03-11 | Site 8 - Grab | Wet Weather
General Minerals | Na | mg/L | 35 | 2.5 | 2006-03-29 | Site 8 - Grab | Wet Weather

## SO4
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Other | SO4 | mg/L | 59 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 71 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 27 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 30 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 81 |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 80 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 66 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 52 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 83 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 66 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 68 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 41 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 55 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 33 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 36 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 66 | 0.5 | 2003-12-26 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 24 | 0.5 | 2004-02-03 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 60 | 0.5 | 2004-02-19 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 10 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 23 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 18 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 32 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 14 | 0.5 | 2006-02-28 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 76 | 0.5 | 2006-03-11 | Site 8 - Grab | Wet Weather
Other | SO4 | mg/L | 25 | 0.5 | 2006-03-29 | Site 8 - Grab | Wet Weather

## Cl
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Other | Cl | mg/L | 51 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 62 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 17 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 25 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 77 |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 75 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 65 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 46 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 81 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 57 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 60 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 38 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 60 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 33 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 33 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 55 | 1 | 2003-12-26 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 22 | 1 | 2004-02-03 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 56 | 1 | 2004-02-19 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 9.8 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 24 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 16 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 24 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 13 | 1 | 2006-02-28 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 79 | 1 | 2006-03-11 | Site 8 - Grab | Wet Weather
Other | Cl | mg/L | 26 | 1 | 2006-03-29 | Site 8 - Grab | Wet Weather

## F
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Other | F | mg/L | 0.4 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.5 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.3 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.3 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.5 |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.5 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.4 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.3 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.5 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.4 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.5 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.3 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.2 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.3 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.4 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.2 | 0.1 | 2003-12-26 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 1.9 | 0.2 | 2004-02-03 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.4 | 0.1 | 2004-02-19 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.2 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.3 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.3 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.3 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 1.2 | 0.1 | 2006-02-28 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 0.5 | 0.1 | 2006-03-11 | Site 8 - Grab | Wet Weather
Other | F | mg/L | 1.1 | 0.1 | 2006-03-29 | Site 8 - Grab | Wet Weather

## P-total
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Other | P-Total | mg/L | 1 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.2 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.3 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.3 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.2 |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.3 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.4 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.8 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.5 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.4 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.4 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.2 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.1 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 0.86 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 0.95 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 14 | 1 | 2003-12-26 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 5.3 | 1 | 2004-02-03 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.7 | 0.5 | 2004-02-19 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 2 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 2.1 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 4.1 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L |  | NS | 2005-03-22 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 4 | 0.25 | 2006-02-28 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 1.4 | 0.25 | 2006-03-11 | Site 8 - Grab | Wet Weather
Other | P-Total | mg/L | 2 | 0.5 | 2006-03-29 | Site 8 - Grab | Wet Weather

## NH4-N
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Other | NH4-N | mg/L | 0.3 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.3 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.3 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 1.4 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | ND |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.2 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.2 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.7 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.6 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.3 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | ND |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.25 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.4 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | ND |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.39 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.76 | 0.1 | 2003-12-26 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.51 | 0.1 | 2004-02-03 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.56 | 0.1 | 2004-02-19 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.1 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.27 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.15 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.16 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.12 | 0.1 | 2006-02-28 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | ND | 0.1 | 2006-03-11 | Site 8 - Grab | Wet Weather
Other | NH4-N | mg/L | 0.13 | 0.1 | 2006-03-29 | Site 8 - Grab | Wet Weather

## NO3-N
Constituent Type | Constituent | Units | Result | DL | Sample Date | Site | Sample Type
Other | NO3-N | mg/L | 5.2 |  | 2000-01-25 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 5.8 |  | 2000-02-27 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 1.9 |  | 2000-03-04 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 2.7 |  | 2000-04-17 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 7 |  | 2001-01-09 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 7.5 |  | 2001-01-24 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 7.1 |  | 2001-02-23 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 5.6 |  | 2001-04-07 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 6.6 |  | 2001-11-13 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 3.5 |  | 2001-11-24 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 6.2 |  | 2002-01-28 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 2.8 |  | 2002-03-17 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 6.6 |  | 2002-11-08 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 3 |  | 2003-02-11 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 3.6 |  | 2003-03-15 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 3.7 | 0.2 | 2003-12-26 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 2.4 | 0.2 | 2004-02-03 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 4.4 | 0.2 | 2004-02-19 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 1.1 |  | 2004-10-26 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 2.1 |  | 2004-12-28 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 1.6 |  | 2005-02-17 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 1.8 |  | 2005-03-22 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 0.99 | 0.2 | 2006-02-28 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 5.2 | 0.2 | 2006-03-11 | Site 8 - Grab | Wet Weather
Other | NO3-N | mg/L | 1.8 | 0.2 | 2006-03-29 | Site 8 - Grab | Wet Weather
3.6