## Delisting Forrester from 303(d)
ProjectID | Season | StationCode | StationName | SampleDate | SampleTime | EventType | SampleTypeCode | SampleReplicate | DepthSampleCollection | DepthUnit | AgencyCode | FailureReason | SampleComments | SamplingCrew | StartingBank | OccupationMethod | SampleLocation | PositionWaterColumn | Hydromod | HydromodLoc | StationWaterDepth | UnitStationWaterDepth | StreamWidth | UnitStreamWidth | DistanceFromBank | UnitDistanceFromBank | ActualLatitude | ActualLongitude | GPSAccuracy | UnitAccuracy | Datum | SampleDetailComments | MatrixName | AnalytewFraction | ResultUnit | FieldReplicate | Result | SigFig | SampleDevice | CalibrationDate | QACodeDescr | ComplianceCode | ResQualifier | FieldResultComments | FieldVerCode
03SW9001 | Wet - high base flow | 907SDFRC2 | Forrester Creek 2 | 2005-04-19 | 9:30 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None | Duplicate is for sediment only | S. Mundell, J. Negrey | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.2 | m | 9 | m | 4.5 | m | 32.8394 | -117.0011 | 26 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Oxygen, Dissolved | mg/L | 1 | 12.75 | 4 | MPSL-DFG YSI Meter 600 XL #2 | 2005-04-19 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Minimum base flow | 907SDFRC2 | Forrester Creek 2 | 2004-09-13 | 14:00 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, G. Ichikawa | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.3 | m | 2 | m | 1 | m | 32.8394 | -117.0011 | nr | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Oxygen, Dissolved | mg/L | 1 | 9.84 | 3 | MPSL-DFG YSI Meter 600 XL #1 | 2004-09-13 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - between storm events | 907SDFRC2 | Forrester Creek 2 | 2005-02-28 | 15:40 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, B. Jakl | RB | Walk In | Thalweg | Subsurface | Bridge | US | 0.3 | m | 13 | m | 5.5 | m | 32.8394 | -117.0011 | 16 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Oxygen, Dissolved | mg/L | 1 | 9.8 | 3 | MPSL-DFG YSI Meter 600 XL #2 | 2005-02-28 | None - No QA Qualifier | Com | no qualifier |  | VAC
02SW9001 | Declining base flow | 907SDFRC2 | Forrester Creek 2 | 2004-05-19 | 7:45 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | J. Negrey, G. Ichikawa | RB | Walk In | Midchannel | subsurface | ConcreteChannel | NA | 0.3 | m | 4.5 | m | 2 | m | 32.8394 | -117.0012 | 23 | ft | WGS84 | Recon and GPS coordinates did not help crew find access to location; Choose station were access to the creek was possible; | samplewater | Oxygen, Dissolved | mg/L | 1 | 9.29 | 3 | MPSL-DFG YSI Meter 600 XL #2 | 2004-05-19 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Minimum base flow | 907SDFRC2 | Forrester Creek 2 | 2004-09-13 | 14:00 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, G. Ichikawa | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.3 | m | 2 | m | 1 | m | 32.8394 | -117.0011 | nr | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Oxygen, Saturation | % | 1 | 122.6 | 4 | MPSL-DFG YSI Meter 600 XL #1 | 2004-09-13 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - high base flow | 907SDFRC2 | Forrester Creek 2 | 2005-04-19 | 9:30 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None | Duplicate is for sediment only | S. Mundell, J. Negrey | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.2 | m | 9 | m | 4.5 | m | 32.8394 | -117.0011 | 26 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Oxygen, Saturation | % | 1 | 128.9 | 4 | MPSL-DFG YSI Meter 600 XL #2 | 2005-04-19 | None - No QA Qualifier | Com | no qualifier |  | VAC
02SW9001 | Declining base flow | 907SDFRC2 | Forrester Creek 2 | 2004-05-19 | 7:45 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | J. Negrey, G. Ichikawa | RB | Walk In | Midchannel | subsurface | ConcreteChannel | NA | 0.3 | m | 4.5 | m | 2 | m | 32.8394 | -117.0012 | 23 | ft | WGS84 | Recon and GPS coordinates did not help crew find access to location; Choose station were access to the creek was possible; | samplewater | Oxygen, Saturation | % | 1 | 98.5 | 4 | MPSL-DFG YSI Meter 600 XL #2 | 2004-05-19 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - between storm events | 907SDFRC2 | Forrester Creek 2 | 2005-02-28 | 15:40 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, B. Jakl | RB | Walk In | Thalweg | Subsurface | Bridge | US | 0.3 | m | 13 | m | 5.5 | m | 32.8394 | -117.0011 | 16 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Oxygen, Saturation | % | 1 | 114.4 | 4 | MPSL-DFG YSI Meter 600 XL #2 | 2005-02-28 | None - No QA Qualifier | Com | no qualifier |  | VAC
02SW9001 | Declining base flow | 907SDFRC2 | Forrester Creek 2 | 2004-05-19 | 7:45 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | J. Negrey, G. Ichikawa | RB | Walk In | Midchannel | subsurface | ConcreteChannel | NA | 0.3 | m | 4.5 | m | 2 | m | 32.8394 | -117.0012 | 23 | ft | WGS84 | Recon and GPS coordinates did not help crew find access to location; Choose station were access to the creek was possible; | samplewater | pH | none | 1 | 8.01 | 3 | MPSL-DFG YSI Meter 600 XL #2 | 2004-05-19 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - high base flow | 907SDFRC2 | Forrester Creek 2 | 2005-04-19 | 9:30 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None | Duplicate is for sediment only | S. Mundell, J. Negrey | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.2 | m | 9 | m | 4.5 | m | 32.8394 | -117.0011 | 26 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | pH | none | 1 | 8.01 | 3 | MPSL-DFG YSI Meter 600 XL #2 | 2005-04-19 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - between storm events | 907SDFRC2 | Forrester Creek 2 | 2005-02-28 | 15:40 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, B. Jakl | RB | Walk In | Thalweg | Subsurface | Bridge | US | 0.3 | m | 13 | m | 5.5 | m | 32.8394 | -117.0011 | 16 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | pH | none | 1 | 8.35 | 3 | MPSL-DFG YSI Meter 600 XL #2 | 2005-02-28 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Minimum base flow | 907SDFRC2 | Forrester Creek 2 | 2004-09-13 | 14:00 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, G. Ichikawa | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.3 | m | 2 | m | 1 | m | 32.8394 | -117.0011 | nr | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | pH | none | 1 | 7.9 | 3 | MPSL-DFG YSI Meter 600 XL #1 | 2004-09-13 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Minimum base flow | 907SDFRC2 | Forrester Creek 2 | 2004-09-13 | 14:00 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, G. Ichikawa | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.3 | m | 2 | m | 1 | m | 32.8394 | -117.0011 | nr | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Salinity | ppt | 1 | 1.29 | 3 | MPSL-DFG YSI Meter 600 XL #1 | 2004-09-13 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - between storm events | 907SDFRC2 | Forrester Creek 2 | 2005-02-28 | 15:40 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, B. Jakl | RB | Walk In | Thalweg | Subsurface | Bridge | US | 0.3 | m | 13 | m | 5.5 | m | 32.8394 | -117.0011 | 16 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Salinity | ppt | 1 | 1.37 | 3 | MPSL-DFG YSI Meter 600 XL #2 | 2005-02-28 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - high base flow | 907SDFRC2 | Forrester Creek 2 | 2005-04-19 | 9:30 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None | Duplicate is for sediment only | S. Mundell, J. Negrey | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.2 | m | 9 | m | 4.5 | m | 32.8394 | -117.0011 | 26 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Salinity | ppt | 1 | 1.51 | 3 | MPSL-DFG YSI Meter 600 XL #2 | 2005-04-19 | None - No QA Qualifier | Com | no qualifier |  | VAC
02SW9001 | Declining base flow | 907SDFRC2 | Forrester Creek 2 | 2004-05-19 | 7:45 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | J. Negrey, G. Ichikawa | RB | Walk In | Midchannel | subsurface | ConcreteChannel | NA | 0.3 | m | 4.5 | m | 2 | m | 32.8394 | -117.0012 | 23 | ft | WGS84 | Recon and GPS coordinates did not help crew find access to location; Choose station were access to the creek was possible; | samplewater | Salinity | ppt | 1 | 0.96 | 2 | MPSL-DFG YSI Meter 600 XL #2 | 2004-05-19 | None - No QA Qualifier | Com | no qualifier |  | VAC
02SW9001 | Declining base flow | 907SDFRC2 | Forrester Creek 2 | 2004-05-19 | 7:45 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | J. Negrey, G. Ichikawa | RB | Walk In | Midchannel | subsurface | ConcreteChannel | NA | 0.3 | m | 4.5 | m | 2 | m | 32.8394 | -117.0012 | 23 | ft | WGS84 | Recon and GPS coordinates did not help crew find access to location; Choose station were access to the creek was possible; | samplewater | SpecificConductivity | µS/cm | 1 | 1886 | 4 | MPSL-DFG YSI Meter 600 XL #2 | 2004-05-19 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - high base flow | 907SDFRC2 | Forrester Creek 2 | 2005-04-19 | 9:30 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None | Duplicate is for sediment only | S. Mundell, J. Negrey | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.2 | m | 9 | m | 4.5 | m | 32.8394 | -117.0011 | 26 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | SpecificConductivity | µS/cm | 1 | 2361 | 4 | MPSL-DFG YSI Meter 600 XL #2 | 2005-04-19 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - between storm events | 907SDFRC2 | Forrester Creek 2 | 2005-02-28 | 15:40 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, B. Jakl | RB | Walk In | Thalweg | Subsurface | Bridge | US | 0.3 | m | 13 | m | 5.5 | m | 32.8394 | -117.0011 | 16 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | SpecificConductivity | µS/cm | 1 | 2638 | 4 | MPSL-DFG YSI Meter 600 XL #2 | 2005-02-28 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Minimum base flow | 907SDFRC2 | Forrester Creek 2 | 2004-09-13 | 14:00 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, G. Ichikawa | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.3 | m | 2 | m | 1 | m | 32.8394 | -117.0011 | nr | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | SpecificConductivity | µS/cm | 1 | 2511 | 4 | MPSL-DFG YSI Meter 600 XL #1 | 2004-09-13 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Minimum base flow | 907SDFRC2 | Forrester Creek 2 | 2004-09-13 | 14:00 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, G. Ichikawa | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.3 | m | 2 | m | 1 | m | 32.8394 | -117.0011 | nr | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Temperature | °C | 1 | 26.36 | 4 | MPSL-DFG YSI Meter 600 XL #1 | 2004-09-13 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - between storm events | 907SDFRC2 | Forrester Creek 2 | 2005-02-28 | 15:40 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, B. Jakl | RB | Walk In | Thalweg | Subsurface | Bridge | US | 0.3 | m | 13 | m | 5.5 | m | 32.8394 | -117.0011 | 16 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Temperature | °C | 1 | 22.64 | 4 | MPSL-DFG YSI Meter 600 XL #2 | 2005-02-28 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - high base flow | 907SDFRC2 | Forrester Creek 2 | 2005-04-19 | 9:30 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None | Duplicate is for sediment only | S. Mundell, J. Negrey | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.2 | m | 9 | m | 4.5 | m | 32.8394 | -117.0011 | 26 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Temperature | °C | 1 | 15.46 | 4 | MPSL-DFG YSI Meter 600 XL #2 | 2005-04-19 | None - No QA Qualifier | Com | no qualifier |  | VAC
02SW9001 | Declining base flow | 907SDFRC2 | Forrester Creek 2 | 2004-05-19 | 7:45 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | J. Negrey, G. Ichikawa | RB | Walk In | Midchannel | subsurface | ConcreteChannel | NA | 0.3 | m | 4.5 | m | 2 | m | 32.8394 | -117.0012 | 23 | ft | WGS84 | Recon and GPS coordinates did not help crew find access to location; Choose station were access to the creek was possible; | samplewater | Temperature | °C | 1 | 17.92 | 4 | MPSL-DFG YSI Meter 600 XL #2 | 2004-05-19 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Minimum base flow | 907SDFRC2 | Forrester Creek 2 | 2004-09-13 | 14:00 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, G. Ichikawa | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.3 | m | 2 | m | 1 | m | 32.8394 | -117.0011 | nr | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Turbidity | NTU | 1 | 1.1 | 2 | MPSL-DFG 2020 LaMotte #1 | 1950-01-01 | Field calibration not performed within 24 hours before use | Est | no qualifier | unknown calibration date | VAC
02SW9001 | Declining base flow | 907SDFRC2 | Forrester Creek 2 | 2004-05-19 | 7:45 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | J. Negrey, G. Ichikawa | RB | Walk In | Midchannel | subsurface | ConcreteChannel | NA | 0.3 | m | 4.5 | m | 2 | m | 32.8394 | -117.0012 | 23 | ft | WGS84 | Recon and GPS coordinates did not help crew find access to location; Choose station were access to the creek was possible; | samplewater | Turbidity | NTU | 1 | 1.37 | 3 | MPSL-DFG 2020 LaMotte unknown | 2004-05-14 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - between storm events | 907SDFRC2 | Forrester Creek 2 | 2005-02-28 | 15:40 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, B. Jakl | RB | Walk In | Thalweg | Subsurface | Bridge | US | 0.3 | m | 13 | m | 5.5 | m | 32.8394 | -117.0011 | 16 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Turbidity | NTU | 1 | 12.5 | 3 | MPSL-DFG 2020 LaMotte #1 | 2005-02-28 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - high base flow | 907SDFRC2 | Forrester Creek 2 | 2005-04-19 | 9:30 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None | Duplicate is for sediment only | S. Mundell, J. Negrey | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.2 | m | 9 | m | 4.5 | m | 32.8394 | -117.0011 | 26 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Turbidity | NTU | 1 | 13.7 | 3 | MPSL-DFG 2020 LaMotte #1 | 2005-04-18 | None - No QA Qualifier | Com | no qualifier |  | VAC
03SW9001 | Wet - high base flow | 907SDFRC2 | Forrester Creek 2 | 2005-04-19 | 9:30 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None | Duplicate is for sediment only | S. Mundell, J. Negrey | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.2 | m | 9 | m | 4.5 | m | 32.8394 | -117.0011 | 26 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Velocity | ft/s | 1 | 1.54 | 3 | MPSL-DFG Scientific Instr. Inc. Price Type Mini | 1950-01-01 | Field calibration not performed within 24 hours before use | Est | no qualifier |  | VAC
03SW9001 | Wet - between storm events | 907SDFRC2 | Forrester Creek 2 | 2005-02-28 | 15:40 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, B. Jakl | RB | Walk In | Thalweg | Subsurface | Bridge | US | 0.3 | m | 13 | m | 5.5 | m | 32.8394 | -117.0011 | 16 | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Velocity | ft/s | 1 | 2.42 | 3 | MPSL-DFG Scientific Instr. Inc. Price Type Mini | 1950-01-01 | Field calibration not performed within 24 hours before use | Est | no qualifier |  | VAC
02SW9001 | Declining base flow | 907SDFRC2 | Forrester Creek 2 | 2004-05-19 | 7:45 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | J. Negrey, G. Ichikawa | RB | Walk In | Midchannel | subsurface | ConcreteChannel | NA | 0.3 | m | 4.5 | m | 2 | m | 32.8394 | -117.0012 | 23 | ft | WGS84 | Recon and GPS coordinates did not help crew find access to location; Choose station were access to the creek was possible; | samplewater | Velocity | ft/s | 1 | 0 | -88 | MPSL-DFG Scientific Instr. Inc. Price Type Mini | 1950-01-01 | Velocity too low to be measured | Est | Not Detected | too shallow; flow too slow | VAC
03SW9001 | Minimum base flow | 907SDFRC2 | Forrester Creek 2 | 2004-09-13 | 14:00 | WaterTox_Chem | FieldMeasure | 1 | 0.1 | m | MPSL-DFG | None |  | S. Mundell, G. Ichikawa | RB | Walk In | Thalweg | subsurface | Bridge | US | 0.3 | m | 2 | m | 1 | m | 32.8394 | -117.0011 | nr | ft | WGS84 | Confirmed with field crew that samples were collected on target | samplewater | Velocity | ft/s | 1 | -88 | -88 | MPSL-DFG Scientific Instr. Inc. Price Type Mini | 1950-01-01 | Velocity too low to be measured | Est | Not Detected | visible but no measurable flow, unknown calibration date | VAC
[27 empty] | 32.8394 | -117.0011