| Sewage Spill Number | Date Closed | Date Opened | Number of Days Closed | Beach Mile Days | Ocean, Bay, Harbor Area Closed | Agency/Reason | Amount Spilled* | Storm Caused Spill |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 98-246 | (12/30/98) | 1/2/99 | 2 | 0.76 | 1000’ upcoast and 1000’downcoast of Avenida de Riveria tunnel, San Clemente | City of San Clemente/ pump station failure | ~3750 gallons/sewage | NO |
| 99-007 | 1/10/99 | 1/17/99 | 7 | 1.79 | Sunset Aquatic Marina, Peter’s Landing & Portofino Cove Marina, Huntington Harbour, Huntington Beach | City of Garden Grove/ force main break | ~10,000 gallons/sewage | NO |
| 99-010 | 1/12/99 | 1/15/99 | 3 | 1.14 | Shaw’s Cove & Fisherman’s Cove, Laguna Beach | City of Laguna Beach/ force main blockage | ~5000 gallons/sewage | NO |
| 99-021 | 2/1/99 | 2/4/99 | 3 | 1.50 | ¼ mile upcoast & ¼ mile downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | El Toro Water District/ line blockage | ~2275 gallons/sewage | NO |
| 99-023 | 2/4/99 | 2/7/99 | 3 | 1.14 | Emerald Bay, Smithcliffs Cove & Crescent Bay, Laguna Beach | PPO** (Smithcliffs Development)/ pump station failure | >1000 (50,000) gallons/ sewage | NO |
| 99-032 | 2/8/99 | 2/11/99 | 3 | 1.50 | Monarch Bay/Salt Creek County Beach, ¼ mile upcoast ¼ mile downcoast of Salt Creek, Dana Point | Moulton Niguel Water District/pump station failure | ~13,000 gallons/sewage | NO |
| 99-047 | 3/2/99 | 3/5/99 | 3 | 0.75 | Crescent Bay, Laguna Beach | City of Laguna Beach/ line blockage | ~100 gallons/sewage | NO |
| 99-088 | 4/22/99 | 7/2/99 | 71 | 26.89 | 1000’ upcoast and 1000’ downcoast of San Juan Creek, Doheny State Park Beach, Dana Point | PPO (California Department of Parks)/line break | ~1000 gallons/sewage | NO |
| 99-102 | 5/18/99 | 5/24/99 | 6 | 1.53 | Portofino Cove Marina, Peter’s Landing Marina and Sunset Aquatic Park Marina, Huntington Harbour, Huntington Beach | PPO (Faircrest Apartments)/line blockage | ~6000 gallons/sewage | NO |
| 99-114 | 6/7/99 | 6/9/99 | 2 | 0.76 | Lagunita, Blue Lagoon, South Laguna | PPO (Laguna Terrance Mobile Home Park/Laguna Reef Inn)/line blockage | Unknown/sewage | NO |
| - | 7/1/99 | 9/3/99 | 64 | 105.05 | Lifeguard Tower 7 to Lifeguard Tower 13, Huntington State Beach, Huntington Beach | ~/Ocean Water-Contact Sports Standards violation | -- | NO |
| 99-141 | 7/14/99 | 7/16/99 | 2 | 0.11 | Bayshore Beach, Newport Bay, Newport Beach | ~/Ocean Water-Contact Sports Violation | -- | NO |
| 99-151 | 8/10/99 | 8/12/99 | 2 | 0.76 | 1000 feet upcoast and 1000 feet downcoast of San Clemente Pier, San Clemente | City of San Clemente/ Pump station failure | ~500 gallons/sewage | NO |
| 99-164 | 8/21/99 | 8/25/99 | 4 | 0.76 | 500 feet upcoast and 500 feet downcoast of Salt Creek, Salt Creek County Beach, Dana Point | Moulton Niguel Water District/line blockage | ~1800 gallons/sewage | NO |
| 99-175 | 10/4/99 | 10/7/99 | 3 | 0.17 | Bayshore Beach, Newport Bay, Newport Beach | City of Newport Beach/ line blockage | ~800 gallons/sewage | NO |
| 99-207 | 10/18/99 | 10/22/99 | 4 | 0.95 | 250 feet upcoast and 1000 feet downcoast of San Juan Creek, Doheny State Beach, Dana Point | Southeast Regional Reclamation Authority 3A Treatment Plant/ pump failure | ~2000 (2400) gallons/ undisinfected secondary effluent (400 gallons recovered) (2000 gallons released) | NO |
| 99-217 | 10/19/99 | 10/21/99 | 2 | 0.76 | Legion Street to Oak Street, Laguna Beach | City of Laguna Beach/ line blockage | ~4000 gallons/sewage 3000 gallons recovered | NO |
| 99-221 | 10/30/99 | 11/3/99 | 4 | 0.15 | 100 feet upcoast and 100 feet downcoast of Salt Creek, Salt Creek County Park, Dana Point | Moulton Niguel Water District/line blockage | ~100 gallons/sewage | NO |
| 99-230 | 11/15/99 | 11/21/99 | 6 | 6.00 | Three Arch Bay/Monarch Beach, Dana Point | South Coast Water District/line blockage | 6000 gallons/sewage | NO |
| 99-231 | 11/15/99 | 11/21/99 | 6 | 1.42 | 250 feet upcoast and 1000 feet downcoast of San Juan Creek, Doheny State Beach, Dana Point | Santa Margarita Water District/pump failure due to power outage | 3600 gallons/sewage | NO |
| 99-239 | 11/30/99 | 12/7/99 | 7 | 2.39 | Peter's Landing Marina, Mother's Beach, Sunset Aquatic Park Marina and Portofino Cove Marina, Huntington Harbour, Huntington Beach | PPO (Bolsa Business Park)/line blockage | >1000 gallons/sewage | NO |
| 99-240 | 12/1/99 | 12/4/99 | 3 | 0.17 | 150 feet upcoast and 150 feet downcoast of Aliso Creek, Aliso Beach, Laguna Beach | PPO (Grease & Septic Tank Pumper)/dumped truck load onto parking lot | Unknown/grease-sewage | NO |
| 00-001 | 1/2/00 | 1/5/00 | 3 | 0.75 | Harbor Patrol Beach, China Cove & Rocky Point Beach, Newport Bay, Newport Beach | City of Newport Beach/ Line Blockage | ~1500 gallons/sewage | NO |
| 00-002 | 1/4/00 | 1/6/00 | 2 | 0.09 | Trinidad Beach and Westchester Docks, Huntington Harbour, Huntington Beach | PPO** (Westchester Bay-Sea Gate Lagoons)/ Line Blockage | Unknown/sewage | NO |
| 00-003 | 1/5/00 | 1/7/00 | 2 | 0.11 | 150 feet upcoast and 150 feet downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | El Toro Water District/ Line Blockage | ~390 gallons/sewage (~10 gallons recovered) (~380 gallons released) | NO |
| 00-023 | 1/5/00 | 1/8/00 | 3 | 0.09 | Harbor Patrol Dock, "M" Dock & "N" Dock (south side of East Basin), Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches and Parks)/Line Break | ~50 gallons/sewage | NO |
| 00-008 | 1/7/00 | 1/11/00 | 4 | 0.11 | Arches Marina, Newport Bay, Newport Beach | PPO (Park Superior Health Care)/ Line Blockage | ~240 gallons/sewage | NO |
| 00-024 | 1/31/00 | 2/9/00 | 9 | 4.50 | Dana Point Harbor breakwater, downcoast to end of campground, Doheny State Beach, Dana Point | Moulton Niguel Water District/Line Blockage | ~2000 gallons/sewage ~200 gallons recovered ~1800 gallons released | NO |
| 00-035 | 2/10/00 | 2/14/00 | 4 | 1.52 | 1000 feet upcoast and 1000 feet downcoast of Poche Creek, Poche County Beach, Dana Point/San Clemente | City of San Clemente/ Line Blockage | ~3500 gallons/sewage | NO |
| 00-038 | 2/14/00 | 2/21/00 | 7 | 2.27 | 1000' upcoast and 1000' downcoast of Anita Street, Laguna Beach | City of Laguna Beach/ Line Blockage | ~3000 (2000) gallons/sewage ~1000 gallons recovered ~2000 (1000) gallons released | NO |
| 00-040 | 2/17/00 | 2/21/00 | 4 | 1.14 | 1000' upcoast and 1000' downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | Aliso Water Management Agency/Line Blockage | ~500 gallons/sewage ~100 gallons recovered ~400 gallons released | NO |
| 00-046 | 2/19/00 | 2/24/00 | 5 | 1.89 | 1000' upcoast and 1000' downcoast of San Juan Creek, Doheny State Beach, Dana Point | Moulton Niguel Water District/Line Blockage | ~500 gallons/sewage | NO |
| 00-047 | 2/22/00 | 2/28/00 | 6 | 3.00 | San Gabriel River to 1/2 mile downcoast of the San Gabriel River, Seal Beach | Orange County Sanitation District/Line Blockage-possibly storm water surcharge | ~1000-10,000 gallons/ sewage | YES |
| 0-052 | 2/29/00 | 3/4/00 | 4 | 3.02 | North end of Main Beach downcoast to Cress Street, Laguna Beach | City of Laguna Beach/ Sewage Bypass Pipeline Failure | ~12000 gallons/sewage | NO |
| 00-056 | 3/2/00 | 3/9/00 | 7 | 2.65 | 1000 feet upcoast and 1000 feet downcoast of San Juan Creek, Doheny State Beach, Dana Point | Moulton Niguel Water District/Line Blockage | ~500 gallons/sewage | NO |
| 00-059 | 3/5/00 | 3/9/00 | 4 | 2.00 | Cress Street downcoast to Diamond Street, Laguna Beach | City of Laguna Beach/ Line Blockage | ~1200 gallons/sewage | NO |
| 00-067 | 3/11/00 | 3/23/00 | 12 | 13.20 | Dana Point Harbor breakwater downcoast to the end of the park Doheny State Beach, Dana Point | - Moulton Niguel Water District/Line Blockage - Moulton Niguel Water District /Contractor Flushing Line - Rancho Capistrano Ministries/Line Blockage | - 3/11 - ~21,000 gallons/ sewage - 3/14 - ~500 gallons/ sewage ~200 gallons recovered ~300 gallons released - 3/17 - ~12,000 gallons/ sewage | NO |
| 00-077 | 3/19/00 | 3/23/00 | 4 | 2.98 | Seal Beach Pier downcoast to Anderson Street, Seal Beach; and Mother's Beach, Sunset Aquatic Marina, Peter's Landing Marina & Portofino Marina, Huntington Harbour, Huntington Beach | City of Seal Beach/Line Break | ~1500 gallons/sewage | NO |
| 00-089 | 4/4/00 | 4/6/00 | 2 | 0.06 | "A" &"B" Docks (West Basin), Dana Point Harbor, Dana Point | South Coast Water District/Line Blockage | ~100 gallons/sewage | NO |
| 00-095 | 4/13/00 | 4/15/00 | 2 | 0.11 | 150' upcoast and 150' downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | Moulton Niguel Water District/Line Blockage | ~400 gallons /sewage ~100 gallons recovered ~300 gallons released | NO |
| 00-109 | 4/24/00 | 4/27/00 | 3 | 0.75 | San Gabriel River downcoast to 5th Street, Seal Beach | City of Placentia/Line Blockage | ~84,000 gallons/sewage ~63,000 gallons recovered ~21,000 gallons released | NO |
| 00-110 | 4/26/00 | 4/28/00 | 2 | 0.23 | 300' upcoast and 300' downcoast of Salt Creek, Monarch Beach & Salt Creek County Beach, Dana Point | South Coast Water District/Line Blockage | ~300 gallons/sewage | NO |
| 00-117 | 5/4/00 | 5/7/00 | 3 | 0.17 | Bayshore Beach & Dover Shores Beaches (2 coves), Newport Bay, Newport Beach | City of Newport Beach/ Line Blockage | ~1000 gallons/sewage ~200 gallons recovered ~800 gallons released | NO |
| 00-122 | 5/9/00 | 5/11/00 | 2 | 1.00 | Talbert Channel (Huntington State Beach) downcoast to Orange Street (Newport City Beach), Huntington Beach & Newport Beach | Orange County Sanitation District/Pump Station Equipment Failure | ~5000 (3000 – 5000) gallons/ sewage | NO |
| 00-124 | 5/14/00 | 5/17/00 | 3 | 0.17 | Crescent Bay, Laguna Beach | City of Laguna Beach/ Line Blockage | ~200 (1000) gallons/sewage | NO |
| 00-125 | 5/14/00 | 5/17/00 | 3 | 1.50 | Capistrano County Beach, Dana Point | South Coast Water District/Line Break | ~8000 gallons/sewage | NO |
| 00-147 | 6/9/00 | 6/13/00 | 4 | 2.00 | San Gabriel River mouth downcoast to Seal Beach Pier, Seal Beach | Orange County Sanitation District/Line Blockage | ~50,000 (60,600) gallons/ Sewage (~1000 gallons recovered) (~59,600 gallons released) | NO |
| 00-167 | 6/26/00 | 6/29/00 | 3 | 0.11 | 100' upcoast and 100' downcoast of the storm drain , Capistrano County Beach, Dana Point | South Coast Water District/Line Blockage | ~50 gallons/sewage | NO |
| 00-0170 | 7/12/00 | 7/14/00 | 2 | 0.04 | Harbor Patrol Docks, Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches and Parks)/Line Blockage | <5 gallons/sewage | NO |
| 00-185 | 7/15/00 | 7/18/00 | 3 | 0.17 | Anita Street downcoast to Brooks Street, Laguna Beach | City of Laguna Beach/ Line Blockage | <50 (<40) gallons/sewage (~20 gallons recovered) (<20 gallons released) | NO |
| 00-193 | 7/29/00 | 8/1/00 | 3 | 1.14 | 1000' upcoast and 1000' downcoast of Aliso Creek, Aliso Beach, Laguna Beach | Aliso Water Management Agency/Line Break | ~1500 gallons/undisinfected secondary | NO |
| 00-195 | 8/5/00 | 8/10/00 | 5 | 0.21 | “I”-“O” Docks (north side of East Basin), Dana Point Harbor, Dana Point | South Coast Water District/Line Blockage | ~1500 gallons/sewage | NO |
| 00-223 | 8/28/00 | 8/31/00 | 3 | 0.06 | “N” Dock and Commercial Docks (southeast side of East Basin), Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches and Parks)/Line Break at Vessel Pump-Out Facility | <50 (~10) gallons/sewage | NO |
| 00-234 | 9/11/00 | 9/14/00 | 3 | 0.17 | Lido Island Bridge to 300 feet upbay of Lido Island Bridge along Lido Marina Village docks, Newport Bay, Newport Beach | PPO (Lido Marina Village)/Line Break at Vessel Pump-Out Facility | Unknown/sewage | NO |
| 00-237 | 9/20/00 | 9/22/00 | 2 | 0.06 | West end of Balboa Bay Club Marina downbay through Bayshore's "Play Beach" and bay front, Newport Bay, Newport Beach | PPO (Balboa Bay Club)/Line Blockage (possibly grease) | ~500-700 gallons/sewage | NO |
| 00-256 | 10/11/00 | 10/15/00 | 4 | 0.11 | Boat Launch and Fuel Dock area, Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches and Parks)/Line Blockage (roots) | <100 gallons/sewage | NO |
| 00-285 | 10/26/00 | 10/30/00 | 4 | 1.52 | 1000' upcoast & 1000' downcoast of Pico Drain, North Beach, San Clemente | City of San Clemente/ Line Blockage (roots) | ~300 gallons/sewage | NO |
| 00-311 | 11/13/00 | 11/15/00 | 2 | 0.11 | Harbor Marina, Newport Bay, Newport Beach | PPO/Line Blockage | ~105 (85) gallons/sewage | NO |
| 00-319 | 11/24/00 | 11/29/00 | 5 | 2.50 | Center Street downcoast to Rockledge Road, Laguna Beach | City of Laguna Beach/ Line Blockage | ~5000 gallons/sewage | NO |
| 00-340 | 12/7/00 | 12/10/00 | 2 | 0.17 | North Star Beach upbay to Jamboree Road, Newport Bay, Newport Beach | Irvine Ranch Water District/Line Break | ~250,000 gallons/undisinfected secondary | NO |
| 00-346 | 12/11/00 | 12/14/00 | 3 | 0.13 | "A" Dock, Harbor Patrol Dock, and Sunset Aquatic Marina, Anaheim Bay, Seal Beach | PPO (Sunset Aquatic Marina)/ Line Break | ~5-10 gallons 2 X/day X ~5months/sewage | NO |
| 00-368 | 12/28/00 | 12/31/00 | 3 | 0.26 | North Star Beach, Newport Bay, Newport Beach | City of Newport Beach/ Line Blockage | ~500-600 gallons/ sewage | NO |
| 00-001 | 1/2/00 | 1/5/00 | 3 | 0.75 | Harbor Patrol Beach, China Cove & Rocky Point Beach, Newport Bay, Newport Beach | City of Newport Beach/ Line Blockage | ~1500 gallons/sewage | NO |
| 00-002 | 1/4/00 | 1/6/00 | 2 | 0.09 | Trinidad Beach and Westchester Docks, Huntington Harbour, Huntington Beach | PPO** (Westchester Bay-Sea Gate Lagoons)/ Line Blockage | Unknown/sewage | NO |
| 00-003 | 1/5/00 | 1/7/00 | 2 | 0.11 | 150 feet upcoast and 150 feet downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | El Toro Water District/ Line Blockage | ~390 gallons/sewage (~10 gallons recovered) (~380 gallons released) | NO |
| 00-023 | 1/5/00 | 1/8/00 | 3 | 0.09 | Harbor Patrol Dock, "M" Dock & "N" Dock (south side of East Basin), Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches and Parks)/Line Break | ~50 gallons/sewage | NO |
| 00-008 | 1/7/00 | 1/11/00 | 4 | 0.11 | Arches Marina, Newport Bay, Newport Beach | PPO (Park Superior Health Care)/ Line Blockage | ~240 gallons/sewage | NO |
| 00-024 | 1/31/00 | 2/9/00 | 9 | 4.50 | Dana Point Harbor breakwater, downcoast to end of campground, Doheny State Beach, Dana Point | Moulton Niguel Water District/Line Blockage | ~2000 gallons/sewage ~200 gallons recovered ~1800 gallons released | NO |
| 00-035 | 2/10/00 | 2/14/00 | 4 | 1.52 | 1000 feet upcoast and 1000 feet downcoast of Poche Creek, Poche County Beach, Dana Point/San Clemente | City of San Clemente/ Line Blockage | ~3500 gallons/sewage | NO |
| 00-038 | 2/14/00 | 2/21/00 | 7 | 2.27 | 1000' upcoast and 1000' downcoast of Anita Street, Laguna Beach | City of Laguna Beach/ Line Blockage | ~3000 (2000) gallons/sewage ~1000 gallons recovered ~2000 (1000) gallons released | NO |
| 00-040 | 2/17/00 | 2/21/00 | 4 | 1.14 | 1000' upcoast and 1000' downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | Aliso Water Management Agency/Line Blockage | ~500 gallons/sewage ~100 gallons recovered ~400 gallons released | NO |
| 00-046 | 2/19/00 | 2/24/00 | 5 | 1.89 | 1000' upcoast and 1000' downcoast of San Juan Creek, Doheny State Beach, Dana Point | Moulton Niguel Water District/Line Blockage | ~500 gallons/sewage | NO |
| 00-047 | 2/22/00 | 2/28/00 | 6 | 3.00 | San Gabriel River to 1/2 mile downcoast of the San Gabriel River, Seal Beach | Orange County Sanitation District/Line Blockage-possibly storm water surcharge | ~1000-10,000 gallons/ sewage | YES |
| 0-052 | 2/29/00 | 3/4/00 | 4 | 3.02 | North end of Main Beach downcoast to Cress Street, Laguna Beach | City of Laguna Beach/ Sewage Bypass Pipeline Failure | ~12000 gallons/sewage | NO |
| 00-056 | 3/2/00 | 3/9/00 | 7 | 2.65 | 1000 feet upcoast and 1000 feet downcoast of San Juan Creek, Doheny State Beach, Dana Point | Moulton Niguel Water District/Line Blockage | ~500 gallons/sewage | NO |
| 00-059 | 3/5/00 | 3/9/00 | 4 | 2.00 | Cress Street downcoast to Diamond Street, Laguna Beach | City of Laguna Beach/ Line Blockage | ~1200 gallons/sewage | NO |
| 00-067 | 3/11/00 | 3/23/00 | 12 | 13.20 | Dana Point Harbor breakwater downcoast to the end of the park Doheny State Beach, Dana Point | - Moulton Niguel Water District/Line Blockage - Moulton Niguel Water District /Contractor Flushing Line - Rancho Capistrano Ministries/Line Blockage | - 3/11 - ~21,000 gallons/ sewage - 3/14 - ~500 gallons/ sewage ~200 gallons recovered ~300 gallons released - 3/17 - ~12,000 gallons/ sewage | NO |
| 00-077 | 3/19/00 | 3/23/00 | 4 | 2.98 | Seal Beach Pier downcoast to Anderson Street, Seal Beach; and Mother's Beach, Sunset Aquatic Marina, Peter's Landing Marina & Portofino Marina, Huntington Harbour, Huntington Beach | City of Seal Beach/Line Break | ~1500 gallons/sewage | NO |
| 00-089 | 4/4/00 | 4/6/00 | 2 | 0.06 | "A" &"B" Docks (West Basin), Dana Point Harbor, Dana Point | South Coast Water District/Line Blockage | ~100 gallons/sewage | NO |
| 00-095 | 4/13/00 | 4/15/00 | 2 | 0.11 | 150' upcoast and 150' downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | Moulton Niguel Water District/Line Blockage | ~400 gallons /sewage ~100 gallons recovered ~300 gallons released | NO |
| 00-109 | 4/24/00 | 4/27/00 | 3 | 0.75 | San Gabriel River downcoast to 5th Street, Seal Beach | City of Placentia/Line Blockage | ~84,000 gallons/sewage ~63,000 gallons recovered ~21,000 gallons released | NO |
| 00-110 | 4/26/00 | 4/28/00 | 2 | 0.23 | 300' upcoast and 300' downcoast of Salt Creek, Monarch Beach & Salt Creek County Beach, Dana Point | South Coast Water District/Line Blockage | ~300 gallons/sewage | NO |
| 00-117 | 5/4/00 | 5/7/00 | 3 | 0.17 | Bayshore Beach & Dover Shores Beaches (2 coves), Newport Bay, Newport Beach | City of Newport Beach/ Line Blockage | ~1000 gallons/sewage ~200 gallons recovered ~800 gallons released | NO |
| 00-122 | 5/9/00 | 5/11/00 | 2 | 1.00 | Talbert Channel (Huntington State Beach) downcoast to Orange Street (Newport City Beach), Huntington Beach & Newport Beach | Orange County Sanitation District/Pump Station Equipment Failure | ~5000 (3000 – 5000) gallons/ sewage | NO |
| 00-124 | 5/14/00 | 5/17/00 | 3 | 0.17 | Crescent Bay, Laguna Beach | City of Laguna Beach/ Line Blockage | ~200 (1000) gallons/sewage | NO |
| 00-125 | 5/14/00 | 5/17/00 | 3 | 1.50 | Capistrano County Beach, Dana Point | South Coast Water District/Line Break | ~8000 gallons/sewage | NO |
| 00-147 | 6/9/00 | 6/13/00 | 4 | 2.00 | San Gabriel River mouth downcoast to Seal Beach Pier, Seal Beach | Orange County Sanitation District/Line Blockage | ~50,000 (60,600) gallons/ Sewage (~1000 gallons recovered) (~59,600 gallons released) | NO |
| 00-167 | 6/26/00 | 6/29/00 | 3 | 0.11 | 100' upcoast and 100' downcoast of the storm drain , Capistrano County Beach, Dana Point | South Coast Water District/Line Blockage | ~50 gallons/sewage | NO |
| 00-0170 | 7/12/00 | 7/14/00 | 2 | 0.04 | Harbor Patrol Docks, Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches and Parks)/Line Blockage | <5 gallons/sewage | NO |
| 00-185 | 7/15/00 | 7/18/00 | 3 | 0.17 | Anita Street downcoast to Brooks Street, Laguna Beach | City of Laguna Beach/ Line Blockage | <50 (<40) gallons/sewage (~20 gallons recovered) (<20 gallons released) | NO |
| 00-193 | 7/29/00 | 8/1/00 | 3 | 1.14 | 1000' upcoast and 1000' downcoast of Aliso Creek, Aliso Beach, Laguna Beach | Aliso Water Management Agency/Line Break | ~1500 gallons/undisinfected secondary | NO |
| 00-195 | 8/5/00 | 8/10/00 | 5 | 0.21 | “I”-“O” Docks (north side of East Basin), Dana Point Harbor, Dana Point | South Coast Water District/Line Blockage | ~1500 gallons/sewage | NO |
| 00-223 | 8/28/00 | 8/31/00 | 3 | 0.06 | “N” Dock and Commercial Docks (southeast side of East Basin), Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches and Parks)/Line Break at Vessel Pump-Out Facility | <50 (~10) gallons/sewage | NO |
| 00-234 | 9/11/00 | 9/14/00 | 3 | 0.17 | Lido Island Bridge to 300 feet upbay of Lido Island Bridge along Lido Marina Village docks, Newport Bay, Newport Beach | PPO (Lido Marina Village)/Line Break at Vessel Pump-Out Facility | Unknown/sewage | NO |
| 00-237 | 9/20/00 | 9/22/00 | 2 | 0.06 | West end of Balboa Bay Club Marina downbay through Bayshore's "Play Beach" and bay front, Newport Bay, Newport Beach | PPO (Balboa Bay Club)/Line Blockage (possibly grease) | ~500-700 gallons/sewage | NO |
| 00-256 | 10/11/00 | 10/15/00 | 4 | 0.11 | Boat Launch and Fuel Dock area, Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches and Parks)/Line Blockage (roots) | <100 gallons/sewage | NO |
| 00-285 | 10/26/00 | 10/30/00 | 4 | 1.52 | 1000' upcoast & 1000' downcoast of Pico Drain, North Beach, San Clemente | City of San Clemente/ Line Blockage (roots) | ~300 gallons/sewage | NO |
| 00-311 | 11/13/00 | 11/15/00 | 2 | 0.11 | Harbor Marina, Newport Bay, Newport Beach | PPO/Line Blockage | ~105 (85) gallons/sewage | NO |
| 00-319 | 11/24/00 | 11/29/00 | 5 | 2.50 | Center Street downcoast to Rockledge Road, Laguna Beach | City of Laguna Beach/ Line Blockage | ~5000 gallons/sewage | NO |
| 00-340 | 12/7/00 | 12/10/00 | 2 | 0.17 | North Star Beach upbay to Jamboree Road, Newport Bay, Newport Beach | Irvine Ranch Water District/Line Break | ~250,000 gallons/undisinfected secondary | NO |
| 00-346 | 12/11/00 | 12/14/00 | 3 | 0.13 | "A" Dock, Harbor Patrol Dock, and Sunset Aquatic Marina, Anaheim Bay, Seal Beach | PPO (Sunset Aquatic Marina)/ Line Break | ~5-10 gallons 2 X/day X ~5months/sewage | NO |
| 00-368 | 12/28/00 | 12/31/00 | 3 | 0.26 | North Star Beach, Newport Bay, Newport Beach | City of Newport Beach/ Line Blockage | ~500-600 gallons/ sewage | NO |
| 01-009 01-015 | 1/11/01 | 1/18/01 | 7 | 4.20 | Dana Point Harbor breakwater downcoast to the pedestrian bridge over PCH, Doheny State Beach, Dana Point | 1) South East Regional Reclamation Authority/ Air vac failure on surge tower 2)Moulton Niguel Water District/construction debris | 1)~2000 gallons/undisinfected secondary 2) ~240 gallons/sewage ~140 gallons recovered ~100 gallons released | NO |
| 01-011 | 1/12/01 | 1/18/01 | 6 | 12.00 | 1 mile upcoast and 1 mile downcoast of Pico Drain, San Clemente | City of San Clemente/ Line Break | ~985,000 gallons/undisinfected secondary - ~888,000 recovered ~97,000 released | NO |
| 01-021 | 1/22/01 | 1/25/01 | 3 | 0.34 | 300 feet upcoast and 300 feet downcoast of Bluebird Canyon Drive drain, Laguna Beach | City of Laguna Beach/ Line Blockage (roots) | ~5200 gallons spilled/sewage ~5200 gallons recovered 0 released | NO |
| 01-047 | 2/8/01 | 2/10/01 | 2 | 0.11 | Guest Slips and "A" Dock, north end of the West Basin, Dana Point Harbor, Dana Point | PPO** (County of Orange Public Facilities & Resources Department)/Line break at vessel pump out facility | ~2 gallons/sewage | NO |
| 01-053 | 2/14/01 | 2/17/01 | 3 | 0.34 | 300 feet upcoast (Huntington State Beach) and 300 feet downcoast (Newport City Beach) of the Santa Ana River, Huntington Beach & Newport Beach | PPO (Denny's Restaurant)/Line Blockage (grease & paper towels) | ~100-300 gallons/sewage | NO |
| 01-057 | 2/18/01 | 2/21/01 | 3 | 1.50 | Hotel Laguna downcoast to Brooks Street, Laguna Beach | City of Laguna Beach/ Line Blockage (roots) | ~9000 gallons/sewage - ~3000 (6000 ) gallons recovered ~6000 (3000) released | NO |
| 01-059 | 2/20/01 | 2/25/01 | 5 | 1.89 | 1000 feet upcoast and 1000 feet downcoast of the Santa Ana River, Huntington State Beach & Newport City Beach, Huntington Beach & Newport Beach | Costa Mesa Sanitary District/Line Blockage (grease) | ~1000 gallons/sewage | NO |
| 01-060 | 2/21/01 | 2/25/01 | 4 | 0.23 | Newport Slough, Newport Beach | Orange County Sanitation District/ Suspected line break | <500 gallons/sewage | NO |
| 01-061 | 2/26/01 | 3/2/01 | 4 | 5.40 | Doheny State Beach downcoast through Capistrano County Beach, Dana Point | Santa Margarita Water District/Pump station failure | ~54,000 gallons/sewage ~11,968 gallons recovered ~42,032 gallons released | YES |
| 01-068 | 3/4/01 | 3/8/01 | 4 | 0.45 | 300 feet upcoast and 300 feet downcoast of San Juan Creek, Doheny State Beach, Dana Point | Santa Margarita Water District/Line Blockage (vandalism) | ~4125 gallons/sewage ~3525 gallons recovered ~600 gallons released | NO |
| 01-081 | 3/8/01 | 3/13/01 | 5 | 0.57 | Crescent Bay, Laguna Beach | City of Laguna Beach - Contractor/Sand concrete slurry poured into pump station wet well during construction of dry weather urban runoff diversion | ~18,000 gallons/sewage | NO |
| 01-094 | 3/12/01 | 3/15/01 | 3 | 0.34 | 300 feet upbay and 300 feet downbay of the Bahia Corinthian Yacht Club, Newport Bay, Newport Beach | PPO (Newport Medical Building)/Line Blockage | ~1000 (500-1000) gallons/ sewage ~700 (0) gallons recovered | NO |
| 01-093 | 3/12/01 | 3/15/01 | 3 | 1.14 | 1000 feet upcoast and 1000 feet downcoast of San Juan Creek, Doheny State Beach, Dana Point | City of San Juan Capistrano/Line Blockage | ~750 - 900 (500) gallons/ sewage | NO |
| 01-121 | 4/1/01 | 4/5/01 | 4 | 1.52 | 1000 feet upcoast and 1000 feet downcoast of Salt Creek at Monarch Beach & Salt Creek County Beach, Dana Point | Moulton Niguel Water District/Line Blockage | ~900 gallons/sewage ~200 gallons recovered ~700 gallons released | NO |
| 01-122 | 4/2/01 | 4/5/01 | 3 | 2.25 | 1/4 mile upcoast and 1/2 mile downcoast of San Juan Creek, Doheny State Beach, Dana Point | Moulton Niguel Water District/Pump station failure | ~10,300 gallons/sewage ~5000 gallons recovered ~5300 gallons released | NO |
| 01-124 | 4/3/01 | 4/6/01 | 2 | 0.17 | Guest Slips and "A" Dock at the north end of the West Basin, Dana Point Harbor, Dana Point | PPO (County of Orange Public Facilities & Resources Department)/ Line break at vessel pump out facility | ~1-2 gallons/sewage | NO |
| 01-125 | 4/3/01 | 4/6/01 | 3 | 1.14 | 1000 feet upcoast and 1000 feet downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | Moulton Niguel Water District/Line Break | ~830 (880) gallons/ sewage ~100 gallons recovered ~780 gallons released | NO |
| 01-133 | 4/10/01 | 4/13/01 | 3 | 0.34 | 300 feet upcoast and 300 feet downcoast of El Morro Creek, Crystal Cove State Beach, Newport Coast | PPO (State Department of Parks and Recreation)/Line Break | ~25 gallons/sewage | NO |
| 01-143 | 4/16/01 | 4/19/01 | 3 | 1.14 | 1000 feet upcoast and 1000 feet downcoast of Salt Creek, Monarch Beach & Salt Creek County Beach, Dana Point | PPO (Seaside Meadows Apartments)/Line Blockage | ~960 gallons/sewage | NO |
| 01-146 | 4/20/01 | 4/23/01 | 3 | 0.17 | 300 feet between Agate Street and Pearl Street, Laguna Beach | City of Laguna Beach/ Line Blockage | ~500 (450) gallons/sewage ~200 (100) gallons recovered ~300 (350) gallons released | NO |
| 01-147 | 4/23/01 | 4/25/01 | 2 | 1.70 | Diver's Cove downcoast to Thalia Street, Laguna Beach | City of Laguna Beach/ Line Blockage | ~10,500 gallons/sewage ~7500-10,500 (10,500) gallons recovered 0-3000 (0) gallons released | NO |
| 01-168 | 5/12/01 | 5/16/01 | 4 | 0.45 | Portofino Cove and Sunset Aquatic Marina, Huntington Harbour, Huntington Beach | PPO (Anaheim Sheraton Hotel)/ Line Blockage | ~2400 (2500) gallons/sewage ~100 gallons recovered ~2300 (2400) gallons released | NO |
| 01-179 | 5/18/01 | 5/21/01 | 3 | 0.34 | Portofino Cove Marina and Sunset Aquatic Marina, Huntington Harbour, Huntington Beach | City of Garden Grove/Line Break | ~13,000 (13,100) gallons/ sewage ~10,400 (10,100) gallons recovered ~2600 (3000) released | NO |
| 01-194 | 5/29/01 | 6/1/01 | 3 | 0.28 | Balboa Bay Club "F'"-"H" Docks & Orange Coast College Crew Docks, Newport Bay, Newport Beach | PPO (Balboa Bay Club)/ Line break at vessel pump out facility | Unknown gallons/sewage | NO |
| 01-200 | 6/9/01 | 6/12/01 | 3 | 0.34 | Portofino Cove Marina and Sunset Aquatic Marina, Huntington Harbour, Huntington Beach | PPO/Line Blockage (grease) | ~1500 gallons/sewage | NO |
| 01-212 | 6/27/01 | 6/30/01 | 3 | 0.17 | Balboa Yacht Club docks, Newport Bay, Newport Beach | PPO (Balboa Yacht Club)/ line blockage | >200 (600) gallons/sewage | NO |
| 01-220 | 7/3/01 | 7/5/01 | 2 | 0.50 | San Gabriel River mouth downcoast to 4th Street, Seal Beach | PPO (Glenwood Apartments)/line blockage | ~9800 gallons/sewage ~1600 gallons recovered ~8200 gallons released | NO |
| 01-229 | 7/17/01 | 7/19/01 | 2 | 1.56 | Dana Point Harbor breakwater downcoast to Lifeguard Tower #7, Doheny State Beach, Dana Point | South Coast Water District/Line Blockage | 3000 gallons/sewage | NO |
| 01-256 | 8/12/01 | 8/16/01 | 4 | 2.00 | Sunset Aquatic Park Marina, Admiralty Drive Channel, Peter's Landing Marina & 11th Street Beach, Huntington Harbour, Huntington Beach | City of Huntington Beach/Line Break (force main) | ~2000 gallons/sewage | NO |
| 01-257 | 8/12/01 | 8/16/01 | 4 | 0.34 | Mouth of San Gabriel River to 300 feet downcoast of San Gabriel River, Seal Beach | City of Fullerton/Line Blockage (grease) | ~6000 (5280)gallons/sewage (~200 gallons recovered) (5080 gallons released) | NO |
| 01-262 | 8/23/01 | 8/26/01 | 3 | 0.03 | Harbor Patrol Beach, Newport Bay, Newport Beach | PPO (County of Orange Public Facilities & Resources Department)/ Line break at vessel pump out facility | <50 gallons/sewage | NO |
| 01-263 | 8/24/01 | 8/29/01 | 5 | 0.28 | Crow's Nest Marina, Newport Bay, Newport Beach | PPO (Crow's Nest Marina)/Line break at vessel pump out facility | <50 gallons/sewage | NO |
| 01-279 | 8/30/01 | 9/7/01 | 8 | 0.45 | City Channel at Sea Harbor and Coral Cay at Marina Bay Drive, Huntington Harbour, Huntington Beach | PPO (Jewel Land Properties)/ Line Blockage | ~500 gallons/sewage | NO |
| 01-286 | 9/10/01 | 9/15/01 | 5 | 0.28 | Crow's Nest Marina, Newport Bay, Newport Beach | City of Newport Beach/ Line Blockage | ~350 gallons/sewage ~200 gallons recovered ~150 gallons released | NO |
| 01-291 | 9/19/01 | 9/23/01 | 4 | 0.20 | Balboa Bay Club Beach & "B" - "H" Docks, and Orange Coast College Crew Docks, Newport Bay, Newport Beach | PPO (Balboa Bay Club)/ Line break at vessel pump out facility | Unknown/sewage | NO |
| 01-297 | 9/21/01 | 9/24/01 | 3 | 0.57 | 500 feet upcoast and 500 feet downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | El Toro Water District/ Siphon line on pump station clogged | ~300-500 (300) gallons/ sewage | NO |
| 01-298 | 9/22/01 | 9/25/01 | 3 | 0.34 | Portofino Cove Marina and Sunset Aquatic Marina, Huntington Harbour, Huntington Beach | Midway City Sanitary District/Line Blockage | ~3500 gallons/sewage ~3000 gallons recovered ~500 gallons released | NO |
| 01-301 | 9/24/01 | 9/27/01 | 3 | 0.57 | San Gabriel River Mouth downcoast 1000 feet from the San Gabriel River Mouth, Seal Beach | City of La Habra/Line Blockage | ~2100 gallons/sewage ~225 gallons recovered ~1875 gallons released | NO |
| 01-322 | 10/3/01 | 10/6/01 | 3 | 0.17 | De Anza Marina, Newport Bay, Newport Beach | PPO (De Anza Marina)/Line Break | <50 gallons/sewage | NO |
| 01-323 | 10/4/01 | 10/7/01 | 3 | 0.09 | Harbor Patrol Dock - East Basin, Dana Point Harbor, Dana Point | PPO (County of Orange Public Facilities & Resources Department/ Line break at vessel pump out facility | <50 gallons/sewage | NO |
| 01-326 | 10/5/01 | 10/8/01 | 3 | 0.17 | Balboa Bay Club Beach & "B" - "H" Docks and Orange Coast College Crew Docks, Newport Bay, Newport Beach | PPO (Balboa Bay Club)/ Line break at vessel pump out facility | <50 gallons/sewage | NO |
| 01-339 | 11/6/01 | 11/9/01 | 3 | 0.04 | “N” Street Beach, Newport Bay, Newport Beach | City of Newport Beach/ Line Blockage | ~100 gallons/sewage | NO |
| 01-340 | 11/13/01 | 11/17/01 | 4 | 0.23 | Harbor Patrol Beach, China Cove, and Rocky Point Beach, Newport Bay, Newport Beach | City of Newport Beach/ Line Blockage | ~1500 gallons/sewage | NO |
| 01-341 | 11/15/01 | Beach: 11/19/01 Slough: 11/20/01 | 5 | 4.50 | Newport Slough and Huntington State Beach from the Talbert Channel downcoast to Newport City Beach at Highland Street, Huntington Beach & Newport Beach | Orange County Sanitation District/Force Main Break | ~50,000 gallons/sewage ~45,000 gallons recovered ~5000 gallons released | NO |
| 01-342 | 11/15/01 | 11/20/01 | 5 | 3.75 | Dana Point Harbor Breakwater to ½ mile downcoast of San Juan Creek, Doheny State Park, Dana Point | Moulton Niguel Water District/Line Blockage | ~6000 gallons/sewage | NO |
| 01-364 | 11/22/01 | 11/25/01 | 3 | 1.50 | Huntington State Beach from the Talbert Channel downcoast to Newport City Beach at Highland Street, Huntington Beach & Newport Beach | Costa Mesa Sanitary District/Pump Station Failure | ~2000 gallons/sewage ~1000 gallons recovered ~1000 gallons released | NO |
| 01-374 | 12/4/01 | 12/6/01 | 2 | 0.11 | Cameo Shores, Newport Beach | City of Newport Beach/ Line Blockage | ~150 gallons/sewage ~50 gallons recovered ~100 gallons released | NO |
| 01-382 | 12/7/01 | 12/12/01 | 5 | 0.95 | 500’ upcoast to 500’ downcoast of San Juan Creek, Doheny State Beach, Dana Point | South Coast Water District/Line Blockage | ~500 gallons/sewage ~300 gallons recovered ~200 gallons released | NO |
| 01-385 | 12/11/01 | 12/13/01 | 2 | 0.11 | 150’ upcoast to 150’ downcoast of Broadway Creek, Main Beach, Laguna Beach | City of Laguna Beach/ Pump Station Failure | ~100 gallons/sewage | NO |
| 01-392 | 12/17/01 | 12/20/01 | 3 | 1.56 | Laguna Avenue downcoast to Bluebird Canyon Drive, Laguna Beach | City of Laguna Beach/ Line blockage (roots) | ~6000-10,000 gallons/ Sewage (~1600 gallons recovered) (~4400 gallons released) | NO |
| 01-405 | 12/23/01 | 12/26/01 | 3 | 0.34 | 300 feet upcoast and 300 feet down- coast of Salt Creek, Monarch Beach & Salt Creek County Beach, Dana Point | South Coast Water District/Line blockage | ~160-200 (150) gallons/ sewage ~75-100 (100) gallons recovered ~85-100 (50) gallons released | NO |
| 02-005 | 1/12/02 | 1/14/02 | 2 | 0.11 | Harbor Patrol Beach and Harbor Patrol Docks, Newport Bay, Newport Beach | PPO (Public Facilities & Resources Dept.)/ Line break at vessel pump out facility | ~100 gallons/sewage | NO |
| 02-008 | 1/16/02 | 1/19/02 | 3 | 0.17 | Little Corona Beach, Corona del Mar, Newport Beach | Irvine Ranch Water District/Line Blockage (sand) | ~3000 gallons/sewage ~130 (0) gallons recovered ~2870 (3000) gallons released | NO |
| 02-010 | 1/17/02 | 1/21/02 | 4 | 1.19 | 1000’ upcoast to 1000’ downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | PPO** (Café Scandia - Aliso Viejo)/Line Blockage (in grease interceptor) | ~8000 gallons/sewage | NO |
| 02-020 | 1/29/02 | 2/1/02 | 3 | 0.17 | 150 feet upcoast and 150 feet downcoast of restroom/concession stand, North Beach, San Clemente | City of San Clemente/ Line Blockage | ~25 gallons/sewage ~12 gallons recovered ~13 gallons released | NO |
| 02-028 | 2/4/02 | 2/8/02 | 4 | 0.45 | Sunset Aquatic Marina and Portofino, Huntington Harbour, Huntington Beach | PPO/Line Blockage | ~1500 gallons/sewage | NO |
| 02-032 | 2/11/02 | 2/14/02 | 3 | 0.34 | Harbor Patrol Beach downbay to China Cove, Newport Bay, Newport Beach | PPO/Line Blockage | ~500 gallons/sewage ~300 gallons recovered ~200 gallons released | NO |
| 02-034 | 2/14/02 | 2/16/02 | 2 | 0.50 | Admiralty Drive Channel between Bounty Circle and Easter Circle, Huntington Harbour, Huntington Beach | City of Huntington Beach/ Line Break | Unknown/sewage | NO |
| 02-071 | 3/8/02 | 3/11/02 | 3 | 0.17 | Park Avenue Beach, Huntington Harbour, Huntington Beach | Sunset Beach Sanitary District/Line Blockage (concrete) | ~80-100 gallons/sewage ~40-50 (20-40) gallons recovered ~40-50 (60-80) gallons released | NO |
| 02-078 | 3/12/02 | 3/14/02 | 2 | 0.11 | North Star Beach, Newport Bay, Newport Beach | City of Newport Beach/ Line Blockage (roots) | ~2000 gallons/sewage ~1000 gallons recovered ~1000 gallons released | NO |
| 02-092 | 3/18/02 | 3/20/02 | 2 | 0.11 | Cameo Shores, Corona del Mar, Newport Beach | City of Newport Beach/ Line Blockage (roots) | ~200 gallons/sewage ~50 gallons recovered ~150 gallons released | NO |
| 02-093 | 3/18/02 | 3/20/02 | 2 | 0.76 | 1000’ upcoast and 1000’ downcoast of Balboa Pier, Newport Beach | PPO (Ruby’s Restaurant)/ Line Blockage | ~500 gallons/sewage | NO |
| 02-094 | 3/18/02 | 3/23/02 | 5 | 0.28 | North Star Beach, Newport Bay, Newport Beach | Costa Mesa Sanitary District/Line Blockage | ~1200-1500 gallons/ sewage ~200 gallons recovered ~1000-1300 gallons released | NO |
| 02-097 | 3/19/02 | 3/23/02 | 4 | 0.45 | Admiralty Drive Channel & 11th Street Beach, Huntington Harbour, Huntington Beach | PPO (West Bay Café)/Line Blockage (grease & food particles) | ~100 gallons/sewage ~20 gallons recovered ~80 gallons released | NO |
| 02-110 | 3/28/02 | 4/1/02 | 4 | 0.34 | Sunset Aquatic Marina and Portofino Cove Marina, Huntington Harbour, Huntington Beach | PPO (PacBell)/Line Break | Unknown | NO |
| 02-116 | 4/2/02 | 4/4/02 | 2 | 0.11 | Evening Star Beach & Morning Star Beach, Newport Bay, Newport Beach | Costa Mesa Sanitary District/Line Blockage (roots) | ~500 gallons/sewage ~100 gallons recovered | NO |
| 02-117 | 4/2/02 | 4/6/02 | 4 | 1.75 | Harbor Patrol Beach downbay to Rocky Point Beach, Newport Bay, Newport Beach | PPO (Brio Restaurant)/ Grease Interceptor Malfunction | Unknown/sewage | NO |
| 02-122 | 4/9/02 | 5/9/02 | 30 | 11.36 | 1000’ upcoast and 1000’ downcoast of Magnolia Street, Huntington State Beach, Huntington Beach | PPO (State Parks and Recreation)/Potential line breaks, cracks or separations | Unknown/potential sewage | NO |
| 02-192 | 5/22/02 | 5/25/02 | 3 | 2.27 | 2000’ upcoast and 2000’ downcoast of Pico Drain, North Beach, San Clemente | PPO (Country Inn Hotel)/ Line Blockage | ~6000 (6500) gallons/sewage | NO |
| 02-197 | 5/27/02 | 5/30/02 | 3 | 0.09 | Bahia Corinthian Yacht Club Marina, Newport Bay, Newport Beach | PPO (California Pizza Kitchen)/Line blockage | Unknown/sewage | NO |
| 02-234 | 6/30/02 | 7/4/02 | 4 | 1.00 | Carnation Cove to Harbor Patrol Beach, Newport Bay, Newport Beach | City of Newport Beach/ Line blockage | ~800 gallons/sewage | NO |
| 02-238 | 7/6/02 | 7/8/02 | 2 | 0.11 | Picnic Beach, Heisler Park, Laguna Beach | City of Laguna Beach/Line blockage (handi-wipes) | ~100 (500) gallons/sewage (~100 gallons recovered) (~400 gallons released) | NO |
| 02-282 | 8/13/02 | 8/17/02 | 4 | 0.34 | Shipyard Dock & L-O Docks (north side of East Basin), Dana Point Harbor, Dana Point | South Coast Water District/Pump station failure | ~350 gallons/sewage | NO |
| 02-285 | 8/18/02 | 8/21/02 | 3 | 0.75 | Humboldt Beach & Davenport Beach, Huntington Harbour, Huntington Beach | PPO (apartment complex)/ Line blockage (paper towels) | ~1500-3000 gallons/ sewage | NO |
| 02-307 | 9/4/02 | 9/8/02 | 4 | 1.82 | 1200 feet upcoast and 1200 feet downcoast of Poche Creek, Dana Point & San Clemente | PPO (Shorecliff Mobile Home Park)/Line blockage | ~2000 gallons/sewage | NO |
| 02-369 | 9/30/02 | 10/4/02 | 4 | 0.11 | Harbor Patrol Docks, Dana Point Harbor, Dana Point | PPO (Public Facilities & Resources Dept.)/Vessel Holding Tank Pump Out Line Break | Unknown (<10 gallons)/ sewage | NO |
| 02-375 | 10/1/02 | 10/4/02 | 3 | 0.09 | Bahia Corinthian Yacht Club Marina, Newport Bay, Newport Beach | City of Newport Beach/ Line blockage (roots & paper) | ~300 gallons/sewage ~100 gallons recovered ~200 gallons released | NO |
| 02-377 | 10/4/02 | 10/7/02 | 3 | 1.14 | 1000’ upcoast and 1000’ downcoast of Pico Drain, North Beach, San Clemente | City of San Clemente/Line blockage (piece of clay pipe/grease) | ~240 gallons/sewage | NO |
| 02-384 | 10/12/02 | 10/15/02 | 3 | 0.51 | Sunset Aquatic Marina, Peter’s Landing Marina and Portofino Cove Marina, Huntington Harbour, Huntington Beach | PPO (Harbor Breeze Apartments)/Line blockage (grease & debris) | ~5400 gallons/sewage ~100 gallons recovered ~5300 gallons released | NO |
| 02-429 | 11/11/02 | 11/14/02 | 3 | 0.11 | 100’ upcoast & 100’ downcoast of Dumond Drive, Victoria Beach, Laguna Beach | PPO (Private Residence)/ Line blockage | ~20-50 gallons/sewage | NO |
| 02-434 | 11/18/02 | 11/20/02 | 2 | 0.23 | 300’ upcoast & 300’ downcoast of Avenida Califia, San Clemente State Beach, San Clemente | City of San Clemente/Line blockage | ~420 gallons/sewage ~200 gallons recovered ~220 gallons released | NO |
| 02-439 | 11/25/02 | 11/28/02 | 3 | 0.57 | Westcliff Beach, Upper Newport Bay, Newport Beach | PPO (Rutland Arms Apartments)/Line blockage | Unknown/sewage | NO |
| 02-447 | 11/30/02 | 12/6/02 | 6 | 0.68 | 300’ upcoast & 300’ downcoast of the Santa Ana River, Huntington State Beach/Newport Beach, Huntington Beach/Newport Beach | PPO (Denny’s Restaurant)/Line blockage | ~200 gallons/sewage ~35 gallons recovered ~165 gallons released | NO |
| 02-450 | 12/3/02 | 12/6/02 | 3 | 0.17 | Christiana Bay, Huntington Harbour, Huntington Beach | PPO (John’s Coffee Shop)/Line blockage (grease) | ~180 gallons/sewage ~90 gallons recovered ~90 gallons released | NO |
| 02-452 | 12/5/02 | 12/9/02 | 4 | 0.23 | Harbor Tower Marina, Newport Bay, Newport Beach | PPO (Beach House Apartments)/Line blockage | ~500 gallons/sewage ~100 recovered ~400 gallons released | NO |
| 02-486 | 12/20/02 | 12/25/02 | 5 | 0.28 | Morning Canyon Beach, Corona del Mar, Newport Beach | City of Newport Beach/ Line blockage (roots & plumber’s plug) | ~750 gallons/sewage ~200 gallons recovered ~550 gallons released | NO |
| 02-487 | 12/23/02 | 12/28/02 | 5 | 0.57 | 300’ upcoast & 300’ downcoast of Poche Drain, Poche Beach, San Clemente | PPO (Shorecliff Villas)/ Line blockage (roots) | ~150 gallons/sewage ~75 gallons recovered ~75 gallons released | NO |
| 02-488 | 12/23/02 | 12/28/02 | 5 | 0.28 | Bahia Corinthian Yacht Club Marina, Newport Bay, Newport Beach | City of Newport Beach/ Line blockage (roots) | ~600 gallons/sewage ~100 gallons recovered ~500 gallons released | NO |
| 02-504 | 12/26/02 | 12/28/02 | 2 | 0.11 | Harbor Patrol Beach & Harbor Patrol Docks, Newport Bay, Newport Beach | PPO (Public Facilities & Resources Dept.)/Vessel Holding Tank Pump Out Line Break | <10 gallons/ sewage | NO |
| 03-007 | 1/12/03 | 1/18/03 | 6 | 3.00 | Bayside Place upbay to Harbor Patrol Beach, Newport Bay, Newport Beach | City of Newport Beach/ Line Blockage (roots & grease) | 500 (400) gallons/sewage | NO |
| 03-012 | 1/14/03 | 1/16/03 | 2 | 0.76 | 1000’ upcoast & 1000’ downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | South Coast Water District/ Pump Station Failure | 1000 gallons/sewage 440 gallons recovered 560 gallons released | NO |
| 03-021 | 1/17/03 | 1/19/03 | 2 | 0.11 | 150’ upcoast & 150’ downcoast of Bluebird Canyon Drive, Laguna Beach | City of Laguna Beach/ Line Blockage (roots) | ~500 gallons/sewage Unknown amount (450-500 gallons) recovered (0-50 gallons released) | NO |
| 03-037 | 1/30/03 | 2/2/03 | 3 | 0.17 | 33rd Street Channel from 33rd Street to 37th Street, Newport Bay, Newport Beach | PPO** (Vons Pavilions)/ Line Blockage (paper and grease) | ~1150 gallons/sewage ~150 gallons recovered ~1000 gallons released | NO |
| 03-033 | 2/1/03 | 2/4/03 | 3 | 0.03 | Harbor Patrol Docks area, Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches & Parks)/ Line break at vessel pump out facility | <1 pint/sewage | NO |
| 03-039 | 2/2/03 | 2/4/03 | 2 | 0.38 | 500’ upcoast & 500’ downcoast of the drain at Sleepy Hollow Beach, Laguna Beach | City of Laguna Beach/ Line blockage (paper towels) | ~450 gallons/sewage ~20 gallons recovered ~430 gallons released | NO |
| 03-067 | 2/8/03 | 2/11/03 | 3 | 3.00 | ½ mile upcoast & ½ mile downcoast of Salt Creek, Monarch Beach & Salt Creek County Beach, Dana Point | PPO (Dana Light Homeowners Association)/Line blockage (grease) | ~1500-2700 (2800) gallons/ sewage | NO |
| 03-070 | 2/9/03 | 2/13/03 | 4 | 1.00 | ¼ mile of the Huntington Harbour main channel parallel to Coral Cay Lane, Huntington Harbour, Huntington Beach | PPO (Coral Cay Homeowners Association)/Line blockage (grease) | ~60-100 (60) gallons/sewage (5 gallons recovered) (55 gallons released) | NO |
| 03-092 | 2/25/03 | 3/1/03 | 4 | 1.00 | San Gabriel River Mouth to ¼ mile downcoast of the breakwater, Seal Beach | PPO (Slate Creek & Woodlake Village Condos)/Line blockage (grease) | ~3500 (5000) gallons/sewage ~500 (2000) gallons recovered ~3000 gallons released | NO |
| 03-116 | 3/12/03 | 3/15/03 | 3 | 0.75 | Anaheim Bay Channel between Sunset Aquatic Marina and Pacific Coast Highway Bridge, Anaheim Bay, Seal Beach | City of Seal Beach/Line break | ~1000 gallons/sewage | NO |
| 03-179 | 4/23/03 | 4/26/03 | 3 | 0.17 | Youth and Guest Docks, West Basin, Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches & Parks)/Line break at vessel pump-out station | >5 gallons/sewage | NO |
| 03-189 | 5/1/03 | 5/3/03 | 2 | 0.11 | Crow’s Nest Marina, Newport Bay, Newport Beach | PPO (Billy’s Restaurant)/ Line blockage (grease interceptor) | >30 (25-30) gallons/sewage | NO |
| 03-204 | 5/10/03 | 5/12/03 | 2 | 0.11 | Harbor Patrol Docks area, Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches & Parks)/Line break at vessel pump-out station | Unknown/sewage | NO |
| 03-215 | 5/17/03 | 5/20/03 | 3 | 0.57 | 500’ upcoast & 500’ downcoast of El Morro Creek, Crystal Cove State Park | PPO (El Morro Village Mobile Home Park/Line break | ~800 gallons/sewage | NO |
| 03-228 | 5/27/03 | 5/29/03 | 2 | 0.76 | 1000’ upcoast & 1000’ downcoast of Talbert Channel, Huntington State Beach, Huntington Beach | PPO (Huntington By the Sea Mobile Home Park)/Line blockage (grease) | ~1000 (960) gallons/sewage (40 gallons recovered) (920 gallons released) | NO |
| 03-253 | 6/16/03 | 6/20/03 | 4 | 0.18 | “J” Street to “L” Street, Newport Bay, Newport Beach | City of Newport Beach/ Line blockage (roots & grease) | ~100 gallons/sewage | NO |
| 03-279 | 7/7/03 | 7/10/03 | 3 | 0.17 | Harbor Tower Marina, Newport Bay, Newport Beach | City of Newport Beach/ Vactor truck spill | ~150 (250) gallons/sewage ~50 (100) gallons recovered ~100 (150) gallons spilled | NO |
| 03-307 | 7/27/03 | 8/1/03 | 5 | 1.42 | 750’ upcoast & 750’ downcoast of the Avenida Pico storm drain, North Beach, San Clemente | City of San Clemente/ Line Blockage | ~320 gallons/sewage ~50 gallons recovered ~270 gallons released | NO |
| 03-326 | 8/13/03 | 8/15/03 | 2 | 0.06 | 150’ of 15th Street Beach, Newport Bay, Newport Beach | City of Newport Beach/ Line Blockage (construction debris) | ~20 gallons/sewage | NO |
| 03-333 | 8/16/03 | 8/19/03 | 3 | 0.34 | “F” – “O” Docks, North side of East Basin, Dana Point Harbor, Dana Point | PPO (Dana Point Marriott)/Line Blockage | ~300 gallons/sewage ~50 (0) gallons recovered ~250 (300) gallons released | NO |
| 03-388 | 9/23/03 | 9/25/03 | 2 | 0.02 | Harbor Patrol Docks area, Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches & Parks)/Line break at vessel pump-out station | >5 gallons/sewage | NO |
| 03-437 | 10/28/03 | 10/31/03 | 3 | 0.14 | 150’ upcoast & 150’ downcoast of El Portal Street, San Clemente | PPO (Apartment Complex)/Line Blockage | ~60 gallons/sewage ~20 gallons recovered ~40 gallons released | NO |
| 03-451 | 11/4/03 | 11/6/03 | 2 | 0.38 | 500’ upcoast & 500’ downcoast of San Juan Creek, Doheny State Park, Dana Point | El Toro Water District/ Line blockage | ~900 (1030) gallons/sewage (20 gallons recovered) (1010 gallons released) | NO |
| 03-464 | 11/16/03 | 11/19/03 | 3 | 0.34 | Portofino Cove Marina & Sunset Aquatic Marina, Huntington Harbour, Huntington Beach | City of Stanton/Line blockage (grease) | ~1000 (2000) gallons/sewage (1000 gallons recovered) (1000 gallons released) | NO |
| 03-481 | 11/28/03 | 12/1/03 | 3 | 0.03 | Harbor Patrol Docks area, Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches & Parks)/Line break at vessel pump-out station | <10 gallons/sewage | NO |
| 03-500 | 12/15/03 | 12/17/03 | 2 | 0.03 | Humboldt Beach, Huntington Harbour, Huntington Beach | PPO (Apartment Complex)/Line blockage | ~943 gallons/sewage ~470 gallons recovered ~473 gallons released | NO |
| 03-520 | 12/22/03 | 12/25/03 | 3 | 0.03 | Harbor Patrol Docks area, Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches & Parks)/Line break at vessel pump-out station | Unknown quantity | NO |
| 04-001 | 1/1/04 | 1/4/04 | 3 | 0.87 | From the northern point of Dana Strands Beach to 1000’ downcoast of the Selva Ramp, Dana Strands Beach, Dana Point | South Coast Water District/Line Break | ~ 28,000 (21,000) gallons/ sewage ~750 gallons recovered ~27,250 (20,250) gallons released | NO |
| 04-012 | 1/18/04 | 1/21/04 | 2 | 0.76 | 1000’ upcoast to 1000’ downcoast of the El Portal access at “Area 204”, San Clemente | City of San Clemente/ Line blockage | ~1050 gallons/sewage ~100 gallons recovered ~950 gallons released | NO |
| 04-089 | 3/28/04 | 3/31/04 | 3 | 0.03 | “A” Dock Area, West Basin, Dana Point Harbor, Dana Point | PPO** (Dana West Marina)/ Line break at vessel pump out facility | Unknown/sewage | NO |
| 04-090 | 3/28/04 | 4/1/04 | 3 | 0.05 | Dana Point Yacht Club Docks, West Basin, Dana Point Harbor, Dana Point | PPO (Dana Point Harbor Yacht Club)/Line blockage | Unknown/sewage | NO |
| 04-112 | 4/5/04 | 4/9/04 | 4 | 0.17 | Harbor Marina (PCH & Newport Blvd.) downbay to Riverside Drive, Newport Bay, Newport Beach | PPO/Line blockage | ~3000 gallons/sewage ~525 gallons recovered ~2475 gallons released | NO |
| 04-115 | 4/7/04 | 4/9/04 | 2 | 0.38 | 500’ upcoast and 500’ downcoast of Rockledge Road, Laguna Beach | City of Laguna Beach/ Line break (force main from pump station) | ~500 gallons/sewage | NO |
| 04-122 | 4/13/04 | 4/15/04 | 2 | 0.17 | Sunset Aquatic Marina and Portofino Cove Marina, Huntington Harbour, Huntington Beach | City of Anaheim/Line blockage (grease and debris) | ~2000-3000 (3465) gallons/ sewage ~200 (600) gallons recovered ~1800-2800 (2865) gallons released | NO |
| 04-124 | 4/14/14 | 4/16/04 | 2 | 0.02 | Harbor Patrol Docks (south side of East Basin), Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches & Parks Dept.)/ Line break at vessel pump out facility | ~1 gallon/sewage | NO |
| 04-156 | 5/8/04 | 5/12/04 | 4 | 0.23 | Dock area from “A” through “O” docks on the north side of the East Basin, Dana Point Harbor, Dana Point | South Coast Water District/Line blockage (grease) | ~125 (180) gallons/sewage ~30 (80) gallons recovered ~95 (100) gallons released | NO |
| 04-171 | 6/1/04 | 6/4/04 | 3 | 0.11 | 100’ upcoast and 100’ downcoast of Poche Creek, Poche County Beach, San Clemente | City of San Clemente/ Blow-off valve failure | ~50 gallons undisinfected secondary | NO |
| 04-188 | 6/16/04 | 6/18/04 | 2 | 0.11 | Sunset Aquatic Marina and Portofino Cove Marina, Huntington Harbour, Huntington Beach | Orange County Sanitation District/Line blockage | ~5000 (3896) gallons/sewage ~2000-4000(1190) recovered ~1000-3000 (2706) released | NO |
| 04-193 | 6/24/04 | 6/26/04 | 2 | 0.11 | Harbor Marina (PCH & Newport Blvd.), Newport Bay, Newport Beach | PPO/Line blockage | +500 gallons/sewage ~100 gallons recovered +400 gallons released | NO |
| 04-208 | 7/8/04 | 7/11/04 | 3 | 0.03 | Harbor Patrol Docks (south side of East Basin), Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches & Parks Dept.)/ Line break at vessel pump out facility | ~10 gallons/sewage | NO |
| 04-258 | 7/26/04 | 7/29/04 | 3 | 0.17 | 150’ upcoast and 150’ downcoast of Poche Creek, Poche County Beach, San Clemente | City of San Clemente/ Blow-off valve failure | ~5 gallons/ undisinfected secondary | NO |
| 04-259 | 7/31/04 | 8/3/04 | 3 | 0.07 | Balboa Yacht Basin, Newport Bay, Newport Beach | City of Newport Beach (as a PPO)/ Line break at vessel pump out facility | ~10 gallons/sewage | NO |
| 04-260 | 8/2/04 | 8/10/04 | 8 | 0.45 | Docks at 3101 West Pacific Coast Highway, Newport Bay, Newport Beach | PPO/Vessel pump out station line break | ~2 gallons/sewage | NO |
| 04-261 | 8/6/04 | 8/8/04 | 2 | 0.04 | 50’ upcoast and 50’ downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | PPO (County of Orange Harbors, Beaches & Parks Dept.)/ vandalism-tipped over portable toilets | ~12 gallons/sewage ~3 gallons recovered ~9 gallons released | NO |
| 04-278 | 8/17/04 | 8/20/04 | 3 | 0.34 | 300’ upcoast and 300’ downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | PPO (Aliso Creek Village Condos)/line blockage | ~900 (1800) gallons/sewage (900 gallons recovered) (900 gallons released) | NO |
| 04-280 | 8/18/04 | 8/20/04 | 2 | 0.04 | 50’ upcoast and 50’ downcoast of Poche Creek, Poche County Beach, San Clemente | City of San Clemente/ Blow-off valve failure | ~5 gallons/ undisinfected secondary | NO |
| 04-304 | 9/4/04 | 9/7/04 | 3 | 6.82 | From Magnolia Street in Huntington State Beach downcoast to Orange Street in Newport Beach, Huntington Beach & Newport Beach | Orange County Sanitation District/ electrical malfunction at Plant No. 2 | ~1,600,000 (1,569,600) gallons/ primary & secondary, undisinfected & disinfected wastewater | NO |
| 04-310 | 9/6/04 | 9/9/04 | 3 | 0.34 | Peter’s Landing Marina and docks parallel to Moritz Drive, Huntington Harbour, Huntington Beach | PPO/line blockage | ~50 gallons/sewage | NO |
| 04-311 | 9/6/04 | 9/9/04 | 3 | 0.03 | Harbor Patrol Docks, Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches & Parks Dept.)/ Line break at vessel pump out facility | Unknown/sewage | NO |
| 04-341 | 9/20/04 | 9/22/04 | 2 | 0.11 | Guest Dock (northwest side of West Basin), Dana Point Harbor, Dana Point | PPO (County of Orange Harbors, Beaches & Parks Dept.)/ Line break at vessel pump out facility | Unknown/sewage | NO |
| 04-359 | 10/14/04 | 10/17/04 | 3 | 1.50 | ¼ mile upcoast and ¼ mile downcoast of Aliso Creek, Aliso County Beach, Laguna Beach | El Toro Water District/ Line blockage | ~10,500 (9625) gallons/sewage (250 gallons recovered) (9375 gallons released) | NO |
| 04-373 | 10/26/04 | 10/28/04 | 2 | 0.06 | Fun Zone Docks downbay of Newport Bay Ferry, Newport Bay, Newport Beach | City of Newport Beach (as a PPO)/Line break at vessel pump out facility | Unknown/sewage | NO |
| 04-377 | 11/4/04 | 11/6/04 | 2 | 0.04 | 50’ upcoast and 50’ downcoast of Bluebird Canyon Drive, Laguna Beach | City of Laguna Beach/ Line blockage (roots) | ~150 (160) gallons/sewage (10 gallons recovered) (150 gallons released) | NO |
| 04-382 | 11/8/04 | 11/11/04 | 3 | 0.17 | 150’ upcoast and 150’ downcoast of Poche Drain, Poche County Beach, San Clemente | City of San Clemente/ Line blockage (roots) | ~90 gallons/sewage ~65 gallons recovered ~25 gallons released | NO |
| 04-305 | 11/14/04 | 11/17/04 | 3 | 0.17 | Little Corona Beach, Newport Beach | Irvine Ranch Water District/ Line break | ~3000 (4700) gallons/sewage | NO |
| 04-426 | 11/28/04 | 12/1/04 | 3 | 0.17 | 150’ upcoast and 150’ downcoast of Poche Drain, Poche County Beach, San Clemente | City of San Clemente/ Line blockage (roots) | ~2500 (2400) gallons/sewage ~1400 (2400) gallons recovered ~1100 (0) gallons released | NO |
| 04-442 | 12/13/04 | 12/15/04 | 2 | 0.06 | From the Balboa Pavilion to the Balboa Ferry Landing, Newport Bay, Newport Beach | City of Newport Beach (as a PPO)/Line break at vessel pump out facility at bulkhead | Unknown/sewage | NO |
| 05-001 | 1/1/05 | 1/4/05 | 3 | 1.14 | Doheny State Beach from the Dana Point Harbor breakwater to 1000’ downcoast of San Juan Creek, Dana Point | PPO** (San Juan Mobile Estates)/line blockage | >1,000 (1400) gallons/sewage Unknown gallons recovered | NO |
| 05-005 | 1/3/05 | 1/7/05 | 4 | 2.00 | Seacliff Drive downcoast to 1000 Steps Beach, Laguna Beach | South Coast Water District/line blockage | ~1500 (1400) gallons/sewage ~75 gallons recovered ~1425 (1325) gallons released | YES |
| 05-008 | 1/7/05 | 1/11/05 | 4 | 0.45 | 300’ upcoast and 300’ downcoast of the concession stand/restroom at Capistrano County Beach, Capistrano Beach, Dana Point | South Coast Water District/line blockage (roots & debris) | ~600 gallons/ sewage | NO |
| 05-009 | 1/8/05 | 1/14/05 | 6 | 3.00 | Corona Del Mar State Beach, Corona del Mar, Newport Beach | City of Newport Beach/ line break | ~1000 gallons/sewage | YES |
| 05-011 | 1/9/05 | 1/15/05 | 6 | 12.50 | Projection of Camino Capistrano Road downcoast to the San Clemente Pier, San Clemente | City of San Clemente/ sewage treatment plant malfunction | ~36,000 gallons/ undisinfected secondary treated wastewater ~22,000 gallons recovered ~14,000 gallons released | YES |
| 05-012 | 1/10/05 | 1/14/05 | 4 | 2.00 | ¼ mile upcoast & ¼ mile downcoast of Salt Creek, Monarch Beach and Salt Creek County Beach, Dana Point | Moulton Niguel Water District/line break | ~6000 (12,000) gallons/sewage (6000 gallons recovered) (6000 gallons released) | YES |
| 05-015 | 1/11/05 | 1/22/05 | HB-10 NB-11 | HB-11.36 NB-12.50 | From Magnolia Street downcoast to 52nd Street, Huntington State Beach, Huntington Beach and Newport Beach | (1) Yorba Linda Water District/storm water surcharging (2) Rubidoux Community Services District/line break (3) City of Orange/line blockage-grease | - ~94,400 gallons/sewage - ~4 million gallons/ sewage - ~11,000 (12,880) gallons/ sewage (1,120 gallons recovered) (11,760 gallons released) | YES |
| 05-016 | 1/12/05 | 1/15/05 | 3 | 8.85 | Doheny State Beach, Capistrano County Beach and Capistrano Bay District, Dana Point | Santa Margarita Water District/force main break to pump station | >100,000 gallons/sewage | YES |
| 05-020 | 1/20/05 | 1/23/05 | 3 | 0.75 | From the San Gabriel River Mouth to ¼ mile downcoast of the San Gabriel River Mouth, Seal Beach | City of La Palma/line blockage (construction debris & grease) | ~3100 (5000) gallons/sewage ~200 (500) gallons recovered ~2900 (4500) gallons released | NO |
| 05-024 | 1/31/05 | 2/3/05 | 3 | 0.17 | Harbor Marina, Newport Bay, Newport Beach | PPO (Harbor Marina)/ line break at vessel pump out facility | Unknown/sewage | NO |
| 05-026 | 2/2/05 | 2/6/05 | 4 | 1.51 | 1000’ upcoast and 1000’ downcoast of San Juan Creek, Doheny State Beach, Dana Point | Moulton Niguel Water District/broken 2’ air vac valve | ~2000 (1800) gallons/sewage | NO |
| 05-028 | 2/7/05 | 2/10/05 | 3 | 1.50 | From the San Gabriel River breakwater downcoast to the Seal Beach Pier, Seal Beach | City of La Habra/line blockage (construction debris –sand) | ~18,000 gallons/sewage ~1000 gallons recovered ~17,000 gallons released | NO |
| 05-053 | 2/19/05 | 2/23/05 | 4 | 0.45 | 300’ upcoast and 300’ downcoast of Broadway Creek, Laguna Main Beach, Laguna Beach | El Toro Water District/ pump station failure | ~750 gallons/sewage | YES |
| 05-054 | 2/19/05 | 2/25/05 | 6 | 6.00 | From the San Gabriel River breakwater downcoast to the Anaheim Bay breakwater, Seal Beach | Los Angeles Sanitation District/storm water surcharge | ~50,000-100,000 (100,000) gallons/sewage | YES |
| 05-055 | 2/21/05 | 2/25/05 | 4 | 1.00 | Bayside Drive Beach downbay to China Cove, Newport Bay, Newport Beach | City of Newport Beach/ line blockage (grease & debris) | ~1700 (1200) gallons/sewage ~500 gallons recovered ~1200 (700) gallons released | NO |
| 05-070 | 2/27/05 | 3/2/05 | 3 | 1.50 | Rivo Alto Channel from 43rd Street Beach to 38th Street and Balboa Coves, Newport Bay, Newport Beach | City of Newport Beach/ line blockage-vandalism | ~2000 gallons/sewage | NO |
| 05-071 | 2/28/05 | 3/3/05 | 3 | 0.06 | 100 feet of Rockledge Beach, Laguna Beach | City of Laguna Beach/ line blockage-liner in sewer lateral improperly installed | ~30 – 40 (40) gallons/sewage | NO |
| 05-101 | 3/20/05 | 3/23/05 | 3 | 0.09 | Bayshore Beach, Newport Bay, Newport Beach | PPO/line blockage | 650 (500) gallons/sewage 150 gallons recovered 500 (350) gallons released | NO |
| 05-139 | 4/8/05 | 4/11/05 | 3 | 0.17 | Guest Dock, Northwest end of West Basin, Dana Point Harbor, Dana Point | PPO/ line break at vessel pump out facility | Unknown/sewage | NO |
| 05-148 | 4/18/05 | 4/22/05 | 4 | 0.23 | 150’ upcoast and 150’ downcoast of Poche Creek at Poche Beach, San Clemente | PPO/ line blockage | ~150 (500) gallons/sewage 4/19/05 – 2nd spill from same location ~30 (60) gallons | NO |
| 05-160 | 4/28/05 | 5/1/05 | 3 | 0.17 | 150’ upcoast and 150’ downcoast of the projection of Anita Street, Laguna Beach | City of Laguna Beach/ pump station overflow due to electrical failure | ~50 gallons/sewage | NO |
| 05-170 | 5/13/05 | 5/15/05 | 2 | 0.11 | 300’ of the south end of 10th Avenue beach in South Laguna, Laguna Beach | PPO/line break | ~500 gallons/sewage | NO |
| 50-172 | 6/1/05 | 6/3/05 | 2 | 0.23 | From 100’ downcoast to 500’ upcoast of the projection of Bluebird Canyon Drive, Laguna Beach | City of Laguna Beach & PPO/ line breaks (landslide) | Unknown (870 gallons)/sewage | NO |
| 05-196 | 6/19/05 | 6/22/05 | 3 | 0.03 | Harbor Patrol Docks, East Basin, Dana Point Harbor, Dana Point | PPO (County of Orange, Harbors, Beaches & Parks)/line blockage | Unknown/sewage | NO |
| 05-197 | 6/20/05 | 6/22/05 | 2 | 0.06 | Newport Marina Apartments Docks, Newport Bay, Newport Beach | PPO (Von’s Pavilions)/ line blockage | ~75 gallons/sewage ~25 gallons recovered ~50 gallons released | NO |
| 05-231 | 6/28/05 | 7/1/05 | 3 | 0.17 | 150’ upcoast to 150’ downcoast of the storm drain at West Mariposa, San Clemente | PPO/line blockage | >30 (80) gallons/sewage (50 gallons recovered) (30 gallons released) | NO |
| 05-257 | 7/11/05 | 7/13/05 | 2 | 0.06 | Balboa Yacht Basin docks, Newport Bay, Newport Beach | City of Newport Beach (as a PPO)/ vessel pump-out line break | Unknown/sewage | NO |
| 05-258 | 7/19/05 | 7/21/05 | 2 | 0.11 | Newport Marina docks, Newport Bay, Newport Beach | PPO/ line break at vessel pump out facility | Unknown/sewage | NO |
| 05-319 | 8/18/05 | 8/20/05 | 2 | 0.11 | 150’ upcoast and 150’ downcoast of the projection of Brooks Street, Laguna Beach | PPO/line blockage | ~125 gallons/sewage ~100 gallons recovered ~25 gallons released | NO |
| 05-343 | 9/21/05 | 9/23/05 | 2 | 0.06 | Morning Canyon Beach (“Third Beach”) at Cameo Shores, Newport Beach | City of Newport Beach/ line blockage (roots) | ~1500 gallons/sewage ~1000 gallons recovered ~500 gallons released | NO |
| 05-361 | 10/11/05 | 10/14/05 | 3 | 0.34 | 300’ upcoast to 300’ downcoast of Aliso Creek at Aliso County Beach, Laguna Beach | PPO (Laguna Woods/ Pacific Management Company)/line blockage (roots) | ~1350 gallons/sewage | NO |
| 05-379 | 10/20/05 | 10/23/05 | 3 | 0.17 | Docks at intersection of Bluewater Lane & 4th Street, Huntington Harbour, Huntington Beach | PPO/line blockage (roots & grease) | ~79 gallons/sewage ~50 gallons recovered ~29 gallons released | NO |
| 05-381 | 10/24/05 | 10/27/05 | 3 | 1.14 | From 1000’ upcoast of Aliso Creek downcoast to Camel Point, Aliso County Beach, Laguna Beach | El Toro Water District/ line blockage (roots & grease) | ~13500 gallons/sewage ~1500 gallons recovered ~12000 released | NO |
| 05-382 | 10/25/05 | 10/27/05 | 2 | 0.06 | Bahia Corinthian Yacht Club docks, Newport Bay, Newport Beach | PPO (resident)/line break | ~30 gallons/sewage ~10 gallons recovered ~20 gallons released | NO |
| 05-429 | 12/1/05 | 12/4/05 | 3 | 0.17 | Cameo Shores beach at the projection of Milford Drive, Newport Beach | City of Newport Beach/ line blockage (roots) | ~75 gallons/sewage | NO |
| 05-430 | 12/5/05 | 12/8/05 | 3 | 3.75 | Monarch Beach downcoast through Dana Strand Beach, Dana Point | South Coast Water District/force main break | ~80,000 (81,600) gallons/ sewage | NO |
| 06-010 | 1/18/06 | 1/20/06 | 2 | 0.04 | 50’ upcoast and 50’ downcoast of Pico Drain, North Beach, San Clemente | PPO**/line break | ~50 gallons/sewage released | NO |
| 06-024 | 2/13/06 | 2/15/06 | 2 | 0.23 | 300’ upcoast and 300’ downcoast of the storm drain between San Clemente Pier and Lifeguard Headquarters, San Clemente | PPO/line blockage (unknown) | Unknown/sewage | NO |
| 06-025 | 2/28/06 | 3/3/06 | 3 | 0.34 | 300’ upcoast and 300’ downcoast of San Juan Creek, Doheny State Beach, Dana Point | South Coast Water District/line blockage (sensor device) | ~600 gallons/sewage ~300 gallons recovered ~300 gallons released | NO |
| 06-026 | 3/3/06 | 3/7/06 | 4 | 0.45 | 300’ upcoast and 300’ downcoast of San Juan Creek, Doheny State Beach, Dana Point | Santa Margarita Water District/line blockage (roots) | ~3000 gallons/sewage released | NO |
| 06-041 | 3/11/06 | 3/14/06 | 3 | 0.75 | Humboldt Beach, Trinidad Beach and the channels around Humboldt and Trinidad Islands, Huntington Harbour, Huntington Beach | City of Huntington Beach/pump station failure | ~500 gallons/sewage | NO |
| 06-042 | 3/13/06 | 3/15/06 | 2 | 0.23 | 300’ upcoast and 300’ downcoast of the projection of Linda Lane, San Clemente | PPO and City of San Clemente/line blockage (debris) | ~1070 gallons/sewage ~200 gallons recovered ~870 gallons released | NO |
| 06-139 | 4/25/06 | 4/28/06 | 3 | 0.17 | 150’ upcoast and 150’ downcoast of the projection of Poche Creek, Poche County Beach, San Clemente | PPO/line blockage (unknown) | >100 gallons/sewage | NO |
| 06-140 | 4/29/06 | 5/1/06 | 2 | HSB – 4.55 NB – 4.55 | From the projection of Beach Blvd. downcoast to the Newport Pier, Huntington State Beach and Newport City Beach, Huntington Beach/Newport Beach | Orange County Sanitation District/Line break | ~30 million gallons/partially disinfected treated wastewater | NO |
| 06-142 | 5/4/06 | 5/7/06 | 3 | 0.17 | 150’ upcoast and 150’ downcoast of the projection of Poche Creek, Poche County Beach, San Clemente | PPO/line blockage (roots) | Unknown/sewage | NO |
| 06-152 | 5/14/06 | 5/17/06 | 3 | 0.57 | 500’ upcoast and 500’ downcoast of San Juan Creek, Doheny State Beach, Dana Point | PPO/line break | ~1800 gallons/sewage | NO |
| 06-157 | 5/26/06 | 5/28/06 | 2 | 0.11 | From the San Gabriel River to 300’ downcoast of the San Gabriel River, Seal Beach | City of Anaheim/ line blockage (grease) | ~4000 (~1890) gallons/sewage (~1590 gallons recovered) (~300 gallons released) | NO |
| 06-213 | 6/12/06 | 6/15/06 | 3 | 0.14 | “Mariner Mile” Docks at 3101 W. Coast Highway, Newport Bay, Newport Beach | PPO/pump station failure | ~2000 gallons/sewage ~1800 gallons recovered ~200 gallons released | NO |
| 06-225 | 6/26/06 | 6/28/06 | 2 | 0.76 | From 24th Street downcoast to 19th Street, Newport Beach | PPO/line break | Unknown | NO |
| 06-247 | 8/1/06 | 8/4/06 | 3 | 0.34 | 300’ upcoast and 300’ downcoast of Pico Drain, North Beach, San Clemente | PPO/line blockage (grease) | >42 gallons/sewage | NO |
| 06-254 | 8/8/06 | 8/10/06 | 2 | 0.02 | Harbor Patrol Docks, Dana Point Harbor, Dana Point | PPO/ line break at vessel pump out facility | Unknown/sewage | NO |
| 06-299 | 9/6/06 | 9/10/06 | 4 | 0.23 | 150’ upcoast and 150’ downcoast of the projection of Aliso Creek, Aliso County Beach, Laguna Beach | Moulton Niguel Water District/sewer line surcharge | ~600 gallons/sewage ~200 gallons recovered ~400 gallons released | NO |
| 06-328 | 9/28/06 | 9/30/06 | 2 | 0.16 | From the Santa Ana River to Grant Street, Newport Slough, Newport Beach | PPO/line blockage (unknown) | ~25 gallons/sewage | NO |
| 06-332 | 10/3/06 | 10/5/06 | 2 | 0.23 | 300’ upcoast and 300’ downcoast of Pico Drain at North Beach, San Clemente | City of San Clemente/ line blockage (construction debris) | ~250 gallons/sewage | NO |
| 06-360 | 10/16/06 | 10/18/06 | 2 | 0.11 | Bahia Corinthian Yacht Club docks, Newport Bay, Newport Beach | PPO/line blockage (roots) | ~200 gallons/sewage | NO |
| 06-373 | 11/6/06 | 11/8/06 | 2 | 0.11 | Sunset Aquatic Marina and Portofino Cove Marina, Huntington Harbour, Huntington Beach | PPO/line blockage (grease) | ~3000 gallons/sewage ~2000 gallons recovered ~1000 gallons released | NO |
| 06-378 | 11/15/06 | 11/17/06 | 2 | 0.38 | Bluebird Canyon Road downcoast to Center Street, Laguna Beach | City of Laguna Beach/ line blockage (unknown) | ~700 gallons/sewage | NO |
| 06-399 | 12/13/06 | 12/16/06 | 3 | 0.11 | 100’ upcoast and 100’ downcoast of Pico Drain at North Beach, San Clemente | PPO/line blockage (unknown) | ~250 gallons/sewage | NO |
| 06-403 | 12/23/06 | 12/25/06 | 2 | 0.38 | 500’ upcoast and 500’ downcoast of Poche Drain, Poche Beach, San Clemente | City of San Clemente/ line blockage (roots) | ~1000 gallons/sewage | NO |
| 06-404 | 12/23/06 | 12/26/06 | 3 | 0.17 | 33rd Street Channel from 33rd Street to 35th Street, Newport Bay, Newport Beach | PPO/line blockage (grease) | ~300 gallons/sewage ~200 gallons recovered ~100 gallons released | NO |
| 07-004 | 1/16/07 | 1/18/07 | 2 | 0.06 | Bayshore Beach, Newport Bay, Newport Beach | City of Newport Beach/ line blockage (roots) | ~150 gallons sewage ~75 gallons recovered ~75 gallons released | NO |
| 07-024 | 2/21/07 | 2/24/07 | 3 | 0.17 | Docks at Blue Water Lane from Coral Cay Lane to the boat launch ramp, Huntington Harbour, Huntington Beach | PPO/line blockage (grease buildup at sewer line offset) | ~400 gallons sewage ~300 gallons recovered ~100 gallons released | NO |
| 07-030 | 3/14/07 | 3/18/07 | 4 | 0.23 | Docks at Harbor Marina, Newport Bay, Newport Beach | City of Newport Beach/ line blockage (roots and paper) | ~810 gallons sewage ~100 gallons recovered ~710 gallons released | NO |
| 07-148 | 6/6/07 | 6/8/07 | 2 | 0.37 | 500 feet upcoast and 500 feet downcoast of Mariposa Drain, San Clemente | PPO/line blockage | Unknown | NO |
| 07-182 | 7/6/07 | 7/8/07 | 2 | 0.11 | From the Orange Coast College Crew Docks to Balboa Bay Club Dock “E”, Newport Bay, Newport Beach | PPO (Balboa Bay Club)/ line break at vessel pump out facility | Unknown | NO |
| 07-186 | 7/20/07 | 7/23/07 | 3 | 0.34 | 300 feet upcoast and 300 feet downcoast of Aliso Creek at Aliso County Beach, South Laguna | PPO (Johnny Rockets & Pei Wei)/line blockage | ~1000 gallons sewage | NO |
| 07-192 | 8/20/07 | 8/24/07 | 4 | 0.08 | 50 feet upbay and 50 feet downbay of Adams Street, Newport Bay, Newport Beach | PPO (Newport Landing)/grease blockage | ~5-50 gallons sewage | NO |
| 07-206 | 8/31/07 | 9/3/07 | 3 | 0.17 | Sunset Aquatic Marina & Portofino Cove, Huntington Harbour, Huntington Beach | PPO/(Westminster Mall) line blockage | ~700 gallons sewage | NO |
| 07-281 | 10/6/07 | 10/9/07 | 3 | 0.03 | Huntington Harbour Boat Ramp, Huntington Harbour, Huntington Beach | PPO/line blockage (grease) | ~175 gallons sewage ~75 gallons recovered ~100 gallons released | NO |

*   Amount Spilled: amount spilled - amount recovered = release amount

~  All volumes are estimations based on responding sanitation district/city field staff observations and calculations.  Closures based on initial estimated amount reported by sanitation district/city field staff.  Final spill volumes (in parentheses and italicized if different from original reported volumes) are reported to the Regional Water Quality Control Boards by the sanitation district/city.

** PPO – Private Property Owner