| . MONITORING LOCATIONS The Discharger shall establish the following monitoring locations to demonstrate compliance with the effluent limitations, discharge specifications, and other requirements in this Order: Table E-1. Monitoring Station Locations |  |  |
| --- | --- | --- |
| Discharge Point Name | Monitoring Location Name | Monitoring Location Description (include Latitude and Longitude when available) |
| -- | INF-001 | A location upstream of plant return streams, where a representative sample of the influent can be obtained |
| -- | EFF-001A | Discharge from chlorine contact basin1 |
| 001 | EFF-001B | Discharge from the Santee Lakes to Sycamore Creek Latitude 32°50’45” N and Longitude 117°00’15” W |
| Receiving Water Stations |  |  |
| -- | RSW-001 | Sycamore Creek, 32°50’52” N and Longitude 117°00’25” W (upstream reference station) |
| -- | RSW-001a | Approximately 400 to 1,000 yards downstream from the discharge from Discharge Point No. 001 |
| -- | RSW-002 | Sycamore Creek, upstream of the confluence with the San Diego River, at exit from Carlton Oaks Golf Course |
| -- | RSW-003 | San Diego River at Carlton Hills Boulevard in Santee (upstream reference station) |
| -- | RSW-004 | Forrester Creek, 50 feet upstream of confluence with the San Diego River (upstream reference station) |
| -- | RSW-005 | San Diego River at Mast Boulevard |
| -- | RSW-006 | San Diego River at the pond just downstream of Old Mission Dam |