Project Title:  Stormwater Monitoring Coalition Regional Monitoring of Southern California Coastal Watersheds – Chemistry, Periphyton and Toxicity

Originator:  County of San Diego National Pollution Discharge Elimination Program (NPDES), SWAMP Biological Assessment

Contact:  Jo Ann Weber; e-mail:  joann.weber@sdcounty.ca.gov; tel. 858-495-5317

Publication Info.:  The  data were published as part of the Annual Report for the Receiving Waters and Urban Runoff Monitoring section covered under the San Diego County Municipal National Pollutant Discharge Elimination System (NPDES) Permit (RWQCB-Order No. R9-2007-0001).

Coordinate System:  WGS84

Project Background and Objectives:  The Stormwater Monitoring Coalition (SMC) is a coalition of stormwater management agencies and Regional Water Quality Control Boards (RWQCBs) from Ventura to San Diego.  In cooperation with the Southern California Coastal Water Research Project (SCCWRP) and Surface Water Ambient Monitoring Program (SWAMP), the SMC created a program to monitor the health of coastal watersheds in Southern California.  The objective of the program is to integrate many elements of the existing smaller monitoring programs into a larger, more comprehensive program the goal of which is to address the following questions:

1. What is the condition of streams in Southern California?

2. What are the major stressors to aquatic life?

3. Are conditions in locations of special interest getting better or worse?

Geographical Setting/ Sampling Locations:  The SMC study sample sites were selected using a probabilistic approach weighted by watershed, land use, and stream order. The overall sampling frame included 15 watershed units located in the San Diego, Ventura, Riverside and San Bernardino Counties covering a combined area of 28,051 km2.  This submittal includes only the sampling locations monitored within the County of San Diego.  These locations are outlined in Table 1 below and in the COSD SMC Stations_Data.xls file included on the enclosed CD.

Table 1:  Monitoring Locations

| Station | Waterbody | Latitude | Longitude | Date of Assessment |
| --- | --- | --- | --- | --- |
| SMC00153 | San Luis Rey River, lower | 33.221932 | -117.346118 | 6/8/2009 |
| SMC00198 | Los Peñasquitos Creek | 32.937095 | -117.138512 | 5/20/2009 |
| SMC00282 | Sweetwater River, upper | 32.871805 | -116.613578 | 6/9/2009 |
| SMC00457 | Moosa Creek | 33.233704 | -117.093917 | 6/4/2009 |
| SMC00473 | San Dieguito Creek | 33.039165 | -117.158029 | 6/3/2009 |
| SMC00710 | Soledad Canyon | 32.889342 | -117.200282 | 5/19/2009 |
| SMC00729 | San Marcos Creek | 33.135252 | -117.174887 | 6/3/2009 |
| SMC01046 | Tecolote Creek, S. Fork | 32.795095 | -117.184945 | 5/21/2009 |
| SMC01158 | McGonigle Canyon | 32.962813 | -117.166763 | 5/20/2009 |
| SMC01258 | Sweetwater River, lower | 32.649495 | -117.058868 | 5/27/2009 |
| SMC01606 | Rose Canyon | 32.841989 | -117.234811 | 5/26/2009 |
| SMC01717 | San Luis Rey River @ Couser Canyon Rd. | 33.340147 | -117.132327 | 5/28/2009 |
| SMC01909 | Keys Creek (orange grove) | 33.311289 | -117.138853 | 6/8/2009 |
| SMC01990 | Murphy Canyon | 32.796538 | -117.113274 | 5/21/2009 |
| SMC02006 | Forrester Creek | 32.83083 | -116.984864 | 5/26/2009 |
| SMC04054 | San Diego River | 32.836979 | -117.018746 | 5/27/2009 |

Project/ Task Description:  Water chemistry, toxicology and periphyton sampling are part of a more comprehensive monitoring effort undertaken by the SMC.  A more detailed description of the sampling scheme and methodology employed may be found in the enclosed Regional Monitoring of Southern California’s Coastal Watersheds Stormwater Monitoring Coalition Bioassessment Working Group Technical Report (December 2007) and in the San Diego County Municipal Copermittees Scope of Work for Participation in the 2009 Stormwater Coalition’s Southern California Regional Stream Bioassessment Program.  Tables 2 and 3 below provide lists of parameters included and analytical methods employed together with the Method Detection Limits, Reporting Limits and number of samples analyzed.

Table 2:  Constituents Monitored

| Analyte | Method | Units | MDL | RL | No. Samples Analyzed |
| --- | --- | --- | --- | --- | --- |
| Nutrients |  |  |  |  |  |
| Ammonia as N | SM 4500-NH3 F | mg/l | 0.03 | 0.03 | 27 |
| Nitrate as N | EPA 300.0 | mg/l | 0.01 | 0.05 | 26 |
| Nitrite as N | EPA 300.0 | mg/l | 0.01 | 0.05 | 26 |
| Nitrogen, Total Kjeldahl | SM 4500-N B | mg/l | 0.46 | 0.5 | 20 |
| OrthoPhosphate as P | SM 4500-P E | mg/l | 0.01 | 0.01 | 26 |
| Phosphorus as P | SM 4500-P E | mg/l | 0.016 | 0.05 | 26 |
| Metals |  |  |  |  |  |
| Cadmium, Dissolved | EPA 200.8 | μg/l | 0.2 | 0.4 | 27 |
| Cadmium, Total | EPA 200.8 | μg/l | 0.2 | 0.4 | 27 |
| Chromium, Dissolved | EPA 200.8 | μg/l | 0.1 | 0.5 | 27 |
| Chromium, Total | EPA 200.8 | μg/l | 0.1 | 0.5 | 27 |
| Copper, Dissolved | EPA 200.8 | μg/l | 0.4 | 0.8 | 27 |
| Copper, Total | EPA 200.8 | μg/l | 0.4 | 0.8 | 27 |
| Lead, Dissolved | EPA 200.8 | μg/l | 0.05 | 0.1 | 27 |
| Lead, Total | EPA 200.8 | μg/l | 0.05 | 0.1 | 27 |
| Nickel, Dissolved | EPA 200.8 | μg/l | 0.2 | 0.5 | 27 |
| Nickel, Total | EPA 200.8 | μg/l | 0.2 | 0.5 | 27 |
| Selenium, Dissolved | EPA 200.8 | μg/l | 0.2 | 0.5 | 27 |
| Selenium, Total | EPA 200.8 | μg/l | 0.2 | 0.5 | 27 |
| Zinc, Dissolved | EPA 200.8 | μg/l | 0.1 | 0.5 | 27 |
| Zinc, Total | EPA 200.8 | μg/l | 0.1 | 0.5 | 27 |
| Other Inorganics |  |  |  |  |  |
| Chloride | EPA 300.0 | mg/l | 0.01 | 0.05 | 27 |
| Silica | SM 4500-Si D | mg/l | 0.1 | 0.5 | 27 |
| Sulfate | EPA 300.0 | mg/l | 0.01 | 0.05 | 27 |
| Suspended Solids | SM 2540 D | mg/l | 0.5 | 5 | 26 |
| Total Hardness | SM 2340 B | mg/l | 1 | 5 | 27 |
| Pesticides |  |  |  |  |  |
| Allethrin | EPA 625 | μg/l | 0.0005 | 0.002 | 20 |
| Arsenic, Dissolved | EPA 200.8 | μg/l | 0.2 | 0.5 | 27 |
| Arsenic, Total | EPA 200.8 | μg/l | 0.2 | 0.5 | 27 |
| Bifenthrin | EPA 625 | μg/l | 0.0005 | 0.002 | 20 |
| Cyfluthrin, total | EPA 625 | μg/l | 0.0005 | 0.002 | 20 |
| Cyhalothrin, lambda, total | EPA 625 | μg/l | 0.0005 | 0.002 | 20 |
| Cypermethrin, total | EPA 625 | μg/l | 0.0005 | 0.002 | 20 |
| Danitol | EPA 625 | μg/l | 0.0005 | 0.002 | 20 |
| Deltamethrin | EPA 625 | μg/l | 0.0005 | 0.002 | 20 |
| Esfenvalerate | EPA 625 | μg/l | 0.0005 | 0.002 | 20 |
| Fenvalerate | EPA 625 | μg/l | 0.0005 | 0.002 | 20 |
| Fluvalinate | EPA 625 | μg/l | 0.0005 | 0.002 | 20 |
| Permethrin-1 | EPA 625 | μg/l | 0.005 | 0.025 | 20 |
| Permethrin-2 | EPA 625 | μg/l | 0.005 | 0.025 | 20 |
| Prallethrin | EPA 625 | μg/l | 0.0005 | 0.002 | 20 |
| Resmethrin | EPA 625 | μg/l | 0.005 | 0.025 | 20 |

Table 3.  Parameters for Periphyton Monitoring

| Parameter | Method | Unit | MDL | RL | No. Samples Analyzed |
| --- | --- | --- | --- | --- | --- |
| Ash-Free Dry Mass | SM 10300 C D | mg/cm2 | 0.001 | 0.005 | 18 |
| Chlorophyll a | SM 10200 H-2b | mg/cm3 | 0.000001 | 0.0000002 | 18 |

Quality Control: The quality control requirements employed in this project are those described in the San Diego County Municipal Copermittees Scope of Work for Participation in the 2009 Stormwater Coalition’s Southern California Regional Stream Bioassessment Program.

Regional Monitoring of Southern California’s Coastal Watersheds (enclosed) and in the Weston Solutions, Inc. Quality Assurance Program Plan/ Microbiology and CRG Marine Laboratories Quality Assurance Program Document (also included with this submittal).  These include methods used for sample collection and handling, data management, validation, and record keeping (including proper chain of custody procedures), data quality objectives for laboratory measurements, and personnel training.

Enclosed Documents in Electronic Format:

CRG Marine Laboratories Quality Assurance Program Document.  Electronic Filename:  CRG Marine Lab QAPP.pdf.

Regional Monitoring of Southern California’s Coastal Watersheds Stormwater Monitoring Coalition Bioassessment Working Group Technical Report (December 2007).  Electronic Filename:  SMCworkplan.pdf.

San Diego County Municipal Copermittees Scope of Work for Participation in the 2009 Stormwater Coalition’s Southern California Regional Stream Bioassessment Program.

Electronic Filename:  2009 SMC Copermittee Workplan.doc

Enclosed Electronic Data File:

Stormwater Monitoring Coalition Regional Monitoring of Southern California Coastal Watersheds Chemistry and Periphyton Data.  Electronic filename:  COSD SMC Chem Periph_Data.xls

Stormwater Monitoring Coalition Regional Monitoring of Southern California Coastal Watersheds Sampling Station Locations.  Electronic filename:  COSD SMC Station_Data.xls

Stormwater Monitoring Coalition Regional Monitoring of Southern California Coastal Watersheds Toxicity Testing Data.  Electronic filename:  COSD SMC Toxicity_Data.xls