## 2006 DATA QUALITY REPORT

## Data quality is evaluated through a series of standards that measure the adequacy of sample collection and analysis methods. In general, certain performance criteria (data quality objectives) are established to ensure that the data are acceptable and usable. Three quantitative performance criteria were used in the Dry Weather Monitoring Program to evaluate the degree of certainty or usability of the data to users. These criteria included precision, accuracy, and completeness.  Precision is expressed as relative percent difference (RPD%) between two duplicate samples. Accuracy is expressed as the percent recovery (REC%) of an analyte from a sample of known analyte concentration. Completeness is defined as the percentage of actual measurements that are judged to be valid, over the planned overall measurements. Detailed information about the quality control program can be found in the Quality Assurance Project Plan For the County of San Diego’s Dry Weather Monitoring Program (County of San Diego, 2006, Revision 5) (QAPP).  A discussion of the analytical laboratory QA/QC results is provided below.

The laboratory analysis of grab samples was conducted by Truesdail Laboratory, Inc. (Truesdail).  Data quality analysis was conducted using laboratory duplicates (LD), laboratory control samples (LCS) and matrix spike samples (MSS).   The number of laboratory duplicates, LCS and MSS varied with constituents measured.  For the bacterial samples, 9 blind field duplicates were used.

The analytical laboratory data have met all requirements for precision, accuracy and completeness (Table 1).  One exception included Enterococcus bacteria for which the DQO for precision was exceeded minimally which may, in part, be due to the fact that blind field duplicates were used in the precision calculations.  However, even under those conditions, only one of the 9 duplicate pairs examined exceeded the DQO. The internal laboratory duplicates had relative percent differences of 0, 66.7 and 66.7 (Rlog = 0.30) for total Coliforn, E.Coli and Enterococcus respectively and did not exceed the DQOs.

In addition to field duplicates, laboratory duplicates, laboratory control samples and matrix spike samples, at least 30 (30 to 44) laboratory method blank samples and three field blank samples were also processed for each analyte.  For all laboratory method blanks, concentrations of all analytes fell below the detection levels.  In contrast, all three of the field blanks had dissolved zinc concentrations of 1.79, 4.62 and 13.5 mg/L which are well above the target reporting limit of 0.02 mg/L.  Additionally, the field blank sample with 13.5 mg/L of dissolved zinc also contained 17.1 mg/L of dissolved copper and 1.48 mg/L of dissolved lead (the reporting limit for all these metals is 0.02 mg/L) and had a 2 mg/L reading for hardness (hardness RL = 1 mg/L).  The sample with 4.62 mg/L of dissolved zinc had a hardness reading of 4 mg/L.  Field blanks are prepared by pouring water from a store-bought distilled water bottle into a sample container. It is possible that the store-bought “distilled” water is inadequate for field blank preparation.  In the future, reagent-grade water will be obtained for this use.  Additionally, more field blanks will be submitted for analysis to allow for statistical analysis.

Table 1. Data Quality Objectives (DQO) and levels achieved for analytical parameters

| Parameter | Accuracy |  | Precision |  | Recovery |  | Completeness |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | DQO | Achieved | DQO | Achieved | DQO | Achieved | DQO | Achieved |
| Hardness | 80 – 120 % | 100 – 108% | ± 25% | ± 1– 7% | 80 – 120 % | 90 – 105% | 90% | 100% |
| MBAS | 80 – 120 % | 95 – 110% | ± 25% | ± 0 – 7% | 80 – 120 % | 86 – 120% | 90% | 100% |
| Oil and Grease | 80 – 120 % | 81 – 101% | ± 25% | ± 0 – 11% | 80 – 120 % | NM | 90% | 100% |
| Dissolved Cadmium | 80 – 120 % | 95 – 103% | ± 25% | ± 0 – 6% | 80 – 120 % | 89 – 113% | 90% | 100% |
| Dissolved Copper | 80 – 120 % | 94 – 105% | ± 25% | ± 0 - 5% | 80 – 120 % | 87 – 111% | 90% | 100% |
| Dissolved Zinc | 80 – 120 % | 94 – 105% | ± 25% | ± 0 – 4% | 80 – 120 % | 84 – 103% | 90% | 100% |
| Dissolved Lead | 80 – 120 % | 96 -104% | ± 25% | ± 0 – 3% | 80 – 120 % | 87 - 116% | 90% | 100% |
| Diazinon, | 70 – 130 % | 97 – 123% | ± 25% | ± 1 – 19% | 50 – 150% | NM | 90% | 100% |
| Chlorpyrifos | 70 – 130 % | 86 – 128% | ± 25% | ± 1 – 11% | 50 – 150% | NM | 90% | 100% |
| Malathion | 80 – 120 % | 71 – 104% | ± 25% | ± 2 – 10% | 50 – 150% | NM | 90% | 100% |
| Enterococcus | Proper + or – response | Yes | 1.291 | 0 – 1.30 | NA | NA | 90% | 99% |
| Fecal Coliform | Proper + or – response | Yes | 1.101 | 0 – 0.93 | NA | NA | 90% | 100% |
| Total Coliform | Proper + or – response | Yes | 1.041 | 0 – 0.47 | NA | NA | 90% | 100% |

1 Precision criterion is defined as Rlog within 3.27 x mean Rlog

Results outside of DQO range are boldfaced

NM – Not Measured; NA – Not Applicable