## Sheet1
Inventory ID | Regional Board | General Description of Dataset | Reason for Exclusion | Follow up?
(parameters, matrix, agency, time period, etc.)
9-338 | 9 | Historical Report from CalTrans for Sweetwater River | Historical Report, not much numerical data. Narrative info is too old.
9-11 | 9 | Linda Pardy Table: Various Waterbodies, Nutrients and Metals | Detection limits on some of the pollutants are higher than the WQO | yes
9-317 | 9 | Rancho CA Water Dist. Data from 99-2002, nutrients, tds, etc. | Some parameters that were measured are abbreviated…It is unclear what the abbreviations mean. | YES
9-18 | 9 | nutrient and metal data for dana point harbor | Detection limits on some of the pollutants are higher than the WQO | yes
9-29 | 9 | NPDES Stormwater Monitoring Rpt. Various Waters | 1)Detection limits on some of the pollutants might be higher than the WQO 2)Some data points were estimated because they were not measured within holding time (they are marked) | yes
9-30 | 9 | NPDES Stormwater Monitoring Data Various Waters-Sorrento Valley | Sampling Site for Sorrento Valley is a stormwater runoff channel, not an actual creek (see email conversation in 9-30)
9-53 | 9 | NPDES Stormwater Monitoring Data Various Waters- California St. | Sampling Site on California St is in manhole on the street. (see email converation in 9-30)
9-317 | 9 | Rancho CA Water Dist. Data ffor De Luz Creek, other waters, nutrients, tds, etc. | it is unclear what the units are | yes
9-44 | 9 | Surface Water and Groundwater data for San Mateo and Santa Margarita Watersheds. Various Parameters | Ground water section of the data was not used. Also, units are unknown for all data. | yes
9-336 | 9 | Surface Water and Groundwater data for San Mateo and Santa Margarita Watersheds. Various Parameters | Ground water section of the data was not used. | *Note: The Access file in 9-336 has the units that were used.
9-302 (sheet 2) | 9 | DO data for Tijuana River Estuary (Sheet 2) | Sheet 2 does not contain units or a description of what the data is.
9-59 (1993 data) | 9 | NPDES Field Screen Data for Forrester Creek (1993 data) | Several data points were sampled only in 1993. This does not meet the 10 year bracket of usable data.
9-62 | 9 | NPDES Permit for Aliso WMA Ocean Outfall | There is only an NPDES permit, not actual data
9-63 | 9 | NPDES Permit for Encino Ocean Outfall | There is only an NPDES permit, not actual data
9-64 | 9 | NPDES Permit for Pt. Loma Ocean Outfall | There is only an NPDES permit, not actual data
9-65 | 9 | NPDES Permit for Oceanside Ocean Outfall from Fallbrook WWTP | There is only an NPDES permit, not actual data
9-68 | 9 | NPDES Permit for Oceanside Ocean Outfall from Cities of Oceanside, Las Salinas, and San Luis Rey | There is only an NPDES permit, not actual data
9-66 | 9 | NPDES Permit for South Bay Ocean Outfall from the International WWTP | There is only an NPDES permit, not actual data
9-70 | 9 | NPDES Permit for the South Bay Ocean Outfall from the S. Bay Water Rec Facility | There is only an NPDES permit, not actual data
9-71 | 9 | NPDES Permit for the San Elijo Ocean Outfall | There is only an NPDES permit, not actual data
9-72 | 9 | NPDES Permit for Ocean Outfall from San Onofre Units 2 & 3 | There is only an NPDES permit, not actual data
9-74 | 9 | NPDES Permit for SERRA Ocean Outfall from SERRA | There is only an NPDES permit, not actual data
9-122 | 9 | Count Data BAA_AN2000 for Barrett Reservoir | Data is counts of how many samples measured, not the actual measurement results.
9-123 | 9 | Count Data BAA_MET2000 for Barrett Reservoir | Data is counts of how many samples measured, not the actual measurement results.
9-124(both) | 9 | Count Data BAA_ORG2000, BAA_ORG22000 for Barrett Reservoir | Data is counts of how many samples measured, not the actual measurement results.
9-125 | 9 | Count Data BAA_SOLIDS2000 for Barrett Reservoir | Data is counts of how many samples measured, not the actual measurement results.
9-126 | 9 | Count Data BAA_TOC2000 for Barrett Reservoir | Data is counts of how many samples measured, not the actual measurement results.
9-121 | 9 | Data BAA_OM_500Series for Barrett Reservoir | This data is included in 9-120
9-127 | 9 | Data for Cloverdale Creek from the SDWD | Units of measurement are unknown | YES
9-129 | 9 | Data for Cloverdale Creek from the SDWD | Units of measurement are unknown | YES
9-27 (pictures) | 9 | Pictures of Cottonwood Creek/Moonlight Beach UV System | No conclusions about water quality could be made from the pictures of the UV system.
9-168 | 9 | Count Data for the El Capitan Reservoir (8 Excel Files) | Data is counts of how many samples measured, not the actual measurement results.
9-150 (all sheets except 507) | 9 | Data for El Capitan Reservoir- various pollutants (all sheets except 507) | Units of measurement are unknown | YES
9-244 thru 9-246 | 9 | Data for Padre Barona Creek (various pollutants) | This data is included in 9-117-119, respectively.
9-150 | 9 | Organics data for El Capitan Reservoir | Many organics are ND; are the detection limits lower than the WQO? Detection limits are unknown. | YES
9-175 | 9 | Queries with no data for Felicita Creek | The tables do not include measured values.
9-169-174 | 9 | Data for Felicita Creek (various parameters) | Detection limits are unknown. | YES
9-186 | 9 | Count Data for the Hodges Reservoir | Data is counts of how many samples measured, not the actual measurement results.
9-185 | 9 | Data (mostly organics) for Hodges Reservoir | Many of the pollutants are ND. Detection limits are unknown, therefore it is not know if det. Limits are below the WQO. | YES
9-220 | 9 | Count Data for Morena Reservoir | Data is counts of how many samples measured, not the actual measurement results.
9-341 | 9 | Data from El Morro Trailer Park for El Morro Canyon 2002-2003 | Units of measurement are unknown | YES
9-3 (Benthic community/toxicity) | 9 | Data for Chollas Creek ( data set includes other data, but only the toxicity data is too old (1992-1993)) | Toxicity/Amphipod Survival Data is too old
9-50 | 9 | Data for chollas creek -metals, organics, etc for the 1999-2000 wet weather season report | Some detection limits are higher than the WQOs (specifically for total antimony,
9-69 | 9 | NPDES permit for San Diego River | There is only an NPDES permit, not actual data
9-314 | 9 | NPDES Permit Sampling results for San Diego River | Receiving water data is in 9-315, other data in 314 is for Water Reclamation Plant influent and effluent. However, quartlerly and annual reports were used to obtain organics data for the receiving waters. | yes
9-319 | 9 | Data for the San Diego River, various contaminants, historical and current data | Data older than 10 years was only used to understand trends.
9-31 (Quarterly violations) | 9 | Data for San Luis Rey River | Exclude section that reports quarterly violations because it only reports violations for the quarter, not all data recorded. This is not a good representation of how often the water quality is in exceedance of the WQOs.
9-38 (groundwater samples) | 9 | LAW Crandall Study of San Mateo and Santa Margarita (report) | Groundwater data was excluded, only Surface Water data was used.
9-44 | 9 | LAW Crandall Study of San Mateo and Santa Margarita (data) | Groundwater data was excluded, only Surface Water data was used.
9-40 | 9 | Depth to GW and SW daily flow measurements for Santa Margarita Watershed | This data set was not used because neither type of measurement is indicative of water quality.
9-41 | 9 | Framework Monitoring Plan for the Santa Margarita Watershed | No raw data
9-112 | 9 | Data Summary from Camp Pendelton/LAW Crandall describing what's in 9-336-337. | Although useful to decipher folders with 9-336-337, this file contains no water quality data.
9-336 | 9 | Precipitation data, report covers, mean discharges, water quality data | All data except Tables 10 and 11 were excluded because they did not have files with water quality data., Tables 10 and 11 are also included in 9-44
9-337 | 9 | Charts and piper diagrams for Santa Margarita and San Mateo Watersheds | SMR piper diagrams are also in 9-42. Data for wells was not used because it is for groundwater.
9-337 | 9 | Charts, Historical Data, and Piper diagrams for Santa Margarita and San Mateo Watersheds | Data older than 10 years was only used to understand trends.
9-337 | 9 | Charts, Historical Data, and Piper diagrams for Santa Margarita and San Mateo Watersheds | Units of measurement are unknown
9-42 | 9 | Data from Camp Pendelton for Santa Maragarita River | Units for y-axis on charts is unknown. Only Trends can be obtained from the data in the charts.
9-17 | 9 | Selenium data from 1981-1987 for Aliso Creek | Data is too old.
9-218 | 9 | Count Summaries for Miramar Reservoir data | Data is counts of how many samples measured, not the actual measurement results.
9-210 | 9 | Data for Miramar reservoir | Data is a condensed version of 9-209. The same data is all included in 9-209.
9-217 | 9 | Organics, TDS, and Ammonia data for Miramar Reservoir | Detection limits are unknown. | YES
9-280 | 9 | Organics data for Otay Reservoir | Units of measurement are unknown for sheets 524.2, 525.2, and 507 531.1 | YES
9-4 | 9 | Data for Reidy Creek | Detection limit for NH3-N is higher than the WQO.
9-60 | 9 | pH Data for Forester Creek, collected in 11/1993 | Data were collected in 1993…older than 10 years.
9-285 | 9 | Data for San Vicente Reservoir | Data is included in 9-284, was already assessed in 9-284.
9-25 | 9 | Summary data for Prima Deshecha | Data summary sheet only includes a summary of exceedances, not actual raw data.
9-26 | 9 | Summary data (Table 1:LAW-Crandall-San Mateo and Cristianitos) for Cristianitos Creek, charts of various pollutants for Cristianitos Creek near San Clemente. | Table 1 is only a summary of data, not raw data. Units of measurement are not included in pollutant charts with data points.
9-24 | 9 | Summary Data for San Juan Creek. Table 1-San Juan Creek NPDES Annual Data. | Data is only a summary table of exceedances, not raw data.
9-418 | 9 | bacteria data for aliso creek | data is duplicate of 9-339.