## Contact
Worksheet attachments |  | 303d list comments to SWRCB | November 2005
Contact: Mike Sandler, Program Coordinator
Community Clean Water Institute
6741 Sebastopol Ave., Suite 140
Sebastopol, CA 95472
(707) 824-4370
www.ccwi.org | info@ccwi.org

## LAG nutrients
Station ID | Date | Time | Nitrate-Nitrogen (N) mg/L | Phosphate - ortho (as P) mg/L
LAG030 | 2003-01-23 | 11:30 | 0.5
LAG030 | 2003-02-26 | 10:20 | 3 | 1.2067 | # of samples of P over 0.1 mg/L: 53 out of 57
LAG030 | 2003-03-31 | 15:00 | 3.9 | ND | # of samples of P over 0.16 mg/L: 53 out of 57
LAG030 | 2003-04-27 | 11:00 | 1 | 0.88057 | Average for P: | 0.74518
LAG030 | 2003-06-08 | 14:30 | 0.02 | 0.81534
LAG030 | 2003-07-06 | 10:30 | 0 | 0.78273 | Detection limit for N: 0.04 mg/L
LAG030 | 2003-08-11 | 10:48 | 0.05 | 0.7175 | Detection limit for P: 0.033 mg/L
LAG030 | 2003-10-05 | 11:30
LAG030 | 2003-11-16 | 16:00 | 0.28 | 0.7175
LAG030 | 2003-12-14 | 12:00 | 1.28 | 1.5655
LAG040 | 2003-06-20 | 15:20 | 0 | 0.75012
LAG040 | 2003-08-13 | 15:00 | 0.12 | 1.3046
LAG030 | 2004-01-25 | 12:00 | 0.55 | 0.91319
LAG030 | 2004-03-07 | 10:45 | 0.6 | 0.81534
LAG030 | 2004-04-12 | 10:30 | 0.05 | 0.65228
LAG030 | 2004-05-31 | 11:00 | 0.05 | 0.48921
LAG030 | 2004-06-25 | 15:50 | 0.01 | 0.30983
LAG030 | 2004-07-11 | 18:00 | ND | 0.2283
LAG030 | 2004-10-31 | 11:45 | 0.09 | 0.55443
LAG030 | 2004-11-30 | 13:00 | 0.12 | 0.39137
LAG030 | 2004-12-31 | 11:30 | 0.6 | 0.75012
LAG030 | 2005-01-30 | 12:30 | 0.78 | 0.88057
LAG030 | 2005-02-27 | 13:00 | 0.5 | 0.81534
LAG030 | 2005-03-26 | 13:30 | 0.64 | 0.97841
LAG030 | 2005-04-30 | 13:00 | 0.2 | 0.13
LAG030 | 2005-05-30 | 11:00 | 0.18 | 0.73
LAG030 | 2005-06-27 | 15:15 | 0 | 0.63
LAG030 | 2005-07-29 | 16:30 | 0.14 | 0.73
LAG030 | 2005-08-26 | 16:30 | 0.03 | 0.56
LAG030 | 2005-09-23 | 15:30 | 0.1 | 0.57
LAG040 | 2005-01-15 | 11:10 | 2.1 | 0.9458
LAG040 | 2005-02-08 | 11:14 | 0.9 | 0.32614
LAG040 | 2005-03-08 | 17:05 | 1.2 | 0.65228
LAG040 | 2005-04-12 | 14:45 | 0.94 | 1.13
LAG040 | 2005-05-06 | 13:30 | 0.12 | 0.5
LAG040 | 2005-06-10 | 13:50 | 0.2 | 0.466
LAG040 | 2005-07-12 | 15:25 | ND | 0.9
LAG040 | 2005-08-09 | 15:25 | ND | 1
LAG040 | 2005-09-13 | 8:50 | ND | 1.07
LAG040 | 2005-10-12 | 16:20 | ND | 1
LAG050 | 2005-02-18 | 10:20 | 0.24 | 0.65228
LAG050 | 2005-03-19 | 10:20 | 0.6 | 0.81534
LAG050 | 2005-04-20 | 11:15 | 0.22 | 0.47
LAG050 | 2005-05-11 | 10:00 | 0.3 | 1.03
LAG050 | 2005-06-10 | 10:00 | 0.12 | 0.56
LAG050 | 2005-06-10 | 10:00 | 0.11 | 0.56
LAG050 | 2005-07-13 | 10:30 | ND | 0.933
LAG050 | 2005-08-10 | 9:40 | ND | 1
LAG050 | 2005-09-12 | 10:00 | ND | 0.57
LAG050 | 2005-10-24 | 21:25 | ND | 0.93
LAG080 | 2005-04-20 | 10:30 | 0.64 | 0.33
LAG080 | 2005-05-11 | 10:50 | 0.35 | 0.9
LAG080 | 2005-06-10 | 10:45 | 0.06 | 0.5
LAG080 | 2005-07-13 | 10:50 | ND | 0.8
LAG080 | 2005-08-10 | 22:15 | ND | 0.83
LAG080 | 2005-09-12 | 10:30 | ND | 0.5
LAG080 | 2005-10-24 | 10:00 | ND | 1

## COL Phosphorus
Station ID | Collection Date | Collection Time | Phosphate - ortho (as P) mg/L
COL020 | 2005-01-15 | 10:30 | 0.58705
COL020 | 2005-02-08 | 10:45 | 0.166 | # of samples of P over 0.1 mg/L: 9 out of 10
COL020 | 2005-03-08 | 17:20 | 0.97841 | # of samples of P over 0.16 mg/L: 9 out of 10
COL020 | 2005-04-12 | 14:25 | 0.43 | Average for P: 0.41 mg/L
COL020 | 2005-05-06 | 13:05 | 0.3
COL020 | 2005-06-10 | 13:25 | 0.246 | Detection limit for P: 0.033 mg/L
COL020 | 2005-07-12 | 14:50 | 0.247
COL020 | 2005-08-09 | 15:10 | 0.23
COL020 | 2005-09-13 | 8:15 | 0.53
COL020 | 2005-10-12 | 16:00 | ND

## LAG SRC COL Conductivity
Station ID | Date | Time | Conductivity (uS)
LAG030 | 2003-01-23 | 11:30 | 290 | LAG # over 320: 57 out of 60
LAG030 | 2003-02-26 | 10:20 | 610
LAG030 | 2003-03-31 | 15:00 | 660
LAG030 | 2003-04-27 | 11:00 | 390
LAG030 | 2003-06-08 | 14:30 | 660
LAG030 | 2003-07-06 | 10:30 | 690
LAG030 | 2003-08-11 | 10:48 | 650
LAG030 | 2003-10-05 | 11:30 | 670
LAG030 | 2003-11-16 | 16:00 | 450
LAG030 | 2003-12-14 | 12:00 | 510
LAG040 | 2003-06-20 | 15:20 | 890
LAG040 | 2003-08-13 | 15:00 | 790
LAG050 | 2003-06-21 | 9:30 | 790
LAG050 | 2003-08-13 | 15:30 | 780
LAG030 | 2004-01-25 | 12:00 | 430
LAG030 | 2004-03-07 | 10:45 | 490
LAG030 | 2004-04-12 | 10:30 | 610
LAG030 | 2004-05-31 | 11:00 | 600
LAG030 | 2004-06-25 | 15:50 | 310
LAG030 | 2004-07-11 | 18:00 | 390
LAG030 | 2004-08-15 | 9:45 | 390
LAG030 | 2004-09-30 | 12:00 | 360
LAG030 | 2004-10-31 | 11:45 | 310
LAG030 | 2004-11-30 | 13:00 | 370
LAG030 | 2004-12-31 | 11:30 | 200
LAG030 | 2005-01-30 | 12:30 | 340
LAG030 | 2005-02-27 | 13:00 | 430
LAG030 | 2005-03-26 | 13:30 | 380
LAG030 | 2005-04-30 | 13:00 | 600
LAG030 | 2005-05-30 | 11:00 | 610
LAG030 | 2005-06-27 | 15:15 | 540
LAG030 | 2005-07-29 | 16:30 | 730
LAG030 | 2005-08-26 | 16:30 | 770
LAG030 | 2005-09-23 | 15:30 | 690
LAG040 | 2005-01-15 | 11:10 | 480
LAG040 | 2005-02-08 | 11:14 | 640
LAG040 | 2005-03-08 | 17:05 | 580
LAG040 | 2005-04-12 | 14:45 | 540
LAG040 | 2005-05-06 | 13:31 | 450
LAG040 | 2005-06-10 | 13:50 | 560
LAG040 | 2005-07-12 | 15:25 | 820
LAG040 | 2005-08-09 | 15:25 | 940
LAG040 | 2005-09-13 | 8:50 | 960
LAG040 | 2005-10-12 | 16:20 | 1130
LAG050 | 2005-02-18 | 10:20 | 390
LAG050 | 2005-03-19 | 10:20 | 470
LAG050 | 2005-04-20 | 11:15 | 690
LAG050 | 2005-05-11 | 10:00 | 370
LAG050 | 2005-06-10 | 10:00 | 510
LAG050 | 2005-07-13 | 10:30 | 860
LAG050 | 2005-08-10 | 9:40 | 910
LAG050 | 2005-09-12 | 10:00 | 1150
LAG050 | 2005-10-24 | 9:25 | 1030
LAG080 | 2005-04-20 | 10:30 | 640
LAG080 | 2005-05-11 | 10:50 | 500
LAG080 | 2005-06-10 | 10:45 | 530
LAG080 | 2005-07-13 | 10:50 | 880
LAG080 | 2005-08-10 | 10:15 | 930
LAG080 | 2005-09-12 | 10:25 | 1210
LAG080 | 2005-10-24 | 9:55 | 980
SRC040 | 2003-02-26 | 10:20 | 370
SRC040 | 2003-03-26 | 17:30 | 370 | SRC # over 320: 19 out of 24
SRC040 | 2003-04-30 | 17:00 | 230
SRC040 | 2003-06-25 | 17:10 | 460
SRC040 | 2003-07-23 | 17:20 | 510
SRC040 | 2003-08-28 | 17:00 | 520
SRC040 | 2004-01-21 | 11:30 | 250
SRC040 | 2004-02-19 | 13:35 | 120
SRC040 | 2004-03-25 | 16:30 | 180
SRC040 | 2004-05-16 | 18:37 | 490
SRC040 | 2004-06-28 | 18:00 | 330
SRC040 | 2004-07-23 | 18:00 | 550
SRC040 | 2004-08-28 | 12:00 | 530
SRC040 | 2004-10-15 | 12:30 | 570
SRC040 | 2004-11-19 | 12:00 | 500
SRC040 | 2005-01-21 | 12:36 | 330
SRC040 | 2005-02-28 | 15:18 | 200
SRC040 | 2005-03-11 | 10:00 | 340
SRC040 | 2005-04-28 | 11:30 | 420
SRC040 | 2005-06-02 | 9:45 | 390
SRC040 | 2005-06-28 | 10:30 | 490
SRC040 | 2005-07-29 | 10:30 | 520
SRC040 | 2005-08-30 | 10:20 | 570
SRC040 | 2005-09-29 | 11:45 | 540
COL020 | 2005-01-15 | 10:30 | 510 | # of samples over 320 in Colgan Creek: 10 out of 10
COL020 | 2005-02-08 | 10:45 | 760
COL020 | 2005-03-08 | 17:20 | 500
COL020 | 2005-04-12 | 14:25 | 660
COL020 | 2005-05-06 | 13:06 | 340
COL020 | 2005-06-10 | 13:25 | 340
COL020 | 2005-07-12 | 14:50 | 880
COL020 | 2005-08-09 | 15:10 | 990
COL020 | 2005-09-13 | 8:15 | 1090
COL020 | 2005-10-12 | 16:00 | 1080

## LAG Turbidity
Station ID | Date | Time | Turbidity (NTU)
LAG030 | 2003-01-23 | 11:30 | 35.8 | # of samples over 25 NTU in Laguna de Santa Rosa: 6 exceedances out of 14
LAG030 | 2003-02-26 | 10:20 | 11.2
LAG030 | 2003-03-31 | 15:00 | 15
LAG030 | 2003-04-27 | 11:00 | 23.2
LAG030 | 2003-06-08 | 14:30 | 26.5
LAG030 | 2003-07-06 | 10:30 | 33.4
LAG030 | 2003-08-11 | 10:48
LAG030 | 2003-10-05 | 11:30 | 32.2
LAG030 | 2003-11-16 | 16:00 | 16.7
LAG030 | 2003-12-14 | 12:00 | 14.9
LAG040 | 2003-06-20 | 15:20 | 25
LAG040 | 2003-08-13 | 15:00 | 33
LAG050 | 2003-06-21 | 9:30 | 5.5

## SRC E.coli
Station ID | Date | Time | MPN Total coliform in sample | MPN E.coli in sample
SRC040 | 2004-08-03 | 17:45 | 876 | 281 | # samples exceeding E. coli of 235 per 100 ml: 7 out of 7
SRC040 | 2005-08-01 | 9:15AM | 5012 | 383
SRC040 | 2005-08-10 | 9:40AM | 3968 | 278
SRC040 | 2005-08-15 | 8:40AM | 2187 | 384
SRC040 | 2005-08-22 | 11:45AM | 3784 | 556
SRC040 | 2005-08-29 | 2:30PM | 4160 | 459
SRC040 | 2005-09-07 | 9:15AM | 5493 | 609

## PCC pH
Station ID | Date | Time | pH
PCC020 | 2003-01-25 | 11:50 | 7.3
PCC020 | 2003-02-28 | 15:30 | 7.3
PCC020 | 2003-03-28 | 12:20 | 7.3
PCC020 | 2003-05-23 | 11:35 | 7.4
PCC020 | 2003-08-01 | 10:40 | 7
PCC020 | 2003-09-05 | 11:00 | 7.1
PCC020 | 2003-10-10 | 14:00 | 6.3
PCC020 | 2003-11-14 | 13:00 | 6.4
PCC020 | 2003-12-12 | 11:45 | 6.6
PCC030 | 2003-01-25 | 11:30 | 7.4
PCC030 | 2003-02-28 | 15:00 | 7.3
PCC030 | 2003-03-28 | 11:45 | 7.3
PCC030 | 2003-05-23 | 11:55 | 7.4
PCC030 | 2003-08-01 | 11:00 | 6.9
PCC030 | 2003-09-05 | 10:30 | 7.3
PCC030 | 2003-10-10 | 13:30 | 6
PCC030 | 2003-11-14 | 13:45 | 6.2
PCC030 | 2003-12-12 | 13:00 | 6.6
PCC040 | 2003-01-25 | 11:00 | 7.5
PCC040 | 2003-02-28 | 14:00 | 7.5
PCC040 | 2003-03-28 | 10:45 | 7.2
PCC040 | 2003-05-23 | 12:10 | 7.5
PCC040 | 2003-08-01 | 11:45 | 6.9
PCC040 | 2003-09-05 | 10:00 | 7.8
PCC040 | 2003-10-10 | 12:00 | 6.4
PCC040 | 2003-11-14 | 14:05 | 6.4
PCC040 | 2003-12-12 | 13:00 | 6.6
PCC020 | 2004-01-31 | 13:20 | 7.5
PCC020 | 2004-02-27 | 11:40 | 7.4
PCC020 | 2004-03-26 | 12:00 | 7.5
PCC020 | 2004-05-14 | 12:00 | 7.7
PCC020 | 2004-06-04 | 11:00 | 7.5
PCC020 | 2004-07-02 | 13:40 | 7.7
PCC020 | 2004-08-06 | 10:40 | 7.4
PCC020 | 2004-09-26 | 15:45 | 7.4
PCC020 | 2004-10-24 | 16:10 | 7.5
PCC020 | 2004-11-28 | 17:05 | 7.4
PCC020 | 2004-12-19 | 12:30 | 7.4
PCC030 | 2004-01-31 | 13:45 | 7.4
PCC030 | 2004-02-27 | 11:00 | 7.6
PCC030 | 2004-03-26 | 11:30 | 7.5
PCC030 | 2004-05-14 | 11:45 | 7.7
PCC030 | 2004-06-04 | 10:25 | 7.6
PCC030 | 2004-07-02 | 13:14 | 7.6
PCC030 | 2004-08-06 | 10:10 | 7.1
PCC030 | 2004-11-28 | 16:50 | 7.6
PCC030 | 2004-12-19 | 12:10 | 7.5
PCC040 | 2004-01-31 | 14:20 | 7.4
PCC040 | 2004-02-27 | 9:20 | 7.5
PCC040 | 2004-03-26 | 10:30 | 7.5
PCC040 | 2004-05-14 | 11:00 | 7.7
PCC040 | 2004-06-04 | 10:00 | 7.6
PCC040 | 2004-07-02 | 12:30PM | 7.6
PCC040 | 2004-08-06 | 9:45 | 7.5
PCC040 | 2004-09-26 | 16:00 | 7.1
PCC040 | 2004-10-24 | 15:50 | 7.5
PCC040 | 2004-11-28 | 16:30 | 7.7
PCC040 | 2004-12-19 | 11:30 | 7.8
PCC020 | 2005-01-30 | 13:20 | 7.5
PCC020 | 2005-02-27 | 12:00 | 7.4
PCC020 | 2005-03-25 | 11:20 | 7.4
PCC020 | 2005-05-01 | 16:30 | 7.4
PCC020 | 2005-05-30 | 12:20 | 7.4
PCC020 | 2005-06-26 | 15:50 | 7.4
PCC020 | 2005-07-31 | 12:25 | 7.4
PCC020 | 2005-09-05 | 11:20 | 7.1
PCC020 | 2005-09-25 | 10:55 | 7.9
PCC030 | 2005-01-30 | 13:00 | 7.6
PCC030 | 2005-02-27 | 12:10 | 7.3
PCC030 | 2005-03-25 | 11:00 | 7.4
PCC030 | 2005-05-01 | 16:15 | 7.4
PCC030 | 2005-05-30 | 12:00 | 7.4
PCC030 | 2005-06-26 | 15:30 | 7.4
PCC030 | 2005-07-31 | 12:00 | 7.4
PCC030 | 2005-09-05 | 10:40 | 7.4
PCC030 | 2005-09-25 | 9:40 | 7.9
PCC040 | 2005-01-30 | 12:18 | 7.7
PCC040 | 2005-02-27 | 11:20 | 7.7
PCC040 | 2005-03-25 | 10:20 | 7.7
PCC040 | 2005-05-01 | 15:45 | 7.8
PCC040 | 2005-05-30 | 11:15 | 7.7
PCC040 | 2005-06-26 | 15:00 | 7.7
PCC040 | 2005-07-31 | 11:30 | 7.8
PCC040 | 2005-09-05 | 10:10 | 7.6
PCC040 | 2005-09-25 | 9:20 | 7.8

## Location Table
Station ID | Station Location | Station City | Station County
COL020 | Colgan Creek, tributary to the Laguna de Santa Rosa; North of LAG050 on Llano Rd.; Just north of Wastewater Treatment Plant; on west side of bridge | Sebastopol | Sonoma
DBC010 | Dutch Bill Creek: Fish ladder | Occidental | Sonoma
DBC020 | Dutch Bill Creek; Westminister, downstream from Bohemian Ranch | Occidental | Sonoma
DBC030 | Dutch Bill Creek; Camp Meeker dam | Camp Meeker | Sonoma
LAN010 | Lancel Creek | Occidental | Sonoma
DBC050 | Dutch Bill Creek; 75 yards downstream from pump station | Occidental | Sonoma
DBC060 | Dutch Bill Creek; Graton Rd. and Main St., at bridge | Occidental | Sonoma
PCC020 | Pocket Canyon Creek: 12170 Hwy 116, downstream of Inn and the tank in the creek | Guerneville | Sonoma
PCC030 | Pocket Canyon Creek: 11900 Hwy 116, backyard | Guerneville | Sonoma
PCC040 | Pocket Canyon Creek: 50 feet upstream from bridge along Hwy 116 at May's Canyon Rd. | Guerneville | Sonoma
LAG030 | Laguna de Santa Rosa; Permanent gage behind Community Center in Sebastopol | Sebastopol | Sonoma
LAG040 | Laguna de Santa Rosa; By bridge at Todd Rd. South of Sebastopol | Sebastopol | Sonoma
LAG050 | Laguna de Santa Rosa; By bridge at Llano Rd; Just south of the Wastewater Treatment Plant; South of Sebastopol | Sebastopol | Sonoma
LAG080 | Laguna de Santa Rosa; Sonoma County Water Agency Propery with permission; East of overpass at intersection of Stony Pt Rd/ Rohnert Park Expressway. Sample on south bank through riperian trees. | Rohnert Park | Sonoma
SRC040 | Santa Rosa Creek; 3rd St., behind Vineyard Hotel, west of Hwy 101 along the Prince George Greenway | Santa Rosa | Sonoma

## OrganizationProtocol
Name | Affiiliation(s) | Title | Role | Functions | Creek |  |  |  |  | Phone | Email
Mike Sandler | CCWI | Program Coordinator | Technical Leader, Trainer | Project Director, Volunteer coordinator |  | 6741 Sebastopol Ave Ste 140 | Sebastopol | CA | 95472 | 707-824-4370 | mike@ccwi.org
Beth Robinson | CCWI | Program Associate | QA Officer, Trainer | Field Manager, Lab Manager, Volunteer coordinator |  | 6741 Sebastopol Ave Ste 140 | Sebastopol | CA | 95472 | 707-824-4370 | beth@ccwi.org
Heather Reese | CCWI Citizen Monitoring Program- Americorps Watershed Stewards |  |  | Volunteer Citizen Monitor | Laguna de Santa Rosa
Shane Phillipps | CCWI Citizen Monitoring Program- Americorps Watershed Stewards |  |  | Volunteer Citizen Monitor | Laguna de Santa Rosa
Celeste Dodge | CCWI Citizen Monitoring Program- Americorps Watershed Stewards |  |  | Volunteer Citizen Monitor | Laguna de Santa Rosa
Lucia Chan | CCWI Citizen Monitoring Program- Americorps Watershed Stewards |  |  | Volunteer Citizen Monitor | Laguna de Santa Rosa
Steve Greek | CCWI Citizen Monitoring Program |  |  | Volunteer Citizen Monitor | Laguna de Santa Rosa
Paul Larkin | CCWI Citizen Monitoring Program |  |  | Volunteer Citizen Monitor | Santa Rosa Creek
Tom Austin | CCWI Citizen Monitoring Program- Dutch Bill Creek Watershed Group |  |  | Volunteer Citizen Monitor | Dutch Bill Creek
Doug Vincent | CCWI Citizen Monitoring Program- Pocket Canyon Protection Group |  |  | Volunteer | Pocket Canyon Creek
Table 5-1: List of parameters and data sources
A. All Samples/Stations - Routine
Parameter | Where measured | Data Collected by | Measurement Method | Measurement Range
Conductivity | Field | CCWI Field operators | Electrode | 0 to 2000 μS
DO | Field | CCWI Field operators | Polargraphic Electrode | 0 to 20 mg/L
Temperature | Field | CCWI Field operators | Bulb Thermometer | -10 to 110˚C
pH | Field | CCWI Field operators | Electrode | -1 to 15 pH units
Turbidity | Field | CCWI Field operators | Nephelometer | 0 to 1000 NTUs
Flow Condtions | Field | CCWI Field operators
Stage . | Field | CCWI Field operators
Velocity . | Field | CCWI Field operators
Rainfall | Field | others (Weather forcasting/tracking agencies)
Nitrate | CCWI in-house Lab | CCWI Lab operators | Colorimetric Cadmium Reduction | 0.02 to 1, 0.02* to 10 mg/L
Phosphate | CCWI in-house Lab | CCWI Lab operators | Colorimetric Salicylate | 0 to 1, 0 to 5, 0 to 50 mg/L
Table 6-3: Laboratory Analytical Suite
Dataset ID | Parameter | Unit | Lab | Method # /Kit ID | Method Name/Principle
DTS-RR01 | Ammonia | mg/l | CCWI | Reagent Kit | Salicylate
DTS-RR01 | Nitrate | mg/l | CCWI | Reagent Kit | cadmium reduction
DTS-RR01 | Phosphate | mg/l | CCWI | Reagent Kit | ascorbic acid
DTS-RR01 | Total coliform | MPN/100ml | CCWI | Colilert | Enzyme-substrate
DTS-RR01 | E.coli | MPN/100ml | CCWI | Colilert | Enzyme-substrate

## INSTRUMENTS-METHODS
Sequencer | Instrument ID | Param&Method Code | Domain Code | Agency Inventory # | Serial # | Common Name | Parameter | Type /Method | Features | Model | Calibration Mode (manual or auto & standard values) | Range and Units | Detection Limit | Resolution (Increments) | Manufacturer (Make) | Vendor | Catalog Number (Vendor) | Catalog Number (Manufacturer) | Lot/Batch # | Date Purchased | Date of First Use | Expiration Date | Parts/Reagents Replaced | Replacement Date | Buyer | Owner | Custodian | Batteries | Comments
Oakton
Hach
1 | DOE-CCWI-01 | DOE |  | nap | 204933 | Dissolved Oxygen Meter | Dissolved Oxygen | polarographic | Automatic Temperature Compensation | 31250 ICM Portable DO Meter | manual | 0-20 mg/L |  | 0.1 | ICM | Miller Technologies | 31250 | 31250 | nap |  |  | nap |  |  | Sarah Shaeffer | CCWI |  | Eight AA alkaline
2 | EC-CCWI-01 | EC |  | nap | N37437 281IM | Conductivity Meter, Low Range | Conductivity | electrode | Automatic Temperature Compensation | Oakton Conductivity Testr Low | manual | 0-2000 uS |  | 10 | Oakton | Forestry Suppliers | 76440 |  | nap |  |  | nap |  |  | Sarah Shaeffer | CCWI |  | Four 1.5V Alkaline
3 | EC-CCWI-02 | EC |  | nap |  | Conductivity Meter, High Range | Conductivity | electrode | Automatic Temperature Compensation | Oakton Conductivity Testr High | manual | 0-19.90 mS |  | 0.1 | Oakton | Forestry Suppliers | 76441 |  | nap |  |  | nap |  |  | Sarah Shaeffer | CCWI |  | Four 1.5V Alkaline
3 | EC-CCWI-03 | EC |  | nap |  | Conductivity Meter, Low Range | Conductivity | electrode | Automatic Temperature Compensation | Oakton Conductivity Testr Low | manual | 0-2000 uS |  | 10 | Oakton | Forestry Suppliers | 76440 |  | nap | 2004-07-16 | 2004-09-13 | nap |  |  | Beth Robinson | CCWI | Pocket Canyon Protection Group (Lisa Vasse) | Four 1.5V Alkaline
4 | PHEL-CCWI-01 | PHEL |  | nap | N3742 431IM | pH Meter | pH | electrode | Automatic Temperature Compensation | double juncture Oakton pHTestr 2 | auto & standard | -1 to 15 |  | 0.1 | Oakton | Forestry Suppliers | 76235 |  | nap |  |  | nap |  |  | Sarah Shaeffer | CCWI |  | Four 1.5V Alkaline
5 | PHEL-CCWI-02 | PHEL |  | nap |  | pH Meter | pH | electrode | Automatic Temperature Compensation | double juncture Oakton pHTestr 2 | auto & standard | -1 to 15 |  | 0.1 | Oakton | Forestry Suppliers | 76235 |  | nap |  |  | nap |  |  | Sarah Shaeffer | CCWI |  | Four 1.5V Alkaline
6 | PHEL-CCWI-03 | PHEL |  | nap |  | pH Meter | pH | electrode | Automatic Temperature Compensation | double juncture Oakton pHTestr 2 | auto & standard | -1 to 15 |  | 0.1 | Oakton | Forestry Suppliers | 76235 |  | nap | 2004-07-16 | 2004-09-13 | nap |  |  | Beth Robinson | CCWI | Pocket Canyon Protection Group (Lisa Vasse) | Four 1.5V Alkaline
7 | TUN-CCWI-01 | TUN |  | nap |  | Turbidimeter | Turbidity | nephelometric | EPA approved model | Hach 2100P Turbidimeter | auto & standard | 0-1000 NTU |  |  | Hach | Hach | 46500-00 | 46500-00 | nap |  |  | nap |  |  | Sarah Shaeffer | CCWI |  | Four AA alkaline
8 | DOP-CCWI-01a | DOE |  | nap | AA4 | Dissolved Oxygen Probe | Dissolved Oxygen | electrode | 10 ft. cable | 3511-10 | nap | nap | nap | nap | ICM | ICM | 31250-10 | 31250-10 | nap | 2004-02-10 | 2002-02-20 | nap |  |  | Sarah Shaeffer |  |  | nap
9 | DOP-CCWI-01 | DOE |  | nap | LL1 | Dissolved Oxygen Probe | Dissolved Oxygen | electrode | 10 ft. cable | 3511-10 | nap | nap | nap | nap | ICM | Miller Technologies | 31250-10 | 31250-10 | nap | 2004-02-10 | 2004-02-19 | nap |  |  | Sarah Shaeffer |  |  | nap | reagent
10 | NO3P-CCWI-1b | NO3COL |  |  |  | Nitriver 3 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14078-99 | 14078-99 | A3248 | 2003-08-20 | 2003-08-27 | 2008-09-01 |  |  | Sarah Shaeffer | CCWI |  | none | reagent
11 | NO3P-CCWI-1c | NO3COL |  |  |  | Nitriver 3 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14078-99 | 14078-99 | A3248 | 2004-03-11 |  | 2008-09-01 |  |  | Sarah Shaeffer | CCWI |  | none | reagent
12 | NO3C-CCWI-1a | NO3COL |  |  |  | Nitraver 6 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14120-99 | 14120-99 | A3220 | 2003 | 2003 | 2005-09-01 |  | 2004-02-20 | Sarah Shaeffer | CCWI |  | none | reagent
13 | NO3C-CCWI-1b | NO3COL |  |  |  | Nitraver 6 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14120-99 | 14120-99 | A3304 | 2003 | 2004-02-20 | 2005-11-01 |  |  | Sarah Shaeffer | CCWI |  | none | reagent
14 | NO3C-CCWI-1c | NO3COL |  |  |  | Nitraver 6 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14120-99 | 14120-99 | A3304 | 2004-04-29 |  | 2005-11-01 |  |  | Iacovos Anastasiou | CCWI |  | none | reagent
15 | PO4A-CCWI-1b | PO4COL |  |  |  | Phosver 3 reagent | Phoshpate-Phosphorous | ascorbic acid color disc | pre-measured foil packet reagent | P-24 | none |  |  |  | Hach | Hach | 2125-99 | 2125-99 | A3283 | 2003 | 2003-07-08 | 2007-03-01 |  | 2004-03-16 | Sarah Shaeffer | CCWI |  | none | reagent
16 | PO4A-CCWI-1C | PO4COL |  |  |  | Phosver 3 reagent | Phoshpate-Phosphorous | ascorbic acid color disc | pre-measured foil packet reagent | P-24 | none |  |  |  | Hach | Hach | 2125-99 | 2125-99 | A4037 | 2004-03-11 | 2004-03-16 | 2007-07-01 |  |  | Sarah Shaeffer | CCWI |  | none | reagent
17 | PO4A-CCWI-1d | PO4COL |  |  |  | Phosver 3 reagent | Phoshpate-Phosphorous | ascorbic acid color disc | pre-measured foil packet reagent | P-24 | none |  |  |  | Hach | Hach | 2125-99 | 2125-99 | A4093 | 2004-04-29 |  | 2004-09-07 |  |  | Iacovos Anastasiou | CCWI |  | none
18 | PO4COL-CCWI-1 | PO4COL |  |  |  | Phosphate color disc | Phoshpate-Phosphorous | ascorbic acid color disc |  | P-24 | none |  |  |  | Hach | Hach | 24898-00 | 24898-00 | 2057 | 2002-04-01 |  | nap |  |  | Sarah Shaeffer | CCWI |  | none
19 | PO4COL-CCWI-2 | PO4COL |  |  |  | Phosphate color disc | Phoshpate-Phosphorous | ascorbic acid color disc |  | P-24 | none |  |  |  | Hach | Hach | 24898-00 | 24898-00 | 2057 | 2002-04-01 |  | nap |  |  | Sarah Shaeffer | CCWI |  | none
20 | NO3COL-CCWI-1 | NO3COL |  |  |  | Nitrate color disc | Nitrate-Nitrogen | cadmium reduction color disc |  | NI-14 | none |  |  |  | Hach | Hach | 14171-00 | 14171-00 | 2053 | 2002-04-01 |  | nap |  |  | Sarah Shaeffer | CCWI |  | none
21 | NO3COL-CCWI-2 | NO3COL |  |  |  | Nitrate color disc | Nitrate-Nitrogen | cadmium reduction color disc |  | NI-14 | none |  |  |  | Hach | Hach | 14171-00 | 14171-00 | 2053 | 2002-04-01 |  | nap |  |  | Sarah Shaeffer | CCWI |  | none
22 | NH4COL-CCWI-1 | NH4COL |  |  |  | Ammonia color disc | Ammonia-Nitrogen | Salicylate color disc |  | NI-SA | none |  |  |  | Hach | Hach | 23938-00 | 23938-00 | 2070 | 2002-04-01 |  | nap |  |  | Sarah Shaeffer | CCWI |  | none
23 | NH4COL-CCWI-2 | NH4COL |  |  |  | Ammonia color disc | Ammonia-Nitrogen | Salicylate color disc |  | NI-SA | none |  |  |  | Hach | Hach | 23938-00 | 23938-00 | 2070 | 2002-04-01 |  | nap |  |  | Sarah Shaeffer | CCWI |  | none | reagent
24 | NH4C-CCWI-1 | NH4COL |  |  |  | Ammonia Cyanurate Reagent | Ammonia-Nitrogen | Salicylate color disc |  | NI-SA | none |  |  |  | Hach | Hach | 23952-66 | 23952-66 | A2025 | 2002-04-01 |  | nap |  |  | Sarah Shaeffer | CCWI |  | none | reagent
25 | NH4S-CCWI-1 | NH4COL |  |  |  | Ammonia Salicylate Reagent | Ammonia-Nitrogen | Salicylate color disc |  | NI-SA | none |  |  |  | Hach | Hach | 23952-66 | 23952-66 | A2011 | 2002-04-01 |  | nap |  |  | Sarah Shaeffer | CCWI |  | none | white background, green liquid
26 | TB-CCWI-4 | TB |  |  | 20573-1 | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  | 2004-03-11 | 2004-03-20 | nap |  |  | Sarah Shaeffer | CCWI |  | none | yellow background, black liquid
| TB-CCWI-3 | TB |  |  |  | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  |  |  | nap |  |  | Sarah Shaeffer | CCWI |  | none
[8 empty] | max/ min dial thermometer |  | 5422 Maximum Minimum Dial Thermometer |  |  |  |  | Taylor | Forestry Suppliers | 89126 | 5422 |  | 2004-03-11
| ROD-CCWI-1 | ROD |  |  |  | Telescoping stadia rod | Flow |  | crain, 13' telescoping |  | none
| MES-CCWI-1 |  |  |  |  | Measuring Tape | Flow
| MES-CCWI-2 |  |  |  |  | Measuring Tape | Flow
| DOE-CCWI-02 | DOE |  | nap | 204933 | Dissolved Oxygen Meter | Dissolved Oxygen | polarographic | Automatic Temperature Compensation | 31250 ICM Portable DO Meter | manual | 0-20 mg/L |  | 0.1 | ICM | Miller Technologies | 31250 | 31250 | nap | 2004-07-16 | 2004-09-13 | nap |  |  | Beth Robinson | CCWI | Pocket Canyon Protection Group (Lisa Vasse) | Eight AA alkaline
| TB-CCWI-5 | TB |  |  |  | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  | 2004-07-20 | 2004-09-13 | nap |  |  | Beth Robinson | CCWI | Pocket Canyon Protection Group (Lisa Vasse) | none
| TB-CCWI-6 | TB |  |  |  | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  | 2004-07-20 | 2004-09-13 | nap |  |  | Beth Robinson | CCWI | Pocket Canyon Protection Group (Lisa Vasse) | none
| DOP-CCWI-02a | DOE |  | nap | AA4 | Dissolved Oxygen Probe | Dissolved Oxygen | electrode | 10 ft. cable | 3511-10 | nap | nap | nap | nap | ICM | ICM | 31250-10 | 31250-10 | nap | 2004-07-16 | 2004-09-13 | nap |  |  | Beth Robinson | CCWI | Pocket Canyon Protection Group (Lisa Vasse) | nap
| PHEL-ccwi-05 | PHEL |  | nap |  | pH Meter | pH | electrode | Automatic Temperature Compensation | double juncture Oakton pHTestr 2 | auto & standard | -1 to 15 |  | 0.1 | Oakton | Forestry Suppliers | 76235 |  | nap | replacement meter/ ordered 10/21/04 |  | nap |  |  | Beth Robinson | CCWI |  | Four 1.5V Alkaline
| TB-CCWI-7 | TB |  |  |  | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  |  |  | nap |  |  | Beth Robinson | CCWI |  | none
| TB-CCWI-8 | TB |  |  |  | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  |  |  | nap |  |  | Beth Robinson | CCWI |  | none
| TB-CCWI-9 | TB |  |  |  | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  |  |  | nap |  |  | Beth Robinson | CCWI |  | none
| TB-CCWI-10 | TB |  |  |  | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  |  |  | nap |  |  | Beth Robinson | CCWI |  | none
| TB-CCWI-11 | TB |  |  |  | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  |  |  | nap |  |  | Beth Robinson | CCWI |  | none
| TB-CCWI-12 | TB |  |  |  | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  |  |  | nap |  |  | Beth Robinson | CCWI |  | none
| TB-CCWI-13 | TB |  |  |  | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  |  |  | nap |  |  | Beth Robinson | CCWI |  | none
| TB-CCWI-14 | TB |  |  |  | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  |  |  | nap |  |  | Beth Robinson | CCWI |  | none
| TB-CCWI-15 | TB |  |  |  | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  |  |  | nap |  |  | Beth Robinson | CCWI |  | none
| TB-CCWI-16 | TB |  |  |  | Spirit Thermometer | Temperature | bulb thermometer | alcohol filled, armor case | 6" Envirosafe "Easy Read" Armor Case | none | -5 to 50 degrees celsius |  | 1º | HB Instrument Company | Forestry Suppliers | 77141 |  |  |  |  | nap |  |  | Beth Robinson | CCWI |  | none
| PO4A-CCWI-1e | PO4COL |  |  |  | Phosver 3 reagent | Phoshpate-Phosphorous | ascorbic acid color disc | pre-measured foil packet reagent | P-24 | none |  |  |  | Hach | Hach | 2125-99 | 2125-99 |  | 2004-09-28 |  |  |  |  | Beth Robinson | CCWI |  | none | reagent
| PO4A-CCWI-1f | PO4COL |  |  |  | Phosver 3 reagent | Phoshpate-Phosphorous | ascorbic acid color disc | pre-measured foil packet reagent | P-24 | none |  |  |  | Hach | Hach | 2125-99 | 2125-99 | A5012 | 2005-01-19 | 2005-01-25 | 2008-06-01 |  |  | Beth Robinson | CCWI |  | none | reagent
| NO3C-CCWI-1d | NO3COL |  |  |  | Nitraver 6 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14120-99 | 14120-99 | A4219 | 2004-09-28 | 2004-10-01 | 2006-09-01 |  |  | Beth Robinson | CCWI |  | none | reagent
| NO3C-CCWI-1e | NO3COL |  |  |  | Nitraver 6 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14120-99 | 14120-99 | A4219 | 2005-01-19 | 2005-01-31 | 2006-09-01 |  |  | Beth Robinson | CCWI |  | none | reagent
| NO3P-CCWI-1d | NO3COL |  |  |  | Nitriver 3 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14078-99 | 14078-99 |  | 2004-09-28 | 2004-10-01 | 2005-09-06 |  |  | Beth Robinson | CCWI |  | none | reagent
| NO3P-CCWI-1e | NO3COL |  |  |  | Nitriver 3 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14078-99 | 14078-99 | A4247 | 2005-01-19 | 2005-01-25 | 2009-09-01 |  |  | Beth Robinson | CCWI |  | none | reagent
| PO4A-CCWI-1g | PO4COL |  |  |  | Phosver 3 reagent | Phoshpate-Phosphorous | ascorbic acid color disc | pre-measured foil packet reagent | P-24 | none |  |  |  | Hach | Hach | 2125-99 | 2125-99 | A5070 | 2005-01-19 | 2005-04-25 | 2008-08-01 |  |  | Beth Robinson | CCWI |  | none | reagent
| PO4A-CCWI-1h | PO4COL |  |  |  | Phosver 3 reagent | Phoshpate-Phosphorous | ascorbic acid color disc | pre-measured foil packet reagent | P-24 | none |  |  |  | Hach | Hach | 2125-99 | 2125-99 | A5153 | 2005-07-08 |  | 2008-11-01 |  |  | Beth Robinson | CCWI |  | none | reagent
| NO3P-CCWI-1f | NO3COL |  |  |  | Nitriver 3 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14078-99 | 14078-99 | A5060 | 2005-01-19 | 2005-04-25 | 2010-03-01 |  |  | Beth Robinson | CCWI |  | none | reagent
| NO3C-CCWI-1f | NO3COL |  |  |  | Nitraver 6 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14120-99 | 14120-99 | A4219 | 2005-01-19 | 2005-05-06 | 2006-09-01 |  |  | Beth Robinson | CCWI |  | none | reagent
| NO3P-CCWI-1g | NO3COL |  |  |  | Nitriver 3 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14078-99 | 14078-99 | A5108 | 2005-07-08 |  | 2005-04-01 |  |  | Beth Robinson | CCWI |  | none | reagent
| NO3C-CCWI-1g | NO3COL |  |  |  | Nitraver 6 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14120-99 | 14120-99 | A4219 | 2005-07-08 |  | 2006-09-01 |  |  | Beth Robinson | CCWI |  | none | reagent
| NO3P-CCWI-1h | NO3COL |  |  |  | Nitriver 3 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14078-99 | 14078-99 | A5217 | 2005-09-26 | 2005-10-05 | 2010-08-01 |  |  | Beth Robinson | CCWI |  | none | reagent
| NO3C-CCWI-1h | NO3COL |  |  |  | Nitraver 6 reagent | Nitrate-Nitrogen | cadmium reduction color disc | pre-measured foil packet reagent | NI-14 | none | 0-1.0, 0-10 mg/L | 0.02 | 0.02 | Hach | Hach | 14120-99 | 14120-99 | A5217 | 2005-09-26 | 2005-10-05 | 2007-09-01 |  |  | Beth Robinson | CCWI |  | none | reagent
| PO4A-CCWI-1i | PO4COL |  |  |  | Phosver 3 reagent | Phoshpate-Phosphorous | ascorbic acid color disc | pre-measured foil packet reagent | P-24 | none |  |  |  | Hach | Hach | 2125-99 | 2125-99 | A5245 | 2005-09-26 | 2005-10-05 | 2009-02-01 |  |  | Beth Robinson | CCWI |  | none | reagent