## Slide 1: Turlock Irrigation District 303(d) List Comments
December 6, 2005
Debra Liebersbach, P.E.
Turlock Irrigation District
Cindy Paulson, PhD
Brown and Caldwell

## Slide 2: Programs Are Being Implemented to Improve Harding Drain Water Quality
City of Turlock wastewater improvements
Proposition 13 and 50 grant funding obtained to study watershed and implement improvements.
City of Turlock planning to build pipeline to SJ River.
Various efforts by state and local interests to improve Ag discharges to the Drain.

## Slide 3: Time is Needed to Support Local Efforts Underway to Improve Water Quality

## Slide 4: Recent Data Collected in Harding Drain Support Delisting

## Slide 5: Ammonia Data Upstream of Harding Drain are Below Chronic Criteria

## Slide 6: Ammonia Data at Upstream End of Harding Drain Meet Delisting Criteria

## Slide 7: Ammonia Data at Downstream End of Harding Drain meet Delisting Criteria

## Slide 8: Data Support Delisting Harding Drain for Chlorpyrifos

## Slide 9: Data Support Delisting Harding Drain for Diazinon

## Slide 10: Pesticide Data Meet Additive Toxicity Limit and Support Delisting Harding Drain

## Slide 11: 303(d) Listing of Don Pedro Reservoir for Mercury is Inappropriate
Data used to list the reservoir are old (1984 to 1987) and suspect (pre-“clean”sampling and analysis techniques, and likely not representative).
Analysis of the data did not follow EPA guidance for a weighted average, so impairment was overstated.
New data should be collected and analyzed to accurately assess impairment.

## Slide 12: Summary and Recommendations from Turlock Irrigation District
Delist Harding Drain for ammonia, diazinon, and chlorpyrifos to reflect improvements in water quality.
Support ongoing local projects to investigate and resolve sources of unknown toxicity.
Allow sufficient time for ongoing local water quality improvement efforts to be completed - do not move up the date for any of the Harding Drain TMDLs.
Delist Don Pedro Reservoir for mercury until more accurate data can be collected.