Add Title 27, Division 3, Subdivision 2, Chapters 1 and 2 of the California Code of Regulations:

Chapter 1

LABORATORY REPORTING

# ACRONYMS

| ASCII | American Standard Code (for) Information Interchange |
| --- | --- |
| CAS | Chemical Abstract Service |
| CL | Control Limit |
| COC | Chain-of-Custody |
| COELT | U.S. Army Corps of Engineers Loading Tool |
| CSV | Comma Separated Values (AKA Comma/Quote Delimited) |
| EDCC | Electronic Deliverable Consistency Checker |
| EDD | Electronic Data Deliverable |
| EDF | The Electronic Deliverable Format |
| FK | Foreign Key |
| LIMS | Laboratory Information Management System |
| NA | Not Applicable |
| NC | Non-Client |
| ND | Non-Detected |
| PK | Primary Key |
| QA | Quality Assurance |
| QC | Quality Control |
| RPD | Relative Percent Difference |
| VVL | Valid Value List |

| Chapter 1 LABORATORY ELECTRONIC REPORTING - EDF – Electronic Deliverable Format |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ID | Element (FIELD NAME) | Criteria | Length | Type | Definition |  |  |
| 3000 | Global ID (GLOBAL_ID) |  | 12 | AN | The unique identifier for a regulated facility or site. |  |  |
| 3001 | Field Point Name (FIELD_PT_NAME) |  | 15 | AN | The unique name of the field location where the sample/field measurement has been collected. |  |  |
| 3002 | Field Point Class (FIELD_PT_CLASS) | Valid Values | 5 | AN | The code representing the type of field/survey point. |  |  |
| 3003 | Analysis Date (anadate) | YYYYMMDD | 8 | D | The date the sample (aliquot, extract, digest and/or leachate) is analyzed. |  |  |
| 3004 | Analytical Method (anmcode) | Valid Values | 7 | AN | The code identifying the method of analysis. |  |  |
| 3005 | Approved By (apprvd) |  | 3 | AN | The initials of the individual approving the entire laboratory report, or a single analysis. |  |  |
| 3006 | Basis (basis) | Valid Values | 1 | AN | The code used to distinguish whether a sample is reported as dry or wet weight, filtered or not filtered. |  |  |
| 3007 | Control Limit Type (clcode) | Valid Values | 6 | AN | The code identifying the type of quality control limit. |  |  |
| 3008 | Cleanup Method (CLEANUP) | Valid Values | 15 | AN | The code identifying the method of cleanup performed. |  |  |
| 3009 | Control Limit Revision Date (clrevdate) |  | 8 | D | The date a control limit is established. |  |  |
| 3010 | Chain-of-Custody Matrix (coc_matrix) | Valid Values | 2 | AN | The code identifying the sample matrix as noted on the chain-of-custody (e.g., water, soil, etc.). |  |  |
| 3011 | Chain-of-Custody Number (cocnum) |  | 16 | AN | The number assigned to the chain-of-custody. |  |  |
| 3012 | Cooler ID (COOLER_ID) |  | 25 | AN | The unique identifier representing a cooler used to transport samples from t he field to the lab. |  |  |
| 3013 | Dilution Factor (dilfac) |  | 10 | N | The numeric factor indicating the level of sample dilution. |  |  |
| 3014 | Data Quality Objectives ID (dqo_id) |  | 25 | AN | The unique identifier representing the data quality objectives. |  |  |
| 3015 | Preparation Method (exmcode) | Valid Values | 7 | AN | The code identifying the method of preparation. |  |  |
| 3016 | Expected Parameter Value (expected) |  | 14 | N | The target result for a quality control sample or surrogate spike. |  |  |
| 3017 | Preparation Date (extdate) | YYYYMMDD | 8 | D | The date that a sample is prepared for analysis. |  |  |
| 3018 | Lab Method Group (LAB_METH_GRP) |  | 25 | AN | The unique identifier for a group of methods as defined by the laboratory. |  |  |
| 3019 | Laboratory Report Number (LAB_REPNO) |  | 20 | AN | The unique identifier for the laboratory report, assigned by the laboratory. |  |  |
| 3020 | Laboratory (labcode) | Valid Values | 4 | AN | The code identifying the laboratory that receives the sample. |  |  |
| 3021 | Method Detection Limit (labdl) |  | 9 | N | The laboratory-established method detection limit (MDL) as determined using procedures outlined in 40 CFR, Part 136, Appendix B (or by equivalent statistical means), and adjusted for dilution. |  |  |
| 3022 | Preparation Batch Number (lablotctl) |  | 25 | AN | The unique identifier for a preparation and handling batch that groups the client samples with the QC samples with which they were prepared. |  |  |
| 3023 | Laboratory QC Sample ID (labqcid) |  | 25 | AN | The unique identification number assigned to a quality control sample by the laboratory. |  |  |
| 3024 | Laboratory Reference ID (labrefid) |  | 25 | AN | The laboratory sample ID of the quality control reference sample. |  |  |
| 3025 | Laboratory Sample ID (labsampid) |  | 25 | AN | The unique identification number assigned to the sample by the laboratory. |  |  |
| 3026 | Work Order Number (LABWO) |  | 7 | AN | A delivery order number associated with the contract. |  |  |
| 3027 | Leach Method (LCHMETH) | Valid Values | 10 | AN | The code identifying the method of leaching. |  |  |
| 3028 | Laboratory Notes (LNOTE) | Valid Values | 20 | AN | The code identifying notes pertaining to analytical performance irregularities that apply to the entire test. |  |  |
| 3029 | Field Organization (logcode) | Valid Values | 4 | AN | The code identifying the company collecting the samples or performing field tests. |  |  |
| 3030 | Collection Date (logdate) | YYYYMMDD | 8 | D | The date a field sample is collected. |  |  |
| 3031 | Collection Time (logtime) | HHMM | 4 | AN | The time that a field sample is collected, recorded using 24-hour military time. |  |  |
| 3032 | Lower Control Limit (lowercl) |  | 4 | N | The lower control limit of a quality control criterion. |  |  |
| 3033 | Laboratory Matrix (matrix) | Valid Values | 2 | AN | The code identifying the sample matrix as determined by the laboratory (e.g., water, soil, etc.); the matrix of the reported result. |  |  |
| 3034 | Method Design ID (meth_design_id) |  | 25 | AN | The unique identifier for the design of an analytical method. |  |  |
| 3035 | Modified Parameter List (modparlist) |  | 1 | L | A field indicating whether the parameter list of an analytical method has been modified. |  |  |
| 3036 | Parameter (PARLABEL) | Valid Values | 12 | AN | The code or CAS number identifying the analyte (parameter). |  |  |
| 3037 | Parameter Uncertainty (parun) |  | 12 | N | The uncertainty of a measured value due to a measuring technique (expressed as plus or minus some value). |  |  |
| 3038 | Parameter Value (parval) |  | 14 | N14 | The analytical value for a compound, analyte, or physical parameter. |  |  |
| 3039 | Parameter Value Qualifier (parvq) | Valid Values | 2 | AN | The code identifying the qualifier of an analytical result (e.g., greater than, equal to, etc.). |  |  |
| 3040 | Preservative (prescode) | Valid Values | 15 | AN | The code identifying the type of preservative added to the sample. |  |  |
| 3041 | Procedure Name (PROCEDURE_NAME) |  | 240 | AN | The method title for an analysis or group of analyses as defined by the analysis laboratory. |  |  |
| 3042 | Project Name (projname) |  | 25 | AN | The identification assigned to the project by the organization performing the work. |  |  |
| 3043 | Primary Value Type (pvccode) | Valid Values | 2 | AN | The code identifying whether a sample result is a primary or a confirmatory value. |  |  |
| 3044 | QC Type (qccode) | Valid Values | 3 | AN | The code identifying the type of sample (e.g., laboratory-generated, environmental, etc.). |  |  |
| 3045 | Received Date (recdate) | YYYYMMDD | 8 | D | The date the sample is received by the laboratory doing the analysis. |  |  |
| 3046 | Report Date (rep_date) | YYYYMMDD | 8 | D | The date of the laboratory report. |  |  |
| 3047 | Reporting Limit (repdl) |  | 9 | N | The laboratory-established reporting limit, as defined by REPDLVQ, adjusted for the particular sample preparation (e.g., weight, volume, or dilution). |  |  |
| 3048 | Reporting Limit Qualifier (repdlvq) | Valid Values | 3 | AN | The code identifying the type of reporting limit entered into REPDL (e.g., practical quantitation limit, instrument detection limit, etc.). |  |  |
| 3049 | Requested Method Group (req_methoD_grp) |  | 25 | AN | The unique identifier for the method or group of methods requested by the client for analysis of the sample. |  |  |
| 3050 | Results Free Field 1 (RES_FF_1) |  | 25 | AN | Results free-entry field 1. |  |  |
| 3051 | Results Free Field 2 (RES_FF_2) |  | 25 | AN | Results free-entry field 2. |  |  |
| 3052 | Results Free Field 3 (RES_FF_3) |  | 25 | AN | Results free-entry field 3. |  |  |
| 3053 | Results Free Field 4 (RES_FF_4) |  | 25 | AN | Results free-entry field 4. |  |  |
| 3054 | Results Free Field 5 (RES_FF_5) |  | 25 | AN | Results free-entry field 5. |  |  |
| 3055 | Laboratory Result Notes (RLNOTE) | Valid Values | 20 | AN | The code identifying notes pertaining to analytical performance irregularities that apply to a single analyte. |  |  |
| 3056 | Retention Time (rt) |  | 7 | N | The retention time of a tentatively identified compound (TIC), reported in minutes (min). |  |  |
| 3057 | Run Number (run_number) |  | 2 | N | The numeric code distinguishing multiple or repeat analysis of a sample by the same method on the same day. |  |  |
| 3058 | Chain-of-Custody Sample ID (sampid) |  | 25 | AN | The unique identifier representing a sample, assigned by the consultant, as submitted to the laboratory on a chain-of-custody. |  |  |
| 3059 | Standard Reference Material (srm) | Valid Values | 12 | AN | The code identifying the standard reference material used in the analysis. |  |  |
| 3060 | Subcontracted Laboratory (sub) | Valid Values | 4 | AN | The code identifying the subcontracted laboratory. |  |  |
| 3061 | Laboratory Test Notes (TLNOTE) | Valid Values | 20 | AN | The code identifying notes pertaining to analytical performance irregularities that apply to the entire test. |  |  |
| 3062 | Units of Measure (units) | Valid Values | 10 | AN | The units for the parameter value measurement. |  |  |
| 3063 | Upper Control Limit (uppercl) |  | 4 | N | The upper control limit of a quality control criterion. |  |  |
| 3064 | User Administrative ID (USER_ADMIN_ID) |  | 25 | AN | A user-defined administrative field. |  |  |

Chapter 2

WELL AND SITE INFORMATION ELECTRONIC REPORTING Data Dictionaries

| Chapter 2 WELL AND SITE INFORMATION ELECTRONIC REPORTING - GEO XY – Location Measurement |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ## ID | Element (FIELD NAME) |  | Criteria | Length | Type | # Definition |  |
| 3000 |  | Global ID (GLOBAL_ID) | Valid Values | 12 | AN | The unique identifier for a regulated facility or site. |  |
| 3001 |  | Field Point Name (FIELD_PT_NAME) | Valid Values | 15 | AN | The unique name of the field location where the sample/field measurement has been collected. |  |
| 3002 |  | Field Point Class (FIELD_PT_CLASS) | Valid Values | 5 | AN | The code representing the type of field/survey point. |  |
| 3200 |  | XY Survey Date (XY_SURVEY_DATE) | MM/DD/YYYY | 10 | D | The date on which the latitude & longitude coordinates were measured. |  |
| 3201 |  | Latitude (LATITUDE) |  | 15 | N | The latitude (Y coordinate) of the survey point, measured in decimal degrees, and reported to 7 decimal points. |  |
| 3202 |  | Longitude (LONGITUDE) |  | 15 | N | The longitude (X coordinate) of the survey point, measured in decimal degrees, and reported to 7 decimal points. |  |
| 3203 |  | XY Survey Method (XY_METHOD) | Valid Values | 5 | AN | The code representing the survey method by which the latitude/longitude measurements were collected. |  |
| 3204 |  | XY Datum (XY_DATUM) | Valid Values | 5 | AN | The code representing the datum from which the latitude/longitude coordinates were determined. |  |
| 3205 |  | XY Accuracy Value (XY_ACC_VAL) |  | 15 | N | The accuracy range (+/-) of the latitude and longitude reported in centimeters at a 95% confidence interval. |  |
| 3206 |  | XY Survey Organization Name (XY_ SURVEY_ORG) |  | 35 | AN | The name of the organization who collected the latitude/longitude coordinates. |  |
| 3207 |  | GPS Survey Equipment (GPS_EQUIP_TYPE) | Valid Values | 100 | AN | The name of the GPS unit used to determine the latitude/longitude coordinates. |  |
| 3208 |  | XY Survey Description (XY_SURVEY_DESC) | Narrative | 240 | AN | General description/information pertaining to the survey of latitude/longitude. May describe offset azimuth, distance and slope. |  |

| Chapter 2 WELL AND SITE INFORMATION ELECTRONIC REPORTING - GEO Z – Elevation Measurement |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| # ID | Element (Field Name) | Criteria | Length | Type | Definition |
| 3000 | Global ID (GLOBAL_ID) | Valid Values | 12 | AN | The unique identifier for a regulated facility or site. |
| 3001 | Field Point Name (FIELD_PT_NAME) | Valid Values | 15 | AN | The unique name of the field location where the sample/field measurement has been collected. |
| 3300 | Elevation Survey Date (ELEV_SURVEY_DATE) | MM/DD/YYYY | 10 | D | The date on which the elevation was measured. |
| 3301 | Elevation (ELEVATION) |  | 15 | N | The elevation of the survey point measured to top of well casing to one hundredth of a foot between well locations within the site. |
| 3302 | Elevation Survey Method (ELEV_METHOD) | Valid Values | 5 | AN | The code representing the method by which the elevation measurement was collected. |
| 3303 | Elevation Datum (ELEV_DATUM) | Valid Values | 5 | AN | The code representing the datum from which the elevation was determined. |
| 3304 | Elevation Accuracy Value (ELEV_ACC_VAL) |  | 15 | N | The accuracy range (+/-) of the absolute elevation measurement reported in centimeters at the 95% confidence interval. |
| 3305 | Elevation Survey Organization Name (ELEV_SURVEY_ORG) |  | 35 | AN | The name of the organization collecting the elevation measurement. |
| 3306 | Riser Height (RISER_HT) |  | 15 | N | The measured distance from ground surface to top of well casing reported as a positive or negative value to one hundredth of a foot. |
| 3307 | Elevation Survey Description (ELEV_DESC) | Narrative | 240 | AN | General description/information pertaining to the survey. |

| Chapter 2 WELL AND SITE INFORMATION ELECTRONIC REPORTING - GEO_WELL – Groundwater Well Measurement |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ID | Element (FIELD NAME) | Criteria | Length | Type | Definition |  |
| 3000 | Global ID (GLOBAL_ID) | Valid Values | 12 | AN | The unique identifier for a regulated facility or site. |  |
| 3001 | Field Point Name (FIELD_PT_NAME) | Valid Values | 15 | AN | The unique name of the field location where the sample/field measurement has been collected. |  |
| 3400 | Well Current Status (STATUS) | Valid Values | 5 | AN | The code representing the current status of well. |  |
| 3401 | GW Measurement Date (GW_MEAS_DATE) | MM/DD/YYYY | 10 | D | The date the depth to groundwater was measured. |  |
| 3402 | GW Measurement Time (GW_MEAS_TIME) | HHMM | 4 | AN | The time the depth to groundwater was measured, recorded using 24-hour military time. |  |
| 3403 | Depth to Floating Product (DTFPROD) |  | 15 | N | The measured depth from top of well casing to floating product surface reported to one hundredth of a foot. |  |
| 3404 | Depth to Groundwater Surface (DTW) |  | 15 | N | The measured depth from top of well casing to groundwater surface reported to one hundredth of a foot. |  |
| 3306 | Riser Height (RISER_HT) |  | 15 | N | The measured distance from ground surface to top of well casing reported as a positive or negative value to one hundredth of a foot. |  |
| 3405 | Total Depth (TOT_DEPTH) |  | 15 | N | Depth to bottom of well measured in the field during the sampling/ measurement event from top of well casing to “bottom” of well, reported to one hundredth of a foot. |  |
| 3406 | DTW Description (GW_MEAS_DESC) | Narrative | 240 | AN | General description/information pertaining to the groundwater measurement. |  |