| UNDERGROUND STORAGE TANK SECONDARY CONTAINMENT TESTING REPORT FORM (Page 1 of 6) |
| --- |
| Type of Action | Installation Test | Repair Test | Six Month Test | 36 Month Test |
| FACILITY INFORMATION |
| CERS ID | Date of Secondary Containment Test |
| Business Name (Same as Facility Name or DBA-Doing Business As) |
| Business Site Address | City | ZIP Code |
| UNDERGROUND STORAGE TANK SERVICE TECHNICIAN INFORMATION |
| Name of UST Service Technician Performing the Test (Print as shown on the ICC Certification.) | Phone # ( ) - Ext. |
| Contractor/Tank Tester License # | ICC Certification # | ICC Certification Expiration Date |
| SUMMARY OF SECONDARY CONTAINMENT TESTING RESULTS |
| Tank ID: (By tank number, stored product, etc.) | A | B | C | D |
| Tank Containment |  |  |  |  |
| Tightness Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| Product Piping Containment |  |  |  |  |
| Tightness Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| Communication Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| Remote Fill Piping Containment |  |  |  |  |
| Tightness Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| Communication Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| Vent Piping Containment |  |  |  |  |
| Tightness Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| Communication Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| Vapor Recovery Piping Containment |  |  |  |  |
| Tightness Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| Communication Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| Turbine / Product Piping Sump |  |  |  |  |
| Tightness Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| Fill Riser Sump |  |  |  |  |
| Tightness Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| Vent / Transition Sump ID: | a | b | c | d |
| Tightness Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| UDC ID: | 1 | 2 | 3 | 4 |
| Tightness Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| UDC ID: | 5 | 6 | 7 | 8 |
| Tightness Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| UDC ID: | 9 | 10 | 11 | 12 |
| Tightness Test Result | Pass Fail NA | Pass Fail NA | Pass Fail NA | Pass Fail NA |
| All items marked “Fail” or “N/A” must be explained in their respective “COMMENTS” section. |
| CERTIFICATION BY UST SERVICE TECHNICIAN CONDUCTING THIS TESTING |
| I hereby certify that the secondary containment was tested in accordance with California Code of Regulations, title 23, division 3, chapter 16, section 2637 and all the information contained herein is accurate. |
| UST Service Technician Signature |

| UNDERGROUND STORAGE TANK SECONDARY CONTAINMENT TESTING REPORT FORM (Page 2 of 6) |
| --- |
| TANK CONTAINMENT TESTING INFORMATION |
| Manufacturer | Identify Tank ID from section III for each Manufacturer |
|  | A | B | C | D |
|  | A | B | C | D |
| Test Method Used: | Manufacturer Guidelines: (Specify) |  |
|  | Industry Code or Engineering Standard: (Specify) |  |
|  | Engineered Method: (Specify) |  |
| Attach the testing procedures and all documentation required to determine the results. | # of Attached Pages |
| Tank Containment Testing Training and Certifications (List applicable certifications.) | Expiration Date |
| Comments |
| Provide any additional comments here. |
| PRODUCT PIPING CONTAINMENT TESTING INFORMATION |
| Manufacturer | Identify Tank ID from section III for each Manufacturer |
|  | A | B | C | D |
|  | A | B | C | D |
| Test Method Used: | Manufacturer Guidelines: (Specify) |  |
|  | Industry Code or Engineering Standard: (Specify) |  |
|  | Engineered Method: (Specify) |  |
| Attach the testing procedures and all documentation required to determine the results. | # of Attached Pages |
| Product Piping Containment Testing Training and Certifications (List applicable certifications.) | Expiration Date |
| Interstitial Communication Verification Method Used: |
| Comments |
| Provide any additional comments here. |

| UNDERGROUND STORAGE TANK SECONDARY CONTAINMENT TESTING REPORT FORM (Page 3 of 6) |
| --- |
| REMOTE FILL PIPING CONTAINMENT TESTING INFORMATION |
| Manufacturer | Identify Tank ID from section III for each Manufacturer |
|  | A | B | C | D |
|  | A | B | C | D |
| Test Method Used: | Manufacturer Guidelines: (Specify) |  |
|  | Industry Code or Engineering Standard: (Specify) |  |
|  | Engineered Method: (Specify) |  |
| Attach the testing procedures and all documentation required to determine the results. | # of Attached Pages |
| Remote Fill Piping Containment Testing Training and Certifications (List applicable certifications.) | Expiration Date |
| Interstitial Communication Verification Method Used: |
| Comments |
| Provide any additional comments here. |
| VENT PIPING CONTAINMENT TESTING INFORMATION |
| Manufacturer | Identify Tank ID from section III for each Manufacturer |
|  | A | B | C | D |
|  | A | B | C | D |
| Test Method Used: | Manufacturer Guidelines: (Specify) |  |
|  | Industry Code or Engineering Standard: (Specify) |  |
|  | Engineered Method: (Specify) |  |
| Attach the testing procedures and all documentation required to determine the results. | # of Attached Pages |
| Vent Piping Containment Testing Training and Certifications (List applicable certifications.) | Expiration Date |
| Interstitial Communication Verification Method Used: |
| Comments |
| Provide any additional comments here. |

| UNDERGROUND STORAGE TANK SECONDARY CONTAINMENT TESTING REPORT FORM (Page 4 of 6) |
| --- |
| VAPOR RECOVERY PIPING CONTAINMENT TESTING INFORMATION |
| Manufacturer | Identify Tank ID from section III for each Manufacturer |
|  | A | B | C | D |
|  | A | B | C | D |
| Test Method Used: | Manufacturer Guidelines: (Specify) |  |
|  | Industry Code or Engineering Standard: (Specify) |  |
|  | Engineered Method: (Specify) |  |
| Attach the testing procedures and all documentation required to determine the results. | # of Attached Pages |
| Vapor Recovery Piping Containment Testing Training and Certifications (List applicable certifications.) | Expiration Date |
| Interstitial Communication Verification Method Used: |
| Comments |
| Provide any additional comments here. |
| TURBINE / PRODUCT PIPING SUMP TESTING INFORMATION |
| Manufacturer | Identify Tank ID from section III for each Manufacturer |
|  | A | B | C | D |
|  | A | B | C | D |
| Test Method Used: | Manufacturer Guidelines: (Specify) |  |
|  | Industry Code or Engineering Standard: (Specify) |  |
|  | Engineered Method: (Specify) |  |
| Attach the testing procedures and all documentation required to determine the results. | # of Attached Pages |
| Turbine / Product Piping Sump Testing Training and Certifications (List applicable certifications.) | Expiration Date |
| Comments |
| Provide any additional comments here. |

| UNDERGROUND STORAGE TANK SECONDARY CONTAINMENT TESTING REPORT FORM (Page 5 of 6) |
| --- |
| FILL RISER SUMP TESTING INFORMATION |
| Manufacturer | Identify Tank ID from section III for each Manufacturer |
|  | A | B | C | D |
|  | A | B | C | D |
| Test Method Used: | Manufacturer Guidelines: (Specify) |  |
|  | Industry Code or Engineering Standard: (Specify) |  |
|  | Engineered Method: (Specify) |  |
| Attach the testing procedures and all documentation required to determine the results. | # of Attached Pages |
| Fill Riser Sump Testing Training and Certifications (List applicable certifications.) | Expiration Date |
| Comments |
| Provide any additional comments here. |
| VENT / TRANSITION PIPING SUMP TESTING INFORMATION |
| Manufacturer | Identify Vent / Transition Sump ID from section III for each Manufacturer |
|  | a | b | c | d |
|  | a | b | c | d |
| Test Method Used: | Manufacturer Guidelines: (Specify) |  |
|  | Industry Code or Engineering Standard: (Specify) |  |
|  | Engineered Method: (Specify) |  |
| Attach the testing procedures and all documentation required to determine the results. | # of Attached Pages |
| Vent / Transition Piping Sump Testing Training and Certifications (List applicable certifications.) | Expiration Date |
| Comments |
| Provide any additional comments here. |

| UNDERGROUND STORAGE TANK SECONDARY CONTAINMENT TESTING REPORT FORM (Page 6 of 6) |
| --- |
| UNDER-DISPENSER CONTAINMENT TESTING INFORMATION |
| Manufacturer(s): | Identify UDC ID from section III for each Manufacturer |
|  | 1 | 2 | 3 | 4 | 5 | 6 |
|  | 7 | 8 | 9 | 10 | 11 | 12 |
|  | 1 | 2 | 3 | 4 | 5 | 6 |
|  | 7 | 8 | 9 | 10 | 11 | 12 |
| Test Method Used: | Manufacturer Guidelines: (Specify) |  |
|  | Industry Code or Engineering Standard: (Specify) |  |
|  | Engineered Method: (Specify) |  |
| Attach the testing procedures and all documentation required to determine the results. | # of Attached Pages |
| UDC Testing Training and Certifications (List applicable certifications.) | Expiration Date |
| Comments |
| Provide any additional comments here. |

If the facility has more components than this form accommodates, additional copies of these pages may be attached.