| UNDERGROUND STORAGE TANK SPILL CONTAINER TESTING REPORT FORM (Page 1 of 1) |
| --- |
| Type of Action | Installation Test | Repair Test | 12 Month Test |
| FACILITY INFORMATION |
| CERS ID | Date of Spill Container Test |
| Business Name (Same as Facility Name or DBA-Doing Business As.) |
| Business Site Address | City | ZIP Code |
| UNDERGROUND STORAGE TANK SERVICE TECHNICIAN INFORMATION |
| Name of UST Service Technician Performing the Test (Print as shown on the ICC Certification.) | Phone # ( ) - Ext. |
| Contractor/Tank Tester License # | ICC Certification # | ICC Certification Expiration Date |
| Spill Container Testing Training and Certifications (List applicable certifications.) |
| SPILL CONTAINER TESTING INFORMATION |
| Test Method Used: | Manufacturer Guidelines: (Specify) |  |
|  | Industry Code or Engineering Standard: (Specify) |  |
|  | Engineered Method: (Specify) |  |
| Attach the testing procedures and all documentation required to determine the results. | # of Attached Pages |
| Tank ID: (By tank number, stored product, etc.) |  |  |  |  |
| Spill Container Manufacturer: |  |  |  |  |
| Method of Cathodic Protection | Non-Metallic | Non-Metallic | Non-Metallic | Non-Metallic |
|  | Isolation | Isolation | Isolation | Isolation |
|  | Other (Specify in section V.) | Other (Specify in section V.) | Other (Specify in section V.) | Other (Specify in section V.) |
| Inside Diameter of Spill Container: (Inches) |  |  |  |  |
| Depth of Spill Container: (Inches) |  |  |  |  |
| Does the spill container have a 5 gallon capacity? | Yes | No | Yes | No | Yes | No | Yes | No |
| Method to Keep Spill Container Empty | Drain Valve | Drain Valve | Drain Valve | Drain Valve |
|  | Onsite Pump | Onsite Pump | Onsite Pump | Onsite Pump |
|  | Other (Specify in section V.) | Other (Specify in section V.) | Other (Specify in section V.) | Other (Specify in section V.) |
| summary of testing Results |
| Spill Container Test Results | Pass | Fail | Pass | Fail | Pass | Fail | Pass | Fail |
| Comments |
| All items marked “Fail” above must be explained in this section. Any additional comments may also be provided here. |
| CERTIFICATION BY UST SERVICE TECHNICIAN CONDUCTING THIS TESTING |
| I hereby certify that the spill containers were tested in accordance with California Code of Regulations, title 23, division 3, chapter 16, section 2637.1 and all the information contained herein is accurate. |
| UST Service Technician Signature |
| If the facility has more components than this form accommodates, additional copies of this page may be attached. |