MASON, ROBBINS, GNASS & BROWNING

| MICHAEL L. MASON KENNETH M. ROBBINS WILLIAM E. GNASS CORBETT J. BROWNING ───────── PARALEGAL BETH BRUSH ───────── LEGAL ASSISTANTS CARMELINA McKEE JUDY A. CAMPBELL | ATTORNEYS AT LAW A LIMITED LIABILITY PARTNERSHIP SAN SIMEON PROFESSIONAL CENTER 3351 NORTH "M" STREET SUITE 100 MERCED, CA 95348 ───────── (209) 383-9334 | MAILING ADDRESS P.O. BOX 2067 MERCED, CA 95344-0067 ───────── FAX: (209) 383-9386 E-MAIL:mrgb@cell2000.net ───────── OF COUNSEL SHARON E. WILLIAMS |
| --- | --- | --- |

July 30, 2026

VIA UPS OVERNIGHT DELIVERY

Victoria A. Whitney, Chief

Bay/Delta Unit

Division of Water Rights

P.O. Box 2000

Sacramento, CA  95812-2000

RE:	MERCED IRRIGATION DISTRICT'S COMMENTS ON SUPPLEMENT TO THE STATE WATER RESOURCES CONTROL BOARD'S DRAFT ENVIRONMENTAL IMPACT REPORT FOR IMPLEMENTATION OF THE 1995 BAY/DELTA WATER QUALITY CONTROL PLAN

Dear Ms. Whitney:

The following comments are made on behalf of Merced Irrigation District to the above-entitled environmental documentation:

1.	Tables V-1 and V-2 have been revised to include a column with the heading "Delivery Base Case".  MID's annual average base case delivery is listed as 1343 TAF for the 73-year study period and as 1408 TAF for the 1928 to 1934 critical period.  A review of the DWRSIM studies show that in all of the studies an average annual demand of 630 TAF was used for MID.  Therefore, it appears that the study results are correct but that incorrect base case delivery numbers were inserted into the table.

2.	On Page VI-121 the statement is made that "no surface water delivery reductions were identified for the Merced Irrigation District, thus, the alternatives are not expected to impact groundwater overdraft in this basin."  (This statement is the same in both the original and the revised Chapter VI).

A review of the results of the Alternative 8 study reveals an MID diversion shortage of 36 TAF in September 1977 and 7 TAF in October 1977.

The statement of no impact on groundwater is made in spite of the assumption in the modeling (for all studies) that MID's annual groundwater pumping is 179 TAF in dry years and 269 TAF in critical years, compared to 31 TAF in wet, above normal and below normal years.  There are 11 dry years and 15 critical years in the 73-year study period.  Since New Exchequer Dam has been in operation, the average annual groundwater pumpage by MID has been 25 to 30 TAF with a maximum of 167 TAF occurring in 1977.  Since the assumed groundwater pumpage is greater than what has occurred historically, the statement of no expected groundwater overdraft appears questionable.  This excessive groundwater supply is also the main reason that the DEIR analysis concluded that here is no impact to MID's surface water diversion.

3.	The following comment is not made regarding the revised chapters, but applies to all of the studies.  It appears that the top of inactive storage in Lake McClure is defined in the model as 115 TAF.  This is incorrect in that the actual top of inactive storage is at 3 TAF.  The storage between 3 TAF and 115 TAF can be used for instream flows but not for MID project diversions.  This does not have a significant impact on the SWRCB studies due to the assumed groundwater pumping.  The only time the storage of 115 TAF is reached is in 1977.

4.	Carryover Storage in Central Valley Reservoirs:  Table V-3 on page V-5, entitled "Carryover Storage in Central Valley Reservoirs (TAF), 73-Year Period Annual Average," cites various carryover storages for the eight alternatives, ranging from 522 TAF to 657 TAF.  Likewise, in Table V-4 on the same page, entitled, "Carryover Storage in Central Valley Reservoirs (TAF), Critical Period Annual Average", various carryover storages for the eight alternatives range from 574 TAF to 644 TAF.  This should be re-examined in light of the fact that since the construction of New Exchequer Dam, spanning 31 years of record, the average carryover storage (End-of-Month September) is 443 TAF.  Maximum carryover storage was 686.8 TAF in 1975, and minimum carryover storage was 88.8 TAF in 1978.

Respectfully submitted,

MASON, ROBBINS, GNASS & BROWNING

KENNETH M. ROBBINS

KMR/jc