## Summary
March 2024 Reporting Period Summary USFS Special Use Permit FCD728503
Date | Upper Springs (gallons) | Lower Springs (gallons) | SourceTotal (gallons) | SMBMI Delivery (gallons) | BTB Hygiene Delivery (gallons) | BTB Tank Truck Delivery (gallons) | Strawberry Creek Discharge (gallons) | Other Delivery (gallons) | Other Discharges (gallons) | Total Deliveries & Discharges (gallons) | Variance (gallons) | Reference Notes
2024-03-01 | 172208 | 58681 | 230889 | 233099 | 10665 | 0 | 0 | 0 | 0 | 243764 | -12875 | 1
2024-03-02 | 191110 | 59046 | 250156 | 248102 | 0 | 0 | 0 | 0 | 0 | 248102 | 2054 | 1
2024-03-03 | 302585 | 60224 | 362809 | 246908 | 10170 | 0 | 0 | 0 | 0 | 257078 | 105731 | 1, 2
2024-03-04 | 325455 | 62227 | 387682 | 257292 | 0 | 0 | 0 | 0 | 0 | 257292 | 130390 | 1, 2
2024-03-05 | 306025 | 63609 | 369634 | 248570 | 10305 | 0 | 0 | 0 | 0 | 258875 | 110759 | 1, 2
2024-03-06 | 285614 | 63791 | 349405 | 257487 | 0 | 0 | 0 | 0 | 0 | 257487 | 91918 | 1, 2
2024-03-07 | 273108 | 63543 | 336651 | 250892 | 10395 | 0 | 0 | 0 | 0 | 261287 | 75364 | 1, 2
2024-03-08 | 264484 | 63026 | 327510 | 272916 | 0 | 0 | 0 | 0 | 0 | 272916 | 54594 | 1
2024-03-09 | 254958 | 62623 | 317581 | 274246 | 10665 | 0 | 0 | 0 | 0 | 284911 | 32670 | 1
2024-03-10 | 250258 | 62725 | 312983 | 284231 | 0 | 0 | 0 | 0 | 0 | 284231 | 28752 | 1
2024-03-11 | 248373 | 61807 | 310180 | 276933 | 10785 | 0 | 0 | 0 | 0 | 287718 | 22462 | 1
2024-03-12 | 247472 | 61541 | 309013 | 285500 | 0 | 0 | 0 | 0 | 0 | 285500 | 23513 | 1
2024-03-13 | 249563 | 61230 | 310793 | 276858 | 10515 | 0 | 0 | 0 | 0 | 287373 | 23420 | 1
2024-03-14 | 249828 | 61096 | 310924 | 285046 | 0 | 0 | 0 | 0 | 0 | 285046 | 25878 | 1
2024-03-15 | 249982 | 60823 | 310805 | 224345 | 10365 | 0 | 0 | 0 | 0 | 234710 | 76095 | 1, 2
2024-03-16 | 247191 | 60697 | 307888 | 284710 | 0 | 0 | 0 | 0 | 0 | 284710 | 23178 | 1
2024-03-17 | 247237 | 60827 | 308064 | 275716 | 10530 | 0 | 0 | 0 | 0 | 286246 | 21818 | 1
2024-03-18 | 244827 | 59706 | 304533 | 284910 | 0 | 0 | 0 | 0 | 0 | 284910 | 19623 | 1
2024-03-19 | 242504 | 59808 | 302312 | 274267 | 10320 | 0 | 0 | 0 | 0 | 284587 | 17725 | 1
2024-03-20 | 240548 | 59376 | 299924 | 283653 | 0 | 0 | 0 | 0 | 0 | 283653 | 16271 | 1
2024-03-21 | 239403 | 59701 | 299104 | 273471 | 10500 | 0 | 0 | 0 | 0 | 283971 | 15133 | 1
2024-03-22 | 238324 | 59724 | 298048 | 282369 | 0 | 0 | 0 | 0 | 0 | 282369 | 15679 | 1
2024-03-23 | 239033 | 59084 | 298117 | 270350 | 9075 | 0 | 0 | 0 | 0 | 279425 | 18692 | 1
2024-03-24 | 239003 | 58728 | 297731 | 281403 | 0 | 0 | 0 | 0 | 0 | 281403 | 16328 | 1
2024-03-25 | 237267 | 58068 | 295335 | 271919 | 11280 | 0 | 0 | 0 | 0 | 283199 | 12136 | 1
2024-03-26 | 235161 | 58782 | 293943 | 281478 | 0 | 0 | 0 | 0 | 0 | 281478 | 12465 | 1
2024-03-27 | 395995 | 56463 | 452458 | 243363 | 8145 | 0 | 0 | 0 | 0 | 251508 | 200950 | 1, 3, 4
2024-03-28 | 468158 | 57821 | 525979 | 263506 | 0 | 0 | 0 | 0 | 0 | 263506 | 262473 | 1, 3, 4
2024-03-29 | 459220 | 56754 | 515974 | 257213 | 9675 | 0 | 0 | 0 | 0 | 266888 | 249086 | 1, 3, 4
2024-03-30 | 456929 | 56050 | 512979 | 266243 | 0 | 0 | 0 | 0 | 0 | 266243 | 246736 | 1, 3, 4
2024-03-31 | 461840 | 57240 | 519080 | 257312 | 9570 | 0 | 0 | 0 | 0 | 266882 | 252198 | 1, 3, 4
TOTALS | 8763663 | 1864821 | 10628484 | 8274308 | 162960 | 0 | 0 | 0 | 0 | 8437268 | 2191216
Source Total (gallons) |  |  | 10628484
Source Total (acre-feet) |  |  | 32.6176
Source Total (gallons per minute) |  |  | 238.0933
SMBMI Deliveries (gallons) |  |  | 8274308
BTB Total Receipts (gallons) |  |  | 162960
CLA-VAL Maintenance Variance (gallons) |  |  | 590257
BTB Source Development Variance (gallons) |  |  | 1044142
Estimated Actual Variance (gallons) |  |  | 556817
Total Variance Items (gallons) |  |  | 2191216 | BTB attributes the total variance to CLA-VAL maintenance, source development activities and normal discharges from pressure maintenance valves and air evacuation valves. The Borehole 7C flow meter was not responding after shut-in for 148 days and is scheduled for replacment. The volume discharged from 7C (if functional on 03/27-03/31) would further reduce the Estimated Actual Variance. These volumes are discharged along the pipeline alignment.
Summary Notes
March 2024 - All "water facilities" were utilized to extract and convey percolating groundwater to the noted delivery points (per BTB appropriative rights) for beneficial uses including industrial, municipal, irrigation, recreation and environmental habitat.
This is a natural and variable system based on climatic and hydrologic conditions which provides ever changing water availability. BTB operates the site in a sustainable manner based on actual conditions, contractual obligations, and business requirements.
Boreholes 7 / 7A / 7B / 7C - BTB closed the valves for Boreholes 7/7A/7B/7C on 10/31/2023 pursuant to SWRCB Cease & Desist Order WR-2023-0042.
Boreholes 1 / 1A - BTB closed the valves for Boreholes 1/1A on 10/31/2023 pursuant to SWRCB Cease & Desist Order WR-2023-0042.
Reference Notes
1: Increased flow rates in March were due to increases in water head pressure all throughout Strawberry Canyon. Please note that water occasionally discharges from air vacs and pressure relief valves along the pipeline to ensure pipeline integrity.
2: CLA-VAL maintenance was conducted on 3/3/2024 to 3/7/2024 and on 3/15/2024. Further maintenance is scheduled for April of 2024 as sources are reintroduced to the pipeline requiring pressure balancing
3: Boreholes 7 / 7A / 7B / 7C - On 3/27/2024, in order to prepare the Strawberry Canyon system to resume operations for all of BTB’s established beneficial uses, including industrial uses, following the California Superior Court stay of SWRCB WR Order 2023-0042 in late February, 2024, BTB opened the valves for Boreholes 7/7A/7B/7C and began to discharge water to the enclosure drain and outlet piping for source development, equipment checks, monitoring, and quality assurance testing. Water discharged at the drain and outlet piping is delivered directly to the Strawberry Canyon environment below the Borehole 7/7A/7B/7C portal. The borehole 7C flow meter was found to be inoperative after being shut-in for 148 days and is scheduled for replacement.
4: Boreholes 1 /1A - On 3/27/2024, in order to prepare the Strawberry Canyon system to resume operations for all of BTB’s established beneficial uses, including industrial uses, following the California Superior Court stay of SWRCB WR Order 2023-0042 in late February, 2024, BTB opened the valves for Boreholes 1 / 1A and began to discharge water to the enclosure drain and outlet piping for source development, equipment checks, monitoring, and quality assurance testing. Water discharged at the drain and outlet piping is delivered directly to the Strawberry Canyon environment below the Borehole 1/ 1A portal.

## Lower Springs
USFS Special Use Permit FCD728503
Daily Extraction - Lower Springs Facilities
Year: | 2024
Month: | 2024-03-03
Date | Borehole 10 (gallons) Extraction of Percolating Groundwater | Borehole 11 (gallons) Extraction of Percolating Groundwater | Borehole 12 (gallons) Extraction of Percolating Groundwater | Lower Springs Daily Total (gallons) | Notes
2024-03-01 | 33256 | 0 | 25425 | 58681 | 1
2024-03-02 | 33355 | 0 | 25691 | 59046 | 1
2024-03-03 | 33547 | 0 | 26677 | 60224 | 1
2024-03-04 | 34429 | 0 | 27798 | 62227 | 1
2024-03-05 | 34980 | 0 | 28629 | 63609 | 1
2024-03-06 | 35168 | 0 | 28623 | 63791 | 1
2024-03-07 | 35050 | 0 | 28493 | 63543 | 1
2024-03-08 | 34882 | 0 | 28144 | 63026 | 1
2024-03-09 | 34713 | 0 | 27910 | 62623 | 1
2024-03-10 | 34595 | 0 | 28130 | 62725 | 1
2024-03-11 | 34442 | 0 | 27365 | 61807 | 1
2024-03-12 | 34374 | 0 | 27167 | 61541 | 1
2024-03-13 | 34284 | 0 | 26946 | 61230 | 1
2024-03-14 | 34180 | 0 | 26916 | 61096 | 1
2024-03-15 | 34051 | 0 | 26772 | 60823 | 1
2024-03-16 | 33935 | 0 | 26762 | 60697 | 1
2024-03-17 | 33851 | 0 | 26976 | 60827 | 1
2024-03-18 | 33750 | 0 | 25956 | 59706 | 1
2024-03-19 | 33657 | 0 | 26151 | 59808 | 1
2024-03-20 | 33554 | 0 | 25822 | 59376 | 1
2024-03-21 | 33480 | 0 | 26221 | 59701 | 1
2024-03-22 | 33393 | 0 | 26331 | 59724 | 1
2024-03-23 | 33364 | 0 | 25720 | 59084 | 1
2024-03-24 | 33240 | 0 | 25488 | 58728 | 1
2024-03-25 | 33126 | 0 | 24942 | 58068 | 1
2024-03-26 | 33065 | 0 | 25717 | 58782 | 1
2024-03-27 | 32457 | 0 | 24006 | 56463 | 1
2024-03-28 | 32903 | 0 | 24918 | 57821 | 1
2024-03-29 | 32806 | 0 | 23948 | 56754 | 1
2024-03-30 | 32664 | 0 | 23386 | 56050 | 1
2024-03-31 | 32861 | 0 | 24379 | 57240 | 1
Notes
1: Borehole 11 remained shut-in during this period.

## Upper Springs
USFS Special Use Permit FCD728503
Daily Extraction - Upper Springs Facilities
Year: | 2024
Month: | 2024-03-03
Date | Tunnel 2 (gallons) Extraction of Percolating Groundwater | Tunnel 3 (gallons) Extraction of Percolating Groundwater | Borehole 1 (gallons) Extraction of Percolating Groundwater | Borehole 1A (gallons) Extraction of Percolating Groundwater | Borehole 7 (gallons) Extraction of Percolating Groundwater | Borehole 7A (gallons) Extraction of Percolating Groundwater | Borehole 7B (gallons) Extraction of Percolating Groundwater | Borehole 7C (gallons) Extraction of Percolating Groundwater | Borehole 8 (gallons) | Upper Springs Daily Total (gallons) | Notes
2024-03-01 | 76957 | 49179 | 0 | 0 | 0 | 0 | 0 | 0 | 46072 | 172208 | 1, 2
2024-03-02 | 80740 | 64187 | 0 | 0 | 0 | 0 | 0 | 0 | 46183 | 191110 | 1, 2
2024-03-03 | 107398 | 148729 | 0 | 0 | 0 | 0 | 0 | 0 | 46458 | 302585 | 1, 2
2024-03-04 | 115345 | 163119 | 0 | 0 | 0 | 0 | 0 | 0 | 46991 | 325455 | 1, 2
2024-03-05 | 109665 | 152844 | 0 | 0 | 0 | 0 | 0 | 0 | 43516 | 306025 | 1, 2
2024-03-06 | 106241 | 134505 | 0 | 0 | 0 | 0 | 0 | 0 | 44868 | 285614 | 1, 2
2024-03-07 | 103621 | 125321 | 0 | 0 | 0 | 0 | 0 | 0 | 44166 | 273108 | 1, 2
2024-03-08 | 101907 | 116990 | 0 | 0 | 0 | 0 | 0 | 0 | 45587 | 264484 | 1, 2
2024-03-09 | 99184 | 109167 | 0 | 0 | 0 | 0 | 0 | 0 | 46607 | 254958 | 1, 2
2024-03-10 | 98065 | 105349 | 0 | 0 | 0 | 0 | 0 | 0 | 46844 | 250258 | 1, 2
2024-03-11 | 96876 | 104506 | 0 | 0 | 0 | 0 | 0 | 0 | 46991 | 248373 | 1, 2
2024-03-12 | 95297 | 104508 | 0 | 0 | 0 | 0 | 0 | 0 | 47667 | 247472 | 1, 2
2024-03-13 | 95340 | 105702 | 0 | 0 | 0 | 0 | 0 | 0 | 48521 | 249563 | 1, 2
2024-03-14 | 94828 | 106333 | 0 | 0 | 0 | 0 | 0 | 0 | 48667 | 249828 | 1, 2
2024-03-15 | 94604 | 106602 | 0 | 0 | 0 | 0 | 0 | 0 | 48776 | 249982 | 1, 2
2024-03-16 | 91875 | 106605 | 0 | 0 | 0 | 0 | 0 | 0 | 48711 | 247191 | 1, 2
2024-03-17 | 91193 | 107427 | 0 | 0 | 0 | 0 | 0 | 0 | 48617 | 247237 | 1, 2
2024-03-18 | 89975 | 106316 | 0 | 0 | 0 | 0 | 0 | 0 | 48536 | 244827 | 1, 2
2024-03-19 | 89315 | 104751 | 0 | 0 | 0 | 0 | 0 | 0 | 48438 | 242504 | 1, 2
2024-03-20 | 88584 | 103577 | 0 | 0 | 0 | 0 | 0 | 0 | 48387 | 240548 | 1, 2
2024-03-21 | 87932 | 103215 | 0 | 0 | 0 | 0 | 0 | 0 | 48256 | 239403 | 1, 2
2024-03-22 | 87669 | 102505 | 0 | 0 | 0 | 0 | 0 | 0 | 48150 | 238324 | 1, 2
2024-03-23 | 88432 | 102534 | 0 | 0 | 0 | 0 | 0 | 0 | 48067 | 239033 | 1, 2
2024-03-24 | 88377 | 102589 | 0 | 0 | 0 | 0 | 0 | 0 | 48037 | 239003 | 1, 2
2024-03-25 | 88386 | 100877 | 0 | 0 | 0 | 0 | 0 | 0 | 48004 | 237267 | 1, 2
2024-03-26 | 87339 | 99910 | 0 | 0 | 0 | 0 | 0 | 0 | 47912 | 235161 | 1, 2
2024-03-27 | 86776 | 129738 | 25083 | 6658 | 48851 | 36082 | 16592 | NM | 46215 | 395995 | 1, 2, 3, 4
2024-03-28 | 85946 | 101758 | 36076 | 15454 | 69759 | 76918 | 34009 | NM | 48238 | 468158 | 1, 2, 3, 4
2024-03-29 | 85825 | 96890 | 36092 | 14866 | 68660 | 75718 | 33256 | NM | 47913 | 459220 | 1, 2, 3, 4
2024-03-30 | 84960 | 97661 | 36424 | 15024 | 67561 | 74754 | 32726 | NM | 47819 | 456929 | 1, 2, 3, 4
2024-03-31 | 85612 | 104007 | 36756 | 14965 | 66462 | 73179 | 32217 | NM | 48642 | 461840 | 1, 2, 3, 4
Notes
1: Boreholes 7 / 7A / 7B / 7C - BTB closed the valves for Boreholes 7/7A/7B/7C on 10/31/2023 pursuant to SWRCB Cease & Desist Order WR-2023-0042.
2: Boreholes 1 / 1A - BTB closed the valves for Boreholes 1/1A on 10/31/2023 pursuant to SWRCB Cease & Desist Order WR-2023-0042.
3: Boreholes 7 / 7A / 7B / 7C - On 3/27/2024, in order to prepare the Strawberry Canyon system to resume operations for all of BTB’s established beneficial uses, including industrial uses, following the California Superior Court stay of SWRCB WR Order 2023-0042 in late February, 2024, BTB opened the valves for Boreholes 7/7A/7B/7C and began to discharge water to the enclosure drain and outlet piping for source development, equipment checks, monitoring, and quality assurance testing. Water discharged at the drain and outlet piping is delivered directly to the Strawberry Canyon environment below the Borehole 7/7A/7B/7C portal. The borehole 7C flow meter was found to be inoperative after being shut-in for 148 days and is scheduled for replacement (NM = not measured).
4: Boreholes 1 /1A - On 3/27/2024, in order to prepare the Strawberry Canyon system to resume operations for all of BTB’s established beneficial uses, including industrial uses, following the California Superior Court stay of SWRCB WR Order 2023-0042 in late February, 2024, BTB opened the valves for Boreholes 1 / 1A and began to discharge water to the enclosure drain and outlet piping for source development, equipment checks, monitoring, and quality assurance testing. Water discharged at the drain and outlet piping is delivered directly to the Strawberry Canyon environment below the Borehole 1/ 1A portal.

## SMBMI
USFS Special Use Permit FCD728503
Daily Deliveries to San Manuel Band of Mission Indians (SMBMI)
Year: | 2024
Month: | 2024-03-03
Date | Deliveries (gallons) | Notes
2024-03-01 | 233099 | 2
2024-03-02 | 248102 | 2
2024-03-03 | 246908 | 1, 2
2024-03-04 | 257292 | 1, 2
2024-03-05 | 248570 | 1, 2
2024-03-06 | 257487 | 1, 2
2024-03-07 | 250892 | 1, 2
2024-03-08 | 272916 | 2
2024-03-09 | 274246 | 2
2024-03-10 | 284231 | 2
2024-03-11 | 276933 | 2
2024-03-12 | 285500 | 2
2024-03-13 | 276858 | 2
2024-03-14 | 285046 | 2
2024-03-15 | 224345 | 1, 2
2024-03-16 | 284710 | 2
2024-03-17 | 275716 | 2
2024-03-18 | 284910 | 2
2024-03-19 | 274267 | 2
2024-03-20 | 283653 | 2
2024-03-21 | 273471 | 2
2024-03-22 | 282369 | 2
2024-03-23 | 270350 | 2
2024-03-24 | 281403 | 2
2024-03-25 | 271919 | 2
2024-03-26 | 281478 | 2
2024-03-27 | 243363 | 2
2024-03-28 | 263506 | 2
2024-03-29 | 257213 | 2
2024-03-30 | 266243 | 2
2024-03-31 | 257312 | 2
Notes
1: CLA-VAL maintenance was conducted on 3/3/2024 to 3/7/2024 and on 3/15/2024. Further maintenance is scheduled for April of 2024.
2: BTB provided deliveries to the SMBMI per our contractual obligations. The SMBMI provide requests and confirmations of water. BTB understands the water was beneficially used for municipal, irrigation, recreation and environmental habitat uses.

## BTB Hygiene
USFS Special Use Permit FCD728503
Daily Deliveries to BTB Water Tank to Maintain Hygienic Conditions
Year: | 2024
Month: | 2024-03-03
Date | Deliveries (gallons) | Notes
2024-03-01 | 10665 | 1
2024-03-02 | 0 | 1
2024-03-03 | 10170 | 1
2024-03-04 | 0 | 1
2024-03-05 | 10305 | 1
2024-03-06 | 0 | 1
2024-03-07 | 10395 | 1
2024-03-08 | 0 | 1
2024-03-09 | 10665 | 1
2024-03-10 | 0 | 1
2024-03-11 | 10785 | 1
2024-03-12 | 0 | 1
2024-03-13 | 10515 | 1
2024-03-14 | 0 | 1
2024-03-15 | 10365 | 1
2024-03-16 | 0 | 1
2024-03-17 | 10530 | 1
2024-03-18 | 0 | 1
2024-03-19 | 10320 | 1
2024-03-20 | 0 | 1
2024-03-21 | 10500 | 1
2024-03-22 | 0 | 1
2024-03-23 | 9075 | 1
2024-03-24 | 0 | 1
2024-03-25 | 11280 | 1
2024-03-26 | 0 | 1
2024-03-27 | 8145 | 1
2024-03-28 | 0 | 1
2024-03-29 | 9675 | 1
2024-03-30 | 0 | 1
2024-03-31 | 9570 | 1
Notes
1: This volume is utilized to maintain pipeline hygiene and prevent stagnation. This volume was returned to the environment for environmental benefit.

## BTB Tank Trucks
USFS Special Use Permit FCD728503
Daily Deliveries to BTB Water Tank Trucks
Year: | 2024
Month: | 2024-03-03
Date | Deliveries (gallons)
2024-03-01 | 0
2024-03-02 | 0
2024-03-03 | 0
2024-03-04 | 0
2024-03-05 | 0
2024-03-06 | 0
2024-03-07 | 0
2024-03-08 | 0
2024-03-09 | 0
2024-03-10 | 0
2024-03-11 | 0
2024-03-12 | 0
2024-03-13 | 0
2024-03-14 | 0
2024-03-15 | 0
2024-03-16 | 0
2024-03-17 | 0
2024-03-18 | 0
2024-03-19 | 0
2024-03-20 | 0
2024-03-21 | 0
2024-03-22 | 0
2024-03-23 | 0
2024-03-24 | 0
2024-03-25 | 0
2024-03-26 | 0
2024-03-27 | 0
2024-03-28 | 0
2024-03-29 | 0
2024-03-30 | 0
2024-03-31 | 0
Notes
No BTB tank trailers were loaded during the reporting period.

## Strawberry Creek
USFS Special Use Permit FCD728503
Daily Discharge to Strawberry Creek near Boreholes 10/11/12
Year: | 2024
Month: | 2024-03-03
Date | Discharge (gallons)
2024-03-01 | 0
2024-03-02 | 0
2024-03-03 | 0
2024-03-04 | 0
2024-03-05 | 0
2024-03-06 | 0
2024-03-07 | 0
2024-03-08 | 0
2024-03-09 | 0
2024-03-10 | 0
2024-03-11 | 0
2024-03-12 | 0
2024-03-13 | 0
2024-03-14 | 0
2024-03-15 | 0
2024-03-16 | 0
2024-03-17 | 0
2024-03-18 | 0
2024-03-19 | 0
2024-03-20 | 0
2024-03-21 | 0
2024-03-22 | 0
2024-03-23 | 0
2024-03-24 | 0
2024-03-25 | 0
2024-03-26 | 0
2024-03-27 | 0
2024-03-28 | 0
2024-03-29 | 0
2024-03-30 | 0
2024-03-31 | 0
Notes
BTB closed the Strawberry Creek Station on 10/17/2023.

## Other Deliveries
USFS Special Use Permit FCD728503
Daily Deliveries at Other Locations
Year: | 2024
Month: | 2024-03-03
Date | Site Name: N/A (gallons)
2024-03-01 | N/A
2024-03-02 | N/A
2024-03-03 | N/A
2024-03-04 | N/A
2024-03-05 | N/A
2024-03-06 | N/A
2024-03-07 | N/A
2024-03-08 | N/A
2024-03-09 | N/A
2024-03-10 | N/A
2024-03-11 | N/A
2024-03-12 | N/A
2024-03-13 | N/A
2024-03-14 | N/A
2024-03-15 | N/A
2024-03-16 | N/A
2024-03-17 | N/A
2024-03-18 | N/A
2024-03-19 | N/A
2024-03-20 | N/A
2024-03-21 | N/A
2024-03-22 | N/A
2024-03-23 | N/A
2024-03-24 | N/A
2024-03-25 | N/A
2024-03-26 | N/A
2024-03-27 | N/A
2024-03-28 | N/A
2024-03-29 | N/A
2024-03-30 | N/A
2024-03-31 | N/A
Notes
There were not "Other" Deliveries during the reporting period.

## Other Discharges
USFS Special Use Permit FCD728503
Daily Discharges at Other Locations
Year: | 2024
Month: | 2024-03-03
Date | Site Name: N/A (gallons)
2024-03-01 | N/A
2024-03-02 | N/A
2024-03-03 | N/A
2024-03-04 | N/A
2024-03-05 | N/A
2024-03-06 | N/A
2024-03-07 | N/A
2024-03-08 | N/A
2024-03-09 | N/A
2024-03-10 | N/A
2024-03-11 | N/A
2024-03-12 | N/A
2024-03-13 | N/A
2024-03-14 | N/A
2024-03-15 | N/A
2024-03-16 | N/A
2024-03-17 | N/A
2024-03-18 | N/A
2024-03-19 | N/A
2024-03-20 | N/A
2024-03-21 | N/A
2024-03-22 | N/A
2024-03-23 | N/A
2024-03-24 | N/A
2024-03-25 | N/A
2024-03-26 | N/A
2024-03-27 | N/A
2024-03-28 | N/A
2024-03-29 | N/A
2024-03-30 | N/A
2024-03-31 | N/A
Notes
There were no "Other" discharges during the reporting period.