## Summary
Reporting Required Pursuant to Order WR-2023-0042
November 2023 Reporting Period Summary (please review summary notes provided below)
Date | Souce: Upper Springs (gallons) | Source: Lower Springs (gallons) | Sources Total (gallons) | SMBMI Delivery (gallons) | BTB Hygiene Delivery (gallons) | BTB Tankers Delivery (gallons) | Strawberry Creek Discharge (gallons) | Other Delivery (gallons) | Other Diversion (gallons) | Total Deliveries and Discharges (gallons) | Variance (gallons)
2023-11-01 | 121662 | 37791 | 159453 | 196627 | 0 | 0 | 0 | 0 | 0 | 196627 | -37174
2023-11-02 | 122182 | 36876 | 159058 | 196979 | 0 | 0 | 0 | 0 | 0 | 196979 | -37921
2023-11-03 | 123091 | 36088 | 159179 | 196109 | 0 | 0 | 0 | 0 | 0 | 196109 | -36930
2023-11-04 | 124462 | 35710 | 160172 | 197280 | 0 | 0 | 0 | 0 | 0 | 197280 | -37108
2023-11-05 | 125836 | 35320 | 161156 | 198943 | 0 | 0 | 0 | 0 | 0 | 198943 | -37787
2023-11-06 | 126611 | 35034 | 161645 | 199575 | 0 | 0 | 0 | 0 | 0 | 199575 | -37930
2023-11-07 | 127208 | 34786 | 161994 | 175358 | 12049 | 0 | 0 | 0 | 0 | 187407 | -25413
2023-11-08 | 129960 | 34549 | 164509 | 198153 | 0 | 0 | 0 | 0 | 0 | 198153 | -33644
2023-11-09 | 129826 | 34417 | 164243 | 197737 | 0 | 0 | 0 | 0 | 0 | 197737 | -33494
2023-11-10 | 127712 | 34237 | 161949 | 198193 | 0 | 0 | 0 | 0 | 0 | 198193 | -36244
2023-11-11 | 127032 | 34143 | 161175 | 198136 | 0 | 0 | 0 | 0 | 0 | 198136 | -36961
2023-11-12 | 123489 | 34092 | 157581 | 198135 | 0 | 0 | 0 | 0 | 0 | 198135 | -40554
2023-11-13 | 125846 | 34068 | 159914 | 209155 | 16769 | 0 | 0 | 0 | 0 | 225924 | -66010
2023-11-14 | 126260 | 33992 | 160252 | 253898 | 0 | 0 | 0 | 0 | 0 | 253898 | -93646
2023-11-15 | 123365 | 34021 | 157386 | 184070 | 11100 | 0 | 0 | 0 | 0 | 195170 | -37784
2023-11-16 | 127253 | 34074 | 161327 | 196361 | 0 | 0 | 0 | 0 | 0 | 196361 | -35034
2023-11-17 | 127030 | 34106 | 161136 | 186981 | 12480 | 0 | 0 | 0 | 0 | 199461 | -38325
2023-11-18 | 126832 | 34112 | 160944 | 201414 | 0 | 0 | 0 | 0 | 0 | 201414 | -40470
2023-11-19 | 127030 | 34212 | 161242 | 200770 | 0 | 0 | 0 | 0 | 0 | 200770 | -39528
2023-11-20 | 127704 | 34264 | 161968 | 182274 | 0 | 0 | 0 | 0 | 0 | 182274 | -20306
2023-11-21 | 126716 | 35632 | 162348 | 182425 | 9105 | 0 | 0 | 0 | 0 | 191530 | -29182
2023-11-22 | 125741 | 36362 | 162103 | 202677 | 0 | 0 | 0 | 0 | 0 | 202677 | -40574
2023-11-23 | 125749 | 36308 | 162057 | 187641 | 10920 | 0 | 0 | 0 | 0 | 198561 | -36504
2023-11-24 | 125931 | 36225 | 162156 | 206218 | 0 | 0 | 0 | 0 | 0 | 206218 | -44062
2023-11-25 | 125816 | 36316 | 162132 | 199873 | 0 | 0 | 0 | 0 | 0 | 199873 | -37741
2023-11-26 | 125967 | 36333 | 162300 | 200056 | 0 | 0 | 0 | 0 | 0 | 200056 | -37756
2023-11-27 | 125458 | 36354 | 161812 | 200699 | 0 | 0 | 0 | 0 | 0 | 200699 | -38887
2023-11-28 | 126563 | 36379 | 162942 | 198607 | 0 | 0 | 0 | 0 | 0 | 198607 | -35665
2023-11-29 | 125203 | 36412 | 161615 | 166044 | 22590 | 0 | 0 | 0 | 0 | 188634 | -27019
2023-11-30 | 125130 | 36745 | 161875 | 183602 | 0 | 0 | 0 | 0 | 0 | 183602 | -21727
TOTALS | 3778665 | 1058958 | 4837623 | 5893990 | 95013 | 0 | 0 | 0 | 0 | 5989003 | -1151380
The negative variance indicates the high bias nature of the partial pipe flow metering conditions at the SMBMI flow meter.
The variance % is presented against the high confidence value of the source flow meter measurements and total.
Source Total (acre-feet) |  |  | 14.8461
Source Total (gallons per minute) |  |  | 111.982
Calculated SMBMI Delivery (gallons) |  |  | 4742610
BTB Total Receipts (gallons) |  |  | 95013
Source Total (gallons) |  |  | 4837623
Summary Notes (also provided on their respective worksheet)
Tunnel 2 - The Tunnel 2 reported volume includes water discharged at the “drinker” pipe at the Tunnel 2 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.88 gallons per minute.
Tunnel 3 - The Tunnel 3 reported volume includes water discharged at the “drinker” pipe at the Tunnel 3 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.21 gallons per minute.
Boreholes 7 / 7A / 7B / 7C - The valves for Boreholes 7/7A/7B/7C are closed. Uncapped piping from the historic complex above terminates inside the 7/7A/7B/7C enclosure. The uncapped piping is not connected to the pipeline at the portal and has always discharged to to the enclosure drain and outlet piping. BTB has maintained this discharge at the request of the United States Forest Service for the benefit flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report on November 8, 2023, no flow estimate could be provided.
SMBMI Deliveries - New and unprecedented hydraulic conditions are being established in Strawberry Canyon with the complete closure of various sources, closure of the Strawberry Creek Station, and removal of the Transect 6 discharge. The reduced volume in the pipeline created partial flow conditions resulting in high turbulence and inaccurate measurement at the SMBMI flow meter. BTB is conducting maintenance of the pipeline facilities to install pressure maintenance and air evacuation valves. These additional valves will enable pressure adjustments on the entire pipeline to decrease turbulence in the pipeline and increase the accuracy of the SMBMI flow meter readings.
BTB Hygiene - This represents the volume to maintain hygienic conditions at the BTB tank trailer loading station and throughout the pipeline from the Strawberry Canyon sources. Hygiene volume is discharged at an existing discharge line from the BTB tank trailer loading station towards Indian Creek and percolates into ground surface.
Strawberry Creek Station / Transect 6 Discharge - BTB closed the Strawberry Creek Station and removed the Transect 6 discharge facilities on October 17, 2023, and notified the USFS of the same on November 6, 2023. To our knowledge there are no other discharges or deliveries from the Strawberry Canyon pipeline other than those described in this report.

## Upper Springs
Reporting Required Pursuant to Order WR-2023-0042
Daily Diversions at Upper Springs Facilities
Year: | 2023
Month: | 2023-11-11
Date | Tunnel 2 (gallons) | Tunnel 3 (gallons) | Borehole 1 (gallons) | Borehole 1A (gallons) | Borehole 7 (gallons) | Borehole 7A (gallons) | Borehole 7B (gallons) | Borehole 7C (gallons) | Borehole 8 (gallons) | Total (gallons)
2023-11-01 | 53812 | 26532 | 0 | 0 | 0 | 0 | 0 | 0 | 41318 | 121662
2023-11-02 | 54412 | 26027 | 0 | 0 | 0 | 0 | 0 | 0 | 41743 | 122182
2023-11-03 | 55107 | 25681 | 0 | 0 | 0 | 0 | 0 | 0 | 42303 | 123091
2023-11-04 | 56310 | 25233 | 0 | 0 | 0 | 0 | 0 | 0 | 42919 | 124462
2023-11-05 | 57439 | 25050 | 0 | 0 | 0 | 0 | 0 | 0 | 43347 | 125836
2023-11-06 | 58121 | 24952 | 0 | 0 | 0 | 0 | 0 | 0 | 43538 | 126611
2023-11-07 | 58152 | 25410 | 0 | 0 | 0 | 0 | 0 | 0 | 43646 | 127208
2023-11-08 | 59239 | 27015 | 0 | 0 | 0 | 0 | 0 | 0 | 43706 | 129960
2023-11-09 | 59360 | 26745 | 0 | 0 | 0 | 0 | 0 | 0 | 43721 | 129826
2023-11-10 | 58905 | 25078 | 0 | 0 | 0 | 0 | 0 | 0 | 43729 | 127712
2023-11-11 | 58852 | 24440 | 0 | 0 | 0 | 0 | 0 | 0 | 43740 | 127032
2023-11-12 | 56006 | 23785 | 0 | 0 | 0 | 0 | 0 | 0 | 43698 | 123489
2023-11-13 | 57916 | 24243 | 0 | 0 | 0 | 0 | 0 | 0 | 43687 | 125846
2023-11-14 | 58138 | 24661 | 0 | 0 | 0 | 0 | 0 | 0 | 43461 | 126260
2023-11-15 | 55256 | 24833 | 0 | 0 | 0 | 0 | 0 | 0 | 43276 | 123365
2023-11-16 | 57665 | 26386 | 0 | 0 | 0 | 0 | 0 | 0 | 43202 | 127253
2023-11-17 | 57642 | 26318 | 0 | 0 | 0 | 0 | 0 | 0 | 43070 | 127030
2023-11-18 | 57309 | 26497 | 0 | 0 | 0 | 0 | 0 | 0 | 43026 | 126832
2023-11-19 | 57484 | 26523 | 0 | 0 | 0 | 0 | 0 | 0 | 43023 | 127030
2023-11-20 | 58295 | 26449 | 0 | 0 | 0 | 0 | 0 | 0 | 42960 | 127704
2023-11-21 | 57905 | 25881 | 0 | 0 | 0 | 0 | 0 | 0 | 42930 | 126716
2023-11-22 | 57110 | 25711 | 0 | 0 | 0 | 0 | 0 | 0 | 42920 | 125741
2023-11-23 | 56986 | 25852 | 0 | 0 | 0 | 0 | 0 | 0 | 42911 | 125749
2023-11-24 | 56776 | 26232 | 0 | 0 | 0 | 0 | 0 | 0 | 42923 | 125931
2023-11-25 | 56900 | 26042 | 0 | 0 | 0 | 0 | 0 | 0 | 42874 | 125816
2023-11-26 | 57234 | 25906 | 0 | 0 | 0 | 0 | 0 | 0 | 42827 | 125967
2023-11-27 | 56884 | 25779 | 0 | 0 | 0 | 0 | 0 | 0 | 42795 | 125458
2023-11-28 | 57425 | 26328 | 0 | 0 | 0 | 0 | 0 | 0 | 42810 | 126563
2023-11-29 | 55937 | 26505 | 0 | 0 | 0 | 0 | 0 | 0 | 42761 | 125203
2023-11-30 | 55837 | 26524 | 0 | 0 | 0 | 0 | 0 | 0 | 42769 | 125130
Notes
Tunnel 2 - The Tunnel 2 reported volume includes water discharged at the “drinker” pipe at the Tunnel 2 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.88 gallons per minute.
Tunnel 3 - The Tunnel 3 reported volume includes water discharged at the “drinker” pipe at the Tunnel 3 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.21 gallons per minute.
Boreholes 7 / 7A / 7B / 7C - The valves for Boreholes 7/7A/7B/7C are closed. Uncapped piping from the historic complex above terminates inside the 7/A7/7B/7C enclosure. The uncapped piping is not connected to the pipeline at the portal and has always discharged to to the enclosure drain and outlet piping. BTB has maintained this discharge at the request of the United States Forest Service for the benefit flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report on November 8, 2023, no flow estimate could be provided.

## Lower Springs
Reporting Required Pursuant to Order WR-2023-0042
Daily Diversions at Lower Springs Facilities
Year: | 2023
Month: | 2023-11-11
Date | Borehole 10 (gallons) | Borehole 11 (gallons) | Borehole 12 (gallons) | Daily Total (gallons)
2023-11-01 | 29677 | 0 | 8114 | 37791
2023-11-02 | 29102 | 0 | 7774 | 36876
2023-11-03 | 28738 | 0 | 7350 | 36088
2023-11-04 | 28450 | 0 | 7260 | 35710
2023-11-05 | 28228 | 0 | 7092 | 35320
2023-11-06 | 28049 | 0 | 6985 | 35034
2023-11-07 | 27897 | 0 | 6889 | 34786
2023-11-08 | 27763 | 0 | 6786 | 34549
2023-11-09 | 27645 | 0 | 6772 | 34417
2023-11-10 | 27529 | 0 | 6708 | 34237
2023-11-11 | 27474 | 0 | 6669 | 34143
2023-11-12 | 27429 | 0 | 6663 | 34092
2023-11-13 | 27391 | 0 | 6677 | 34068
2023-11-14 | 27359 | 0 | 6633 | 33992
2023-11-15 | 27363 | 0 | 6658 | 34021
2023-11-16 | 27338 | 0 | 6736 | 34074
2023-11-17 | 27378 | 0 | 6728 | 34106
2023-11-18 | 27359 | 0 | 6753 | 34112
2023-11-19 | 27412 | 0 | 6800 | 34212
2023-11-20 | 27431 | 0 | 6833 | 34264
2023-11-21 | 26695 | 0 | 8937 | 35632
2023-11-22 | 27937 | 0 | 8425 | 36362
2023-11-23 | 27889 | 0 | 8419 | 36308
2023-11-24 | 27848 | 0 | 8377 | 36225
2023-11-25 | 27878 | 0 | 8438 | 36316
2023-11-26 | 27916 | 0 | 8417 | 36333
2023-11-27 | 27909 | 0 | 8445 | 36354
2023-11-28 | 27911 | 0 | 8468 | 36379
2023-11-29 | 27935 | 0 | 8477 | 36412
2023-11-30 | 26980 | 0 | 9765 | 36745

## SMBMI
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries to San Manuel Band of Mission Indians (SMBMI)
Year: | 2023
Month: | 2023-11-11
Date | Deliveries (gallons)
2023-11-01 | 196627
2023-11-02 | 196979
2023-11-03 | 196109
2023-11-04 | 197280
2023-11-05 | 198943
2023-11-06 | 199575
2023-11-07 | 175358
2023-11-08 | 198153
2023-11-09 | 197737
2023-11-10 | 198193
2023-11-11 | 198136
2023-11-12 | 198135
2023-11-13 | 209155
2023-11-14 | 253898
2023-11-15 | 184070
2023-11-16 | 196361
2023-11-17 | 186981
2023-11-18 | 201414
2023-11-19 | 200770
2023-11-20 | 182274
2023-11-21 | 182425
2023-11-22 | 202677
2023-11-23 | 187641
2023-11-24 | 206218
2023-11-25 | 199873
2023-11-26 | 200056
2023-11-27 | 200699
2023-11-28 | 198607
2023-11-29 | 166044
2023-11-30 | 183602
Notes
SMBMI Deliveries - New and unprecedented hydraulic conditions are being established in Strawberry Canyon with the complete closure of various sources, closure of the Strawberry Creek Station, and removal of the Transect 6 discharge. The reduced volume in the pipeline created partial flow conditions resulting in high turbulence and inaccurate measurement at the SMBMI flow meter. BTB is conducting maintenance of the pipeline facilities to install pressure maintenance and air evacuation valves. These additional valves will enable pressure adjustments on the entire pipeline to decrease turbulence in the pipeline and increase the accuracy of the SMBMI flow meter readings.

## BTB Hygiene
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries to BTB Water Tank to Maintain Hygienic Conditions
Year: | 2023
Month: | 2023-11-11
Date | Deliveries (gallons)
2023-11-01 | 0
2023-11-02 | 0
2023-11-03 | 0
2023-11-04 | 0
2023-11-05 | 0
2023-11-06 | 0
2023-11-07 | 12049
2023-11-08 | 0
2023-11-09 | 0
2023-11-10 | 0
2023-11-11 | 0
2023-11-12 | 0
2023-11-13 | 16769
2023-11-14 | 0
2023-11-15 | 11100
2023-11-16 | 0
2023-11-17 | 12480
2023-11-18 | 0
2023-11-19 | 0
2023-11-20 | 0
2023-11-21 | 9105
2023-11-22 | 0
2023-11-23 | 10920
2023-11-24 | 0
2023-11-25 | 0
2023-11-26 | 0
2023-11-27 | 0
2023-11-28 | 0
2023-11-29 | 22590
2023-11-30 | 0
Notes
BTB Hygiene - This represents the volume to maintain hygienic conditions (prevention of stagnant volume) at the BTB tank trailer loading station and throughout the pipeline from the Strawberry Canyon sources. Hygiene volume is discharged at an existing discharge line from the BTB tank trailer loading station towards Indian Creek and percolates into ground surface. This volume is within the total of 10/11/12 not affected by Order WR-2023-0042 and is reported for clarity.

## BTB Tank Trucks
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries to BTB Water Tank Trucks
Year: | 2023
Month: | 2023-11-11
Date | Deliveries (gallons)
2023-11-01 | 0
2023-11-02 | 0
2023-11-03 | 0
2023-11-04 | 0
2023-11-05 | 0
2023-11-06 | 0
2023-11-07 | 0
2023-11-08 | 0
2023-11-09 | 0
2023-11-10 | 0
2023-11-11 | 0
2023-11-12 | 0
2023-11-13 | 0
2023-11-14 | 0
2023-11-15 | 0
2023-11-16 | 0
2023-11-17 | 0
2023-11-18 | 0
2023-11-19 | 0
2023-11-20 | 0
2023-11-21 | 0
2023-11-22 | 0
2023-11-23 | 0
2023-11-24 | 0
2023-11-25 | 0
2023-11-26 | 0
2023-11-27 | 0
2023-11-28 | 0
2023-11-29 | 0
2023-11-30 | 0

## Strawberry Creek
Reporting Required Pursuant to Order WR-2023-0042
Daily Discharge to Strawberry Creek near Boreholes 10/11/12
Year: | 2023
Month: | 2023-11-11
Date | Discharge (gallons)
2023-11-01 | 0
2023-11-02 | 0
2023-11-03 | 0
2023-11-04 | 0
2023-11-05 | 0
2023-11-06 | 0
2023-11-07 | 0
2023-11-08 | 0
2023-11-09 | 0
2023-11-10 | 0
2023-11-11 | 0
2023-11-12 | 0
2023-11-13 | 0
2023-11-14 | 0
2023-11-15 | 0
2023-11-16 | 0
2023-11-17 | 0
2023-11-18 | 0
2023-11-19 | 0
2023-11-20 | 0
2023-11-21 | 0
2023-11-22 | 0
2023-11-23 | 0
2023-11-24 | 0
2023-11-25 | 0
2023-11-26 | 0
2023-11-27 | 0
2023-11-28 | 0
2023-11-29 | 0
2023-11-30 | 0
Notes
Strawberry Creek Station / Transect 6 Discharge - BTB closed the Strawberry Creek Station and removed the Transect 6 discharge facilities on October 17, 2023, and notified the USFS of the same on November 6, 2023. To our knowledge there are no other discharges or deliveries from the Strawberry Canyon pipeline other than those described in this report.

## Other Deliveries
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries at Other Locations
Year: | 2023
Month: | 2023-11-11
Date | Location 1 (gallons) | Location 2 (gallons) | Location 3 (gallons) | Location 4 (gallons) | Location 5 (gallons) | Location 6 (gallons) | Location 7 (gallons) | Location 8 (gallons) | Location 9 (gallons) | Location 10 (gallons)
2023-11-01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-02 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-03 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-04 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-11 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-13 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-14 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-15 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-16 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-17 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-18 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-19 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-20 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-21 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-22 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-23 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-24 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-25 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-26 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-27 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-28 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-29 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2023-11-30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Other Discharges
Reporting Required Pursuant to Order WR-2023-0042
Daily Discharges at Other Locations
Year: | 2023
Month: | 2023-11-11
Date | Site Name: N/A (gallons)
2023-11-01 | N/A
2023-11-02 | N/A
2023-11-03 | N/A
2023-11-04 | N/A
2023-11-05 | N/A
2023-11-06 | N/A
2023-11-07 | N/A
2023-11-08 | N/A
2023-11-09 | N/A
2023-11-10 | N/A
2023-11-11 | N/A
2023-11-12 | N/A
2023-11-13 | N/A
2023-11-14 | N/A
2023-11-15 | N/A
2023-11-16 | N/A
2023-11-17 | N/A
2023-11-18 | N/A
2023-11-19 | N/A
2023-11-20 | N/A
2023-11-21 | N/A
2023-11-22 | N/A
2023-11-23 | N/A
2023-11-24 | N/A
2023-11-25 | N/A
2023-11-26 | N/A
2023-11-27 | N/A
2023-11-28 | N/A
2023-11-29 | N/A
2023-11-30 | N/A